|  |  |  |
| --- | --- | --- |
| Text  Description automatically generated   |  | | --- | |  | |  |
|  |  |
|  |  |
|  |  |
|  |  |
| AN0092201 ImpClause 27062022 |  |
| Improvement Condition Fulfilment |  |
| **1 About the permit you are providing information for** | |
| **1a Permit number** | AN0092201 |
| **1b Site details** | |
| Site name | LANSBURY PARK ESTATE |
| Address | Opp Dragon City Takeaway |
|  | Bedwas Road |
|  | Caerphilly |
| Postcode | CF83 3AS |
| National Grid Reference | ST 16209 87505 |
| **2 Fulfilment of permit conditions set out in Schedule 1, Table S1.3 “Improvement programme requirements.”** | |
| **2a Provision of weir setting** | |
| Weir setting (l/s) | 471.74 |
| Basis of calculation for weir setting | DWMP Soc A |
| **2b Storage provision** | |
| Minimum storage capacity (m3) | No |
| Online/offline | No |
| **2c details of any screening** | |
| Screen present (Y/N) | Y |
| Maximum size of solid matter (mm, and dimension) | 10mm bar |
| Screen aperture size (mm) | 10mm |
| **3 Additional comments (site specific)** | |
|  | |
| **4 Declaration** | |
| Title | Mr |
| First name | Redmond |
| Last name | Jenkins |
| Today’s date | 27/06/2022 |
|  |  |