Permit Reference Number: AP3538SM




Variation Reference Number: EPR/WP3836ZF




Operator: Tradebe Healthcare Ltd




            Form Number: Agency Form / Ash1 / WP3836ZF
Installation: Wrexham Clinical Waste Incinerator



Reporting of Ash Composition for the period from July 2015 to September 2015
	Ash Composition 

	
	
	% Carbon (TOC) w/w

	Bottom Ash
	July 2015
	2.0
	

	Bottom Ash
	Aug 2015
	2.0
	

	Bottom Ash
	Sept 2015
	1.8
	


	Ash Composition (Metals, Dioxins, etc.)

	
	Sb mg/kg
	Cd mg/kg
	Tl

mg/kg
	Hg

mg/kg
	Pb

mg/kg
	Cr

mg/kg
	Cu

mg/kg
	Mn

mg/kg
	Ni

mg/kg
	As

mg/kg
	Co

mg/kg
	V

mg/kg
	Zn

mg/kg
	DIOXIN          I-TEQ

ng/kg
	DIOXIN

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	WHO-TEQ ng/kg

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	Note 1
	Note 2
	Note 3

	Bottom Ash
	21
	15
	<1
	<1
	1555
	212
	1324
	276
	111
	13
	89
	27
	2012
	5.5
	4.4
	14.0
	5.3

	APC Residues
	150
	223
	<1
	144
	2617
	133
	2756
	120
	78
	65
	70
	123
	3756
	205
	182
	248
	194.


Note1
Humans/ mammals
Note2
Birds

Note3 
Fish

Signed  Paul Phillips……………………………….  

Date…………..   



(authorised to sign as representative of Tradebe Healthcare Ltd)

