Permit Reference Number: AP3538SM




Variation Reference Number: EPR/WP3836ZF




Operator: Tradebe Healthcare Ltd





Form Number: Agency Form / Ash1 / WP3836ZF
Installation: Wrexham Clinical Waste Incinerator



Reporting of Ash Composition for the period from Jan 2015 to March 2015
	Ash Composition 

	
	
	% Carbon (TOC) w/w

	Bottom Ash
	Jan 2015
	1.8
	

	Bottom Ash
	Feb 2015
	1.7
	

	Bottom Ash
	Mar 2015
	1.8
	


	Ash Composition (Metals, Dioxins, etc.)

	
	Sb mg/kg
	Cd mg/kg
	Tl

mg/kg
	Hg

mg/kg
	Pb

mg/kg
	Cr

mg/kg
	Cu

mg/kg
	Mn

mg/kg
	Ni

mg/kg
	As

mg/kg
	Co

mg/kg
	V

mg/kg
	Zn

mg/kg
	DIOXIN          I-TEQ

ng/kg
	DIOXIN

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	WHO-TEQ ng/kg

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	Note 1
	Note 2
	Note 3

	Bottom Ash
	20
	14
	<1
	<1
	1376
	335
	1143
	409
	157
	12
	33
	30
	2315
	1.4
	1.3
	3.9
	1.5

	APC Residues
	132
	200
	<1
	151
	2148
	200
	2254
	165
	58
	79
	105
	213
	3559
	139
	122
	190
	132


Note1
Humans/ mammals
Note2
Birds

Note3 
Fish

Signed  Paul Phillips………………………….  

Date………07.05.15..   



(authorised to sign as representative of Tradebe Healthcare Ltd)

