	TITLE :
	Part ‘A’ Reporting Form
	ISSUE NO.
	12.0
	[image: image1.jpg]




	REF :
	RCF19
	AREA:
	SITE
	DATE OF ISSUE:
	08.05.13
	

	RELATED DOCUMENT:
	WI903 – Appendix C
	Last printed 13/06/2018 17:30:00
	PAGE:
	1 of 1
	

	FILENAME:
	Part  A  Form 13062018 - A
	
	Created on 13/06/2018 17:29:00
	





Warwick Chemicals
Mostyn, Holywell, Flintshire. CH8 9HE
Telephone: (01745) 560651  Fax: (01745) 562215
	To:
	Mr Ian Oakes,

Natural Resources Wales Inspector,

Natural Resources Wales, 

Chester Road, Buckley, Flintshire, CH7 3AT
	
	Sent By:
	Mr P. J. Bryant

	Email address:
	north.wales.ppc@cyfoethnaturiolcymru.gov.uk
	
	Position:
	HSES Manager



Report Ref. No.: 13/06/2018 - A
	Name of Operator:
	Warwick International Group Limited

	Location of Installation:
	Dock Road

Mostyn

HOLYWELL

Flintshire

CH8 9HE

	Date of this Report: 
	13/06/2018


	Substances Emitted Which May Cause Harm
	Solid content in waste water

	Emission:



Time:

Date:

Location:
	00.43hrs and 02.43hrs.
13/06/2018
W1, Waste Water Treatment Plant discharge point

	Authorised Emission Limit for this Emission Point 
	250mg/l

	Estimate of Emission Quantity or Rate and Duration of the Emission:
	Quantity of waste water discharged 1,183m3 discharged over a period of 120 minutes. Solid content was 411mg/l.

	Environmental Medium into Which the Emission Took Place
	Water

	Measures Taken (or Intended to be Taken) to Stop the Emission
	No action taken at the time, composite sample taken during the discharge period and analysed later.

	
	


	Signed:
	
	
	Date:
	13/06/2018
	
	Time:
	17.30hrs

	Name:
	Mr P. J. Bryant
	
	
	
	
	
	

	Position:
	HSES Manager
	
	
	
	
	
	


PART A NOTIFICATION (Schedule 1) IN ACCORDANCE WITH CONDITION 5 (5.1.1 and 5.1.2) OF PPC PERMIT NUMBER BU 2357








