NOTIFICATION OF EMERGENCY RELIEF VENT OPERATION

Notification in accordance with PPC permit condition 5.1.1.6

| Permit number: | WP3836ZF |
| --- | --- |
| Name of operator: | Tradebe Healthcare National Limited |
| Location of installation | Marlborough Rd, Wrexham Industrial Estate, Wrexham LL13 9RJ |
| Location of emission: | Release Point A2 – Incinerator Emergency Relief Vent |
| The emergency relief vent opened at: | 10:30 04/02/2017 (ref1700561) |
| Duration of operation: | 0 hour 15 minute |
| Reasons for operation: | Reactor over temperature 180oC, plant trip to protect bag house. |
| Measures taken to prevent a reoccurrence: | Allow reactor to cool down, reset plant. |
| The plant returned to normal operation at: | 10:45 04/02/2017 |

Notified by:	Vince Norris

Position:	Site Manager

Notification completed at: 			    09:00	06/02/2017