Permit Number: 
EPR/RP3237SZ/T001




Operator: 

Tradebe Healthcare Limited


Facility:
Wrexham Clinical Waste Treatment & Transfer Station
Form Number: 
Sewer1 / 28/10/2011
Reporting of emissions to sewer for the period from    1st October to 31st October 2015              
	Emission

Point
	Substance /

Parameter
	Emission

Limit Value
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	S1
	Flow
	--
	Reported as daily average over one month.
	8.0 m3/day
	BS EN 872
	-
	-


The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Environment Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed ………Paul Phillips………………………….  

Date………30/10/2015……..   


