[image: image1.jpg]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




· 1 -


	Mr David Morgan
21 Gold Tops
Newport
Gwent
NP20 4PG

	Our ref: PAN-005828

Date: 23/07/2019





Dear Mr Morgan
We need more information about your application
Application reference: PAN-005828
Operator: Morgans of Usk Ltd
Facility: Alice Springs Court
Thank you for your application received on 04/07/2019. 

We need to ask you for some more information before we can do any more work on it. Please would you
· provide us with the reasons why you have claimed confidentiality. Confidentiality is unlikely to be applicable for a small-scale sewage discharge. We will need to assess the reasons you provide to determine if your application qualifies for confidentiality. 
· provide us with the correct NGRs for the discharge point and the sample point. The NGRs you have provided are the same as the NGR provided for the sewage treatment facility. The discharge point NGR should be at the point where the outlet pipe enters the infiltration system. The sample point NGR should be where samples can be taken after treatment by the package treatment plant and before effluent enters the infiltration system.
Please reply within 10 working days from the date of this letter. If we don’t hear from you we must return your application and fee.
When we receive the missing items we’ll continue to check the details in your application. If there’s enough there for us to begin the process of deciding whether or not we can grant your application we say the application is ‘duly made’ and we’ll let you know this by letter.

We’ll assess your claim for confidentiality once your application is duly made. 

Please quote our reference if you contact us. If you have any questions please phone me on 0300 065 3809 or email aidan.byrne@naturalresourceswales.gov.uk.

Yours sincerely

Aidan Byrne
Water Quality Permitting Officer
Ffôn/Tel

0300 065 3809
Ebost/Email
aidan.byrne@cyfoethnaturiolcymru.gov.uk 



aidan.byrne@naturalresourceswales.gov.uk

Canolfan Trwyddedu Cymru (Caerdydd), Cyfoeth Naturiol Cymru, Tŷ Cambria, 29 Heol Casnewydd, Caerdydd. CF24 0TP

Wales Permitting Centre (Cardiff), Natural Resources Wales, Cambria House, 29 Newport Road, Cardiff. CF24 0TP

Gwefan/Website
www.cyfoethnaturiolcymru.gov.uk 

Croesewir gohebiaeth yn y Gymraeg a'r Saesneg

www.naturalresourceswales.gov.uk

Correspondence welcomed in Welsh and English
PAGE  
2 IF  "" = "" "" "

Cont/d.."

Cont/d..

c:\documents and settings\enewett\local settings\temporary internet files\olkce\203_08_sd08 more info may 11 (2).doc

[image: image1.jpg]