Permit Reference Number: 
YP3632EM
                                               Operator: 2SFG Sandycroft
Installation: Sandycroft Poultry Processing




Form Number: S2

Reporting of Emissions to Sewer for the period from January 2015 to December 2015
	Emission

Point
	Substance /

Parameter
	Emission Limit Value /(g l-1
	Emission Level 
/(g l-1
	Annual Mass Limit

/g
	Annual Mass Release

/g

	S1
	Mercury
	5
	0
	50
	0

	

	Emission

Point
	Substance /

Parameter
	Maximum /mg l-1
	Minimum /mg l-1
	Average /mg l-1
	Number of Results

	
	
	Value
	Date
	Value
	Date
	
	

	S1
	Chemical Oxygen Demand (COD)
	1238
	22-2-15
	863
	16-8-15
	1095
	                412


	Emission Point
	Average Effluent Flow

m3 day-1

	S1
	716


	Operator’s comments :




Signed …………………………………………………………….  

Date………………………..




(authorised to sign as representative of the Operator)

Permit Reference Number: YP3632EM




Operator: 2SFG Sandycroft
Installation: Sandycroft Poultry Processing




Form Number: WU1

Reporting of Water Usage for the period from ………January 2015………….to……December 2015……………

	Water Source
	Usage

(m3)
	Specific Usage 

(m3/t)
	
	Trends in Water Usage

	
	
	
	
	Period
	Parameter

	
	
	
	
	
	Named 

Water source
	Total 

Water usage
	Water per tonne product

	Potable water
	300542
	4.58
	
	
	
	
	

	Non-potable water
	n/a
	n/a
	
	2014
	Mains Supply 
	300542
	4.58

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	TOTAL WATER USAGE
	300542
	4.58
	
	
	
	
	


	Operator’s comments :




 b
Signed …………………………………………………………….  

Date………………………..




(authorised to sign as representative of the Operator)

Permit Reference Number:    YP3632EM             


             Operator: 2SFG Sandycroft
Installation: Sandycroft Poultry Processing




Form Number: R1

Reporting of Waste Disposal and Recovery for the year 2015
	Waste

Description
	Disposal
	Recovery
	
	Trends in Waste Disposal and Recovery

	
	Route
	Tonnes
	Tonnes
	
	Year
	Parameter

	
	
	
	
	
	
	Named 

Waste
	Total 

Waste
	Waste per tonne product

	1) Hazardous Wastes
	R
	2.11
	1.78
	
	2015
	
	14023.95
	0.1987

	Total hazardous waste
	
	
	1.78
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	D
	3019.441
	
	
	
	
	
	

	2) Non-Hazardous Wastes
	R
	
	10002.40
	
	
	
	
	

	Total non-hazardous waste
	
	
	13021.14
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	TOTAL WASTE
	-
	
	13023.18
	
	
	
	
	


	Operator’s comments :




Signed …………………………………………………………….  

Date………………………..




(authorised to sign as representative of the Operator)

Permit Reference Number: 
YP3632EM



            Operator: 2SFG Sandycroft 
Installation: Sandycroft Poultry Processing




Form Number: E1

Reporting of Energy Usage for the year 2015
	Energy Source
	Energy Usage
	CO2
Produced

(tonnes)
	
	Trends in Energy Usage

	
	Quantity
	Primary Energy

(MWh)
	
	
	Year
	Parameter

	
	
	
	
	
	
	Primary Energy usage
	CO2

 produced
	CO2 per tonne product

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	2014
	38738.836
	34873
	0.53

	Electricity *
	11746.69
	30541.39
	14116
	
	
	
	
	

	Natural Gas
	N/A
	N/A
	N/A
	
	
	
	
	

	Gas Oil ( Kerosene)
	773.344
	8197.44
	20757
	
	
	
	
	

	Heavy Fuel Oil
	N/A
	N/A
	N/A
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	TOTAL
	12520.034
	38738.836
	34873
	
	
	
	
	

	
	
	
	
	
	
	
	
	


* Conversion factor for delivered electricity to primary energy = 2.6

	Operator’s comments :




Signed …………………………………………………………….  

Date………………………..




(authorised to sign as representative of the Operator)

Permit Reference Number: 
YP3632EM


                        Operator: 2SFG Sandycroft 
Installation: Sandycroft Poultry Processing




Form Number: PI1

Reporting of Performance Indicators for the year 2015
	Annual Production/Treatment

	Production of poultry products
	65539 tonnes


Environmental Performance Indicators

	Parameter
	Q1
	Q2
	Q3
	Q4
	Units
	
	Trends in Environmental Performance

	Refrigerant consumption
	2958
	1225
	1782.5
	1308
	kg year-1
	
	Year
	Refrigerant consumption
	COD
	Water usage

	Chemical Oxygen Demand (COD)
	8.771
	7.940
	7.627
	7.825
	tonnes year-1
	
	2015
	1055
	     32.163
	6.67ave/bird

	Water usage
	6.59
	6.48
	6.36
	7.25
	Litres/bird
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	


	Operator’s comments :




Signed …………………………………………………………….  

Date………………………..




(authorised to sign as representative of the Operator)

