WATER MINIMISATION REPORT
KELLOGG COMPANY OF GREAT BRITAIN LTD
Date: March 2016
Contents

1. Introduction

2. Description of current water usage on site
3. Review of water usage over the last 5 years
4. Water Management Plan

5. Summary
Introduction

This document contains a summary of the water use efficiency audits undertaken over the past five years. The report includes reference to work already carried out to optimise or reduce water usage and future feasibility investigations for further reductions in water usage. 

Description of current water usage on site
The Water Management Program incorporates all the water used throughout the plant in the following ways:

· Mains incoming water
· Raw water
There are two types of water used on the Wrexham site: potable which is primarily used for all manufacturing processes including site and plant cleaning, the raw water is only used for process equipment cooling.

Review of water usage over the last four years
Total commitment from senior management - KPI’s on water use per unit of product produced along with other key environmental measures are reviewed at weekly and monthly senior management meetings. Resources have been allocated to undertake investigations into water reduction and water use efficiency projects.

The Organisation has joined the FDF (Food & Drink Federation) commitment to a 20% water reduction by 2020 based on 2007 usage as well as the Kellogg Global Environmental commitment to reduce water usage by 20% by 2015 compared to 2005 per unit of finished product – both of these targets have been met.

Consultants undertook survey in 2011 into water use on the site with particular emphasis on CIP optimisation. Improvements have been made to CIP systems from previous studies such as by reducing the amount of water used in clean in place programmes in key process areas by replacing the conventional flushing methods with directional spray balls which direct the water for a more effective clean, modification of the systems controlling the CIP process has led to a more effective cleaning regime.

The demand for hot water and steam has reduced over recent years due to the removal of redundant process and packing equipment and as such the requirement for cleaning is no longer required. Further reduction in water use has been realised due to improvements in cleaning efficiency and better use of detergents. 

The table one below shows a review of water usage over the last 5 years in relation to raw water and mains water:
Table one:  Water usage 2011 - 2015

	Year
	Raw Water (M3) (A)
	Mains Water (M3)
(B)
	Total Water (M3)
(C)
	Production (Tonnage)

(D)
	Raw Water m3 per tonne of production

Ratio
	Mains Water m3 per tonne of production

Ratio
	Total Water m3 per tonne of production

Ratio

	2011
	21741
	444566
	466307
	95546
	0.2
	4.7
	4.9

	2012
	52533
	371291
	423824
	89086
	0.6
	4.2
	4.8

	2013
	33245
	342414
	375659
	72462
	0.5
	4.7
	5.2

	2014
	29322
	293530
	322852
	69746
	0.4
	4.2
	4.6

	2015
	19792
	205170
	224962
	67319
	0.3
	3.0
	3.3


As can be noted from the above table the water minimisation has been successful over the past five years with a total decrease in water usage of 51.8%.  This decrease is mainly due to the closure of one for the production plants and the decrease in production volume.   

3. Water Management Plan
An energy and water group has been formed with the groups objective to develop key action plans to ensure continuous improvement of utilities consumption.
The amount of water utilized at the plant is monitored through the weekly meter readings. The demand and consumption are noted in a data maintained by the site services department and used for the Key Performance Indicators (KPI’s) which are reported every weekly.

Key action plans for each utility including water are being developed to ensure that the company meets both internal objectives and the corporate sustainability targets.
Summary
In summary the total water consumption for the Wrexham plant between 2011 to 2015 has reduced by 51.8%.  Despite the fact that total kilos produced has reduced by 29.5% which has led to more clean ups and shorted production runs. Our water management plan and continuous improvement program is aimed at meeting our sustainability targets.
PAGE  
1

