	Applied at:

Glanbia Cheese Ltd, Llangefni
	
[image: image1.wmf]
	EA/P.2
	Page:

1 of 1

	Procedure: Sampling of Site Surface Water Discharges
	
	Issue Number:

4
	Issue Date:

05.01.16

	Prepared by: R.Williams
	
	Approved by: 

B. Walkden


Environmental Procedure: Monitoring & Sampling of Site Surface  Water Discharge

Reference No. – E.A. / P.2 
Objective: Routine Sampling of Surface Water Discharges from Site.
Operator Responsible: Environmental Department

Inspection Procedure: The Environmental Team shall visually inspect the streams running either side of the site, these will be carried out daily am & pm and recorded on the environmental check sheet ENMM / 02. Any unusual or suspect discharges shall be investigated further and shall be recorded on environmental check sheet ENMM / 02. 
Sampling / testing of the E.A.’s consented discharge point will be carried out at least every 3 months. Tests will include all the consented parameters.  If results show a breach of consent, complete schedule 1 part A and send to Natural Resources Wales within 24 hours, part B to be completed as soon as practical and sent to Natural Resources Wales, a re-sample must be taken and sent for testing with the independent contractor.
Sampling Procedure: Wherever possible, samples should be taken from regions of high turbulence and good mixing, usually at the centre of a discharge.

 Samples from channels should be collected away from the sides and invert to avoid contamination of the sample by sediment and biological growths.

Sample bottles must be clean and appropriate for the analytical tests that will subsequently be undertaken. The sampling container must be rinsed with the flow to be sampled prior to any bottle(s) being filled and the can should be free of any contamination.

Sample bottles must be made clearly identifiable as soon as possible after the sample is collected e.g. marked with permanent marker or labelled at time of sampling.

_999592022.doc
[image: image1.png]C

glanbia

CHEESE







