# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for Lyndhurst operated by Mr John Turner.

The application number is PAN-005120

The permit number is EPR/BB3394HK

The permit regulates a new discharge of secondary treated sewage effluent; a maximum of 1. 5 m3/day, treated by a new British Standard package treatment plant and discharging into the Mill Reen via a perforated pipe. The system serves a private 4-bed dwelling.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Consultation |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. |  |
| ### Responses to consultation and web publicising | The web publicising and consultation responses were taken into account in the decision. No responses were received from web publicising. The decision was taken in accordance with our guidance. |  |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. |  |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. |  |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. |  |
| Biodiversity, Heritage, Landscape and Nature Conservation and a designated site under the CRoW Act. | The application is within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat . A full assessment of the application and its potential to affect the site has been carried out as part of the permitting process. We have taken the decision to issue a descriptive permit rather than one inclusive of numeric limits in line with our risk based approach outlined in the NRW guidance document OI 01_13. This document states that private discharges of <5m3/day should be controlled by descriptive permits unless there are exceptional circumstances, which we do not consider to be the case with this application. It should also be noted that the inclusion of numeric limits on our permits would hold the expectation of compliance monitoring. Small domestic discharges of <5m3/day are exempt from annual subsidence fees meaning that funding for compliance monitoring by NRW does not exist. Having a descriptive permit will ensure that NRW’s approach to the issue of permits is consistent throughout all applications. In addition to the requirement of a British Standards Package treatment plant, the applicant will also install a perforated pipe which is stated as a limit on the activity in the permit. This will aid in the reduction of final effluent discharged to the SSSI during dry periods. It should be noted that the operator is making an improvement to the current situation by replacing a cesspit with a package treatment plant. It is also anticipated that the relatively small discharge volume of 1.5m3/day will be greatly diluted and dispersed within the reen. With the above in mind, we consider that the application will not affect the features of the site. |  |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have carried out a risk assessment on behalf of the operator. The operator considers this risk assessment is satisfactory. The assessment shows that, applying the conservative criteria in our guidance on Environmental Risk all emissions may be categorised as environmentally insignificant. |  |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility. |  |
| The permit conditions |  |  |  |
| Considerations of foul sewer | We agree with the operators justification for not connecting to foul sewer. |  |
| Operator Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” |  |