[image: image2.jpg]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales





Permit with introductory note

The Environmental Permitting (England & Wales) Regulations 2016
OHES Environmental Limited
Surface water remediation interceptors treating affected rainfall discharge associated with the Llangennech train derailment 

Llangennech

Llanelli

Carmarthenshire

SA14 8YF
Permit number

EPR/CB3599CA
Surface water remediation interceptors treating rainfall discharge associated with the Llangennech train derailment 
Permit Number EPR/CB3599CA
Introductory note

This introductory note does not form a part of the permit

The main features of the permit are as follows.  
The permit regulates 2 passive discharges  (Interceptor 1 Output and Interceptor 2 Output) which are part of the remediation works following the derailment of a goods train carrying heavy oil, which spilt it’s cargo in Llangennech, Llanelli, Carmarthen.  

Treatment is by 2 bespoke interceptors, one on each discharge, and sized according to flow rate of that discharge.  The discharges are to be made to the lower tidal section of the Afon Morlais, which flows into the Loughor River/ upper reaches of the Burry Inlet.

The monitoring required in the permit will be completed in conjunction with other agency monitoring requirements required for protection of the shellfish beds and will run to the same time frame. At which point, NRW will be supplied with a report analysing sample data to inform a review of the permit to ensure it’s fit for purpose.
The status log of the permit sets out the permitting history, including any changes to the permit reference number.
	Status log of the permit

	Description
	Date
	Comments

	Application PAN-012700
	Duly made 25/01/2021
	Application for discharge of trade effluent consisting of remediated site drainage.

	Permit determined
	11/07/2022
	Permit issued to OHES Environmental Limited


End of introductory note

	Permit


The Environmental Permitting (England and Wales) Regulations 2016
Permit number 

EPR/CB3599CA
The Natural Resources Body for Wales (“Natural Resources Wales”) authorises, under regulation 13 of the Environmental Permitting (England and Wales) Regulations 2016 
OHES Environmental Limited (“the operator”),

whose registered office is

80 Station Parade 
Harrogate

North Yorkshire

England

HG1 1HQ

company registration [04320201] 
to operate a water discharge activity at

Llangennech

Llanelli

Carmarthenshire

SA14 8YF
to the extent authorised by and subject to the conditions of this permit.

	Name
	Date

	Melissa Broad
	11/07/2022


Authorised on behalf of Natural Resources Wales
Conditions 

1 Management
1.1 General management

1.1.1 The operator shall manage and operate the activities:

(a) in accordance with a written management system that identifies and minimises risks of pollution, including those arising from operations, maintenance, accidents, incidents, non-conformances and those drawn to the attention of the operator as a result of complaints; and

(b) using sufficient competent persons and resources.
1.1.2 Records demonstrating compliance with condition 1.1.1 shall be maintained. 

1.1.3 Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of it kept at or near the place where those duties are carried out.

2
Operations
2.1
Permitted activities

2.1.1
The operator is only authorised to carry out the activities specified in schedule 1 table S1.1 (the “activities”). 

2.2
The site 

2.2.1
The activities shall not extend beyond the site, being the land shown edged in green and the discharges shall be made at the points marked on the site plan at schedule 7 to this permit and as listed in table S3.2 (discharge points). 

2.3
Operating techniques

2.3.1
(a)
The activities shall, subject to the conditions of this permit, be operated using the techniques and in the manner described in the documentation specified in schedule 1, table S1.2, unless otherwise agreed in writing by Natural Resources Wales.


(b)
If notified by Natural Resources Wales that the activities are giving rise to pollution, the operator shall submit to Natural Resources Wales for approval within the period specified, a revision of any plan or other documentation (“plan”) specified in schedule 1, table S1.2 or otherwise required under this permit which identifies and minimises the risks of pollution relevant to that plan, and shall implement the approved revised plan in place of the original from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

3
Emissions and monitoring
3.1
Emissions to water

3.1.1
There shall be no point source emissions to water except from the sources and emission points listed in schedule 3.

3.1.2
The limits given in schedule 3 shall not be exceeded.

3.2 Emissions of substances not controlled by emission limits

3.2.1 Emissions of substances not controlled by emission limits (excluding odour) shall not cause pollution. The operator shall not be taken to have breached this condition if appropriate measures, including, but not limited to, those specified in any approved emissions management plan, have been taken to prevent or where that is not practicable, to minimise, those emissions.

3.3
Monitoring 

3.3.1
The operator shall, unless otherwise agreed in writing by Natural Resources Wales, undertake the monitoring specified in the following tables in schedule 3 to this permit:

(a)          point source emissions specified in tables S3.1 and S3.3.

(b)
surface water or groundwater specified in table S3.4.

3.3.2
The operator shall maintain records of all monitoring required by this permit including records of the taking and analysis of samples, instrument measurements (periodic and continual), calibrations, examinations, tests and surveys and any assessment or evaluation made on the basis of such data.

3.3.3
Monitoring equipment, techniques, personnel and organisations employed for the emissions monitoring programme and the environmental or other monitoring specified in condition 3.3.1 shall have either MCERTS certification or MCERTS accreditation (as appropriate), where available, unless otherwise agreed in writing by Natural Resources Wales.

3.3.4
Permanent means of access shall be provided to enable sampling/monitoring to be carried out in relation to the emission points specified in schedule 3 tables S3.1, S3.2, S3.3 and S3.4 unless otherwise agreed in writing by Natural Resources Wales.

3.3.5
Accessible monitoring points shall be provided and maintained to enable the emissions monitoring programme and the environmental or other monitoring to be carried out at the monitoring point(s) specified in table S3.3 and S3.4 of schedule 3 and shown marked on the site plan(s) in schedule 7.

4
Information

4.1
Records
4.1.1 All records required to be made by this permit shall:

(a) be legible;

(b) be made as soon as reasonably practicable;

(c) if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and

(d) be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 6 years from the date when the records were made.
4.1.2
The operator shall keep on site all records, plans and the management system required to be maintained by this permit, unless otherwise agreed in writing by Natural Resources Wales. 

4.2
Reporting
4.2.1
The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.

4.2.2
Within 28 days of the end of the reporting period the operator shall, unless otherwise agreed in writing by Natural Resources Wales, submit reports of the monitoring and assessment carried out in accordance with the conditions of this permit, as follows:

(a)           in respect of the parameters and emission points specified in schedule 4 table S4.1;

(b)           for the reporting periods specified in schedule 4 table S4.1 and using the forms specified in schedule 4 table S4.2; and

(c)           giving the information from such results and assessments as may be required by the forms specified in those tables.

4.3
Notifications
4.3.1
Natural Resources Wales shall be notified without delay following the detection of:

(a) any malfunction, breakdown or failure of equipment or techniques, accident, or  emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution;

(b) the breach of a limit specified in the permit; or 

(c) any significant adverse environmental effects.  

4.3.2
Any information provided under condition 4.3.1 shall be confirmed by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.
4.3.3
Where Natural Resources Wales has requested in writing that it shall be notified when the operator is to undertake monitoring and/or spot sampling, the operator shall inform Natural Resources Wales when the relevant monitoring and/or spot sampling is to take place. The operator shall provide this information to Natural Resources Wales at least 14 days before the date the monitoring is to be undertaken.

4.3.4
Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules: 

Where the operator is a registered company:
(a) any change in the operator’s trading name, registered name or registered office address; and

(b)
any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:
(a) any change in the operator’s name or address; and

(b) any steps taken with a view to the dissolution of the operator.

4.3.5
Where the operator proposes to make a change in the nature or functioning, or an extension of the activities, which may have consequences for the environment and the change is not otherwise the subject of an application for approval under the Regulations or this permit:

(a)
Natural Resources Wales shall be notified at least 14 days before making the change; and


(b)
the notification shall contain a description of the proposed change in operation. 

4.4
Interpretation
4.4.1
In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.

4.4.2
In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “without delay”, in which case it may be provided by telephone. 

Schedule 1 - Operations 

	Table S1.1 Activities

	Activity reference
	Description of activity
	Limits of specified activity

	A1 Interceptor 1 Output
	Discharge of trade effluent consisting of site drainage via Interceptor 1 Output and Interceptor 2 Output 
	N/A

	A2 Interceptor 2 Output
	
	


	Table S1.2 Operating techniques

	Activity reference
	Description of documentation
	Parts
	Date Received

	A1
	CL5 Surface water Sampling
FJ_7248 Llangennech – Monitoring for Permit Compliance v2

	All

All
	13/05/2022
06/07/2022



	A2
	
	
	


Schedule 2 - Waste types, raw materials and fuels

Wastes are not accepted as part of the permitted activities and there are no restrictions on raw materials or fuels under this schedule.

Schedule 3 – Emissions and monitoring

	Table S3.1 Point Source emissions to water (other than sewer) – emission limits and monitoring requirements discharge Interceptor 1 (Northern Ditch)

	Discharge source and discharge point ref. & location
	Parameter  
	Limit (including unit)
	Reference Period
	Limit of effective range
	Monitoring frequency
	Compliance Statistic

	A1 Trade effluent consisting of remediated ground and surface water via Interceptor 1 Output
	Mercury
	N/A
	Instantaneous (spot sample) 
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	Hexachlorobutadiene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	Barium
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	Pyrene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	Chysene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	Chloromethane
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	Chloroethane
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	1,1-Dichloroethene (1,1 DCE)
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	1,1-Dichloropropene  
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	1,2,3 Trichloropropane
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	1,2 Dibromoethane
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	Sum of 1,2,3-Trichlorobenzene and 1,2,4-Trichlorobenzene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	Monthly
	No significant trace

	
	pH
	6 to 9
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	Fluoranthene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	Manganese
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	Benzo(a)pyrene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	1,2,3-Trichlorobenzene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	1,2,4-Trichlorobenzene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	2-Chlorotoluene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	Bromomethane
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	Trichlorofluoromethane
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	trans-1-3-Dichloropropene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	cis-1-3-Dichloropropene also (Z) -1-3-Dichloropropene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	Bromobenzene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	4-Isopropyltoluene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A


	Table S3.1 Point Source emissions to water (other than sewer) – emission limits and monitoring requirements discharge Interceptor 2 (Southern Ditch)

	Discharge source and discharge point ref. & location
	Parameter  
	Limit (including unit)
	Reference Period
	Limit of effective range
	Monitoring frequency
	Compliance Statistic

	A2 Trade effluent consisting of remediated ground and surface water via Interceptor 2 Output
	Hexachlorobutadiene 
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	Manganese  
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	Chloromethane 
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	Chloroethane
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	1,1-Dichloroethene (1,1 DCE)
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	1,1-Dichloropropene 
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	1,2-Dibromoethane 
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	Sum of 1,2,3-Trichlorobenzene and 1,2,4-Trichlorobenzene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	See Operating Technique in Table S1.2 

	
	Fluoranthene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	Benzo(a)pyrene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	1,2,3-Trichlorobenzene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	1,2,4-Trichlorobenzene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	Mercury
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	Pyrene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	Chrysene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	2-Chlorotoluene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	Bromomethane
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	Trichlorofluoromethane
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	trans-1-3-Dichloropropene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	cis-1-3-Dichloropropene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	Bromobenzene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	4-Isopropyltoluene
	N/A
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	pH
	6 to 9
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A

	
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	Monthly
	N/A


	Table S3.2 Discharge points

	Effluent Name
	Discharge Point
	Discharge point NGR
	Receiving water/Environment



	A1
	Interceptor 1 Output
	SN 57030 01984
	Afon Morlais

	A2
	Interceptor 2 Output 
	SN 57060 01961


	


	Table S3.3 Monitoring points

	Effluent(s) and discharge point(s)
	Monitoring type
	Monitoring point NGR
	Monitoring point reference

	A1
	Effluent monitoring 
	SN 57030 01984
	Interceptor 1 Output

	A2
	Effluent monitoring
	SN 57060 01961
	Interceptor 2 Output 

	SW5 (Morlais Upstream)
	Environmental monitoring
	SN 56283 01947


	SW5 (Morlais Upstream)

	SW3 (Morlais Downstream) 
	Environmental monitoring
	SN 57327 01711 


	SW3 (Morlais Downstream) 

	Southern Ditch Up-Gradient 
	Environmental monitoring
	SN 57144 02033
	Southern Ditch Up-Gradient 


	Table S3.4 Surface water monitoring requirements

	Location or description of monitoring points
	Parameter  
	Reference Period
	Monitoring standard or method
	Other specifications

	SW5 (Morlais Upstream)
SN 56283 01947

SW3 (Morlais Downstream) 
SN 57327 01711 

Southern Ditch Up-Gradient 
SN 57144 02033
	Mercury
	Instantaneous (spot sample)
	Monthly
	N/A

	
	Hexachlorobutadiene
	Instantaneous (spot sample)
	Monthly
	N/A

	
	Barium
	Instantaneous (spot sample)
	Monthly
	N/A

	
	Pyrene
	Instantaneous (spot sample)
	Monthly
	N/A

	
	Chysene
	Instantaneous (spot sample)
	Monthly
	N/A

	
	Chloromethane
	Instantaneous (spot sample)
	Monthly
	N/A

	
	Chloroethane
	Instantaneous (spot sample)
	Monthly
	N/A

	
	1,1-Dichloroethene (1,1 DCE)
	Instantaneous (spot sample)
	Monthly
	N/A

	
	1,1-Dichloropropene  
	Instantaneous (spot sample)
	Monthly
	N/A

	
	1,2,3 Trichloropropane
	Instantaneous (spot sample)
	Monthly
	N/A

	
	1,2 Dibromoethane
	Instantaneous (spot sample)
	Monthly
	N/A

	
	Visible oil or grease
	Instantaneous (spot sample)
	Monthly
	N/A

	
	pH
	Instantaneous (spot sample)
	Monthly
	N/A

	
	Fluoranthene
	Instantaneous (spot sample)
	Monthly
	N/A

	
	Benzo(a)pyrene
	Instantaneous (spot sample)
	Monthly
	N/A

	
	1,2,3-Trichlorobenzene
	Instantaneous (spot sample)
	Monthly
	N/A

	
	1,2,4-Trichlorobenzene
	Instantaneous (spot sample)
	Monthly
	N/A

	
	2-Chlorotoluene
	Instantaneous (spot sample)
	Monthly
	N/A

	
	Bromomethane
	Instantaneous (spot sample)
	Monthly
	N/A

	
	Trichlorofluoromethane
	Instantaneous (spot sample)
	Monthly
	N/A

	
	trans-1-3-Dichloropropene
	Instantaneous (spot sample)
	Monthly
	N/A

	
	cis-1-3-Dichloropropene also (Z) -1-3-Dichloropropene
	Instantaneous (spot sample)
	Monthly
	N/A

	
	Bromobenzene
	Instantaneous (spot sample)
	Monthly
	N/A

	
	4-Isopropyltoluene
	Instantaneous (spot sample)
	Monthly
	N/A


Schedule 4 – Reporting

Determinands, for which reports shall be made, in accordance with conditions of this permit, are listed below.

	Table S4.1 Reporting of monitoring data

	Activity reference
	Determinand
	Monitoring point reference
	Reporting period
	Period begins

	A1
	Mercury

Hexachlorobutadiene

Barium

Pyrene

Chysene

Chloromethane

Chloroethane

1,1-Dichloroethene (1,1 DCE)

1,1-Dichloropropene  

1,2,3 Trichloropropane

1,2 Dibromoethane

Visible oil or grease

pH

Fluoranthene

Benzo(a)pyrene

1,2,3-Trichlorobenzene

1,2,4-Trichlorobenzene

2-Chlorotoluene

Bromomethane

Trichlorofluoromethane

trans-1-3-Dichloropropene

cis-1-3-Dichloropropene also (Z) -1-3-Dichloropropene

Bromobenzene

4-Isopropyltoluene
	Interceptor 1 Output 
	Updated conceptual site  model  (CSM)  and  risk assessment report to be provided no later than 6 months after 30/11/2023
Or 
Report to be provided to Natural Resources Wales upon request
	From date of permit issue and/or
continuation of current monitoring scheme if applicable.


	A2
	Hexachlorobutadiene 

Manganese  

Chloromethane 

Chloroethane

1,1-Dichloroethene (1,1 DCE)

1,1-Dichloropropene 

1,2-Dibromoethane 

Total of Trichlorobenzene 

Fluoranthene

Benzo(a)pyrene

1,2,3-Trichlorobenzene

1,2,4-Trichlorobenzene

Mercury

Pyrene

Chrysene

2-Chlorotoluene

Bromomethane

Trichlorofluoromethane

trans-1-3-Dichloropropene

cis-1-3-Dichloropropene

Bromobenzene

4-Isopropyltoluene

pH

Visible oil or grease
	Interceptor 2 Output 
	Updated conceptual site  model  (CSM)  and  risk assessment report to be provided no later than 6 months after 30/11/2023
Or 

Report to be provided to Natural Resources Wales upon request
	From date of permit issue and/or

continuation of current monitoring scheme if applicable.



	SW5 (Morlais Upstream)
SN 56283 01947

SW3 (Morlais Downstream)
SN 57327 01711 

Southern Ditch Up-Gradient SN 57144 02033
	Mercury

Hexachlorobutadiene

Barium

Pyrene

Chysene

Chloromethane

Chloroethane

1,1-Dichloroethene (1,1 DCE)

1,1-Dichloropropene  

1,2,3 Trichloropropane

1,2 Dibromoethane

Visible oil or grease

pH

Fluoranthene

Benzo(a)pyrene

1,2,3-Trichlorobenzene

1,2,4-Trichlorobenzene

2-Chlorotoluene

Bromomethane

Trichlorofluoromethane

trans-1-3-Dichloropropene

cis-1-3-Dichloropropene also (Z) -1-3-Dichloropropene

Bromobenzene

4-Isopropyltoluene
	SW5 (Morlais Upstream) and SW3 (Morlais Downstream) and Southern Ditch Up-Gradient 
	Updated conceptual site  model  (CSM)  and  risk assessment report to be provided no later than 6 months after 30/11/2023
Or 

Report to be provided to Natural Resources Wales upon request
	From date of permit issue and/or

continuation of current monitoring scheme if applicable.



	
	
	
	
	


	Table S4.2 Reporting forms

	Activity reference
	Determinand
	Reporting format

	A1
	As listed in table S4.1
	Electronic format specified by Natural Resources Wales

	A2
	As listed in table S4.1
	Electronic format specified by Natural Resources Wales.

	Additional environmental monitoring at SW5 (Morlais Upstream) and SW3 (Morlais Downstream) and Southern Ditch Up-Gradient
	As listed in table S4.1
	Electronic format specified by Natural Resources Wales.




Schedule 5 - Notification 

These pages outline the information that the operator must provide. 

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A 
	Permit Number
	EPR/CB3599CA

	Name of operator
	OHES Environmental Limited

	Location of Facility
	Llangennech, Llanelli, Carmarthenshire, SA14 8YF

	Time and date of the detection 
	


	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution

	To be notified within 24 hours of detection

	Date and time of the event
	

	Reference or description of the location of the event 
	

	Description of where any release into the environment took place
	

	Substances(s) potentially released
	

	Best estimate of the quantity or rate of  release of substances
	

	Measures taken, or intended to be taken, to stop any emission
	

	Description of the failure or accident.
	


	(b) Notification requirements for the breach of a limit

	To be notified within 24 hours of detection unless otherwise specified below

	Emission point reference/ source
	

	Parameter(s)
	

	Limit
	

	Measured value and uncertainty
	

	Date and time of monitoring
	

	Measures taken, or intended to be taken, to stop the emission
	


	Time periods for notification following detection of a breach of a limit

	Parameter
	Notification period

	
	

	
	

	
	


	(c) Notification requirements for the detection of any significant adverse environmental effect

	To be notified within 24 hours of detection

	Description of where the effect on the environment was detected
	

	Substances(s) detected
	

	Concentrations of substances detected
	

	Date of monitoring/sampling
	


Part B - to be submitted as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	

	The dates of any unauthorised emissions from the facility in the preceding 24 months.
	


	Name*
	

	Post
	

	Signature
	

	Date
	


* authorised to sign on behalf of the operator
Schedule 6 - Interpretation 

“accident” means an accident that may result in pollution.

“annually” means once every year.
“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

“emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the activities, which are not controlled by an emission or background concentration limit.
“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2016 No.1154 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.

“groundwater” means all water, which is below the surface of the ground in the saturation zone and in direct contact with the ground or subsoil.
“Natural Resources Wales” means the Natural Resources Body for Wales established by article 3 of the Natural Resources Body for Wales (Establishment) Order 2012. The Natural Resources Body for Wales (Functions) Order 2013 transferred the relevant functions of the Countryside Council for Wales, and functions of the Environment Agency and the Forestry Commission in Wales to the Natural Resources Body for Wales.  
“quarter” means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.

“year” means calendar year ending 31 December.

Schedule 7 - Site plan

[image: image1.png]hech KX

ya o
] : /\Smm,,. Diteh Upstream

dustrial Pk ./

o 5w (Morlis Upstream) merceptor 1 Outpu =5 \

#

Interceptor 2 Output

=
LLANGENNECH

SW3 (Morlais Downstream)

[
'SURFACE WATER DISCHARGE
PERMIT - SAMPLING LOCATIONS.

|1orosa022| xe

Adler;
/ \\'Allan





© Crown Copyright and database right 2022. Ordnance Survey licence number 100019741.
END OF PERMIT

PAGE  
	Permit Number EPR/CB3599CA
	  Page ii
-  -
- ii -
- ii -ii 
	



[image: image2.jpg]