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Permit Reference Number: SP3430RL






Operator: 2 Sisters Food Group .
Installation: Llangefni 






Form Number: S2
Reporting of Emissions to Sewer for the period from 01.01.17 to 31.03.17
	Emission Point
	Substance / Parameter
	Emission Limit Value/(g l-1
	Emission Level

/(g l-1
	Annual Mass Limit

/g
	Annual Mass Release

/g

	S1
	Mercury
	3
	0
	30
	0


	Emission Point
	Substance / Parameter
	Maximum /mg l-1
	Minimum /mg l-1
	Average /mg l-1
	Number of Results

	
	
	Value
	Date
	Value
	Date
	
	

	S1
	Chemical Oxygen Demand (COD)
	1200
	15.02.17
	61
	02.02.17
	717.9
	86


	Emission Point
	Average Effluent Flow 

m3 day-1

	S1
	819.84
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Signed ……………………………………………………………………………….

Date ……22.08.17…………………………..


(authorised to sign as representative of the Operator)

Operator’s Comments: Effluent Plant running within Discharge Consent levels 








SP3430RL

