Schedule 1 - Notification of abnormal emissions
These pages outline the information that the operator must provide. To satisfy conditions 5.11 and 5.1.2 of this permit.
Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the PPC Regulations.

Part A 
	Permit Number
	EPR/SP3430RL

	Name of operator
	2 Sisters Food Group Llangefni

	Location of Installation
	Llangefni

	Location of the emission
	New  Factory 

	Time and date of the detection 
	0900 29/03/2017 


	Substance(s) emitted
	Media
	Best estimate of the quantity or the rate of emission
	Time during which the emission took place

	Wash water from factory  cleaning process
	Water based
	Small quantity of wash water washed through the door way during the hygiene cleaning process. Low volume run off from factory through door void
	0500 - 0600

	
	
	
	


	Measures taken, or intended to be taken, to stop the emission
	Re-education of the night hygiene team with clear instruction of correct disposal with wash water to be contained within factory.


Part B - to be submitted as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	No

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	Investigating door construction to install bottom door strip to prevent similar incident, also looking to access of daff plant drain (ref drain survey)

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	Low volume emission. Which is unlikely to have any environmental impact

	The dates of any unauthorised emissions from the installation in the preceding 24 months.
	Will follow up following review.


	Name*
	Phillip McGrath

	Post
	Health, Safety and Environmental Manager

	Signature
	

	Date
	05/04/17


* authorised to sign on behalf of 2 Sister Poultry Ltd.
