Permit and introductory note: the PPC Regulations Schedule 1 - Notification of abnormal emissions

Schedule 1 - Notification of abnormal emissions

This page outlines the information that the Operator must provide to satisfy conditions 5.1.1 and 5.1.2 of this Permit.

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the PPC Regulations.

Part A

	 Permit Number
	AP3833HZ

	 Name of Operator
	2 Sisters Food Group 

	 Location of Installation
	Industrial Trading Estate , Llangefni , LL77 7UX

	 Location of the emission
	     Site rear yard

	 Time and date of the emission
	   08:00 on 01.12.16


	 Substance(s) emitted
	Media
	Best estimate of the quantity or the rate of emission
	Time during which the emission took place

	 Pump water odour
	 Air
	Unknown 
	08:00 to 17:00

	
	
	
	


	Measures taken, or intended to be taken to stop the emission
	 Kill stopped, pump replaced


Part B

	Any more accurate information on the matters for notification under Part A
	Failure of both the main and back up pump caused the waste water to fail to be pumped to the balance tank causing a flooding in the yard area, there was the POTENTIAL for odour, but due to the cold temperatures and the ‘freshness’ of the water, no odour was evident,

	 Measures taken, or intended to be taken, to

 prevent a recurrence of the incident
	The spill was contained in the lairage area and PAR contractors called out to clean up

	 Measures taken, or intended to be taken, to rectify,

 limit or prevent any pollution of the environment or

 harm which has been or may be caused by the

 emission
	A, All production stopped
B, Donkey pump connected to provide pumping services until new pump couriered to site to allow production to resume

C, Pump replaced

	 The dates of any unauthorised emissions from the

 installation in the preceding 24 months.
	 26.06.15 – minor odour smell.


	Name*
	Steve Jones 

	Post
	Interim Health , Safety and Environmental Manager 

	Signature
	

	Date
	01.12.16


* authorised to sign on behalf of 2 Sisters Food Group LTD

