[image: image1.png]Environment first: This publication is printed on paper made from
’I’ 100 per cent previously used waste. By-products from making the pulp
and paper are used for composting and fertiliser, for making cement and for
generating energy.




[image: image2.jpg]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




	[image: image3.emf]Licence serial number
	Licence_Number


 

     Please quote the serial number in all correspondence about this licence    

[image: image4.jpg]° Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




[image: image5.emf]
[image: image6.emf]
LICENCE TO IMPOUND WATER
The Natural Resources Body for Wales (hereafter referred to as “NRW”) grants this licence to:-
Natural Resources Wales (“the Licence Holder”)
Tŷ Cambria  

29 Newport Road  

Cardiff  

CF24 0TP

This licence authorises the Licence Holder to obstruct or impede the flow of the inland water described in the Schedule of Conditions (to extent and manner authorised by those conditions) to this licence and subject to the provisions of that Schedule. The licence commences from the effective date shown below and shall remain in force until revoked.
	Signed:

John Wheadon
Permitting Service Manager,  

Policy and Permitting  
Natural Resources Wales

Cambria House

29 Newport Road

Cardiff 

CF24 0TP

	Date of issue………………..dd/month/yyyy

	
	Date effective……………….dd/month/yyyy

	
	

	
	

	
	

	
	


This licence should be kept safe and its existence disclosed on any sale of the land and the impounding works to which it relates.
SCHEDULE OF CONDITIONS 
	1. 

1.1


	
	NAME OF INLAND WATER TO BE IMPOUNDED 

Inland water (river) known as Afon Dulais at Llanwrda Weir, Llanwrda, Carmarthenshire.




	2.
 2.1

	
	POINT OF IMPOUNDMENT
At National Grid Reference SN 71396 31618 marked ‘Point A’ on the map.


	3. 

3.1


	
	MANNER AND EXTENT OF IMPOUNDMENT

Impoundment works comprising of alterations to an existing weir, to include a Larinier Fish Pass and Eel Pass, in accordance with the specifications and drawings:
General Arrangement - 277161-ARP-04-XX-DR-XX-0001

Proposed Sections - 277161-ARP-04-XX-DR-XX-0002

Existing Sections - 277161-ARP-04-XX-DR-XX-0003

Details - 277161-ARP-04-XX-DR-XX-0004
Dated 28/02/2022, copies of which are appended to this licence, or such minor amendments to those documents that are accepted in writing by the NRW prior to the date of commencement of construction.


	4. 

4.1

4.2

4.3

4.4

4.5

4.6
4.7

4.8
	
	FURTHER CONDITIONS

For the purpose of this licence, references to ‘impounding works’ shall mean all works that include alterations to an existing weir, to include a Larinier Fish Pass and Eel Pass.
The Licence Holder shall ensure that during construction works, any subsequent maintenance works to the impounding structures, the flow in the River Dulais is allowed to pass downstream unchanged in quantity and quality at all times.
Prior to commencement of the works authorised by this licence, the Licence Holder shall give 28 calendar days’ notice in writing to NRW of their intention to commence the authorised works.
The Licence Holder shall give NRW notice in writing of completion of the works authorised by this licence within 15 calendar days of completion.
The Licence Holder shall construct, operate and maintain the impounding works in accordance with the specifications and drawings referred to in Condition 3.1 of this licence and keep them free from leakage and obstruction at all times.
No works authorised by this licence shall take place during the period from October 15 until April 15 inclusive in any year.
The Licence Holder shall maintain, repair or replace the eel passage structure referred to in condition 3.1 to ensure that it remains effective at all times.

The Licence Holder shall keep records of maintenance, repair or replacement of the eel passage structure referred to in condition 3.1 for 6 years and shall make them available during all reasonable hours for inspection by NRW.




ADDITIONAL INFORMATION
Note: the following information is provided for information only.  It does not form part of the licence.
REASONS FOR CONDITIONS
Conditions 4.1: to ensure the impounding works are constructed, in accordance with the drawings and specifications agreed by NRW during the determination of this licence.

Conditions 4.2 and 4.5: to ensure a flow is maintained in the watercourse in order i) to maintain the riverine habitat for the conservation of the flora and fauna of the watercourse, ii) to safeguard existing protected rights, iii) to protect the interests of existing downstream lawful users of water and iv) to ensure that the water environment is not impacted during construction and subsequent maintenance. 
Condition 4.3 and 4.4: to start NRW’s compliance process.
Condition 4.6: to avoid damage to fish during vulnerable life stages such as spawning,

migration, emergence and early maturation.
Condition 4.7 and 4.8: to ensure compliance with the Eels (England and Wales) Regulations 2009 and allow safe passage of eels and elver within the watercourse.
IMPORTANT NOTES

For the purposes of Conditions 3.1, 4.3 and 4.4 the Licence Holder shall contact:

People and Places Planning Officer 

People and Places Planning Team 

Natural Resource Wales 

Maes Newydd 

Llandarcy 

Neath Port Talbot 

SA10 6JQ  

Tel: 0300 065 3000

Email: PeopleandPlacesSW@cyfoethnaturiolcymru.gov.uk   

Eel passage 

NRW may have regard to its Best Practice Guide, the Eel Manual: Elver & eel Passes (or equivalent guidance) in agreeing where, how and what type of eel pass should be installed and together with the results of any monitoring in determining whether the eel pass is properly effective and maintained, and in judging whether it is necessary to require repair or replacement of the eel pass.

[image: image7.png]i \Bishop =
[
¥,
Gim "
o .
142m
3 it Fig 1,1-2
PW o
Brodawel J »
—] §
= 1Y
] Tacey o®
4]
Llanwrda
o Maesycoe
School e
Point A -

55m
' !
< \
‘'
_ Hall )/ 55m ,
\ @
L
SIm
Issues
o -
- = ¥
Q lssues  _ “Sks
-
-
“ The Old Mill
- A0

eir i

Pentremeurig




[image: image8.png]NOTES: A1

1. DIMENSIONS

e ALL DIMENSIONS IN MILIMETRES AND ALL LEVELS IN
METRES TO ORDANANCE DATUM(NEWLYN) UNLESS STATED
OTHERWISE.

e DONOT SCALE FROM THIS DRAWING. ONLY FIGURED
DIMENSIONS AND LEVELS ARE TO BE USED.

e GROUND LEVELS ARE FROM TOPOGRAPHICAL SURVEY
CARRIED OUT IN 2020 AND SHOULD BE VERIFIED PRIOR TO
CONSTRUCTION

e  PREDICTED WATER LEVELS FROM ANALYSIS OF AVAILABLE
RIVER DATA PROVIDED BY NRW.

2. STRUCTURAL CONCRETE
ALL STRUCTURAL CONCRETE SHOULD BE IN LINE WITH THE
SPECIFICATION
277161-ARP-04-XX-SP-CS-1006

3. GEOTECHNICS

+ + NO GROUND INVESTIGATION HAS BEEN CARRIED OUT.IT IS
ASSUMED THAT THE RIVER BED IS FORMED OF GRANULAR
MATERIAL ON THE BASIS OF VISUAL INSPECTION. THE
CONTRACTOR IS TO CONFIRM THIS PRIOR TO
COMMENCING WORKS AND INFORM THE PROJECT
MANAGER IF THIS IS NOT THE CASE.

PROPOSED RIVER A
ACCESS LOCATION FOR |
CONSTRUCTION

-

SITE BOUNDARY

EEL PASS
PROPRIETARY BERRY AND ESCOTT
EEL TILES ON 2:5 LATERAL SLOPE.
APPROXIMATE 300MM WIDE 17%

4. BIRD/BAT BOXES

LONGITUDINAL PROFILE. ENDS OF N BIRD AND BAT BAT BOXES TO BE PLACED 3-4M ABOVE GROUND FACING
EEL PASS PROFILED TO MARRY WITH BOXES TOBE SOUTH AND AWAY FROM ARTIFICAL LIGHTING. BIRD BOXES
BED INVERT. ADDED TO TREES. TO BE PLACED 3-4M ABOVE GROUND LEVEL. MINIMUM 2 BAT
SEENOTE4 AND 2 BIRD BOXES TO BE PROVIDED. LOCATION TO BE
O " AGREED FOLLOWING LAND OWNER DISCUSSION.
. N
\520%“50“ Rgﬁﬁigg ?g | 5. REFER TO DRAWINGS
L \ﬁ\lpﬁ\ 13 \ 277161-ARP-04-XX-DR-XX-0002
e 7 FACILITATE
' @ TIMBER STEPS ALLOW ACCESS TO WEIR LEVEL. 277161-ARP-04-XX-DR-XX-0003
[T N ACCESS TO THE
& B 2 RIVER | ™. EXACT POSITION TO BE AGREED FOLLOWING LANDOWNER 277161-ARP-04-XX-DR-XX-0004
D A D A DISCUSSION 277161-ARP-04-XX-DR-XX-0011
A B )
E2) ?_’ = P1 SEE DRAWING TD-L-006 277161-ARP-04-XX-DR-XX-0060
2
SOP4 N %
A \ \ THIS DRAWING SHOULD BE READ IN CONJUNCTION WITH ALL
.| RADIUSED UPSTREAM WALLS . OTHER DRAWINGS, SPECIFICATIONS AND CONTRACT DOCUMENTS.
S 5% . \ ACCESS TO PRIVATE N . NOTIFY THE EMPLOYER OF ANY DISCREPANCIES BEFORE
STOP-LOG BOX-OUTS % i ) EZ%ZEE&%% PROGRESSING.
(BOTH CHANNELS) 75MM X
75MM & A ‘%\
EXISTING WEIR TO BE BROKEN OUT TO " N\ SAFETY, HEALTH AND ENVIRONMENTAL
ALLOW FOR CONSTRUCTION OF NEW \ INFORMATION
STRUCTURE. DEMOLITION AND |\ @ o \
TEMPORARY WORKS DESIGNED TO BE f L “ IN ADDITION TO THE HAZARDS/RISKS NORMALLY ASSOCIATED
CARRIED OUT BY SPECIALIST 50 g 1 FRNY WITH THE TYPES OF WORK DETAILED ON THIS DRAWING,
CONTRACTOR =l AR / v \a N NOTE THE FOLLOWING:
_ 1
600MM WIDE SINGLE FLIGHT RN CONSTRUCTION
LARINIER FISH PASS WITH UNKNOWN SURFACE /A\ | STABLLITY OF EXISTING WEIR - POSSIBILITY OF COLLAPSE
100MM HIGH BAFFLES 15% WATER DRAIN OPENING IN A
LONGITUDINAL PROFILE EEL TILES TO CONTINUE ON THIS LOCATION \ A RISK OF SERVICES STRIKE - OVERHEAD ELECTRICITY LINE
\ ) géﬁtg:?ﬂ‘o“’g‘sg a\ PUBLIC INTERACTION - CONSTRUCTION TRAFFIC CROSSING
. A\ PUBLIC ROAD
FLOODWALLSTO ™| % INVASIVE NON-NATIVE SPECIES - JAPANESE KNOTWEED,
EXISTING \ /N
GIANT RHUBARB
PROPERTIES LOW VOLTAGE OVERHEAD CABLE | %
WESTERN POWER DISTRIBUTION | \ DECOMMISSIONING / DEMOLITION
k" STABILITY OF EXISTING WEIR - POSSIBILITY OF COLLAPSE
: ey
+ . 5 + +
" \
_ X 3
\ v \i REFER TO THE DESIGNERS RISK REGISTER FOR FURTHER DETAILS.
LEAT T0 RIGHT BANK NOT " i\ ENTRANCE TO PROPOSED COMPOUND IT IS ASSUMED THAT ALL THE WORKS ON THIS DRAWING WILL BE
TO BE MODIFIED N SEE DRAWING 0011 CARRIED OUT BY A COMPETENT CONTRACTOR WHO HAS CARRIED
OUT A COMPREHENSIVE RISK ASSESSMENT.
SETTING OUT POINTS
EXISTING PENSTOCK ON UNLICENSED ABSTRACTION o SOP EASTING NORTHING
\ w SOP 01 271395848 231622.078
SOP02 | 271398316 231616.617
. " SOP03 | 271396.658 231615.867
AN """ SOP04 | 271394189 231621.328
: % -
I
[ H w 5
—
\ . /
: w /
’i\ + e + K +
H » °
» 5
3 e / SERVICES:
\ o 7 — w— DCWW COMBINED SEWER
2 2 —° /
\ L K — wi— DCWW SURFACE WATER SEWER
’
3 o / — w— WPD OVERHEAD SERVICE (LV)
\ " 5 — w— WPD BURIED SERVICE (LV)
: % o /
\ w7 5
: e /
m\( 5
—
— ‘ﬁg * /
o
= \, /
— ! \ / C01|FOR INFORMATION Js |Ps |RC 1304121
5
% / Rev. | Description Drawn | Chkd. | Appd. | Issue Date
H \ 5 \ \
% / A A\ A\ Cyfoeth
\a ¥ \ 4 gatu riol
e / PIPE CROSSING ymru
_ r'e % \ 5 ; SOFFIT 54.64 Natural ARU P
| \ 4 / \ Resources
% \2 + 5 + + Y + + Wales
\"a \ \:/ ‘\ Project Name.
\ 4 /° SALMON FOR TOMORROW
A \ K PHASE 2
\ a\ / \ LLANWRDA
%‘\ . 5 { NOTES ABOUT STATUTORY UTILITY PROVIDERS' RETURNS Draving Tie.
. \ / THE POSITIONS OF THE EXISTING SERVICES ON THIS DRAWING HAVE BEEN INTERPRETED FROM INFORMATION GENERAL ARRANGEMENT
\ 'y ¥ RECEIVED FROM THE STATUTORY UNDERTAKERS (LINESEARCH 22/01/2020).
Y \ / NO UTILITIES SHOWN ON AVAILABLE STATUTORY UNDERTAKER RECORDS IN PROXIMITY TO PROPOSED WORKS: VIRGIN
§
\ s g MEDIA
s \ F/ THIS DRAWING HAS BEEN PRODUCED BASED ON THE ABOVE INFORMATION SOURCES. STATUTORY UNDERTAKER Suitabity Suitabity Code
\ 5 ; PLANS INDICATED THE PRESENCE OF A UTILITY SERVICE. THEIR LOCATIONS ARE INDICATIVE AND SHOULD NOT BE FOR CONSTRUCTION A
% \ g/ RELIED UPON FOR ACCURACY 8
\ % /° EXACT LOCATIONS OF UTILITIES SHOULD BE CONFIRMED ON SITE. THE CONTRACTOR SHOULD VERIFY, THROUGH Intermal Project Number. Scale Rev.
% \ K POSITIVE IDENTIFICATION, THE LOCATION OF UTILITIES RECORDED IN CLOSE PROXIMITY TO THE WORKS 277161 1:100 co1
0051152 3 4 SMetes \ % /° THE CONTRACTOR SHOULD ANTICIPATE ADDITIONAL SERVICES CONNECTING TO THE PROPERTIES AND/ OR STREET |5
e S % \ K FURNITURE SUCH AS LAMPPOSTS THAT ARE NOT GENERALLY COVERED BY THE RETURNS FROM INDIVIDUAL
Scale 1-100 A\ % / STATUTORY AUTHORITIES 277161-ARP-04-XX-DR-XX-0001

‘THIS DESIGN AND DRAWING IS CONFIDENTIAL AND ALL RIGHTS THEREIN INCLUDING COPYRIGHT AND DESIGN RIGHT ARE THE PROPERTY OF NATURAL RESOURCES
WALES AND SHOULD NOT BE DISCLOSED TO A THIRD PARTY OR REPRODUCED WITHOUT PRIOR CONSENT OF (C ) NATURAL RESOURCES WALES 2021

\\global\europe\Cardiff\Jobs\277000\277 161-00\4 Internal Project Data\4-30 Drawings\4-33 Civi\CD_Drainage\Llanwrda\Drawings\277161 - ARP - 04 - XX - DR - XX - 0001.dwg

URVEY MATERIAL WITH THE PERMISSION OF ORDINANCE SURVEY ON BEHALF OF THE CONTROLLER
'CROWN COPYRIGHT AND DATABASE RIGHTS 2021. LICENSE NUMBER 100019741

THIS MAP IS BASED UPON THE ORDINANCE
OF HER MAJESTY'S STATIONARY OFFICE.



[image: image9.png]UPPER TILE IL=54.05M

LOWER TILE IL=53.85M

vQy =54.00M

325

75

BY ADDITION OF GROUT

/* BED SLOPE INCREASED TO 17%

5590

TOP OF COPING STONE = 54.31M

75MM SQ STOPLOG BOX OUT

TOC =54.11M

¥ Qg = 53.90M

EEL TILES TO MARRY
WITH BED ~ 1:2 SLOPE

(VARIES)

SECTION 01 - LONG SECTION THROUGH EEL PASS
=

250,

400

625

FISH PASS TO BE

CAST DIRECTLY ONTO
BROKEN OUT WEIR AND
BED

PROPRIETARY BERRY & ESCOTT EEL
TILES OR SIMILAR APPROVED TO BE

INSTALLED ACCORDING TO

MANUFACTURER'S INSTRUCTIONS.
SEE DRAWING 0004 FOR DETAILS

\,

REFER TONOTE 2

YN

MASS CONCRETE POURED AT 1:1 SLOPE FROM END OF PASS TO BED
FOR FULL WIDTH OF EEL PASS

PROFILE OF EXISTING WEIR. TO BE
BROKEN OUT TO ALLOW FOR

CONSTRUCTION OF NEW

STRUCTURE. DEMOLITION AND
TEMPORARY WORKS DESIGN TO BE
CARRIED OUT BY SPECIALIST

CONTRACTOR

[ CONCRETE CHANNEL

IL=53.02M

¥ Qyq = 53.29M

A1

NOTES:

1. DIMENSIONS

e ALL DIMENSIONS IN MILIMETRES AND ALL LEVELS IN
METRES (TO ORDANANCE DATUM(NEWLYN)) UNLESS
STATED OTHERWISE.

e DONOT SCALE FROM THIS DRAWING. ONLY FIGURED
DIMENSIONS AND LEVELS ARE TO BE USED.

e GROUND LEVELS ARE FROM TOPOGRAPHICAL SURVEY
CARRIED OUT IN 2020THEY SHOULD BE VERIFIED PRIOR TO
CONSTRUCTION

e  PREDICTED WATER LEVELS FROM ANALYSIS OF AVAILABLE
RIVER DATA PROVIDED BY NRW

2. GEOTECHNICS
NO GROUND INVESTIGATION HAS BEEN CARRIED OUT.IT IS

¥ Qo = 53.17M

ASSUMED THAT THE RIVER BED IS FORMED OF GRANULAR

EEL TILES FIXED TO MASS CONCRETE

SCOURED AREA DOWNSTREAM
OF EXISTING WEIR

MATERIAL ON THE BASIS OF VISUAL INSPECTION. THE
CONTRACTOR IS TO CONFIRM THIS PRIOR TO
COMMENCING WORKS AND INFORM THE PROJECT
MANAGER IF THIS IS NOT THE CASE.

3. CONCRETE.
ALL STRUCTURAL CONCRETE SHOULD BE IN LINE WITH THE
SPECIFICATION 277161-ARP-04-XX-SP-CS-1006

4. COPING STONES
FORM OF COPING STONE TO BE AGREED WITH THE
PROJECT MANAGER AS PER THE WORKS INFORMATION.
FIXING DETAILS AS PER 277161-ARP-04-XX-DR-XX-0004

Y Qo= 54.13M

75MM SQ STOPLOG BOX OUT

TOC =54.31M

150MM RADIUS ON UPSTREAM EDGE —

)

325

1)

5590

GAUGING BOARD TO COVER DEPTH OF CHANNEL
ALIGNED WITH FIRST BAFFLE

TOP OF COPING STONE = 54.31M

TOC =54.11M

GAUGING BOARD TO COVER DEPTH OF CHANNEL
ALIGNED WITH LAST BAFFLE

VQyo = 54.00M

BAFFLE IL = 53.84M

SECTION 02 - LONG SECTION THROUGH FISH PASS
=

SLOPE IL =53.78M /

IL=53.52M

250

400

500\ 1645
1:2 DOWNSLOPE

ALUMINIUM BAFFLES - SEE DRAWING 0004 FOR DETAILS

PROFILE OF EXISTING WEIR. TO BE
BROKEN OUT TO ALLOW FOR
CONSTRUCTION OF NEW

STRUCTURE.

5150

BAFFLE IL=53.12M

IL=53.02M

vQ=5351M

5. REFER TO DRAWINGS
277161-ARP-04-XX-DR-XX-0001
277161-ARP-04-XX-DR-XX-0003
277161-ARP-04-XX-DR-XX-0004
277161-ARP-04-XX-DR-XX-0011

THIS DRAWING SHOULD BE READ IN CONJUNCTION WITH ALL
OTHER DRAWINGS, SPECIFICATIONS AND CONTRACT DOCUMENTS.
NOTIFY THE PROJECT MANAGER OF ANY DISCREPANCIES BEFORE
PROGRESSING.

FISH PASS TO BE

CAST DIRECTLY ONTO
BROKEN OUT WEIR AND
BED

¥ Qyq = 53.28M

IL=51.95M

EXISTING BED PROFILE /

SAFETY, HEALTH AND ENVIRONMENTAL
INFORMATION

IN ADDITION TO THE HAZARDS/RISKS NORMALLY ASSOCIATED
WITH THE TYPES OF WORK DETAILED ON THIS DRAWING,
NOTE THE FOLLOWING:

CONSTRUCTION

A STABILITY OF EXISTING WEIR - POSSIBILITY OF COLLAPSE

ELEVATION 01
[Ea—

200

COPING STONES

EXISTING WEIR

DECOMMISSIONING / DEMOLITION
STABILITY OF EXISTING WEIR - POSSIBILITY OF COLLAPSE

REFER TO THE DESIGNERS RISK REGISTER FOR FURTHER DETAILS.
IT 1S ASSUMED THAT ALL THE WORKS ON THIS DRAWING WILL BE
CARRIED OUT BY A COMPETENT CONTRACTOR WHO HAS CARRIED
OUT A COMPREHENSIVE RISK ASSESSMENT.

SECTION 03 - THROUGH PASS

g

620

300

300

300

PROFILE OF EXISTING WEIR

p——

600MM WIDE ALUMINIUM LARINIER

NATURAL STONE COPINGS - SEE NOTE 4 AND
DRAWING 0004 FOR FIXING DETAIL

NATURAL LOOKING TEXTURED

CONCRETE FINISH (OUTSIDE FACES) TO
BE AGREED WITH PROJECT MANAGER

250

WHERE CHANNEL IS CAST

DIRECTLY NEXT TO CONCRETE
WEIR SEE DETAIL 05 ON
DRAWING 0004

REINFORCED CONCRETE
PARALLEL CHANNELS. FIXED
TO WEIR. CENTERED ABOUT
EXISTING CHANNEL

MODIFIED EEL TILES FIXED INTO 300
WIDE CHANNEL. TILES FIXED ONTO
1:2.5 LATERAL SLOPE.

C01|FOR CONSTRUCTION JS [PS [RC [13/04/21

Rev. | Description Drawn| Chkd. | Appd. | Issue Date

Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales

ARUP

Project Name.
SALMON FOR TOMORROW
PHASE 2

LLANWRDA

Drawing Title.

PROPOSED SECTIONS

Suitabilty. Sutabilty Code.
FOR CONSTRUCTION A
Internal Project Number. Scale. Rev.

277161 AS SHOWN COo1

Drawing Number.

277161-ARP-04-XX-DR-XX-0002

‘THIS DESIGN AND DRAWING IS CONFIDENTIAL AND ALL RIGHTS THEREIN INCLUDING COPYRIGHT AND DESIGN RIGHT ARE THE PROPERTY OF NATURAL RESOURCES
'WALES AND SHOULD NOT BE DISCLOSED TO A THIRD PARTY OR REPRODUGED WITHOUT PRIOR CONSENT OF (C) NATURAL RESOURCES WALES 2021

\\global\europe\Cardiff\Jobs\277000\277161-00\4 Internal Project Data\4-30 Drawings\4-33 CiviNCD_Drainage\Llanwrda\Drawings\277161 - ARP - 04 - XX - DR - XX - 0002_use_recover.dwg

URVEY MATERIAL WITH THE PERMISSION OF ORDINANCE SURVEY ON BEHALF OF THE CONTROLLER

)

THIS MAP IS BASED UPON THE ORDINANCE
OF HER MAJESTY'S STATIONARY OFFICE.

'CROWN COPYRIGHT AND DATABASE RIGHTS 2021. LICENSE NUMBER 100019741




[image: image10.emf]
[image: image11.emf]








Page 4 of 9








MAP ACCOMPANYING LICENCE NUMBER / MAP I GYFEILIO TRWYDDED RHIF


Licence_Number


Scale l Graddfa 1:5,000





© Crown Copyright and database rights Ordnance Survey.Natural Resources Wales, 100019741,2015. © Hawlfraint y Goron a hawl cronfa ddata Arolwg Ordnans.Cyfoeth Naturiol Cymru, 100019741, 2015.


.





Page 5 of 9














Page 6 of 9








Page 7 of 9








Page 8 of 9








Page 9 of 9








Would you like to find out more about us, or about your environment?





Then call us on


 0300 065 3000 (Mon-Fri 9-5)





email


� HYPERLINK "mailto:enquiries@naturalresourceswales.gov.uk" ��enquiries@naturalresourceswales.gov.uk�





or visit our website


� HYPERLINK "http://www.naturalresourceswales.gov.uk" ��www.naturalresourceswales.gov.uk�








incident hotline 0300 065 3000 (24hrs)


floodline 0345 988 1188

















�








Note:
References to "the map" are to the map which forms part of this licence.
References to “NRW” are to the Natural Resources Body for Wales or any successor body.



Environment Act 1995

Water Resources Act 1991 as amended by the Water Act 2003

Water Resources (Abstraction and Impounding) Regulations 2006
Article 3 of the Natural Resources Body for Wales (Establishment) Order 2012

The Natural Resources Body for Wales (Functions) Order 2013

