## Leachate levels
Hafod Quarry - Operational Phase
Environmental Monitoring Report
Leachate Field Monitoring
SamplePoint | Date | Dip to leachate (m) | Leachate head (m) | Comments
MP1b | 2016-04-28 | 36.63 | 5.76
MP2a | 2016-04-28 | 23.24 | 2.12
LC3 | 2016-04-26 | 5.63 | 1.38

## Surface Water
Hafod Quarry - Operational Phase
Environmental Monitoring Report
Surface Waters Analytical Data
Surface Water Point | Date of sampling | Turbidity
NTU
HAF SW 1 | 2016-04-19 | 7.4
HAF SW 1A | 2016-04-19 | 11
HAF SW 2 | 2016-04-19 | 11
HAF SW 3 | 2016-04-19 | 11
HAF SW 4 | 2016-04-19 | 11

## In-waste LFG
Well | Date | CH4 | CO2 | O2 | AP | RP | CO | Valve Position | Data Comments
|  | % | % | % | mb | mb | ppm
HF00M1MA | 2016-04-28 11:16 | 55.3 | 35.4 | 0.2 | 999 | -87.96 | 4 | 100
HF00M1MB | 2016-04-28 10:50 | 56.1 | 34.6 | 0.2 | 1000 | -88.74 | 5 | 100
HF00M2MA | 2016-04-28 11:26 | 44.4 | 29.6 | 0.8 | 1000 | -89.35 | 5 | 100
HF00M2MB | 2016-04-28 11:18 | 44.2 | 31.5 | 0.5 | 999 | -89.19 | 6 | 100
HF00M3MA | 2016-04-25 15:56 | 50.9 | 35.6 | 0.2 | 999 | -74.69 | 3 | 100
HF00M3MB | 2016-04-25 15:28 | 52.5 | 35.4 | 0.3 | 998 | -72.96 | 0 | 100
HF00M4MA | 2016-04-25 16:21 | 50.8 | 37.6 | 0.3 | 998 | -76.3 | 1 | 100
HF00M4MB | 2016-04-25 16:06 | 49.9 | 36.9 | 0.4 | 999 | -75.62 | 7 | 100
HF00M5MA | 2016-04-28 10:33 | 43.4 | 35.5 | 1.2 | 999 | -88.1 | 13 | 100
HF00M5MB | 2016-04-28 10:00 | 44 | 34.9 | 1 | 999 | -85.88 | 15 | 100
HF00M9MA | 2016-04-28 09:54 | 41.2 | 32.2 | 3 | 999 | -84.53 | 2 | 100
HF00M9MB | 2016-04-28 09:44 | 42.9 | 32.1 | 2.9 | 999 | -84.72 | 3 | 100
HF00W001 | 2016-04-28 10:53 | 2.8 | 10.8 | 7.9 | 1000 | -0.14 | 9 | 0
HF00W002 | 2016-04-28 10:52 | 49.5 | 34.2 | 0.1 | 1000 | -88.34 | 5 | 100
HF00W003 | 2016-04-28 10:55 | 60.1 | 33 | 1.2 | 1000 | -34.44 | 4 | 5
HF00W003 | 2016-04-28 10:56 | 58.2 | 35.2 | 1.1 | 1000 | -37.27 | 5 | 10
HF00W004 | 2016-04-28 11:12 | 68.3 | 30.6 | 0.6 | 997 | -87.83 | 5 | 100
HF00W005 | 2016-04-28 09:51 | 50.9 | 37.4 | 0 | 999 | -45.66 | 2 | 15
HF00W006 | 2016-04-25 16:03 | 46.6 | 36.4 | 0.1 | 998 | -48.71 | 5 | 10
HF00W007 | 2016-04-28 09:58 | 9.2 | 13.5 | 3.2 | 999 | -43.57 | 2 | 0
HF00W008 | 2016-04-28 09:46 | 51.2 | 38.6 | 0.1 | 999 | -52.58 | 3 | 10
HF00W009 | 2016-04-28 10:05 | 36.4 | 37.2 | 0 | 999 | -34.92 | 115 | 10
HF00W009 | 2016-04-28 10:06 | 36.1 | 37.7 | 0 | 999 | -31.43 | 124 | 0
HF00W010 | 2016-04-28 11:20 | 45 | 30.9 | 0.4 | 1000 | -83.8 | 5 | 20
HF00W011 | 2016-04-25 15:34 | 51.9 | 40.2 | 0.3 | 999 | -73.45 | 11 | 60
HF00W012 | 2016-04-25 16:16 | 22.5 | 14 | 12.7 | 999 | -75.61 | 1234 | 30
HF00W012 | 2016-04-25 16:19 | 37.8 | 40.2 | 1.6 | 998 | -52.66 | 516 | 0
HF00W012 | 2016-04-27 13:12 | 11.7 | 7.7 | 18 | 997 | -65.02 | 102 | 0
HF00W012 | 2016-04-27 13:19 | 26.6 | 29.2 | 1.9 | 998 | -0.29 | 236 | 0
HF00W013 | 2016-04-12 13:38 | 40.2 | 31.6 | 5.1 | 994 | -94.41 | 19 | 50
HF00W013 | 2016-04-12 13:39 | 39.7 | 31.3 | 5.2 | 994 | -94.31 | 15 | 0
HF00W013 | 2016-04-25 16:30 | 62.3 | 36.9 | 0 | 999 | 79.82 | 2 | 0
HF00W013 | 2016-04-25 16:32 | 62.3 | 36.7 | 0 | 999 | -29.95 | 3 | 10
HF00W013 | 2016-04-28 10:43 | 46.8 | 28.9 | 4.3 | 999 | -86.62 | 4 | 10
HF00W014 | 2016-04-12 13:43 | 58.7 | 39.3 | 0.2 | 994 | -94.57 | 16 | 100
HF00W014 | 2016-04-25 16:26 | 59.8 | 38.6 | 0.1 | 998 | -12.24 | 2 | 10
HF00W014 | 2016-04-25 16:28 | 58.7 | 40.2 | 0 | 998 | -25.93 | 4 | 15
HF00W014 | 2016-04-28 10:38 | 58.4 | 37.9 | 0.1 | 999 | -60.97 | 2 | 15
HF00W014 | 2016-04-28 10:39 | 57.6 | 38.8 | 0.1 | 999 | -73.86 | 3 | 20
HF00W015 | 2016-04-25 15:59 | 14.1 | 18.4 | 0.1 | 998 | -41.17 | 2 | 0
HF00W016 | 2016-04-25 15:32 | 27.9 | 21.2 | 9.2 | 999 | -29.15 | 5 | 0
HF00W017 | 2016-04-28 10:04 | 44.4 | 35 | 0.9 | 999 | -50.21 | 16 | 30
HF00W018 | 2016-04-12 13:48 | 32.4 | 27.6 | 4.9 | 995 | -0.64 | 81 | 0
HF00W018 | 2016-04-12 13:51 | 53.2 | 40.9 | 0.7 | 995 | 33.23 | 160 | 0
HF00W018 | 2016-04-12 13:54 | 53.4 | 40.7 | 0.3 | 995 | -14.28 | 52 | 10
HF00W019 | 2016-04-12 14:33 | 57.4 | 40.8 | 0.1 | 995 | -93.96 | 22 | 100
HF00W020 | 2016-04-12 14:20 | 52.6 | 45.6 | 0.1 | 995 | -93.2 | 41 | 100
HF00W021 | 2016-04-28 11:24 | 0.1 | 2.2 | 21.1 | 1000 | -53.18 | 2 | 0
HF00W022 | 2016-04-28 11:21 | 0.5 | 9.1 | 18.7 | 1000 | -51.61 | 4 | 0
HF00W023 | 2016-04-28 10:35 | 48.7 | 36.2 | 0.1 | 999 | -22.44 | 35 | 15
HF00W024 | 2016-04-28 10:18 | 46.8 | 40.7 | 0 | 999 | -62.23 | 8 | 15
HF00W026 | 2016-04-25 16:02 | 50.6 | 36.6 | 0.2 | 998 | -48.73 | 4 | 25
HF00W028 | 2016-04-28 10:27 | 45.2 | 38.4 | 1.1 | 999 | -88.1 | 10 | 100
HF00W029 | 2016-04-12 13:04 | 15.4 | 12.9 | 13.9 | 996 | -17.36 | 13 | 10
HF00W029 | 2016-04-12 13:05 | 15.8 | 13 | 14 | 996 | -21.42 | 10 | 0
HF00W030 | 2016-04-12 14:29 | 56.1 | 41.9 | 0.1 | 995 | -93.88 | 21 | 100
HF00W031 | 2016-04-12 12:40 | 52.4 | 41.4 | 1.1 | 996 | -99.13 | 15 | 100
HF00W033 | 2016-04-27 | [7 empty] | Blockage/Obstruction
HF00W035 | 2016-04-12 14:12 | 49.2 | 41.9 | 0.2 | 995 | -16.24 | 187 | 15
HF00W035 | 2016-04-27 | [7 empty] | Blockage/Obstruction
HF00W036 | 2016-04-12 14:32 | 53.3 | 42.9 | 0.5 | 995 | -93.77 | 49 | 100
HF00W037 | 2016-04-12 14:43 | 47.2 | 37.5 | 0 | 995 | -17.55 | 12 | 20
HF00W039 | 2016-04-12 14:22 | 29.2 | 28.6 | 6.7 | 995 | -15.59 | 51 | 0
HF00W039 | 2016-04-27 | [7 empty] | unable to get base
HF00W040 | 2016-04-12 14:35 | 48.1 | 37.5 | 0.1 | 995 | 31.9 | 23 | 0
HF00W040 | 2016-04-12 14:36 | 47.9 | 37.3 | 0.1 | 995 | -93.82 | 26 | 15
HF00W042 | 2016-04-27 | [7 empty] | Blockage/Obstruction
HF00W042 | 2016-04-28 10:09 | 39.9 | 31.9 | 2.1 | 999 | -20.83 | 0 | 15
HF00W043 | 2016-04-25 16:11 | 51.3 | 37.3 | 0.1 | 999 | -75.04 | 7 | 100
HF00W044 | 2016-04-25 15:43 | 51.3 | 36.5 | 0.3 | 999 | -51.61 | 3 | 35
HF00W045 | 2016-04-25 15:41 | 43.6 | 34.4 | 0.1 | 999 | -73.91 | 1 | 70
HF00W046 | 2016-04-28 10:17 | 46.6 | 41.3 | 0.2 | 999 | -50.8 | 6 | 15
HF00W047 | 2016-04-28 09:48 | 52.6 | 39.9 | 0 | 999 | -57.27 | 8 | 10
HF00W049 | 2016-04-28 11:06 | 46.1 | 36.2 | 0 | 999 | -56.64 | 6 | 15
HF00W050 | 2016-04-12 14:16 | 42.6 | 36.1 | 2 | 996 | -4.02 | 122 | 20
HF00W050 | 2016-04-27 | [7 empty] | Blockage/Obstruction
HF00W051 | 2016-04-12 15:24 | 58 | 39.9 | 0 | 994 | -94.59 | 14 | 50
HF00W052 | 2016-04-11 10:25 | 22.7 | 23.1 | 2.2 | 996 | -12.45 | 47
HF00W053 | 2016-04-11 10:27 | 36.9 | 33.2 | 1.3 | 996 | -14.53 | 143
HF00W053 | 2016-04-18 15:50 | 56.1 | 44.4 | 0.2 | 1008 | 1.31 | 385 | 10
HF00W053 | 2016-04-18 15:54 | 55.1 | 44.4 | 0 | 1008 | -0.47 | 483 | 15
HF00W053 | 2016-04-19 15:43 | 63.1 | 44.1 | 0.5 | 1019 | -1.24 | 809 | 10
HF00W054 | 2016-04-04 12:50 | 67 | 36.1 | 0.2 | 989 | 65.28 | 19 | 0
HF00W054 | 2016-04-04 16:45 | 0.2 | 1.1 | 20 | 989 | 47.83 | 19 | 0
HF00W054 | 2016-04-15 10:31 | 61.1 | 41.9 | 0.4 | 993 | 62.25 | 16 | 0
HF00W054 | 2016-04-15 10:48 | 63.4 | 41.9 | 0 | 993 | 16.69 | 27 | 10
HF00W054 | 2016-04-15 11:31 | 62.9 | 41.5 | 0 | 992 | 4.06 | 25 | 10
HF00W054 | 2016-04-18 14:22 | 53 | 31.2 | 4 | 1008 | -66.97 | 17 | 10
HF00W054 | 2016-04-22 14:01 | 65.9 | 38.3 | 0.1 | 1010 | 46.45 | 42 | 10
HF00W054 | 2016-04-22 14:05 | 65.5 | 38.4 | 0.1 | 1010 | 16 | 48 | 15
HF00W054 | 2016-04-22 14:09 | 61.5 | 40.4 | 0.1 | 1011 | 3.44 | 49 | 5
HF00W054 | 2016-04-22 14:13 | 60.5 | 40.6 | 0 | 1011 | -7.44 | 58 | 15
HF00W054 | 2016-04-27 13:37 | 16 | 11.8 | 15.5 | 998 | -73.93 | 4 | 10
HF00W054 | 2016-04-27 13:38 | 16.1 | 10 | 16 | 998 | -66.68 | 4 | 0
HF00W055 | 2016-04-07 13:50 | 60.6 | 42 | 0 | 997 | 4.89 | 17 | 0
HF00W055 | 2016-04-15 11:51 | 62.2 | 42.3 | 0 | 991 | 6.44 | 28 | 5
HF00W055 | 2016-04-15 11:52 | 62.2 | 42.5 | 0 | 991 | 2.43 | 29 | 10
HF00W055 | 2016-04-22 15:02 | 60.9 | 40.8 | 0 | 1011 | -0.26 | 44 | 10
HF00W055 | 2016-04-27 13:28 | 61.6 | 41.7 | 0 | 997 | -0.46 | 12 | 20
HF00W056 | 2016-04-04 12:42 | 60 | 42.5 | 0.1 | 989 | 16.12 | 112 | 0
HF00W056 | 2016-04-15 11:23 | 62.8 | 41.8 | 0.1 | 992 | 21.84 | 76 | 0
HF00W056 | 2016-04-15 11:28 | 62 | 41.8 | 0 | 992 | 6.99 | 80 | 10
HF00W056 | 2016-04-27 13:41 | 61.8 | 40.9 | 0.1 | 998 | -15.03 | 7 | 10
HF00W057 | 2016-04-04 12:22 | 49.2 | 32.1 | 3.7 | 988 | 2.28 | 14 | 0
HF00W057 | 2016-04-15 11:14 | 66.9 | 37.5 | 0 | 992 | 3.5 | 22 | 0
HF00W057 | 2016-04-15 11:18 | 67.2 | 37.7 | 0 | 992 | 0.24 | 32 | 10
HF00W057 | 2016-04-22 14:17 | 65 | 37.4 | 0 | 1011 | 0.1 | 43 | 10
HF00W057 | 2016-04-22 14:20 | 70.1 | 35.9 | 0 | 1011 | -3.14 | 52 | 15
HF00W057 | 2016-04-27 13:42 | 66 | 36.7 | 0.1 | 999 | -5.25 | 12 | 10
HF00W058 | 2016-04-04 12:16 | 61.2 | 40.1 | 0.1 | 988 | 2.73 | 16 | 0
HF00W058 | 2016-04-04 16:36 | 0.2 | 0.9 | 20.1 | 989 | 2.59 | 3 | 0
HF00W058 | 2016-04-04 16:41 | 61.5 | 40 | 0 | 989 | 1.19 | 13 | 5
HF00W058 | 2016-04-05 15:54 | 61.8 | 39.9 | 0.1 | 996 | 1.17 | 12 | 5
HF00W058 | 2016-04-05 16:03 | 61.4 | 40.1 | 0.1 | 996 | -0.24 | 14 | 10
HF00W058 | 2016-04-06 16:04 | 62.3 | 40.5 | 0.1 | 991 | -0.35 | 11 | 10
HF00W058 | 2016-04-07 13:32 | 62.6 | 39.9 | 0 | 995 | 0.02 | 9 | 10
HF00W058 | 2016-04-07 13:35 | 62.6 | 40 | 0 | 995 | -0.85 | 9 | 12
HF00W058 | 2016-04-15 10:54 | 64.4 | 40.4 | 0 | 992 | -0.41 | 16 | 15
HF00W058 | 2016-04-15 10:55 | 64.5 | 40.3 | 0 | 992 | -2.12 | 16 | 20
HF00W058 | 2016-04-22 14:15 | 60.5 | 38.8 | 0.1 | 1008 | -0.88 | 7
HF00W058 | 2016-04-22 14:17 | 61.5 | 38.8 | 0.1 | 1008 | -1.67 | 8
HF00W058 | 2016-04-27 13:49 | 63.5 | 38.3 | 0 | 999 | -2.89 | 7 | 20
HF00W058 | 2016-04-27 14:05 | 62.7 | 38.6 | 0.1 | 999 | -2.98 | 6 | 20
HF00W058 | 2016-04-27 14:06 | 63.3 | 37.7 | 0 | 999 | -6.57 | 8 | 30
HF00W059 | 2016-04-04 12:12 | 60.6 | 40.5 | 0.2 | 988 | 5.71 | 13 | 0
HF00W059 | 2016-04-04 16:29 | 61.7 | 40.3 | 0.2 | 989 | 5.56 | 11 | 0
HF00W059 | 2016-04-04 16:32 | 61.1 | 40.6 | 0 | 989 | 4.83 | 11 | 5
HF00W059 | 2016-04-05 15:49 | 61.9 | 40 | 0.2 | 996 | 3.73 | 9 | 5
HF00W059 | 2016-04-05 16:00 | 60.6 | 40.8 | 0.1 | 996 | -1.69 | 11 | 10
HF00W059 | 2016-04-06 16:01 | 60.8 | 41.7 | 0.3 | 991 | -3.12 | 10 | 10
HF00W059 | 2016-04-07 13:26 | 61.4 | 41.1 | 0.1 | 997 | -3.4 | 9 | 10
HF00W059 | 2016-04-07 13:29 | 60.8 | 41.5 | 0 | 997 | -4.73 | 9 | 12
HF00W059 | 2016-04-15 10:50 | 62.4 | 41.6 | 0 | 992 | -5.73 | 13 | 15
HF00W059 | 2016-04-15 10:51 | 62.1 | 41.7 | 0 | 992 | -9.42 | 13 | 20
HF00W059 | 2016-04-22 14:11 | 54 | 38.7 | 0.2 | 1007 | -9.68 | 5
HF00W059 | 2016-04-27 13:50 | 56.9 | 39.1 | 0.4 | 999 | -12.06 | 6 | 20
HF00W060 | 2016-04-04 12:32 | 52.6 | 36.5 | 2.4 | 988 | 3.76 | 19 | 0
HF00W060 | 2016-04-15 10:59 | 63.8 | 40.8 | 0.1 | 992 | 4.94 | 19 | 0
HF00W060 | 2016-04-15 11:01 | 63.8 | 41.2 | 0 | 992 | 0.76 | 19 | 15
HF00W060 | 2016-04-22 14:21 | 60 | 40.6 | 0.1 | 1008 | 1 | 9
HF00W060 | 2016-04-22 14:28 | 59.8 | 40.7 | 0.1 | 1008 | -0.36 | 8
HF00W060 | 2016-04-27 13:47 | 62.5 | 40.7 | 0 | 999 | -1.24 | 7 | 20
HF00W061 | 2016-04-04 12:35 | 61.9 | 40 | 0.1 | 988 | -0.35 | 22 | 0
HF00W061 | 2016-04-15 11:07 | 64.1 | 40 | 0.1 | 992 | -0.52 | 22 | 0
HF00W061 | 2016-04-15 11:09 | 64.8 | 39.5 | 0 | 992 | -1.04 | 32 | 10
HF00W061 | 2016-04-22 14:23 | 64 | 37.7 | 0 | 1011 | -0.45 | 69 | 10
HF00W061 | 2016-04-22 14:28 | 66 | 35.2 | 0 | 1011 | -1.62 | 122 | 20
HF00W061 | 2016-04-27 13:44 | 54 | 30.9 | 0.8 | 999 | -1.88 | 90 | 20
HF00W062 | 2016-04-07 13:53 | 62.5 | 40 | 0 | 997 | 8.16 | 12 | 0
HF00W062 | 2016-04-15 12:45 | 64.2 | 40.6 | 0 | 989 | 7.44 | 21 | 10
HF00W062 | 2016-04-15 12:47 | 64 | 40.7 | 0 | 989 | 5.2 | 20 | 15
HF00W062 | 2016-04-22 14:36 | 62.2 | 39.8 | 0 | 1010 | 4.04 | 40 | 10
HF00W062 | 2016-04-22 14:39 | 61.8 | 39.9 | 0 | 1010 | -0.16 | 38 | 20
HF00W062 | 2016-04-27 13:32 | 62 | 41.2 | 0 | 998 | -3.94 | 6 | 10
HF00W063 | 2016-04-19 10:00 | 63.8 | 34.3 | 1.1 | 1018 | -1.02 | 8 | 0
HF00W064 | 2016-04-06 16:13 | 57.7 | 42.3 | 0.5 | 992 | -17.73 | 17 | 10
HF00W064 | 2016-04-12 13:35 | 54.7 | 41 | 0.4 | 994 | -20.43 | 15 | 10
HF00W065 | 2016-04-07 13:59 | 59.8 | 42.3 | 0 | 997 | 2.73 | 21 | 0
HF00W065 | 2016-04-15 12:41 | 63.8 | 41.1 | 0 | 990 | 2.57 | 22 | 5
HF00W065 | 2016-04-15 12:42 | 63.4 | 41.5 | 0 | 990 | 1.66 | 22 | 10
HF00W065 | 2016-04-22 14:42 | 60.1 | 41.5 | 0 | 1011 | 0.79 | 46 | 5
HF00W065 | 2016-04-22 14:46 | 59.9 | 41.7 | 0 | 1011 | -0.17 | 48 | 15
HF00W065 | 2016-04-27 13:30 | 60.6 | 42.4 | 0 | 998 | -2.18 | 9 | 10
HF00W067 | 2016-04-15 11:47 | 63 | 40.5 | 0.2 | 991 | 2.68 | 18 | 0
HF00W067 | 2016-04-15 11:49 | 63 | 41.2 | 0 | 991 | 1.33 | 18 | 10
HF00W067 | 2016-04-22 14:49 | 60.5 | 40.8 | 0.1 | 1008 | 1.81 | 6
HF00W067 | 2016-04-22 14:53 | 60.1 | 41.1 | 0.1 | 1008 | 0.71 | 9
HF00W067 | 2016-04-27 13:26 | 61.7 | 41.6 | 0.1 | 998 | -1.15 | 6 | 20
HF00W068 | 2016-04-04 12:46 | 55.1 | 45.3 | 0.3 | 988 | 4.28 | 184 | 0
HF00W068 | 2016-04-06 15:35 | 57.8 | 44.5 | 0.2 | 991 | 3.37 | 24 | 0
HF00W068 | 2016-04-07 10:11 | 58.9 | 44 | 0.2 | 995 | 3.56 | 23 | 0
HF00W068 | 2016-04-15 11:43 | 60.6 | 43.5 | 0 | 991 | 6.37 | 26 | 5
HF00W068 | 2016-04-15 11:44 | 60.6 | 43.7 | 0 | 991 | 2.43 | 28 | 10
HF00W068 | 2016-04-22 14:41 | 57.1 | 39.6 | 0.1 | 1008 | 1.44 | 185
HF00W068 | 2016-04-22 14:45 | 55.8 | 43.5 | 0.1 | 1008 | -0.79 | 251
HF00W068 | 2016-04-27 13:24 | 52.7 | 41.6 | 1.1 | 997 | -62.75 | 145 | 20
HF00W068 | 2016-04-27 13:54 | 51.7 | 41.8 | 1.1 | 998 | -62.56 | 138 | 0
HF00W069 | 2016-04-15 12:57 | 63.2 | 40.9 | 0 | 990 | 10.84 | 36 | 0
HF00W069 | 2016-04-15 13:20 | 62.2 | 41.1 | 0 | 992 | 10.56 | 47 | 0
HF00W069 | 2016-04-15 13:21 | 62.3 | 41 | 0 | 992 | -2.12 | 47 | 15
HF00W069 | 2016-04-22 15:06 | 39.4 | 29.3 | 3.1 | 1013 | -17.04 | 41 | 20
HF00W069 | 2016-04-27 | [7 empty] | Too high to feel base
HF00W070 | 2016-04-15 13:05 | 62.3 | 41.2 | 0 | 991 | 2.93 | 33 | 0
HF00W070 | 2016-04-15 13:11 | 62.1 | 40.8 | 0.1 | 991 | 2.9 | 33 | 0
HF00W070 | 2016-04-15 13:14 | 62.1 | 40.9 | 0 | 991 | -0.52 | 32 | 5
HF00W070 | 2016-04-22 15:11 | 44.2 | 34.1 | 0.4 | 1013 | -7.37 | 45 | 20
HF00W071 | 2016-04-15 12:51 | 54.8 | 44.3 | 0 | 990 | 3.38 | 413 | 0
HF00W071 | 2016-04-15 13:29 | 53.7 | 44.9 | 0.4 | 992 | 3.3 | 376 | 0
HF00W071 | 2016-04-15 13:31 | 53.9 | 45.4 | 0.3 | 992 | -4.25 | 364 | 10
HF00W071 | 2016-04-22 15:05 | 53.7 | 45.5 | 0.1 | 1010 | 5.71 | 295
HF00W071 | 2016-04-22 15:14 | 53.7 | 45.5 | 0.1 | 1010 | 4.11 | 460
HF0KOP02 | 2016-04-12 12:25 | 6.2 | 17.5 | 5.5 | 994 | 0.07 | 9 | 0
HF0KOP03 | 2016-04-12 12:29 | 2.2 | 13.6 | 14.7 | 992 | -0.94 | 7 | 0
HF0KOP04 | 2016-04-28 11:27 | 26.2 | 24.2 | 6.1 | 1000 | -0.33 | 4 | 0
HF0KOP07 | 2016-04-12 13:06 | 15.2 | 12.9 | 14.1 | 996 | 0.07 | 11 | 0
HF0M10MA | 2016-04-22 14:31 | 60.6 | 38.5 | 0.1 | 1009 | -71.68 | 15
HF0M10MB | 2016-04-22 13:58 | 64.6 | 38.4 | 0.3 | 1011 | -72.26 | 26 | 100
HF0M11MA | 2016-04-22 14:58 | 59.6 | 41.4 | 0.1 | 1008 | -68.57 | 28
HF0M11MB | 2016-04-22 14:37 | 59.8 | 40.9 | 0.1 | 1008 | -71.01 | 18
HF0PINW01 | 2016-04-12 13:29 | 49.8 | 34.7 | 2.6 | 996 | -94.85 | 9 | 100
HF0PINW02 | 2016-04-12 13:20 | 38.6 | 30.9 | 0.9 | 997 | -31.22 | 8 | 20
HF0PINW02 | 2016-04-12 13:22 | 38.6 | 30.8 | 1 | 997 | -20.01 | 8 | 15
HF0PINW03 | 2016-04-12 13:17 | 56.2 | 34.3 | 0.1 | 997 | -5.41 | 9 | 0
HF0PINW03 | 2016-04-12 13:19 | 55.8 | 36.5 | 0.1 | 997 | -80.81 | 10 | 10
HF0PINW04 | 2016-04-12 13:14 | 58.5 | 39.1 | 0.1 | 997 | -96.3 | 9 | 100
HF0PINW05 | 2016-04-12 13:12 | 58.1 | 38.5 | 0.5 | 996 | -96.47 | 9 | 100
HF0PINW06 | 2016-04-12 13:10 | 63.1 | 34.6 | 0.2 | 997 | -96.44 | 10 | 50
HF0PINW07 | 2016-04-12 13:08 | 44.8 | 31.2 | 0.5 | 996 | -23.03 | 8 | 10
HF0PINW08 | 2016-04-12 13:01 | 68.3 | 30.3 | 0.2 | 996 | -12.46 | 9 | 0
HF0PINW08 | 2016-04-12 13:02 | 68.5 | 30.2 | 0.2 | 996 | -96.15 | 8 | 20
HF0PINW09 | 2016-04-12 12:58 | 54.8 | 42.4 | 0.2 | 996 | -96.84 | 13 | 100
HF0PINW10 | 2016-04-12 12:53 | 44.9 | 34.1 | 1.2 | 997 | -17.08 | 9 | 10
HF0PINW11 | 2016-04-12 12:55 | 46 | 36.4 | 0.3 | 996 | -8.18 | 9 | 0
HF0PINW11 | 2016-04-12 12:56 | 46.3 | 36.6 | 0.2 | 996 | -22.63 | 9 | 10
HF0PINW12 | 2016-04-12 12:51 | 51.5 | 36.6 | 0.1 | 996 | -20.48 | 9 | 5
HF0PINW13 | 2016-04-12 12:34 | 52.8 | 36.9 | 0.7 | 995 | -74.07 | 10 | 10
HF0PINW14 | 2016-04-12 14:41 | 47.8 | 36.8 | 2.5 | 995 | -95.83 | 11 | 80
HF0PINW15 | 2016-04-12 14:38 | 15.4 | 16.5 | 10 | 996 | -3.74 | 8 | 10
HF0PINW15 | 2016-04-12 14:39 | 15.3 | 16.7 | 10 | 996 | -3.95 | 8 | 0
HF0PINW17 | 2016-04-28 10:31 | 54.1 | 43.8 | 0.1 | 999 | -88.05 | 6 | 100
HF0PINW21 | 2016-04-12 12:41 | 58.3 | 40.2 | 0.2 | 996 | -0.02 | 16 | 0
HF0PINW21 | 2016-04-12 12:44 | 56.3 | 40.2 | 0.3 | 996 | -5.27 | 9 | 10
HF0PINW22 | 2016-04-12 12:36 | 58.5 | 40.1 | 0.3 | 996 | 0.16 | 9 | 5
HF0PINW22 | 2016-04-12 12:38 | 55 | 38.1 | 1.1 | 996 | -11.54 | 9 | 10
HF0PINW23 | 2016-04-12 15:17 | 25.4 | 23 | 0.6 | 994 | -3.27 | 8 | 0
HF0PINW24 | 2016-04-12 15:19 | 24.1 | 23.1 | 1.2 | 994 | -89.3 | 8 | 20
HF0PINW24 | 2016-04-12 15:20 | 24.1 | 22.8 | 1.3 | 994 | -61.04 | 7 | 0
HF0PINW25 | 2016-04-12 15:22 | 56 | 33.7 | 0.1 | 995 | -94.5 | 7 | 100
HF0PINW26 | 2016-04-12 15:26 | 54.8 | 33.4 | 0.1 | 995 | -51.43 | 8 | 10
HF0PINW27 | 2016-04-12 15:28 | 59.5 | 38.9 | 0 | 995 | -7.23 | 9 | 0
HF0PINW27 | 2016-04-12 15:29 | 59.6 | 38.6 | 0 | 995 | -46.59 | 8 | 20
HF0PNS05 | 2016-04-25 15:45 | 42.3 | 30.3 | 0.1 | 999 | -74.22 | 1 | 100
HF0PNS06 | 2016-04-25 15:47 | 56.7 | 39.6 | 0 | 999 | -74.54 | 2 | 100
HF0PNS07 | 2016-04-25 16:09 | 57.1 | 40.7 | 0.1 | 999 | -75.23 | 4 | 100
HF0PNS08 | 2016-04-25 16:07 | 56.6 | 41.4 | 0.1 | 999 | -75.1 | 5 | 100
HF0PNS09 | 2016-04-28 10:58 | 1.8 | 14.2 | 16.1 | 1000 | -84.65 | 5 | 0
HF0PNS10 | 2016-04-28 10:24 | 50.8 | 43 | 0.8 | 999 | 5.9 | 6 | 0
HF0PNS10 | 2016-04-28 10:25 | 50.5 | 41.9 | 1.2 | 999 | -86.72 | 7 | 0
HF0PNS11 | 2016-04-28 10:30 | 52.8 | 44.2 | 0.2 | 999 | -87.96 | 6 | 100
HF0PNW30 | 2016-04-28 11:00 | 49.8 | 29.9 | 0.3 | 1000 | -87.12 | 6 | 30
HF0PNW31 | 2016-04-28 11:01 | 0.4 | 7.4 | 19.2 | 1000 | -83.6 | 5 | 0
HF0PNW32 | 2016-04-28 11:03 | 64.6 | 30.4 | 0.7 | 999 | -87.93 | 5 | 20
HF0PNW33 | 2016-04-12 13:46 | 44.7 | 34 | 1.4 | 994 | -92.47 | 14 | 60
HF0PNW33 | 2016-04-28 11:08 | 61.9 | 35.3 | 0.1 | 999 | -87.36 | 5 | 80
HF0PNW34 | 2016-04-28 11:10 | 2 | 5.8 | 19.4 | 999 | -85.31 | 6 | 0
HF0SCV01 | 2016-04-12 13:26 | 49.1 | 35.7 | 2.4 | 997 | -87.31 | 12 | 50
HFLMP001 | 2016-04-12 14:26 | 17.5 | 15 | 14 | 997 | -7.24 | 9 | 10
HFLMP001 | 2016-04-12 14:27 | 17.5 | 15.1 | 13.9 | 997 | 0.5 | 9 | 0
HFLMP003 | 2016-04-12 12:47 | 42.6 | 32.6 | 1.5 | 997 | -6.46 | 11 | 0
HFLT0001 | 2016-04-25 15:37 | 0.6 | 6.5 | 18.5 | 999 | -23.18 | 1 | 0
HFLT0002 | 2016-04-25 15:30 | 34 | 23.8 | 8.1 | 998 | -32.62 | 5 | 0
HFLT0003 | 2016-04-28 10:20 | 38.5 | 37.4 | 0 | 999 | -60.9 | 33 | 10
HFLT0003 | 2016-04-28 10:21 | 38.4 | 37.4 | 0 | 999 | -54.18 | 34 | 0
HFSP01MA | 2016-04-12 16:49 | 46.3 | 35.2 | 1.1 | 994 | 146.36 | 29 | 100
HFSP01MA | 2016-04-15 14:25 | 52.7 | 36.6 | 0.9 | 991 | -66.11 | 24 | 100
HFSP01MA | 2016-04-22 15:55 | 50.6 | 34.8 | 1 | 1011 | -71.64 | 34 | 100
HFSP01MA | 2016-04-25 16:59 | 51.3 | 34.6 | 1 | 999 | -82.7 | 11 | 100
HFSP01MB | 2016-04-05 08:41 | 47.8 | 35.3 | 1.7 | 995 | -103.31 | 14 | 100
HFSP01MB | 2016-04-06 08:26 | 50.7 | 35.8 | 1.3 | 993 | -81.77 | 26 | 100
HFSP01MB | 2016-04-06 13:11 | 51.9 | 37.9 | 1 | 991 | -65.63 | 22 | 100
HFSP01MB | 2016-04-07 08:15 | 48.9 | 35.5 | 1.3 | 993 | -98.43 | 25 | 100
HFSP01MB | 2016-04-11 08:17 | 54.3 | 35.3 | 1.2 | 997 | -93.63 | 14 | 100
HFSP01MB | 2016-04-12 08:13 | 51.9 | 35.3 | 1.4 | 994 | -99.72 | 15 | 100
HFSP01MB | 2016-04-12 12:07 | 47.3 | 35.8 | 1.1 | 993 | 136.33 | 19 | 100
HFSP01MB | 2016-04-12 12:21 | 45.9 | 34.9 | 1.4 | 992 | -101.31 | 22 | 100
HFSP01MB | 2016-04-15 07:56 | 51.9 | 34.8 | 1.5 | 992 | -86.55 | 13 | 100
HFSP01MB | 2016-04-18 08:11 | 50.8 | 34.6 | 1.5 | 1008 | -83.84 | 14 | 100
HFSP01MB | 2016-04-19 07:52 | 48.3 | 34.5 | 1.6 | 1017 | -102.65 | 13 | 100
HFSP01MB | 2016-04-22 09:48 | 48.8 | 33.3 | 1.6 | 1013 | -93.8 | 11 | 100
HFSP01MB | 2016-04-25 08:01 | 52.3 | 35.9 | 1 | 1000 | -65.47 | 14 | 100
HFSP01MB | 2016-04-28 07:34 | 49.3 | 32.7 | 1.3 | 1002 | -97.92 | 8 | 100
HFSP02MA | 2016-04-04 17:07 | 47.7 | 34.7 | 1.9 | 990 | -101.69 | 22 | 100
HFSP02MA | 2016-04-07 15:06 | 47.5 | 35.1 | 1.3 | 999 | -101.05 | 20 | 100
HFSP02MA | 2016-04-12 16:47 | 45.8 | 34.5 | 1.5 | 993 | -94.98 | 24 | 100
HFSP02MA | 2016-04-25 17:01 | 51.3 | 35.8 | 0.6 | 997 | 163.43 | 11 | 100
HFSP02MB | 2016-04-05 08:41 | 47.8 | 35.3 | 1.7 | 995 | -103.31 | 14 | 100
HFSP02MB | 2016-04-06 08:26 | 50.7 | 35.8 | 1.3 | 993 | -81.77 | 26 | 100
HFSP02MB | 2016-04-06 13:11 | 51.9 | 37.9 | 1 | 991 | -65.63 | 22 | 100
HFSP02MB | 2016-04-07 08:15 | 48.9 | 35.5 | 1.3 | 993 | -98.43 | 25 | 100
HFSP02MB | 2016-04-11 08:17 | 54.3 | 35.3 | 1.2 | 997 | -93.63 | 14 | 100
HFSP02MB | 2016-04-12 08:13 | 51.9 | 35.3 | 1.4 | 994 | -99.72 | 15 | 100
HFSP02MB | 2016-04-12 12:07 | 47.3 | 35.8 | 1.1 | 993 | 136.33 | 19 | 100
HFSP02MB | 2016-04-12 12:21 | 45.9 | 34.9 | 1.4 | 992 | -101.31 | 22 | 100
HFSP02MB | 2016-04-25 08:06 | 52.7 | 36.3 | 0.7 | 1000 | 185.08 | 14 | 100
HFSP02MB | 2016-04-28 07:36 | 49.1 | 34.2 | 1 | 1002 | 148.52 | 9 | 100
HFSWR001 | 2016-04-25 15:51 | 58.2 | 37.6 | 0.4 | 999 | -74.24 | 1 | 100
HFSWR002 | 2016-04-25 15:54 | 61.2 | 36.9 | 0.1 | 999 | -74.74 | 2 | 100
LMC_____ | 2016-04-14 15:30 | 72.3 | 40.8 | 0.3 | 1005 | -0.67 | 19
LMC_____ | 2016-04-14 15:35 | 68.6 | 39.7 | 1 | 1005 | -0.67 | 22

## Perimeter LFG
Sample Point | Date | CH4 | CO2 | O2 | AP | RP
|  | % | % | % | mb | mb
BH HA 10(B) | 2016-04-19 14:46 | 0 | 0.6 | 19.6 | 1017 | 0.04
BH HA 10(M) | 2016-04-19 14:45 | 0.6 | 1.5 | 18.8 | 1016 | 0.04
BH HA 10(T) | 2016-04-05 12:27 | 0 | 0 | 21.3 | 993 | -12.26
BH HA 10(T) | 2016-04-19 14:44 | 0 | 0.6 | 19.7 | 1016 | 0.03
BH HA 11A(B) | 2016-04-19 14:22 | 0 | 0.1 | 20.9 | 1016 | 0.04
BH HA 11B(M) | 2016-04-19 14:25 | 0 | 0.2 | 19.5 | 1016 | 0.07
BH HA 11B(T) | 2016-04-19 14:24 | 0 | 1.3 | 18.2 | 1016 | 0.06
BH HA 12A(M) | 2016-04-26 15:27 | 0 | 0.3 | 20.7 | 997 | -0.03
BH HA 12A(T) | 2016-04-26 15:26 | 0 | 2.3 | 18.4 | 997 | -0.08
BH HA 12B(B) | 2016-04-26 15:28 | 0 | 0.1 | 20.9 | 997 | -0.04
BH HA 1A(T) | 2016-04-19 14:55 | 0 | 1.4 | 18.1 | 1017 | 0.16
BH HA 1B(B) | 2016-04-19 14:58 | 0 | 0.4 | 19.9 | 1018 | 0
BH HA 1B(M) | 2016-04-19 14:57 | 0 | 0.2 | 20.6 | 1017 | 0.01
BH HA 2A(M) | 2016-04-05 13:25 | 0 | 0.1 | 21.4 | 993 | -0.03
BH HA 2A(T) | 2016-04-05 13:25 | 0 | 0.1 | 21.4 | 994 | 0
BH HA 2B(B) | 2016-04-05 13:27 | 0 | 3 | 11.3 | 993 | 0.23
BH HA 2B(B) | 2016-04-12 14:13 | 0 | 3.7 | 9.2 | 993 | 0.99
BH HA 2B(B) | 2016-04-19 13:13 | 0 | 2.9 | 10.9 | 1017 | 0
BH HA 2B(B) | 2016-04-26 14:36 | 0 | 1.2 | 18.2 | 996 | 0.75
BH HA 5(B) | 2016-04-12 13:08 | 0 | 0 | 21.2 | 991 | 0
BH HA 5(T) | 2016-04-12 13:06 | 0 | 0 | 21 | 991 | -0.01
BH HA 6A(B) | 2016-04-12 13:14 | 0 | 1.1 | 19.7 | 992 | 0.02
BH HA 6A(M) | 2016-04-12 13:13 | 0 | 1 | 20.4 | 991 | 0.03
BH HA 6B(T) | 2016-04-12 13:15 | 0 | 0.1 | 21 | 992 | 0.02
BH HA 9A(B) | 2016-04-05 12:30 | 0 | 0.1 | 21.3 | 993 | 0
BH HA 9A(B) | 2016-04-12 13:20 | 0 | 0.7 | 19.9 | 992 | 0
BH HA 9A(B) | 2016-04-19 12:19 | 0 | 0.1 | 21.1 | 1015 | 0
BH HA 9A(B) | 2016-04-26 13:48 | 0 | 0 | 21.4 | 997 | -0.01
BH HA 9A(T) | 2016-04-05 12:29 | 0 | 2.9 | 17.2 | 993 | 0.02
BH HA 9A(T) | 2016-04-12 13:19 | 0 | 1 | 19.1 | 992 | 0.03
BH HA 9A(T) | 2016-04-19 12:18 | 0 | 1.7 | 19 | 1015 | -0.01
BH HA 9A(T) | 2016-04-26 13:47 | 0 | 2 | 19 | 998 | -0.01
BH HA 9B(M) | 2016-04-05 12:31 | 0 | 0.3 | 20.8 | 993 | 0.01
BH HA 9B(M) | 2016-04-12 13:21 | 0.1 | 0.5 | 20 | 992 | 0
BH HA 9B(M) | 2016-04-19 12:21 | 0 | 0.2 | 20.7 | 1015 | -0.01
BH HA 9B(M) | 2016-04-26 13:49 | 0 | 0.1 | 21.2 | 997 | 0
HAF GB1 | 2016-04-05 12:32 | 27.2 | 17.8 | 3 | 993 | 0.01
HAF GB1 | 2016-04-12 13:22 | 28.8 | 18.7 | 1.4 | 992 | 0.02
HAF GB1 | 2016-04-19 12:22 | 27.4 | 18.4 | 1.2 | 1015 | 0
HAF GB1 | 2016-04-26 13:50 | 28.3 | 18.6 | 1.1 | 997 | 0.01
HAF GB10A | 2016-04-05 13:00 | 0 | 4.1 | 10.6 | 994 | 0.03
HAF GB10A | 2016-04-12 13:50 | 0 | 1.9 | 15.9 | 993 | -0.03
HAF GB10A | 2016-04-19 12:51 | 0 | 3.2 | 13.9 | 1016 | 0.02
HAF GB10A | 2016-04-26 14:17 | 0 | 5 | 8.4 | 997 | 0
HAF GB10B | 2016-04-05 13:01 | 0 | 1 | 19.9 | 994 | 0.04
HAF GB10B | 2016-04-12 13:51 | 0 | 2.2 | 18.7 | 993 | -0.03
HAF GB10B | 2016-04-19 12:52 | 0 | 2 | 18.7 | 1016 | 0.04
HAF GB10B | 2016-04-26 14:18 | 0 | 1.4 | 20.2 | 997 | 0.01
HAF GB11 | 2016-04-05 13:02 | 0.8 | 1.1 | 20.2 | 994 | -0.11
HAF GB11 | 2016-04-12 13:52 | 1 | 1.5 | 19.5 | 993 | 0.02
HAF GB11 | 2016-04-19 12:53 | 0.3 | 0.6 | 20 | 1016 | 0.02
HAF GB11 | 2016-04-26 14:19 | 0 | 0.2 | 21.3 | 997 | 0
HAF GB13 | 2016-04-05 13:06 | 0 | 0.8 | 18.1 | 993 | 0.02
HAF GB13 | 2016-04-12 13:56 | 0 | 4 | 7.5 | 993 | -0.03
HAF GB13 | 2016-04-19 12:56 | 0 | 0.5 | 18.9 | 1016 | 0.02
HAF GB13 | 2016-04-26 14:22 | 0 | 4.2 | 7.3 | 997 | 0.01
HAF GB14 | 2016-04-05 13:07 | 0 | 0.8 | 20.7 | 993 | 0
HAF GB14 | 2016-04-12 13:58 | 0 | 1 | 20.2 | 992 | 0.57
HAF GB14 | 2016-04-19 12:58 | 0 | 0.9 | 20.2 | 1016 | -0.41
HAF GB14 | 2016-04-26 14:23 | 0 | 0.6 | 21.2 | 996 | -0.03
HAF GB15 | 2016-04-05 13:09 | 0 | 5.6 | 11.4 | 993 | -0.27
HAF GB15 | 2016-04-12 13:59 | 0 | 8.4 | 6.8 | 992 | 0.64
HAF GB15 | 2016-04-19 12:59 | 0 | 5.3 | 11.1 | 1016 | 0.05
HAF GB15 | 2016-04-26 14:25 | 0 | 2.3 | 17.2 | 996 | -0.03
HAF GB16 | 2016-04-05 13:11 | 0 | 0.7 | 18.2 | 993 | -1.08
HAF GB16 | 2016-04-12 14:02 | 0 | 0.8 | 17.5 | 993 | 0.01
HAF GB16 | 2016-04-19 13:02 | 0 | 0.6 | 18.1 | 1016 | -2.75
HAF GB17 | 2016-04-05 13:14 | 0 | 0.1 | 21.2 | 994 | -0.01
HAF GB17 | 2016-04-12 14:05 | 0 | 0.1 | 21 | 993 | 0.01
HAF GB17 | 2016-04-19 13:05 | 0 | 0 | 21 | 1017 | 0.01
HAF GB17 | 2016-04-26 14:28 | 0 | 0.1 | 21.8 | 997 | -0.02
HAF GB18 | 2016-04-05 13:15 | 0 | 0 | 21.4 | 994 | 0
HAF GB18 | 2016-04-12 14:07 | 0 | 0 | 21.2 | 993 | 0
HAF GB18 | 2016-04-19 13:06 | 0 | 0 | 21.1 | 1016 | 0.02
HAF GB18 | 2016-04-26 14:30 | 0 | 0 | 21.9 | 996 | -0.03
HAF GB19 | 2016-04-05 13:16 | 0 | 1.5 | 20.3 | 994 | -0.02
HAF GB19 | 2016-04-12 14:08 | 0 | 1.3 | 20.1 | 993 | 0
HAF GB19 | 2016-04-19 13:07 | 0 | 0.9 | 20.5 | 1016 | 0
HAF GB19 | 2016-04-26 14:31 | 0 | 1.4 | 20.8 | 997 | -0.02
HAF GB2 | 2016-04-05 12:33 | 0 | 1.5 | 17.8 | 993 | 0
HAF GB2 | 2016-04-12 13:24 | 0.1 | 1.5 | 17.4 | 992 | 0
HAF GB2 | 2016-04-19 12:24 | 0 | 1.2 | 18.1 | 1016 | -0.01
HAF GB2 | 2016-04-26 13:51 | 0.2 | 1.6 | 18 | 997 | -0.04
HAF GB20 | 2016-04-05 13:19 | 0 | 0.2 | 21.3 | 994 | 0.01
HAF GB20 | 2016-04-12 14:09 | 0 | 0.2 | 21.1 | 993 | 0
HAF GB20 | 2016-04-19 13:09 | 0 | 0.1 | 21.2 | 1016 | 0.02
HAF GB20 | 2016-04-26 14:32 | 0 | 0.1 | 21.9 | 996 | -0.03
HAF GB3 | 2016-04-05 12:35 | 7.1 | 20.1 | 0.8 | 993 | 0.01
HAF GB3 | 2016-04-12 13:25 | 7.1 | 19 | 0.8 | 992 | 0
HAF GB3 | 2016-04-19 12:25 | 6.5 | 19.1 | 0.4 | 1015 | -0.03
HAF GB3 | 2016-04-26 13:53 | 6 | 20.4 | 0.6 | 997 | 0.11
HAF GB4A | 2016-04-05 12:36 | 12.7 | 3.1 | 0.8 | 993 | 0
HAF GB4A | 2016-04-12 13:26 | 9.7 | 3.4 | 1.3 | 992 | 0
HAF GB4A | 2016-04-19 12:26 | 15.6 | 8.7 | 0.7 | 1015 | -0.02
HAF GB4A | 2016-04-26 13:54 | 7.8 | 12.7 | 6.6 | 997 | -0.03
HAF GB4B | 2016-04-05 12:37 | 39.1 | 30.6 | 0.6 | 993 | 0.1
HAF GB4B | 2016-04-05 13:17 | 0 | 3.3 | 20.3 | 994 | 0.18
HAF GB4B | 2016-04-12 13:27 | 18.9 | 20.8 | 0.4 | 992 | 0
HAF GB4B | 2016-04-19 12:28 | 41.1 | 31.1 | 0.4 | 1015 | 0
HAF GB4B | 2016-04-26 13:55 | 37.8 | 29.9 | 0.4 | 997 | 0.1
HAF GB5 | 2016-04-05 12:51 | 0 | 0.1 | 21.1 | 993 | 0.01
HAF GB5 | 2016-04-12 13:41 | 0 | 0 | 20.9 | 993 | 0
HAF GB5 | 2016-04-19 12:41 | 0 | 0 | 20.7 | 1016 | 0
HAF GB5 | 2016-04-26 14:08 | 0 | 0 | 21.4 | 997 | 0.03
HAF GB6A | 2016-04-05 12:53 | 45.5 | 20.6 | 0.5 | 993 | 0.08
HAF GB6A | 2016-04-12 13:43 | 44.3 | 20.5 | 0.6 | 993 | 0
HAF GB6A | 2016-04-19 12:43 | 41.7 | 20.7 | 0.4 | 1016 | 0.01
HAF GB6B | 2016-04-05 12:52 | 0 | 0 | 21.1 | 993 | 0.07
HAF GB6B | 2016-04-12 13:43 | 0 | 0 | 20.9 | 993 | -0.19
HAF GB6B | 2016-04-19 12:42 | 0 | 0 | 20.7 | 1016 | -0.01
HAF GB6B | 2016-04-26 14:09 | 0 | 0 | 21.5 | 997 | 0.05
HAF GB7A | 2016-04-05 12:54 | 28.5 | 18.7 | 0.9 | 994 | 0.02
HAF GB7A | 2016-04-12 13:45 | 29 | 18.3 | 0.6 | 993 | -0.03
HAF GB7A | 2016-04-19 12:45 | 28.4 | 18.2 | 0.4 | 1016 | 0
HAF GB7A | 2016-04-26 14:11 | 42.5 | 21.7 | 0.7 | 997 | -0.01
HAF GB7A | 2016-04-26 14:12 | 29 | 19.9 | 0.5 | 997 | 0.02
HAF GB7B | 2016-04-05 12:56 | 18.1 | 4.2 | 2.8 | 994 | -0.04
HAF GB7B | 2016-04-12 13:46 | 17.9 | 4 | 2.1 | 993 | 0.39
HAF GB7B | 2016-04-19 12:46 | 17.5 | 4.3 | 0.9 | 1016 | -0.03
HAF GB7B | 2016-04-26 14:13 | 19.9 | 4.4 | 0.8 | 997 | 0.02
HAF GB8 | 2016-04-05 12:57 | 15.9 | 15.3 | 2.6 | 994 | 0.09
HAF GB8 | 2016-04-12 13:47 | 17.1 | 15.6 | 2.2 | 993 | 0
HAF GB8 | 2016-04-19 12:48 | 16 | 16 | 2.3 | 1016 | 0.04
HAF GB8 | 2016-04-26 14:14 | 13.2 | 16 | 2.6 | 997 | 0.03
HAF GB9 | 2016-04-05 12:58 | 1 | 8.2 | 8.5 | 994 | -0.34
HAF GB9 | 2016-04-12 13:49 | 0 | 8.5 | 7.5 | 993 | 0.65
HAF GB9 | 2016-04-19 12:49 | 0 | 7.8 | 8.8 | 1016 | 0.11
HAF GB9 | 2016-04-26 14:15 | 0 | 7.4 | 10.4 | 997 | -0.02