## Surface Water
Hafod Quarry - Operational Phase
Environmental Monitoring Report
Surface Waters Analytical Data
Surface Water Point | Date of sampling | Turbidity
NTU
HAF SW 1 | 2017-04-18 | < 1.0
HAF SW 1A | 2017-04-18 | 3.9
HAF SW 2 | 2017-04-18 | 23
HAF SW 3 | 2017-04-18 | < 1.0
HAF SW 4 | 2017-04-18 | 10

## Leachate levels
Hafod Quarry - Operational Phase
Environmental Monitoring Report
Leachate Field Monitoring
SamplePoint | Date | Dip to leachate (m) | Leachate head (m) | Comments
MP1b | 2017-04-25 | 40.73 | 1.66
MP2a | 2017-04-25 | 24.06 | 1.3
LC3 | 2017-04-03 | 12.17 | 4.7
LC3 | 2017-04-11 | 9.92 | 3.19
LC3 | 2017-04-18 | 12.41 | 4.46
LC3 | 2017-04-25 | 14 | 2.87
HAF LC4 | 2017-04-03 | 12.9 | 3.74
HAF LC4 | 2017-04-11 | 8.59 | 4.31
HAF LC4 | 2017-04-18 |  |  | Too High
HAF LC4 | 2017-04-25 | 10.24 | 2.66
HAF LMP4a | 2017-04-03 | 10.05 | 5.45
HAF LMP4a | 2017-04-11 | 9.84 | 5.66
HAF LMP4a | 2017-04-18 | 8.93 | 6.57
HAF LMP4a | 2017-04-25 |  |  | Too High
HAF LMP4b | 2017-04-03 | 8.83 | 7.9
HAF LMP4b | 2017-04-11 | 8.19 | 8.54
HAF LMP4b | 2017-04-18 | 8.43 | 8.3
HAF LMP4b | 2017-04-25 | 7.8 | 8.93

## In-waste LFG
Well | Date | CH4 | CO2 | O2 | AP | RP | CO | Valve Position | Data Comments | Sample Point | Date | Depth to base (m) | Dip to leachate (m) | Leachate head (m) | Data Comments
|  | % | % | % | mb | mb | ppm |  |  | HF00PW31 | 2017-02-24 | 8.42 | 7.67 | 0.75
HF00HZ08 | 2017-04-11 10:51 | 53.3 | 47.8 | 0.1 | 1018 | -80.46 | 20 | 4 |  | HF00PW32 | 2017-02-24 | 8.95 | 8.13 | 0.82
HF00HZ08 | 2017-04-19 10:36 | 49.4 | 43.3 | 0.6 | 1026 | -71.45 | 14 | 20 | 1 | HF00PW33 | 2017-02-24 | 8.66 | 8 | 0.66
HF00M1MA | 2017-04-11 14:36 | 54.5 | 34.5 | 0.3 | 1015 | -65.76 | 26 | 100 |  | HF00PW34 | 2017-02-24 | 8.5 | 8 | 0.5
HF00M1MB | 2017-04-11 14:15 | 54.8 | 34.1 | 0.4 | 1016 | -67.88 | 24 | 100 |  | HF00W001 | 2017-02-24 | 16.64 | 9.78 | 6.86
HF00M2MA | 2017-04-11 14:46 | 40.6 | 26.6 | 1.4 | 1015 | -66.43 | 23 | 100 |  | HF00W002 | 2017-02-24 | 15.52 | 10.6 | 4.92
HF00M2MB | 2017-04-11 14:39 | 34.9 | 26 | 1.3 | 1015 | -66.38 | 24 | 100 |  | HF00W003 | 2017-02-24 | 15.33 | 10 | 5.33
HF00M3MA | 2017-04-11 15:10 | 51.7 | 36.5 | 0.1 | 1016 | -66.12 | 32 | 100 |  | HF00W004 | 2017-02-24 | 9.2 | 7.9 | 1.3
HF00M3MB | 2017-04-11 14:50 | 51.1 | 36.4 | 0.2 | 1016 | -65.85 | 27 | 100 |  | HF00W005 | 2017-02-24 | 24.28 | 15.24 | 9.04
HF00M4MA | 2017-04-11 12:37 | 57.1 | 40.1 | 0.6 | 1016 | -72.8 | 31 | 100 |  | HF00W006 | 2017-02-24 | 6 | 6 |  | Blocked
HF00M4MB | 2017-04-11 12:26 | 50.7 | 34.2 | 1.5 | 1015 | -75.74 | 38 | 100 |  | HF00W007 | 2017-02-24 | 23.63 | 15.55 | 8.08
HF00M5MA | 2017-04-11 13:10 | 53 | 43.5 | 0.1 | 1015 | -67.67 | 114 | 100 |  | HF00W008 | 2017-02-24 | 21.18 | 14.6 | 6.58
HF00M5MB | 2017-04-11 12:49 | 52.1 | 41.6 | 0.5 | 1015 | -71.68 | 119 | 100 |  | HF00W010 | 2017-02-24 | 9.38 | 7.92 | 1.46
HF00M9MA | 2017-04-11 12:45 | 32.6 | 25.8 | 7.7 | 1015 | -71.32 | 30 | 100 |  | HF00W015 | 2017-02-24 | 13.92 | 8.79 | 5.13
HF00M9MB | 2017-04-11 12:39 | 28.4 | 22.5 | 9.1 | 1015 | -71.65 | 27 | 100 |  | HF00W021 | 2017-02-24 | 15.35 | 10.86 | 4.49
HF00PNWA | 2017-04-11 14:11 | 8.3 | 8.9 | 7.9 | 1015 | -33.26 | 21 |  |  | HF00W022 | 2017-02-24 | 14.3 | 10.66 | 3.64
HF00PNWB | 2017-04-11 11:20 | 64.1 | 36.9 | 0.1 | 1017 | -81.54 | 10 | 80 |  | HF00W023 | 2017-02-24 | 14.8 | 13.1 | 1.7
HF00PNWB | 2017-04-19 09:32 | 67 | 33.8 | 0.6 | 1025 | -95.72 | 0 | 70 | 1 | HF00W026 | 2017-02-24 | 24.55 | 16.22 | 8.33
HF00PNWC | 2017-04-11 11:19 | 37.9 | 19.4 | 5.4 | 1016 | -0.52 | 27 | 0 |  | HF00W035 | 2017-01-11 | 13.3 | 10.74 | 2.56 | blockage
HF00PNWC | 2017-04-19 09:30 | 10.4 | 5.9 | 17 | 1024 | -12.89 | 0 | 0 | 2 | HF00W035 | 2017-02-06 | 11.57 | 7.95 | 3.62 | blockage
HF00W001 | 2017-04-11 14:20 | 33.6 | 24.8 | 4.6 | 1016 | 1.93 | 25 |  |  | HF00W035 | 2017-02-17 | 11.47 | 7.56 | 3.91 | blockage
HF00W002 | 2017-04-11 14:17 | 52.6 | 37.2 | 0.5 | 1016 | -56.27 | 24 | 20 |  | HF00W035 | 2017-03-03 | 11.47 | 10.49 | 0.98 | blockage
HF00W003 | 2017-04-11 14:22 | 47.5 | 34.3 | 0.5 | 1016 | -65.75 | 26 | 30 |  | HF00W035 | 2017-03-21 | 11.27 | 11.14 | 0.13 | blockage
HF00W004 | 2017-04-11 14:35 | 61.9 | 35.5 | 0.3 | 1015 | -66.59 | 27 | 100 |  | HF00W036 | 2017-01-11 | 20.55 | 9.77 | 10.78
HF00W005 | 2017-04-11 12:44 | 48.3 | 38 | 0.4 | 1015 | -45.37 | 27 | 5 |  | HF00W036 | 2017-02-06 | 20.53 | 9.46 | 11.07
HF00W007 | 2017-04-11 12:48 | 0.2 | 1.6 | 21.1 | 1015 | -43.12 | 21 |  |  | HF00W036 | 2017-02-17 | 20.37 | 12.14 | 8.23
HF00W008 | 2017-04-11 12:40 | 37 | 25.8 | 7.6 | 1015 | -46.18 | 26 | 0 |  | HF00W036 | 2017-03-03 | 20.37 | 5.84 | 14.53 | snagging
HF00W009 | 2017-04-11 12:53 | 0.4 | 2.9 | 20.7 | 1015 | -2.01 | 20 |  |  | HF00W036 | 2017-03-21 | 20.46 | 10.38 | 10.08 | snagging/pulse counter not working
HF00W010 | 2017-04-11 14:41 | 42.7 | 28.8 | 0.7 | 1016 | -57.47 | 24 | 10 |  | HF00W037 | 2017-01-11 | 13.8 | 12.52 | 1.28
HF00W011 | 2017-04-11 14:54 | 47.6 | 38.8 | 0.2 | 1015 | -67.07 | 41 | 50 |  | HF00W037 | 2017-02-06 | 14.47 | 4.23 | 10.24
HF00W012 | 2017-04-11 12:34 | 0.4 | 2.7 | 20.1 | 1015 | -23.13 | 27 |  |  | HF00W037 | 2017-02-17 | 13.79 | 12.52 | 1.27
HF00W013 | 2017-04-11 14:09 | 56.6 | 32.7 | 2.1 | 1015 | -67.05 | 21 | 100 |  | HF00W037 | 2017-03-03 | 13.79 | 12.8 | 0.99
HF00W014 | 2017-04-11 14:05 | 56.2 | 38.8 | 0.7 | 1015 | -67.29 | 15 | 100 |  | HF00W037 | 2017-03-21 | 14.43 | 12.28 | 2.15
HF00W015 | 2017-04-11 12:21 | 52.7 | 37.8 | 0.3 | 1017 | -58.83 | 23 | 20 |  | HF00W039 | 2017-01-11 | 24.61 | 15.96 | 8.65
HF00W016 | 2017-04-11 14:53 | 0.6 | 3.6 | 19.8 | 1016 | -33.14 | 25 |  |  | HF00W039 | 2017-02-06 | 26.72 | 21 | 5.72
HF00W017 | 2017-04-11 12:52 | 52.2 | 44.9 | 0.1 | 1015 | -55.15 | 294 | 30 |  | HF00W039 | 2017-02-17 |  |  |  | Unable to get reading
HF00W018 | 2017-04-11 10:55 | 45.8 | 40.5 | 0.3 | 1018 | -38.54 | 143 | 10 |  | HF00W039 | 2017-03-03 |  |  |  | Unable to get reading
HF00W018 | 2017-04-19 10:31 | 43.5 | 37.2 | 0.3 | 1026 | -34.78 | 163 | 15 | 1 | HF00W039 | 2017-03-21 |  |  |  | Unable to get reading
HF00W019 | 2017-04-11 09:27 | 59.8 | 41 | 0.1 | 1019 | -76.12 | 13 | 10 |  | HF00W041 | 2017-01-11 | 12.73 | 10 | 2.73
HF00W019 | 2017-04-19 11:38 | 57.6 | 37.3 | 0.4 | 1027 | -43.62 | 3 | 20 | 1 | HF00W043 | 2017-01-11 |  |  |  | Blockage at 17.69
HF00W020 | 2017-04-11 10:05 | 54.7 | 45.6 | 0.1 | 1019 | -84.43 | 21 | 100 |  | HF00W043 | 2017-02-17 | 19.76 |  |  | Tape snagging
HF00W020 | 2017-04-19 11:10 | 55.9 | 43.8 | 0.1 | 1026 | -60.62 | 26 | 100 | 1 | HF00W043 | 2017-03-03 | 32 | Dry
HF00W021 | 2017-04-11 14:44 | 0.1 | 1.5 | 21.1 | 1015 | -39.28 | 22 |  |  | HF00W043 | 2017-03-21 |  |  |  | unable to find liquid or base
HF00W022 | 2017-04-11 14:42 | 0.3 | 3.7 | 20.4 | 1016 | -42.81 | 22 |  |  | HF00W044 | 2017-01-11 |  |  |  | unable to lift well head
HF00W023 | 2017-04-11 14:02 | 45.3 | 36.7 | 0.5 | 1015 | -36.56 | 68 | 30 |  | HF00W044 | 2017-02-06 |  |  |  | unable to lift well head
HF00W024 | 2017-04-11 12:58 | 54.4 | 44.1 | 0.2 | 1015 | -62.92 | 33 | 20 |  | HF00W044 | 2017-02-17 |  |  |  | unable to lift well head
HF00W026 | 2017-04-11 12:24 | 53.8 | 40.3 | 0.1 | 1015 | -56.87 | 26 | 20 |  | HF00W044 | 2017-03-03 |  |  |  | unable to lift well head
HF00W028 | 2017-04-11 13:04 | 38.1 | 31.4 | 5.9 | 1015 | -68.4 | 78 | 10 |  | HF00W044 | 2017-03-21 |  |  |  | unable to lift well head
HF00W029 | 2017-04-11 10:12 | 53.3 | 37.3 | 0.6 | 1019 | -84.41 | 21 | 20 |  | HF00W047 | 2017-02-24 |  | 12.74 |  | Dry
HF00W029 | 2017-04-19 11:04 | 58.1 | 36.6 | 0.6 | 1026 | -61.14 | 18 | 10 | 1 | HF00W048 | 2017-02-24 |  | 12 |  | Dry
HF00W030 | 2017-04-11 09:47 | 60.2 | 40.8 | 0.1 | 1019 | -82.4 | 13 | 50 |  | HF00W050 | 2017-01-11 | 11 | 8.77 | 2.23 | blockage
HF00W030 | 2017-04-19 11:24 | 60.7 | 39.5 | 0.1 | 1027 | -54.3 | 2 | 35 | 1 | HF00W050 | 2017-02-06 | 10.56 | 10.2 | 0.36 | blockage
HF00W030 | 2017-04-19 11:25 | 60.5 | 40 | 0 | 1027 | -54.27 | 3 | 40 | 1 | HF00W050 | 2017-02-17 | 11 | 10.1 | 0.9 | blockage
HF00W031 | 2017-04-11 09:35 | 59.3 | 41.5 | 0.1 | 1019 | -86.02 | 10 | 10 |  | HF00W050 | 2017-03-03 | 10.93 | 8.5 | 2.43 | blockage
HF00W031 | 2017-04-19 11:35 | 60.4 | 40.1 | 0 | 1027 | -47.43 | 1 | 20 | 1 | HF00W050 | 2017-03-21 | 10.93 | 9.5 | 1.43 | blockage
HF00W033 | 2017-04-11 10:57 | 34.6 | 30.7 | 3.4 | 1018 | -75.33 | 15 | 5 |  | HF00W051 | 2017-01-11 | 14.42 | 7.69 | 6.73
HF00W033 | 2017-04-19 10:29 | 51.1 | 38.1 | 0.9 | 1026 | -33.87 | 12 | 15 | 1 | HF00W051 | 2017-02-06 | 14.42 | 7.57 | 6.85
HF00W035 | 2017-04-11 10:27 | 54 | 44.3 | 0 | 1019 | -11.15 | 158 | 5 |  | HF00W051 | 2017-02-17 | 14.44 | 7.76 | 6.68
HF00W035 | 2017-04-11 10:30 | 54.1 | 44.4 | 0 | 1019 | -17.96 | 153 | 10 |  | HF00W051 | 2017-03-03 | 14.44 | 7.85 | 6.59
HF00W035 | 2017-04-19 10:55 | 40 | 35.6 | 0.4 | 1026 | -19.61 | 238 | 10 | 1 | HF00W051 | 2017-03-21 | 14.48 | 6.75 | 7.73
HF00W036 | 2017-04-11 09:39 | 57.1 | 43 | 0.2 | 1019 | -86.45 | 22 | 100 |  | HF00W052 | 2017-01-11 | 20.81 | 18.64 | 2.17
HF00W036 | 2017-04-19 11:31 | 58.1 | 41.7 | 0.1 | 1027 | -52.8 | 19 | 100 | 1 | HF00W052 | 2017-02-06 | 20.84 | 19.85 | 0.99
HF00W037 | 2017-04-11 09:03 | 36.2 | 30.1 | 3.2 | 1019 | -28.68 | 9 | 20 |  | HF00W052 | 2017-02-17 | 20.83 | 18.36 | 2.47
HF00W037 | 2017-04-11 09:06 | 39 | 31.8 | 2.8 | 1019 | -19.65 | 11 | 10 |  | HF00W052 | 2017-03-03 | 20.83 | 19.55 | 1.28
HF00W037 | 2017-04-19 11:48 | 52.1 | 37.5 | 0.2 | 1026 | -3.62 | 0 | 10 | 1 | HF00W052 | 2017-03-21 | 20.85 | 15.47 | 5.38
HF00W037 | 2017-04-19 11:50 | 51.8 | 37.9 | 0.1 | 1026 | -4.61 | 0 | 15 | 1 | HF00W053 | 2017-01-11 | 39.39 | 22.91 | 16.48
HF00W039 | 2017-04-11 10:03 | 50.5 | 44.2 | 0.3 | 1019 | -0.31 | 62 | 5 |  | HF00W053 | 2017-02-06 | 39.4 | 24.8 | 14.6
HF00W039 | 2017-04-19 11:12 | 40.1 | 36.1 | 2.6 | 1025 | -1.64 | 58 | 10 | 2 | HF00W053 | 2017-02-17 | 39.45 | 24.38 | 15.07
HF00W039 | 2017-04-28 14:18 | 49.9 | 41.2 | 1.4 | 1004 | -0.48 | 45 | 10 | 2 | HF00W053 | 2017-03-03 | 39.45 | 23.18 | 16.27
HF00W041 | 2017-04-11 12:14 | 23.9 | 16.4 | 12.8 | 1017 | 0.86 | 17 |  |  | HF00W053 | 2017-03-21 | 39.45 | 23.13 | 16.32
HF00W041 | 2017-04-19 12:16 | 20.6 | 13.4 | 13.5 | 1025 | 0.09 | 0 | 0 | 2 | HF00W054 | 2017-01-11 | 12.11 | 5.11 | 7
HF00W042 | 2017-04-11 12:55 | 43.9 | 34 | 0.1 | 1015 | -4.44 | 22 | 20 |  | HF00W054 | 2017-02-06 | 3.56 | 3.56 | 0 | blockage
HF00W043 | 2017-04-11 12:32 | 36.1 | 32.6 | 0.2 | 1015 | -4.35 | 27 | 0 |  | HF00W054 | 2017-02-17 | 10.22 | 5.44 | 4.78 | blockage
HF00W044 | 2017-04-11 15:00 | 47.2 | 34.1 | 4.1 | 1016 | -20.41 | 32 | 0 |  | HF00W054 | 2017-03-03 | 10.22 | 5.05 | 5.17 | blockage
HF00W045 | 2017-04-11 14:58 | 55.2 | 37.7 | 0.2 | 1016 | -54.42 | 30 | 20 |  | HF00W054 | 2017-03-21 | 5.58 |  | 5.58 | blockage
HF00W046 | 2017-04-11 12:57 | 59.3 | 40 | 0.3 | 1015 | -32.81 | 24 | 20 |  | HF00W055 | 2017-01-11 | 24.21 | 12.68 | 11.53
HF00W047 | 2017-04-11 12:42 | 56.7 | 42.6 | 0.1 | 1015 | -50.79 | 47 | 5 |  | HF00W055 | 2017-02-06 | 24.19 | 12.72 | 11.47
HF00W049 | 2017-04-11 14:29 | 0.3 | 3.7 | 20.3 | 1015 | -44.5 | 22 |  |  | HF00W055 | 2017-02-17 | 24.36 | 12.96 | 11.4
HF00W050 | 2017-04-11 10:19 | 47.3 | 49.4 | 0 | 1019 | 2.75 | 1390 | 0 |  | HF00W055 | 2017-03-03 | 24.36 | 11.25 | 13.11
HF00W050 | 2017-04-11 10:21 | 54.7 | 46.6 | 0 | 1019 | -67.97 | 50 | 10 |  | HF00W055 | 2017-03-21 | 24.36 | 12.96 | 11.4
HF00W050 | 2017-04-19 10:58 | 23.1 | 22 | 6.2 | 1026 | -3.07 | 66 | 15 | 2 | HF00W056 | 2017-01-11 | 27.16 | 10.39 | 16.77 | Pump restarted, counter not working
HF00W050 | 2017-04-19 10:59 | 23.1 | 22.4 | 6.1 | 1026 | -1.23 | 129 | 5 | 2 | HF00W056 | 2017-02-06 | 27.1 | 9.47 | 17.63 | Pump restarted, counter not working
HF00W051 | 2017-04-11 08:43 | 43.9 | 33.6 | 0.1 | 1019 | -90.52 | 8 | 90 |  | HF00W056 | 2017-02-17 | 27.1 | 9.82 | 17.28 | Pump restarted, counter not working
HF00W051 | 2017-04-19 12:02 | 47.4 | 31.9 | 0.4 | 1026 | -52.94 | 0 | 60 | 1 | HF00W056 | 2017-03-03 | 27.1 | 9.38 | 17.72 | Pump restarted, counter not working
HF00W052 | 2017-04-11 12:01 | 57.1 | 42.3 | 0.1 | 1017 | 0.88 | 301 | 0 |  | HF00W056 | 2017-03-21 | 27.16 | 8.97 | 18.19 | not pumping
HF00W052 | 2017-04-11 12:03 | 58.6 | 41.4 | 0 | 1017 | -3.66 | 216 | 5 |  | HF00W057 | 2017-01-11 | 15.88 | 6.09 | 9.79 | Foaming
HF00W052 | 2017-04-19 10:08 | 6.7 | 14.8 | 7.5 | 1024 | -33.61 | 7 | 10 | 4 | HF00W057 | 2017-02-06 | 15.86 | 6.41 | 9.45 | Foaming
HF00W052 | 2017-04-19 10:09 | 6.7 | 14.7 | 7.4 | 1024 | -28.69 | 9 | 0 | 4 | HF00W057 | 2017-02-17 | 16.46 | 7.12 | 9.34 | Foaming
HF00W052 | 2017-04-28 14:24 | 54 | 44.1 | 0 | 1004 | -0.05 | 470 | 10 | 1 | HF00W057 | 2017-03-03 | 16.46 | 6.85 | 9.61 | Foaming
HF00W053 | 2017-04-11 12:05 | 53.3 | 43.1 | 0.1 | 1016 | -76.74 | 1657 | 10 |  | HF00W057 | 2017-03-21 | 16.44 | 6.97 | 9.47 | Foaming
HF00W053 | 2017-04-19 10:12 | 19.3 | 22.6 | 4.9 | 1025 | -28.95 | 263 | 30 | 4 | HF00W058 | 2017-01-11 | 10.97 | 6.1 | 4.87
HF00W053 | 2017-04-19 10:14 | 37.1 | 34.3 | 2.1 | 1025 | -11.6 | 803 | 5 | 1 | HF00W058 | 2017-02-06 | 10.96 | 6.24 | 4.72
HF00W053 | 2017-04-28 14:21 | 52.9 | 41.6 | 0.7 | 1004 | -108.75 | 919 | 10 | 1 | HF00W058 | 2017-02-17 |  |  |  | Too high
HF00W054 | 2017-04-11 11:22 | 1 | 3.2 | 20.5 | 1017 | 1.05 | 9 |  |  | HF00W058 | 2017-03-03 | 12.44 | 7.96 | 4.48
HF00W054 | 2017-04-19 09:33 | 0.9 | 4.8 | 19.1 | 1024 | 1.24 | 0 | 0 | 12 | HF00W058 | 2017-03-21 | 12.44 | 7.9 | 4.54
HF00W055 | 2017-04-11 11:47 | 38.1 | 28.7 | 0.1 | 1016 | -76.22 | 13 | 100 |  | HF00W059 | 2017-01-11 | 10.91 | 8.38 | 2.53
HF00W055 | 2017-04-19 09:58 | 38.6 | 28 | 0.1 | 1024 | -84.13 | 0 | 100 | 1 | HF00W059 | 2017-02-06 | 10.87 | 8.46 | 2.41
HF00W056 | 2017-04-11 11:24 | 38.9 | 24.9 | 0.3 | 1017 | -81.64 | 11 | 80 |  | HF00W059 | 2017-02-17 |  |  |  | Too high
HF00W056 | 2017-04-19 09:35 | 40.5 | 21.6 | 0.7 | 1024 | -96.77 | 0 | 60 | 1 | HF00W059 | 2017-03-03 | 10.88 | 8.41 | 2.47
HF00W057 | 2017-04-11 11:26 | 69.4 | 25.4 | 0.1 | 1017 | -49.57 | 12 | 50 |  | HF00W059 | 2017-03-21 | 10.84 | 8.34 | 2.5
HF00W057 | 2017-04-19 09:37 | 61.4 | 23.2 | 0.4 | 1024 | -85.43 | 0 | 35 | 1 | HF00W060 | 2017-01-11 | 21.4 | 9.88 | 11.52
HF00W057 | 2017-04-19 09:38 | 61.2 | 23.7 | 0.3 | 1024 | -90.45 | 0 | 45 | 1 | HF00W060 | 2017-02-06 | 21.4 | 10.26 | 11.14
HF00W058 | 2017-04-11 11:32 | 52.6 | 33.9 | 2.7 | 1016 | 7.11 | 11 | 0 |  | HF00W060 | 2017-02-17 | 21.44 | 10.34 | 11.1
HF00W058 | 2017-04-11 11:34 | 61.9 | 38.9 | 0 | 1016 | -19.17 | 11 | 10 |  | HF00W060 | 2017-03-03 | 20.49 | 9.22 | 11.27
HF00W058 | 2017-04-19 09:43 | 66.4 | 35.4 | 0.2 | 1024 | -26.81 | 0 | 10 | 1 | HF00W060 | 2017-03-21 | 20.5 | 9.5 | 11
HF00W058 | 2017-04-19 09:44 | 66.1 | 35.6 | 0.1 | 1024 | -34.47 | 0 | 15 | 1 | HF00W061 | 2017-01-11 | 26.3 | 13.14 | 13.16 | Pump restarted, exhaust foaming
HF00W059 | 2017-04-11 11:36 | 48.7 | 34.2 | 1.1 | 1017 | -39.85 | 11 | 40 |  | HF00W061 | 2017-02-06 | 24.75 | 12.12 | 12.63 | Pump restarted, exhaust foaming
HF00W059 | 2017-04-19 09:46 | 48.1 | 32.5 | 1.5 | 1024 | -43.14 | 0 | 20 | 2 | HF00W061 | 2017-02-17 | 24.6 | 10.83 | 13.77 | Pump restarted, exhaust foaming
HF00W060 | 2017-04-11 11:28 | 21.3 | 14.2 | 6.7 | 1016 | -5.52 | 70 | 30 |  | HF00W061 | 2017-03-03 | 25.49 | 9.13 | 16.36 | Pump restarted, exhaust foaming
HF00W060 | 2017-04-11 11:30 | 21.2 | 14.3 | 6.7 | 1016 | 0.12 | 73 |  |  | HF00W061 | 2017-03-21 | 25.41 | 10.93 | 14.48
HF00W060 | 2017-04-19 09:40 | 62.2 | 33.5 | 0.1 | 1024 | 0.17 | 30 | 5 | 1 | HF00W062 | 2017-01-11 | 23.2 | 9.8 | 13.4
HF00W060 | 2017-04-19 09:41 | 62 | 33.7 | 0.1 | 1024 | -0.76 | 32 | 10 | 1 | HF00W062 | 2017-02-06 | 23.18 | 9.84 | 13.34
HF00W061 | 2017-04-11 11:38 | 14 | 15.1 | 12.9 | 1017 | 1 | 61 | 0 |  | HF00W062 | 2017-02-17 |  |  |  | Too high
HF00W062 | 2017-04-11 11:51 | 28.1 | 26.8 | 7.3 | 1016 | -1.5 | 63 |  |  | HF00W062 | 2017-03-03 | 22.37 | 8.99 | 13.38
HF00W062 | 2017-04-19 10:01 | 17.9 | 16.1 | 12.2 | 1025 | -2.76 | 22 | 0 | 2 | HF00W062 | 2017-03-21 | 22.37 | 9.8 | 12.57
HF00W063 | 2017-04-11 11:09 | 51.7 | 31 | 3.7 | 1019 | 0.72 | 9 | 5 |  | HF00W063 | 2017-01-11 | 8.27 | 4.23 | 4.04
HF00W063 | 2017-04-19 10:20 | 22 | 13.7 | 13.5 | 1024 | -2.43 | 0 | 5 | 5 | HF00W063 | 2017-02-06 | 8.49 | 4.46 | 4.03
HF00W064 | 2017-04-11 11:06 | 25 | 24.9 | 2.2 | 1018 | -78.65 | 12 | 20 |  | HF00W063 | 2017-02-17 | 8.48 | 4.54 | 3.94
HF00W064 | 2017-04-19 10:22 | 27.9 | 25.3 | 1.8 | 1027 | -80.66 | 0 | 40 | 2 | HF00W063 | 2017-03-03 | 8.48 | 4.4 | 4.08
HF00W065 | 2017-04-11 11:49 | 23.7 | 27.8 | 1.4 | 1016 | -4.39 | 16 |  |  | HF00W063 | 2017-03-21 | 8.48 | 4.44 | 4.04
HF00W065 | 2017-04-19 10:00 | 15.8 | 19.4 | 7.9 | 1024 | -5.02 | 2 | 0 | 2 | HF00W064 | 2017-01-11 | 17.4 | 17.15 | 0.25
HF00W066 | 2017-04-11 14:07 | 3.6 | 3.8 | 17.2 | 1015 | -67.09 | 16 |  |  | HF00W064 | 2017-02-06 | 8.85 | 8.74 | 0.11 | blockage
HF00W067 | 2017-04-11 11:45 | 37 | 32.8 | 0.1 | 1016 | -37.32 | 12 | 50 |  | HF00W064 | 2017-02-17 | 8.54 | 8.54 |  | blockage
HF00W067 | 2017-04-19 09:56 | 37.1 | 31 | 0.3 | 1024 | -42.57 | 0 | 30 | 1 | HF00W064 | 2017-03-03 | 17.9 | 17.39 | 0.51 | blockage
HF00W068 | 2017-04-11 11:53 | 35.8 | 59.6 | 0.1 | 1016 | -76.57 | >>>> |  |  | HF00W064 | 2017-03-21 | 16.59 | 15.39 | 1.2 | blockage
HF00W068 | 2017-04-19 09:53 | 47.4 | 45.8 | 1 | 1024 | -53.08 | 531 | 5 | 1 | HF00W065 | 2017-01-11 | 19.6 | 9.59 | 10.01
HF00W069 | 2017-04-11 09:21 | 45.5 | 35.2 | 3.8 | 1019 | 10.36 | 18 | 0 |  | HF00W065 | 2017-02-06 | 19.63 | 9.65 | 9.98
HF00W069 | 2017-04-11 09:24 | 56.8 | 44 | 0.1 | 1019 | -1.69 | 20 | 5 |  | HF00W065 | 2017-02-17 | 19.6 | 9.62 | 9.98
HF00W069 | 2017-04-19 11:40 | 26.8 | 21 | 10.7 | 1027 | -0.91 | 3 | 20 | 2 | HF00W065 | 2017-03-03 | 19.6 | 9.46 | 10.14
HF00W069 | 2017-04-19 11:42 | 26.7 | 21 | 10.7 | 1027 | -0.02 | 3 | 0 | 2 | HF00W065 | 2017-03-21 | 19.6 | 9.35 | 10.25
HF00W070 | 2017-04-11 08:57 | 46.1 | 34.7 | 4.1 | 1019 | 0.29 | 70 | 0 |  | HF00W066 | 2017-01-11 |  |  |  | Unsafe access
HF00W070 | 2017-04-19 11:54 | 9.2 | 8.7 | 17 | 1026 | 1.52 | 11 | 0 | 2 | HF00W066 | 2017-02-06 |  |  |  | Unsafe access
HF00W071 | 2017-04-11 10:53 | 43.9 | 37.7 | 1.5 | 1019 | -2.06 | 123 | 10 |  | HF00W066 | 2017-02-17 |  |  |  | Unsafe access
HF00W071 | 2017-04-19 10:33 | 22.1 | 24.6 | 5.3 | 1026 | -1.8 | 115 | 10 | 4 | HF00W066 | 2017-03-03 | 6.57 | 3.79 | 2.78
HF00W071 | 2017-04-19 10:34 | 22.2 | 24.9 | 5.2 | 1026 | -0.07 | 117 | 0 | 4 | HF00W066 | 2017-03-21 | 6.57 | 3.63 | 2.94
HF0HOL01 | 2017-04-28 14:53 | 63.1 | 38 | 0.3 | 1007 | 0.59 | 4 | 100 | 1 | HF00W067 | 2017-01-11 | 27.99 | 17.64 | 10.35 | Unable to restart pump
HF0HOL02 | 2017-04-11 10:39 | 52.4 | 36.8 | 2.5 | 1019 | -3.49 | 19 | 5 |  | HF00W067 | 2017-02-06 | 28 | 17.53 | 10.47 | Pump replaced
HF0HOL02 | 2017-04-19 10:47 | 0.2 | 4.3 | 19.4 | 1026 | -63.57 | 0 | 10 | 2 | HF00W067 | 2017-02-17 |  | 24.94 |  | Snagging
HF0HOL02 | 2017-04-19 10:48 | 0.2 | 3.2 | 19.9 | 1026 | -63.73 | 0 | 0 | 2 | HF00W067 | 2017-03-03 | 27.57 | 25.88 | 1.69
HF0HOL03 | 2017-04-11 10:48 | 35.9 | 27 | 7.2 | 1019 | -0.52 | 17 | 50 |  | HF00W067 | 2017-03-21 | 27.57 | 23.13 | 4.44
HF0HOL03 | 2017-04-11 10:49 | 36.5 | 27.8 | 6.9 | 1019 | 0.45 | 18 | 0 |  | HF00W068 | 2017-01-11 | 24.3 | 18.39 | 5.91
HF0HOL03 | 2017-04-19 10:38 | 59.4 | 40.5 | 0.1 | 1026 | 0.31 | 6 | 10 | 1 | HF00W068 | 2017-02-17 | 24.36 | 18.7 | 5.66
HF0HOL03 | 2017-04-19 10:39 | 59.3 | 40.6 | 0.1 | 1026 | -0.52 | 7 | 20 | 1 | HF00W068 | 2017-03-03 | 24.36 | 17.64 | 6.72
HF0KOP02 | 2017-04-19 09:16 | 10.5 | 18.7 | 6.9 | 1025 | 0.79 | 0 | 0 | 1 | HF00W068 | 2017-03-21 | 24.36 | 18.36 | 6
HF0KOP03 | 2017-04-19 09:20 | 1.8 | 10 | 17.3 | 1026 | -0.03 | 0 | 0 | 1 | HF00W069 | 2017-01-11 | 23.25 | 20.24 | 3.01
HF0KOP09 | 2017-04-11 14:11 | 0.4 | 3.3 | 19.9 | 1016 |  | 20 |  |  | HF00W069 | 2017-02-17 |  |  |  | Too high
HF0KOP10 | 2017-04-19 09:27 | 0.8 | 6.1 | 18.8 | 1025 | -0.02 | 0 | 0 | 1 | HF00W069 | 2017-03-03 |  | 19.77
HF0M10MA | 2017-04-11 11:40 | 57.9 | 29.4 | 0.6 | 1016 | -78.67 | 12 | 100 |  | HF00W069 | 2017-03-21 | 22.48 | 19.51 | 2.97
HF0M10MA | 2017-04-19 09:47 | 56.8 | 28.2 | 0.7 | 1025 | -93.87 | 1 | 100 | 1 | HF00W070 | 2017-01-11 | 20.51 | 13.66 | 6.85
HF0M10MB | 2017-04-11 11:15 | 43.2 | 22.8 | 3 | 1018 | -81.82 | 30 | 100 |  | HF00W070 | 2017-02-17 | 20.45 | 14.03 | 6.42
HF0M10MB | 2017-04-19 09:29 | 56.5 | 26.8 | 0.9 | 1024 | -95.06 | 1 | 100 | 1 | HF00W070 | 2017-03-03 | 20.45 | 9 | 11.45
HF0M11MA | 2017-04-11 11:58 | 37.9 | 32.8 | 0.1 | 1016 | -80.32 | 115 | 100 |  | HF00W070 | 2017-03-21 | 20.39 | 11.57 | 8.82
HF0M11MA | 2017-04-19 10:03 | 38.3 | 29.3 | 0.4 | 1024 | -81.8 | 5 | 100 | 1 | HF00W071 | 2017-01-11 | 23.16 | 14.13 | 9.03
HF0M11MB | 2017-04-11 11:44 | 37.4 | 30.6 | 0.1 | 1016 | -78.6 | 12 | 100 |  | HF00W071 | 2017-02-06 | 23.2 | 17.13 | 6.07 | Pump replaced
HF0M11MB | 2017-04-19 09:51 | 38.1 | 29.6 | 0.3 | 1024 | -89.35 | 3 | 100 | 1 | HF00W071 | 2017-02-17 | 23.2 | 16.75 | 6.45 | Pump restarted, exhaust foaming
HF0PNS05 | 2017-04-11 15:02 | 43.6 | 32.8 | 0.1 | 1016 | -49.57 | 31 | 20 |  | HF00W071 | 2017-03-03 | 22.8 | 15.31 | 7.49
HF0PNS06 | 2017-04-11 15:04 | 56.9 | 41.7 | 0.2 | 1016 | -65.57 | 35 | 0 |  | HF00W071 | 2017-03-21 | 22.8 | 14.74 | 8.06
HF0PNS07 | 2017-04-11 12:30 | 51.6 | 38.4 | 1.9 | 1016 | -75 | 25 | 100
HF0PNS08 | 2017-04-11 12:28 | 55.9 | 44.2 | 0.1 | 1016 | -74.78 | 33 | 100
HF0PNS09 | 2017-04-11 14:23 | 0.2 | 2.5 | 20.6 | 1016 | -62.63 | 23
HF0PNS10 | 2017-04-11 13:02 | 43.7 | 44.6 | 2.6 | 1015 | 20.75 | 34 | 9
HF0PNS11 | 2017-04-11 13:06 | 38.8 | 31.5 | 5.5 | 1015 | -66.92 | 80
HF0PNS13 | 2017-04-11 11:04 | 53.9 | 42.5 | 0.1 | 1019 | -78.34 | 611 | 20
HF0PNS13 | 2017-04-19 10:23 | 47.6 | 35.8 | 2.8 | 1026 | -78.23 | 898 | 10 | 2
HF0PNS14 | 2017-04-11 11:02 | 24.9 | 24.7 | 2.5 | 1019 | -80.1 | 11 | 100
HF0PNS14 | 2017-04-19 10:25 | 26.1 | 24.3 | 2.9 | 1026 | -77.26 | 3 | 30 | 2
HF0PNW01 | 2017-04-11 10:45 | 60.6 | 39.8 | 0.2 | 1019 | -79.92 | 8 | 60
HF0PNW01 | 2017-04-19 10:41 | 61.4 | 38.8 | 0.2 | 1026 | -66.82 | 0 | 40 | 1
HF0PNW01 | 2017-04-19 10:42 | 61.3 | 39.3 | 0 | 1026 | -66.77 | 0 | 50 | 1
HF0PNW02 | 2017-04-11 10:43 | 60 | 41.4 | 0 | 1019 | -80.03 | 10 | 60
HF0PNW02 | 2017-04-19 10:44 | 60.8 | 39.7 | 0.1 | 1026 | -64.64 | 0 | 50 | 1
HF0PNW03 | 2017-04-11 10:41 | 61.8 | 38.7 | 0.2 | 1019 | -80.99 | 8 | 60
HF0PNW03 | 2017-04-19 10:46 | 63.2 | 37.1 | 0.2 | 1026 | -64.2 | 0 | 50 | 1
HF0PNW04 | 2017-04-11 10:34 | 46 | 31.6 | 4.9 | 1018 | 0.64 | 7 | 0
HF0PNW04 | 2017-04-19 10:50 | 53.3 | 34.4 | 2.5 | 1026 | 0.12 | 0 | 0 | 2
HF0PNW05 | 2017-04-11 10:24 | 60.8 | 40.4 | 0.1 | 1019 | -82.78 | 6 | 50
HF0PNW05 | 2017-04-19 10:56 | 61.8 | 38.5 | 0.1 | 1026 | -61.66 | 0 | 30 | 1
HF0PNW06 | 2017-04-11 10:17 | 47.2 | 32.6 | 1.2 | 1019 | -84.93 | 14 | 50
HF0PNW06 | 2017-04-19 11:01 | 52.2 | 31.3 | 0.8 | 1026 | -61.83 | 10 | 20 | 1
HF0PNW07 | 2017-04-11 10:15 | 64.2 | 37.2 | 0.1 | 1019 | -84.55 | 6 | 60
HF0PNW07 | 2017-04-19 11:02 | 65.9 | 35.2 | 0.3 | 1026 | -61.21 | 0 | 45 | 1
HF0PNW08 | 2017-04-11 10:09 | 36.2 | 29.2 | 3 | 1019 | -84.85 | 18 | 100
HF0PNW08 | 2017-04-11 10:10 | 36.5 | 29.7 | 2.7 | 1019 | -85.02 | 18 | 0
HF0PNW08 | 2017-04-19 11:06 | 35.9 | 29.5 | 2.4 | 1026 | -64.44 | 6 | 1 | 2
HF0PNW09 | 2017-04-11 09:49 | 12.9 | 23.4 | 3.6 | 1019 | 11.53 | 23 | 0
HF0PNW09 | 2017-04-19 11:22 | 10.6 | 19.1 | 5.7 | 1027 | 4 | 16 | 0 | 2
HF0PNW10 | 2017-04-11 10:01 | 58.5 | 33.4 | 1.9 | 1019 | -83.19 | 7 | 50
HF0PNW10 | 2017-04-19 11:14 | 60.4 | 33.1 | 1.4 | 1027 | -53.41 | 0 | 15 | 2
HF0PNW10 | 2017-04-19 11:15 | 59.9 | 33.2 | 1.5 | 1027 | -56.1 | 0 | 20 | 2
HF0PNW11 | 2017-04-11 09:59 | 66.2 | 35.1 | 0.1 | 1019 | -84.24 | 8 | 50
HF0PNW11 | 2017-04-19 11:16 | 66.6 | 34.7 | 0.1 | 1027 | -55.67 | 0 | 25 | 1
HF0PNW11 | 2017-04-19 11:17 | 66.2 | 35.2 | 0 | 1027 | -57.43 | 0 | 30 | 1
HF0PNW12 | 2017-04-11 09:51 | 59.8 | 35.6 | 0.4 | 1019 | -84.59 | 9 | 30
HF0PNW12 | 2017-04-19 11:21 | 63.3 | 37.3 | 0.1 | 1027 | -54.86 | 0 | 25 | 1
HF0PNW13 | 2017-04-11 09:01 | 61.7 | 39.5 | 0.2 | 1017 | -87.63 | 7 | 10
HF0PNW13 | 2017-04-19 11:51 | 61.4 | 38.1 | 0.2 | 1026 | -44.57 | 0 | 10 | 1
HF0PNW13 | 2017-04-19 11:52 | 61.1 | 38.3 | 0.2 | 1026 | -45.16 | 0 | 15 | 1
HF0PNW14 | 2017-04-11 09:08 | 59.1 | 41.8 | 0.1 | 1019 | -88.05 | 13 | 10
HF0PNW14 | 2017-04-19 11:47 | 61.6 | 38.5 | 0.3 | 1026 | -46.17 | 0 | 20 | 1
HF0PNW15 | 2017-04-11 09:17 | 43.9 | 19.7 | 7.2 | 1019 | -71.29 | 8 | 0
HF0PNW15 | 2017-04-19 11:44 | 75 | 25.3 | 0.2 | 1027 | 15.76 | 0 | 0 | 1
HF0PNW15 | 2017-04-19 11:45 | 74.8 | 25.5 | 0.1 | 1027 | -46.85 | 0 | 5 | 1
HF0PNW17 | 2017-04-11 13:08 | 48.8 | 51.7 | 0.1 | 1015 | 15.04 | 32
HF0PNW20 | 2017-04-11 11:00 | 48.3 | 36.4 | 3.4 | 1018 | -79.7 | 14 | 100
HF0PNW20 | 2017-04-19 10:27 | 46.3 | 34 | 4 | 1026 | -76.88 | 1 | 100 | 2
HF0PNW21 | 2017-04-11 09:36 | 62.2 | 38.6 | 0.1 | 1019 | -86.7 | 9 | 50
HF0PNW21 | 2017-04-19 11:33 | 65.4 | 35.8 | 0.1 | 1027 | -49.63 | 0 | 50 | 1
HF0PNW22 | 2017-04-11 09:29 | 42.6 | 28.6 | 3.6 | 1019 | -87.08 | 19 | 10
HF0PNW22 | 2017-04-11 09:33 | 47.1 | 30.5 | 2.1 | 1019 | -86.72 | 20 | 5
HF0PNW22 | 2017-04-19 11:36 | 52.9 | 30 | 0.8 | 1027 | -47.21 | 30 | 25 | 1
HF0PNW23 | 2017-04-11 08:53 | 0.4 | 1.9 | 21.4 | 1019 | -0.07 | 5
HF0PNW23 | 2017-04-11 08:55 | 40.8 | 27.8 | 1.1 | 1019 | -0.72 | 8 | 5
HF0PNW23 | 2017-04-19 11:55 | 8.1 | 13.4 | 3.9 | 1026 | -4.78 | 0 | 5 | 2
HF0PNW23 | 2017-04-19 11:57 | 8.1 | 14.4 | 3.6 | 1026 | -3.69 | 0 | 0 | 2
HF0PNW24 | 2017-04-11 08:49 | 65.2 | 26.7 | 0.6 | 1019 | -3.72 | 7 | 0
HF0PNW24 | 2017-04-11 08:51 | 62.2 | 26.1 | 1.4 | 1019 | -46.34 | 7 | 5
HF0PNW24 | 2017-04-19 11:58 | 8.5 | 13.2 | 4.4 | 1026 | -29.36 | 3 | 10 | 2
HF0PNW24 | 2017-04-19 11:59 | 8.6 | 13.5 | 4.3 | 1026 | -10.91 | 4 | 0 | 2
HF0PNW25 | 2017-04-11 08:44 | 19.8 | 13.6 | 10.2 | 1019 | -27.32 | 5 | 0
HF0PNW25 | 2017-04-11 08:46 | 39 | 20.4 | 2.7 | 1019 | -27.32 | 7
HF0PNW25 | 2017-04-11 08:47 | 34.9 | 20.8 | 2.7 | 1019 | -83.31 | 7 | 0
HF0PNW25 | 2017-04-19 12:01 | 12.2 | 10 | 11.1 | 1026 | -21.49 | 0 | 0 | 2
HF0PNW26 | 2017-04-11 08:37 | 27.1 | 23 | 0.2 | 1019 | -22.11 | 3 | 0
HF0PNW26 | 2017-04-11 08:40 | 27.2 | 24 | 0.1 | 1019 | -56.37 | 4 | 5
HF0PNW26 | 2017-04-19 12:04 | 10.2 | 16.1 | 3.9 | 1026 | -43.12 | 0 | 20 | 2
HF0PNW26 | 2017-04-19 12:05 | 10.2 | 16 | 3.8 | 1026 | -26.53 | 1 | 0 | 2
HF0PNW27 | 2017-04-11 08:35 | 22 | 23.8 | 0.7 | 1018 | -15.3 | 3 | 5
HF0PNW27 | 2017-04-19 12:06 | 17.3 | 21.1 | 0.9 | 1026 | -11.51 | 0 | 10 | 4
HF0PNW27 | 2017-04-19 12:07 | 17.2 | 21.4 | 0.9 | 1026 | -9.05 | 0 | 0 | 4
HF0PNW28 | 2017-04-11 12:13 | 34.6 | 17.5 | 9.7 | 1017 | -2.7 | 16
HF0PNW28 | 2017-04-19 12:14 | 0.1 | 3.2 | 19.8 | 1025 | -4.59 | 0 | 0 | 2
HF0PNW29 | 2017-04-11 12:16 | 54.4 | 34.4 | 0.9 | 1017 | -21.75 | 19 | 10
HF0PNW29 | 2017-04-19 12:17 | 54.5 | 33.3 | 0.2 | 1025 | -24.98 | 0 | 10 | 1
HF0PNW29 | 2017-04-19 12:18 | 53.9 | 33.9 | 0.1 | 1025 | -27.27 | 0 | 15 | 1
HF0PNW30 | 2017-04-11 14:25 | 48.7 | 31.5 | 0.3 | 1015 | -59.38 | 25 | 10
HF0PNW31 | 2017-04-11 14:26 | 0.3 | 3.7 | 20.3 | 1016 | -60.12 | 22
HF0PNW32 | 2017-04-11 14:28 | 45.1 | 29.6 | 2.4 | 1015 | -63.22 | 24 | 10
HF0PNW33 | 2017-04-11 14:31 | 52.7 | 33 | 0.3 | 1015 | -68.31 | 24 | 100
HF0PNW34 | 2017-04-11 14:33 | 57.8 | 34.6 | 0.6 | 1015 | -67.09 | 25 | 100
HFLMP001 | 2017-04-11 09:53 | 56.5 | 45 | 0.1 | 1019 | 0.77 | 14
HFLMP001 | 2017-04-11 09:55 | 42.3 | 35.7 | 4.9 | 1019 | -0.64 | 12 | 5
HFLMP001 | 2017-04-11 09:56 | 39.7 | 33.3 | 5.8 | 1019 | -0.05 | 11 | 0
HFLMP001 | 2017-04-19 11:19 | 39.7 | 32.3 | 4.7 | 1026 | 0.95 | 10 | 0 | 2
HFLMP002 | 2017-04-11 10:07 | 21.9 | 15.5 | 13.4 | 1019 | -63.49 | 6 | 0
HFLMP002 | 2017-04-19 11:07 | 63.3 | 37.5 | 0.1 | 1026 | 26.13 | 2 | 0 | 1
HFLMP002 | 2017-04-19 11:09 | 62 | 37.8 | 0.2 | 1026 | -5.66 | 2 | 5 | 1
HFLMP004 | 2017-04-11 15:19 | 31 | 53 | 0.3 | 1017 | 24.67 | >>>>
HFLMP004 | 2017-04-28 14:51 | 31.4 | 39.2 | 4.8 | 1007 | 0.29 | 78 | 0 | 4
HFLMP02A | 2017-04-11 09:44 | 32.1 | 20.6 | 10.2 | 1019 | -58.16 | 7 | 0
HFLMP02A | 2017-04-19 11:28 | 64.6 | 36.7 | 0 | 1026 | 86.74 | 0 | 1 | 1
HFLMP02A | 2017-04-19 11:29 | 64.2 | 37.1 | 0 | 1026 | 70.77 | 0 | 5 | 1
HFLMP04A | 2017-04-11 15:28 | 56.3 | 40 | 0.9 | 1018 | -15.54 | >>>> | 10
HFLT0001 | 2017-04-11 14:56 | 10.7 | 7.1 | 17 | 1016 | -20.7 | 26
HFLT0002 | 2017-04-11 14:52 | 12.3 | 11.3 | 14.8 | 1016 | -40.19 | 25
HFLT0003 | 2017-04-11 13:00 | 53.6 | 42.5 | 0.1 | 1015 | -50.29 | 96 | 20
HFSP01MB | 2017-04-11 07:29 | 44.1 | 31 | 2.2 | 1018 | -94.64 | 14 | 100
HFSP01MB | 2017-04-19 09:13 | 42.2 | 30.9 | 1.5 | 1025 | -93.14 | 6 | 100 | 1
HFSP02MA | 2017-04-11 16:04 | 49.8 | 35.3 | 0.9 | 1015 | 179.88 | 150 | 100
HFSP02MB | 2017-04-11 07:32 | 44 | 32 | 2 | 1019 | 154.17 | 16 | 100
HFSP02MB | 2017-04-11 07:33 | 43 | 31.5 | 2.3 | 1019 | 154.17 | 8
HFSP02MB | 2017-04-19 09:14 | 42.6 | 31.3 | 1.4 | 1025 | 155.27 | 5 | 100 | 1
HFSWR001 | 2017-04-11 15:06 | 59.8 | 38.4 | 0.3 | 1010 | -66.02 | 32 | 100
HFSWR002 | 2017-04-11 15:08 | 60.2 | 38.6 | 0.2 | 1016 | -66.42 | 32 | 100
HFSWR003 | 2017-04-11 12:11 | 58.7 | 37.5 | 0.7 | 1017 | -2.34 | 17 | 10
HFSWR003 | 2017-04-19 12:12 | 50.7 | 32.5 | 2.6 | 1025 | -20.23 | 0 | 20 | 2
HFSWR004 | 2017-04-11 12:09 | 63.3 | 36.8 | 0.2 | 1016 | 8.83 | 18 | 10
HFSWR004 | 2017-04-19 12:10 | 48.5 | 28.2 | 4.3 | 1026 | -30.1 | 0 | 25 | 2

## Perimeter LFG
Sample Point | Date | CH4 | CO2 | O2 | AP | RP
|  | % | % | % | mb | mb
BH HA 10(B) | 2017-04-25 15:21 | 0.2 | 0.5 | 20.2 | 1003 | 0.02
BH HA 10(M) | 2017-04-25 15:21 | 0 | 0.2 | 20.7 | 1002 | -0.01
BH HA 10(T) | 2017-04-25 15:20 | 0.1 | 0.4 | 20.3 | 1003 | 0
BH HA 11A(B) | 2017-04-25 15:16 | 0 | 0 | 20.7 | 1003 | 0
BH HA 11B(M) | 2017-04-25 15:17 | 0 | 1.6 | 9.9 | 1002 | 0.01
BH HA 11B(T) | 2017-04-25 15:17 | 0 | 0.1 | 20.6 | 1002 | 0.02
BH HA 12A(M) | 2017-04-18 14:37 | 0 | 0.2 | 20.6 | 1022 | 0.01
BH HA 12A(T) | 2017-04-18 14:36 | 0 | 1.5 | 18.5 | 1022 | -0.01
BH HA 12B(B) | 2017-04-18 14:38 | 0 | 0.4 | 19.8 | 1022 | 0
BH HA 1A(T) | 2017-04-25 15:09 | 0 | 2.5 | 16.8 | 1003 | 0.1
BH HA 1B(B) | 2017-04-25 15:11 | 0 | 0.5 | 18.9 | 1003 | 0.03
BH HA 1B(M) | 2017-04-25 15:10 | 0 | 1.9 | 14.7 | 1003 | 0.03
BH HA 2A(M) | 2017-04-03 12:42 | 0 | 0.1 | 20.6 | 1010 | -0.04
BH HA 2A(T) | 2017-04-03 12:41 | 0 | 0.3 | 20.4 | 1010 | -0.01
BH HA 2B(B) | 2017-04-03 12:43 | 13 | 4.6 | 3.8 | 1010 | 0.04
BH HA 2B(B) | 2017-04-11 12:43 | 14.4 | 4 | 4.7 | 1015 | 0.01
BH HA 2B(B) | 2017-04-18 13:35 | 15.4 | 4.7 | 3.1 | 1021 | 0.02
BH HA 2B(B) | 2017-04-25 14:24 | 12.8 | 3.8 | 7.1 | 1003 | 0
BH HA 5(B) | 2017-04-25 13:24 | 0 | 0 | 20.8 | 1003 | 0
BH HA 5(T) | 2017-04-25 13:23 | 0 | 0 | 20.7 | 1003 | -0.06
BH HA 6A(B) | 2017-04-25 13:29 | 0 | 0 | 21 | 1003 | 0
BH HA 6A(M) | 2017-04-25 13:28 | 0 | 0.2 | 20.8 | 1003 | 0
BH HA 6B(T) | 2017-04-25 13:29 | 0 | 1.9 | 11.5 | 1003 | 0.02
BH HA 9A(B) | 2017-04-03 11:43 | 0 | 1.8 | 18.7 | 1009 | 0.03
BH HA 9A(B) | 2017-04-11 11:52 | 0 | 1.5 | 19.3 | 1015 | 0
BH HA 9A(B) | 2017-04-18 12:41 | 0 | 1.4 | 19.6 | 1020 | 0.03
BH HA 9A(B) | 2017-04-25 13:34 | 0 | 1.2 | 19.8 | 1003 | 0
BH HA 9A(T) | 2017-04-03 11:42 | 0.6 | 3.8 | 15.4 | 1009 | 0.03
BH HA 9A(T) | 2017-04-11 11:51 | 0 | 3 | 16.8 | 1015 | 0
BH HA 9A(T) | 2017-04-18 12:40 | 0 | 1.9 | 18.4 | 1020 | 0.02
BH HA 9A(T) | 2017-04-25 13:33 | 0 | 2.8 | 17 | 1003 | -0.05
BH HA 9B(M) | 2017-04-03 11:44 | 0 | 0.4 | 19.6 | 1009 | 0.01
BH HA 9B(M) | 2017-04-11 11:53 | 0 | 0.2 | 20.5 | 1015 | -0.01
BH HA 9B(M) | 2017-04-18 12:42 | 0 | 0.3 | 20.3 | 1020 | 0
BH HA 9B(M) | 2017-04-25 13:35 | 0 | 0.1 | 20.8 | 1003 | -0.04
HAF GB01 | 2017-04-03 11:45 | 21.2 | 16.8 | 2.5 | 1009 | 0.04
HAF GB01 | 2017-04-11 11:54 | 21.6 | 17.5 | 1.3 | 1015 | 0
HAF GB01 | 2017-04-18 12:43 | 23.5 | 17.2 | 2.3 | 1020 | 0
HAF GB01 | 2017-04-25 13:36 | 17.9 | 14.7 | 4.2 | 1004 | 0
HAF GB02 | 2017-04-03 11:46 | 0.1 | 0.8 | 19.2 | 1009 | 0
HAF GB02 | 2017-04-11 11:55 | 0 | 0.5 | 19.9 | 1015 | -0.01
HAF GB02 | 2017-04-18 12:45 | 0 | 0.5 | 19.9 | 1020 | -0.02
HAF GB02 | 2017-04-25 13:37 | 0 | 0.4 | 20.3 | 1004 | -0.04
HAF GB03 | 2017-04-03 11:48 | 8.9 | 18.3 | 0.8 | 1009 | 0.04
HAF GB03 | 2017-04-11 11:57 | 8.7 | 19.6 | 0.7 | 1015 | -0.02
HAF GB03 | 2017-04-18 12:46 | 13.7 | 21.3 | 0.7 | 1020 | -0.02
HAF GB03 | 2017-04-25 13:39 | 8.9 | 20.6 | 0.7 | 1004 | 0.08
HAF GB04a | 2017-04-03 11:49 | 15.4 | 4.7 | 1 | 1009 | 0.01
HAF GB04a | 2017-04-11 11:58 | 12 | 16.2 | 1.7 | 1015 | -0.04
HAF GB04a | 2017-04-18 12:47 | 12.9 | 18.2 | 1.3 | 1020 | -0.01
HAF GB04a | 2017-04-25 13:40 | 12.3 | 20 | 2.2 | 1003 | 0.05
HAF GB04b | 2017-04-03 11:50 | 33.6 | 28.3 | 0.4 | 1009 | 0.02
HAF GB04b | 2017-04-11 11:59 | 34.2 | 29 | 0.5 | 1015 | 0.08
HAF GB04b | 2017-04-18 12:49 | 22.6 | 18.1 | 9.8 | 1020 | 0
HAF GB04b | 2017-04-25 13:41 | 20.2 | 17.8 | 8.1 | 1003 | 0.06
HAF GB05 | 2017-04-03 12:03 | 0 | 0 | 20.4 | 1010 | 0.01
HAF GB05 | 2017-04-11 12:12 | 0 | 0 | 20.7 | 1015 | -0.02
HAF GB05 | 2017-04-18 13:03 | 0 | 0.1 | 20.6 | 1021 | 0
HAF GB05 | 2017-04-25 13:54 | 0 | 0 | 21.2 | 1003 | 0.06
HAF GB06a | 2017-04-03 12:05 | 36.7 | 16.1 | 1.5 | 1010 | 0
HAF GB06a | 2017-04-11 12:13 | 34.2 | 13.5 | 9.6 | 1015 | 0
HAF GB06a | 2017-04-18 13:05 | 20.8 | 15.9 | 1.6 | 1021 | 0
HAF GB06a | 2017-04-25 13:56 | 34.9 | 18.9 | 1.1 | 1003 | 0.02
HAF GB06b | 2017-04-03 12:04 | 0 | 0 | 20.4 | 1010 | 0.02
HAF GB06b | 2017-04-11 12:14 | 0 | 0 | 20.7 | 1015 | -0.02
HAF GB06b | 2017-04-18 13:04 | 0 | 0 | 20.7 | 1021 | 0.02
HAF GB06b | 2017-04-25 13:55 | 0 | 0 | 21.2 | 1003 | 0.05
HAF GB07a | 2017-04-03 12:07 | 24.9 | 16.7 | 0.5 | 1010 | 0.03
HAF GB07a | 2017-04-11 12:15 | 24.6 | 17.4 | 0.6 | 1015 | 0.06
HAF GB07a | 2017-04-18 13:06 | 23.4 | 18 | 0.5 | 1021 | 0
HAF GB07a | 2017-04-25 13:58 | 18.3 | 5.1 | 1.4 | 1003 | 0.03
HAF GB07b | 2017-04-03 12:08 | 5.6 | 1.6 | 3.4 | 1010 | 0.01
HAF GB07b | 2017-04-11 12:17 | 9.7 | 2.2 | 1.5 | 1015 | 0.02
HAF GB07b | 2017-04-18 13:07 | 13.7 | 3.3 | 1.4 | 1021 | 0.05
HAF GB07b | 2017-04-25 13:59 | 23.3 | 19.1 | 0.6 | 1003 | 0.03
HAF GB08 | 2017-04-03 12:09 | 8.4 | 11.4 | 7.7 | 1010 | 0.03
HAF GB08 | 2017-04-11 12:18 | 6.7 | 10.8 | 8.7 | 1015 | 0.02
HAF GB08 | 2017-04-18 13:08 | 7.1 | 11.3 | 8.2 | 1021 | 0.04
HAF GB08 | 2017-04-25 14:00 | 6.5 | 11.9 | 7.8 | 1003 | 0.04
HAF GB09 | 2017-04-03 12:11 | 16 | 7.3 | 8.3 | 1010 | 0
HAF GB09 | 2017-04-11 12:19 | 17.9 | 10 | 5.7 | 1015 | 0
HAF GB09 | 2017-04-18 13:10 | 16.2 | 10.7 | 5.4 | 1021 | 0.04
HAF GB09 | 2017-04-25 14:01 | 15.7 | 11.6 | 5.5 | 1003 | 0.15
HAF GB10a | 2017-04-03 12:12 | 0 | 0.8 | 18.6 | 1010 | 0
HAF GB10a | 2017-04-11 12:21 | 0 | 3.5 | 12 | 1015 | 0
HAF GB10a | 2017-04-18 13:11 | 0 | 2.7 | 11.2 | 1021 | 0.07
HAF GB10a | 2017-04-25 14:03 | 0 | 2.7 | 8.6 | 1003 | 0.06
HAF GB10b | 2017-04-03 12:13 | 0 | 0.5 | 19.5 | 1010 | 0.07
HAF GB10b | 2017-04-11 12:22 | 0 | 0.4 | 20 | 1015 | 0.01
HAF GB10b | 2017-04-18 13:12 | 0 | 0.3 | 19.9 | 1021 | 0.17
HAF GB10b | 2017-04-25 14:04 | 0 | 0.2 | 20.5 | 1003 | 0.07
HAF GB11 | 2017-04-03 12:14 | 0 | 0 | 20.3 | 1010 | 0.05
HAF GB11 | 2017-04-11 12:23 | 0.2 | 1.1 | 19.5 | 1015 | 0.21
HAF GB11 | 2017-04-18 13:14 | 0 | 1 | 19.5 | 1021 | 0.29
HAF GB11 | 2017-04-25 14:05 | 0 | 0.4 | 20.8 | 1003 | 0.02
HAF GB12 | 2017-04-03 12:17 | 13.5 | 2 | 5.6 | 1010 | -0.08
HAF GB12 | 2017-04-11 12:26 | 16.7 | 2.5 | 3.3 | 1015 | -0.07
HAF GB12 | 2017-04-18 13:16 | 13.6 | 2.2 | 5.4 | 1021 | -0.39
HAF GB12 | 2017-04-25 14:07 | 17.1 | 2.8 | 2.4 | 1003 | 0.7
HAF GB13 | 2017-04-03 12:19 | 0 | 0.2 | 19.4 | 1010 | -0.01
HAF GB13 | 2017-04-11 12:28 | 0 | 0.7 | 18 | 1015 | 0
HAF GB13 | 2017-04-18 13:18 | 0 | 0.3 | 19.3 | 1021 | 0.03
HAF GB13 | 2017-04-25 14:09 | 0.3 | 5 | 6.2 | 1003 | 0.04
HAF GB14 | 2017-04-03 12:21 | 0 | 0.7 | 20.1 | 1009 | 0
HAF GB14 | 2017-04-11 12:29 | 0 | 0.5 | 20.2 | 1014 | 0
HAF GB14 | 2017-04-18 13:20 | 0 | 0.7 | 20.2 | 1020 | 0.02
HAF GB14 | 2017-04-25 14:11 | 0 | 0.5 | 20.9 | 1002 | -0.19
HAF GB15 | 2017-04-03 12:23 | 0 | 3.8 | 13.5 | 1010 | 0
HAF GB15 | 2017-04-11 12:30 | 0 | 3.7 | 14.2 | 1015 | 0
HAF GB15 | 2017-04-18 13:21 | 0 | 1.7 | 17.8 | 1021 | 0.02
HAF GB15 | 2017-04-25 14:12 | 0 | 2.9 | 16.6 | 1003 | -0.1
HAF GB17 | 2017-04-03 12:27 | 0 | 0.1 | 20.6 | 1010 | 0
HAF GB17 | 2017-04-11 12:34 | 0 | 0.1 | 20.7 | 1015 | 0
HAF GB17 | 2017-04-18 13:26 | 0 | 0.1 | 20.7 | 1021 | 0
HAF GB17 | 2017-04-25 14:16 | 0 | 0.1 | 21.3 | 1003 | -0.01
HAF GB18 | 2017-04-03 12:29 | 0 | 0 | 20.7 | 1010 | 0.01
HAF GB18 | 2017-04-11 12:35 | 0 | 0 | 20.8 | 1015 | 0
HAF GB18 | 2017-04-18 13:27 | 0 | 0 | 20.9 | 1021 | 0
HAF GB18 | 2017-04-25 14:17 | 0 | 0 | 21.5 | 1003 | 0
HAF GB19 | 2017-04-03 12:30 | 0 | 1 | 19.8 | 1010 | 0.02
HAF GB19 | 2017-04-11 12:37 | 0 | 1.2 | 19.6 | 1015 | 0.01
HAF GB19 | 2017-04-18 13:29 | 0 | 1.1 | 19.7 | 1021 | 0.01
HAF GB19 | 2017-04-25 14:19 | 0 | 0.9 | 20.3 | 1003 | 0
HAF GB20 | 2017-04-03 12:32 | 0 | 0.4 | 20.3 | 1010 | 0.04
HAF GB20 | 2017-04-11 12:38 | 0 | 0.6 | 20.2 | 1015 | -0.01
HAF GB20 | 2017-04-18 13:30 | 0 | 0.3 | 20.6 | 1021 | 0.02
HAF GB20 | 2017-04-25 14:20 | 0 | 0.2 | 21.4 | 1003 | 0