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	EPR Compliance Assessment Report
	Report ID: PP3139GB/0230604

 


	This form will report compliance with your permit as determined by an NRW officer

	Site
	Hafod Quarry Landfill
	Permit Ref
	PP3139GB

	Operator/ Permit holder
	Cory Environmental (Central) Ltd 
	

	Date
	29/01/2015 
	Time in
	10:15
	Out
	13:00

	What parts of the permit were assessed
	Q4 2014 Compliance, current and future developments and site visit.

	Assessment
	Site Inspection
	EPR Activity:
	Installation
	X
	Waste Op
	
	Water Discharge
	

	Recipient’s name/position
	Ian Craven - Site Manager

	Officer’s name
	Ian Oakes
	Date issued
	03/02/2015


	Section 1 - Compliance Assessment Summary

	This is based on the requirements of the permit under the Environmental Permitting Regulations.  A detailed explanation and any action you may need to take are given in the “Detailed Assessment of Compliance” (section 3).  This summary details where we believe any non-compliance with the permit has occurred, the relevant condition and how the non-compliance has been categorised using our Compliance Classification Scheme (CCS).  CCS scores can be consolidated or suspended, where appropriate, to reflect the impact of some non-compliances more accurately.  For more details of our CCS scheme, contact your local office.

	Permit Conditions and Compliance Summary                    
	Condition(s) breached

	a) Permitted activities 
	1. Specified by permit
	A
	
	

	b) Infrastructure
	1.
Engineering for prevention & control of pollution
	C3
	
	C2.9.1, S4.1

	
	2. Closure & decommissioning
	N
	
	

	
	3.
Site drainage engineering (clean & foul)
	N
	
	

	
	4. Containment of stored materials
	N
	
	

	
	5. Plant and equipment
	N
	
	

	c) General management
	1. Staff competency/ training
	N
	
	

	
	2. Management system & operating procedures
	N
	
	

	
	3. Materials acceptance
	N
	
	

	
	4. Storage handling, labelling, segregation
	N
	
	

	d) Incident  management
	1. Site security
	N
	
	

	
	2. Accident, emergency & incident planning
	N
	
	

	e) Emissions

	1. Air
	C3
	
	C3.3.5, S4.5

	
	2. Land & Groundwater
	C3
	
	C3.2.3, S4.4

	
	3. Surface water
	C3
	
	C3.1.2, S4.3

	
	4. Sewer
	N
	
	

	
	5. Waste
	N
	
	

	f) Amenity
	1. Odour
	A
	
	

	
	2. Noise
	A
	
	

	
	3. Dust/fibres/particulates
	A
	
	

	
	4. Pests, birds & scavengers
	A
	
	

	
	5. Deposits on road
	A
	
	

	g) Monitoring and records, maintenance and reporting
	1. Monitoring of emissions & environment
	A
	
	

	
	2. Records of activity, site diary, journal & events
	N
	
	

	
	3. Maintenance records
	N
	
	

	
	4. Reporting & notification
	A
	
	

	h) Resource efficiency
	1. Efficient use of raw materials
	N
	
	

	
	2. Energy
	N
	
	

	KEY:  C1, C2, C3, C4 = CCS breach category ( * suspended scores are marked with an asterisk),
A = Assessed (no evidence of non-compliance), N = Not assessed, NA = Not Applicable, O = Ongoing non-compliance – not scored

	
	
	
	
	

	Number of breaches recorded 
	4
	Total compliance score

(see section 5 for scoring scheme)
	16


	If the Total No Breaches is greater than zero, then please see Section 3 for details of our proposed enforcement response 


	Section 2 – Compliance Assessment Report Detail

	This section contains a report of our findings and will usually include information on:

	· the part(s) of the permit that were assessed (e.g. maintenance, training, combustion plant, etc)

· where the type of assessment was ‘Data Review’ details of the report/results triggering the assessment

· any non-compliances identified 

· any non-compliances with directly applicable legislation 
· details of any multiple non-compliances 
	· information on the compliance score accrued inc. details of suspended or consolidated scores.

· details of advice given
· any other areas of concern 

· all actions requested
· any examples of good practice.

· a reference to photos taken

	This report should be clear, comprehensive, unambiguous and normally completed within 14 days of an assessment.




	 

1 - Compliance Q4 2014

 

a). CCS3 Engineering to prevent emissions C2.9.1, S4.1

 

Operator having problems accessing and monitoring leachate wells due to blockages in LC1 and LC2 (HAF084v10, v11 and v12). Replacement wells commissioned MP1a and MP2a giving 3.6 m and 2.7 m respectively in November versus 2 m limit. Monitoring equipment failures in December. LC3 compliant. Leachate removed from site monthly figures of 1233, 1717 and 1713 m3. Leachate management capability requires review in 2015 and consequently the Leachate Management Plan shall to be updated and submitted to NRW by 31 March 2015. To include the proposed new leachate storage facility (see below).

 

b). CCS3 Emissions to air C3.3.5, S4.5

 

Various perimeter gas well exceedences Oct - Dec 2014 (HAF096, 097 and 099) with methane ranging 0 - 45% versus 1% and / or carbon dioxide ranging 0.4 - 28% versus 1.5%. Subject to the actions arising from NRW gas audits November 2014 and February 2015.

 

c). CCS3 Emissions to land and groundwater C3.2.3, S4.4

 

Groundwater monitoring borehole HA12B(B) chloride levels Oct - Dec 3014 (HAF082v10, v11 and v12) at 1100, 1000 and 1000 versus 450 mg/l. Borehole 300 m from site on the slip road of A483 and has historically high chloride levels with ammonia in compliance at < 0.36 versus 2 mg/l. Operator to submit proposals to NRW for the further investigation of HA12B(B) by 31 March 2015.

 

d). CCS3 Emissions to surface water C3.1.2, S4.3

 

Surface water exceedences at SW1A (HAF095 and 0998) of conductivity 1180 (and 1170 Dec) versus 1090 uS/cm, ammonia 3.5 versus 1.6 mg/l and potassium 18 versus 15 mg/l due to a small outbreak of leachate as a result of a blocked pump in the inter cell bund on 13 October 2014. Operator to ensure that the bund is kept free of debris to prevent blockages.

 

2 - Cell 3 western upper side wall extension to internal road level 

 

It is anticipated that the final section up to the internal road will have a lower slope gradient of around 1 in 3.7 compared with 1 in 3.2 for the middle section and Cory propose to use calcareous stone 40 - 80 mm instead of 30 - 70 mm granite railway ballast for the drainage ditches subject to approval. The detail is to be finalised in February and the works are expected to take 4 weeks. The construction quality assurance CQA plan will be provided as soon as is practicable.

 

3 - Cell 4 engineering proposals

 

Cory intend to submit their plans for the engineering of Cell 4 in the coming months. It is anticipated that construction will take place in May - July 2015 subject to approval.

 

4 - Permanent capping extensions.

 

The completion of Cell 3 upper works will be followed by further permanent capping of the eastern side of Cell 2 at around 6,000 m2 and will take 2 - 4 weeks. This could be followed by a similar area on the western side in Sept / Oct. Stockpiles of restoration soils will be enriched with suitable paper and sewage sludges prior to placement.

 

5 - New leachate tank.

 

Cory has been granted planning permission to built a 680 m3 concrete leachate holding tank to provide additional capacity to the existing 3 x 80 m3 steel tanks for greater flexibility in disposal logistics. The new tank will be 6 m high have a diameter of 12 m and be built 2 m below ground level and have basal desludging and leak detection capability. The tank will sit in an engineered clay bund affording 110% capacity of the tank (secondary containment Condition 3.3.4) and vent through activated carbon for odour control (odour management Condition 3.4.1). The tank is stated as being typical for the industry citing two such similar tanks at Lyme and Wood Landfill at Haydock. Cory are currently discussing leachate disposal with Welsh Water as part of the overall Welsh Water review of the Wrexham Basin. 

 

The new leachate tank is to be included in the Leachate Management Plan review and is subject to CQA approval.

 

6 - Fly monitoring

 

Flies have not figured as an issue on the site and as such Cory intend to reduce monitoring from 6 to 2 assessments in summer and will continue to provide an entomology service to cover any complaints.
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	EPR Compliance Assessment Report
	Report ID: PP3139GB/0230604


	This form will report compliance with your permit as determined by an NRW officer

	Site 
	Hafod Quarry Landfill
	Permit
	PP3139GB

	Operator/ Permit
	Cory Environmental (Central) Ltd 
	Date
	29/01/2015


	Section 3- Enforcement Response
	Only one of the boxes below should be ticked

	You must take immediate action to rectify any non-compliance and prevent repetition. 
Non-compliance with your permit conditions constitutes an offence and can result in criminal prosecutions and/or suspension or revocation of a permit.  Please read the detailed assessment in Section 2 and the steps you need to take in Section 4 below.

	Other than the provision of advice and guidance, at present we do not intend to take further enforcement action in respect of the non-compliance identified above.  This does not preclude us from taking enforcement action if further relevant information comes to light or advice isn’t followed.
	

	In respect of the above non-compliance you have been issued with a warning. At present we do not intend to take further enforcement action. This does not preclude us from taking additional enforcement action if further relevant information comes to light or offences continue.
	X

	We will now consider what enforcement action is appropriate and notify you, referencing this form.
	


	Section 4- Action(s) 

	Where non-compliance has been detected and an enforcement response has been selected above, this section summarises the steps you need to take to return to compliance and also provides timescales for this to be done.

	Criteria Ref.
	CCS Category
	Action Required/Advised 
	Due Date 

	See Section 1 above 
	
	

	B1
	C3
	Update the Leachate Management Plan and submit to NRW by 31 March 2015. To include the proposed new leachate storage facility.
	31/03/2015

	E1
	C3
	Subject to the actions arising from NRW gas audits November 2014 and February 2015.
	N/A

	E2
	C3
	Submit proposals to NRW for the further investigation of HA12B(B) by 31 March 2015.
	31/03/2015

	E3
	C3
	Operator to ensure that the bund is kept free of debris to prevent blockages.
	N/A


	Section 5 - Compliance notes for the Operator
	
	Section 6 – General Information

	To ensure you correct actual or potential non-compliance we may
( advise on corrective actions verbally or in writing 

( require you to take specific actions in writing 

( issue a notice
( require you to review your procedures or management system
( change some of the conditions of your permit

( decide to undertake a full review of your permit
	
	Data protection notice
The information on this form will be processed by the Natural Resources Wales (NRW) to fulfill its regulatory and monitoring functions and to maintain the relevant public register(s). The NRW may also use and/or disclose it in connection with:

(  offering/providing you with its literature/services relating to environmental matters

(  consulting with the public, public bodies and other organisations (e.g. Health and Safety Executive, local authorities) on environmental issues

(  carrying out statistical analysis, research and development on environmental issues

(  providing public register information to enquirers

(  investigating possible breaches of environmental law and taking any resulting action

(  preventing breaches of environmental law

(  assessing customer service satisfaction and improving its service

(  Freedom of Information Act/Environmental Information Regulations request.

The NRW may pass it on to its agents/representatives to do these things on its behalf. You should ensure that any persons named on this form are informed of the contents of this data protection notice.

	Any breach of a permit condition is an offence and we may take legal action against you.
( We will normally provide advice and guidance to assist you to come back into compliance either after an offence is committed or where we consider that an offence is likely to be committed. This is without prejudice to any other enforcement response that we consider may be required.

( Enforcement action can include the issue of a formal caution, prosecution, the service of a notice and or suspension or revocation of the permit. 

See our Enforcement and Civil Sanctions guidance for further information
	
	

	This report does not relieve the site operator of the responsibility to 

( ensure you comply with the conditions of the permit at all times and prevent pollution of the environment
( ensure you comply with other legislative provisions which may apply.
	
	

	Non-compliance scores and categories
	
	Disclosure of information

The NRW will provide a copy of this report to the public register(s).  However, if you consider that any information contained in this report should not be released to the public register(s) on the grounds of commercial confidentiality, you must write to your local area office within twenty working days of receipt of this form indicating which information it concerns and why it should not be released, giving your reasons in full.

	CCS category
	Description
	Score
	
	

	C1
	A non-compliance which could have a  major environmental effect
	    60
	
	

	C2
	A non-compliance which could have a significant environmental effect
	31
	
	

	C3
	A non-compliance which could have a  minor environmental effect
	     4
	
	Customer charter
What can I do if I disagree with this compliance assessment report?
If you are unable to resolve the issue with your site officer, you should firstly discuss the matter with the officer’s line managers.  If you wish to raise your dispute further through our official Complaints and Commendations procedure, phone our general enquiry number  0300 065 3000 (Mon to Fri 08.00–18.00) and ask for the Customer Contact team or send an email to enquiries@naturalresourceswales.gov.uk.  If you are still dissatisfied you can make a complaint to the Public Services Ombudsman for Wales.   For advice on how to complain to the Ombudsman phone their helpline on 0845 607 0987.

	C4
	A non-compliance which has no potential environmental effect
	    0.1
	
	

	Operational Risk Appraisal (Opra) - Compliance assessment findings may affect your Opra score and/or your charges. This score influences the resource we use to assess permit compliance.
	
	

	
	
	


CAR 2 V1.0 


