Permit Reference Number: EPR/NP3335GR/V008



Operator: Solutia UK Ltd.
Installation: Cefn mawr ( former ‘Flexsys’ Ruabon Works) 


Form Number : W1

Reporting of Emissions to Water (other than to Sewer) for the period from ………01/10/2015…………………….to……31/12/2015………………………

	Emissions to Water

	Emission

Point
	Substance /

Parameter
	Emission

Limit Value
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3] [6]
	Accreditation/ Certification [4]
	Uncertainty

[5]

	W1-final discharge
	Maximum flow rate l/s
	92.5 l/s
	
70.66 l/s
	On-line Electrochemical flow meter
	09/11/2015
	
	

	
	Maximum discharge volume M3/day
	8000m3
	1851m3
	On-line Electrochemical flow meter
	29/12/2015
	
	

	
	Total  Tetrachloroethene ug/l
	2.5 ug/l
	<3ug/l
	GCMS –TM60/PM0
	05/10/2015
	
	+/-20%

	
	Total Organic Carbon mg/l
	No Limit
	4 mg/l
	TM60/PM0
	05/10/2015
	
	+/- 10%

	
	Total iron mg/l
	5.0mg/l objective
	0.037 mg/l
	TM30/PM14
	05/10/2015
	
	+/-5%

	
	Total Phenol mg/l
	0.2 mg/l
	<0.01 mg/l
	TM26/PM0
	05/10/2015
	
	+/-20%

	
	
	
	
	
	
	
	

	
	Maximum  weekly iron result  mg/l
	5mg/l objective
	0.14 mg/l
	Hach Lange DR3900
	30/11/2015
	
	

	
	Iron sample comparison
	5mg/l objective
	In House 0.06mg/l

Off site 0.037mg/l
	
	05/10/2015
	
	

	
	Micro Pollutants:-
	
	
	
	
	
	

	
	Toluene ug/l
	No Limits
	<0.5 ug/l
	GCMS-TM15/PM10
	05/10/2015
	
	+/- 20%

	
	p-Xylene ug/l
	No Limits
	<1 ug/l
	GCMS-TM15/PM10
	05/10/2015
	
	+/- 20%

	
	Ethylmorpholine ug/l
	No Limits
	<10  ug/l
	GCMS-TM15/PM10
	05/10/2015
	
	+/- 20%

	
	Aniline ug/l
	No Limits
	<0.1 ug/l
	GCMS-TM15/PM10
	05/10/2015
	
	+/- 20%

	
	Ethoxybenzene ug/l
	No Limits
	<10  ug/l
	GCMS-TM15/PM10
	05/10/2015
	
	+/- 20%

	
	o-cresol  ug/l
	No Limits
	<0.01 ug/l
	GCMS-TM26/PM0
	05/10/2015
	
	+/- 20%

	
	p-cresol ug/l
	No Limits
	<0.02 ug/l
	GCMS-TM26/PM0
	05/10/2015
	
	+/- 20%

	
	2,4-DCP ug/l
	No Limits
	<0.5 ug/l
	GCMS-TM15/PM10
	05/10/2015
	
	+/- 20%

	
	Phenyliso ug/l
	No Limits
	<0.1 ug/l
	GCMS-TM15/PM10
	05/10/2015
	
	+/- 20%

	
	Benzothiazole ug/l
	No Limits
	0.5 ug/l
	GCMS-TM15/PM10
	05/10/2015
	
	+/- 20%

	
	2,4,6 Trichlorophenol ug/l
	No Limits
	<1 ug/l
	GCMSTM15/PM10
	05/10/2015
	
	+/- 20%

	
	TMQ ug/l 
	No Limits
	0.4 ug/l
	GCMS-TM15/PM10
	05/10/2015
	
	+/- 20%

	
	Phthalimide ug/l
	No Limits
	<0.1 ug/l
	GCMS-TM15/PM10
	05/10/2015
	
	+/- 20%

	
	MMCD ug/l
	No Limits
	<0.1 ug/l
	GCMS-TM15/PM10
	05/10/2015
	
	+/- 20%

	
	Acetone (DMK)
	No Limits
	<50 ug/l
	GCMS-TM83/PM10
	05/10/2015
	
	+/- 20%


[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. colorimetry.

[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements, or flow/time proportional samples, the percentage of the process operating time covered by the monitoring is given.   

[4] The accreditation status of the equipment and/or the monitoring organisation, as appropriate, for the methods used for both sampling and analysis.

[5] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated. The following uncertainties are quoted on a different basis (basis as stated) 

[6] This form is required to be submitted on a quarterly basis. For parameters which are required to be monitored on a twice-yearly basis, and which were monitored during the previous quarter, an entry of ‘nil’ shall be recorded against this parameter. 

Signed ……I.M.Biggs……………………………………………………….  

Date………31/12/2015………………..




(authorised to sign as representative of the Operator)

Date of form: 31/12/2015 

Date of form: 31/12/2015 

