Notice of variation with introductory note

Environmental Permitting (England & Wales) Regulations 2016

Biffa Waste Services Limited

Trecatti Landfill Site

Fochriw Road

Merthyr Tydfil

CF48 4AB

Variation number

EPR/RP3733PC/V013

Permit number

EPR/RP3733PC

Trecatti Landfill

Permit number EPR/RP3733PC

Introductory note

This introductory note does not form a part of the notice

The following notice gives notice of the variation of an environmental permit.

This variation is to add European waste code (EWC) 10 02 07 (solid wastes from gas treatment containing hazardous substances) to Table S2.4 for the waste to be accepted into the stable non-reactive hazardous waste and asbestos waste cell. The composition of the waste accepted under this waste code is similar to the waste codes that were added in the previous variation.

The schedules specify the changes made to the original permit.

The status log of a permit sets out the permitting history, including any changes to the permit reference number.

| ### Status log of the permit |  |  |
| --- | --- | --- |
| ### Description | ### Date | ### Comments |
| ### Application EPR/RP3733PC (reference EPR/RP3733PC/A001) | ### Received 07/05/2004 | ### Duly Made on 21/05/2004 |
| ### Permit EPR/RP3733PC determined | ### 09/03/2005 |  |
| ### Application for permit variation YP3037UA (reference EPR/RP3733PC/V002) | ### Received 28/09/2007 | ### Duly Made 09/10/2007 |
| ### Application for permit variation EPR/DP3037UY (reference EPR/RP3733PC/V003 | ### Received ### 17/12/2007 | ### Duly Made 02/01/2008 |
| ### Variation notice DP3037UY (reference EPR/RP3733PC/V003) determined | ### 18/01/2008 |  |
| ### Variation notice YP3037UA (reference EPR/RP3733PC/V002) determined | ### 14/04/2008 |  |
| ### EA-initiated Variation EPR/RP3733PC/V004 determined | ### 18/01/2011 |  |
| ### Admin variation determined EPR/RP3733PC/V005 | ### 17/10/2012 |  |
| ### Admin variation determined EPR/RP3733PC/V006 | ### 12/02/2013 |  |
| ### Agency variation determined EPR/RP3733PC/V007 | ### 12/06/2013 | ### Agency variation to implement the changes introduced by IED. |
| ### Application EPR/RP3733PC/V008 | ### Duly Made 16/05/2014 | ### Application for variation and consolidation of permit to allow the acceptance of asbestos in a dedicated monocell. |
| ### Additional information received | ### 13/06/2014 | ### Addendum to Stability Risk Assessment |
| ### Additional information received | ### 26/09/2014 | ### Revised Stability Risk Assessment |
| ### Additional information received | ### 12/09/2014 | ### Response to Schedule 5 Notice |
| ### Additional information received | ### 21/10/2014 | ### Further information relating to Schedule 5 Notice |
| ### Additional information received | ### 02/12/2014 | ### Clarification of information relating to Stability Risk Assessment |
| ### Permit determined | ### 27/02/2015 | ### Consolidated Permit issued |
| ### Application for substantial variation EPR/RP3733PC/V009 | ### Received 04/08/2015 | ### Duly Made 07/08/2015 |
| ### Application for a substantial variation EPR/RP3733PC/V009 determined | ### 15/01/2015 |  |
| ### Application received ### EPR/RP3733PC/V010 | ### Duly made ### 11/07/2018 | ### Application to add additional waste codes to permit |
| ### Application determined ### EPR/RP3733PC/V010 | ### 22/08/2018 | ### Varied and consolidated permit issued |
| ### Application for substantial variation received EPR/RP3733PC/V011 | ### Received 14/03/2019 | ### Duly Made 14/03/2019 ### Application to include an asbestos picking station and associated waste codes |
| ### Application for a substantial variation EPR/RP3733PC/V011 determined | ### 25/07/2019 | ### Varied and consolidated permit issued |
| ### Application for variation ### EPR/RP3733PC/V012 | ### 22/06/2020 | ### Application for minor technical variation to add additional waste to Stable Non-reactive hazardous waste/ asbestos waste cell |
| ### Additional information received | ### Duly made ### 19/02/2021 | ### Application upgrade to normal variation and amend to include removal of inclinometers |
| ### Additional information received | ### 26/07/2021 | ### Response to schedule 5 on compliance with landfill directive |
| ### Additional information received | ### 30/09/2021 | ### Waste acceptance procedure and site-specific instructions submitted |
| ### Variation Issued ### EPR/RP3733PC/V012 | ### 18/10/2021 | ### Variation and consolidated permit issued to Biffa Waste Services Limited |
| ### Application Received ### EPR/RP3733PC/V013 | ### 28/04/2022 | ### Application to add waste code 10 02 07 to stable non-reactive hazardous waste |
| ### Additional information received ### EPR/RP3733PC/V013 | ### 07/07/2022 | ### Response to schedule 5 request for additional information on the dust management plan |
| ### Variation Issued ### EPR/RP3733PC/V013 | ### DD/MM/YYYY | ### Variation issued to Biffa Waste Services Limited |

| ### 372B372BOther existing licenses/authorisations/registrations relating to this site |  |  |
| --- | --- | --- |
| ### Operator | ### Reference Number | ### Date of issue |
| ### Biffa Waste Services Limited | ### Trade effluent discharge consent (to sewer) reference number TE456 | ### 14/04/1993 |

End of introductory note

Notice of variation

Environmental Permitting (England and Wales) Regulations 2016

The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2016 varies

Permit number

EPR/RP3733PC

issued to:

Biffa Waste Services Limited (“the operator”)

whose registered office is

Coronation Road

Cressex

High Wycombe

Bucks

HP12 3TZ

company registration number 00946107

to operate an installation at

Trecatti Landfill Site

Fochriw Road

Merthyr Tydfil

CF48 4AB

to the extent set out in the schedules.

The notice shall take effect from [DD/MM/YYYY]

| Signed | Date |
| --- | --- |
| [name of authorised person] Type name, signature not needed | [DD/MM/YYYY] |

Authorised on behalf of Natural Resources Wales

Schedule 1 – conditions to be deleted

None

Schedule 2 – conditions to be amended

The following conditions are amended as a result of the application made by the operator

Table S1.2 now reads as:

| ### 373B373BTable S1.2 Operating techniques |  |  |
| --- | --- | --- |
| ### 0B0BDescription | ### 1B1BParts | ### 2B2BDate Received |
| ### Application | ### The response to questions 2.1, 2.2, 2.3, 2.4 and 2.5 in part B of the Application; | ### 07/05/2004 |
|  | ### The response to questions raised to the Schedule 4 Further Information Notice dated 21st July 2004; | ### 01/09/2004 |
|  | ### The e-mail from Biffa Waste Services Limited confirming that the Application should include the European Waste Code 16 01 03 as a permitted waste type; | ### 08/03/2005 |
|  | ### With the following exclusions: - Response to question B2.1.1 - Response to question B2.1.5; and - Response to question B2.2.36 insofar as it applies to monitoring of the surface water discharge; and - Response to question B2.2.65 insofar as particulate monitoring is not carried out in accordance with Agency guidance ‘M17 - Monitoring of particulate matter in ambient air around waste facilities’; and - Response to question B2.2.31 insofar as it applies to the leachate head control and trigger levels; and - The proposed methane trigger level for landfill gas boreholes 1-3 as detailed in Table LFGRA21 of the Landfill Gas Risk Assessment; and - Response to question B3.1.10 insofar as the proposed CO emission level for the future landfill gas flares (Haase HTN) as detailed in Table LFGRA23 of the Landfill Gas Risk Assessment; and - Table 2.10.1 of the generic part B form insofar as it applies to the daily frequency for the monitoring of suspended solids; and - The paragraph titled Perimeter Borehole Location and Spacing of section 3.3.2 of the Landfill Gas Risk assessment submitted as part of the Application; and - Section 3.3.3 of the Landfill Gas Risk Assessment submitted as part of the Application; and - Drawing ESID 4a, entitled ‘Site Layout and Waste Deposition’ and dated 04/05/04 insofar as it has been superseded by Drawing ESID 4a Rev. 1, entitled ‘Site Layout and Waste Deposition’ dated 27/08/04; and - Drawing ESID7b, entitled ‘Leachate Management Construction Details’ and dated insofar as it has been superseded by Drawing ESID7b Rev. 1 dated 04/05/04. |  |
| ### Provision of information | ### Particulate monitoring information | ### 17/06/2005 |
| ### Provision of information | ### Report in response to improvement condition 15a, dated 8th September 2005, on the trace gases found in BH5. | ### - |
| ### Variation application – Remove SNRHW and asbestos waste Ref. DP3037UY | ### All parts, removing provision to construct a separate cell(s) for SNRHW and asbestos wastes, as detailed on Drawings ESID 4a Rev. 1, and Drawing ESID 4b. | ### 17/12/2007 |
| ### Variation application – LFG Engines Ref. YP3037UA | ### The response to questions C2.1 and C2.2 and given in section 1.2, Table 1/1 and Appendix 2 of the Variation Supporting Statement reference 407-0034-00246-002/SS. | ### 28/09/2007 |
| ### Provision of information | ### Report 08514290139.500/B.0 on landfill gas management Trecatti landfill site dated March 2009 | ### - |
|  | ### Action plan for the investigation of the exceedance of groundwater trigger levels in borehole GW2. | ### 21/05/2016 |
| ### Variation application EPR/RP3733PC/V008 | ### Supporting Statement – Section 2 – Summary of Additional Management Techniques – Report reference BF4857/04 ### Construction and Operational Management Plan – Report reference BF4858/01 | ### 16/05/2014 |
| ### Stability Risk Assessment Review: BF4857/SRA Revision 1 Final issue | ### All parts | ### 25/09/2014 |
| ### Nuisance and Health Risk Assessment – Report Reference BF4857/09 rev02 | ### All | ### 21/10/2014 |
| ### Letter from Stratus in response to concerns relating to stability risk Assessment – Reference BF4858/2/RW001 | ### N/A | ### 02/12/2014 |
| ### Substantial variation application EPR/RP3733PC/V009 | ### All | ### 04/08/2015 |
| ### Substantial variation application EPR/RP3733PC/V011 | ### Best Available Technique and Operating Techniques – Report – Version 1, March 2019 – Report reference 190205.416.00034.00575 ### Asbestos Management Plan for the Treatment of Asbestos Containing Soils (ACS) at the Trecatti STF – Report STF07/19/2459, January 2019 – Report reference Appendix BATOT01 Trecatti STF Asbestos Management Plan ### Environmental Risk Assessment – Report – Version 1, March 2019, Report reference 190205.416.00034.00575 Trecatti Final to EA. ### Site Layout Drawings, - Site Layout & Environmental Permit Boundary, No. 002, Date 03/19. Reference - 00034.00575.13.002.0a Site Layout&Env Per BDY - Asbestos Picking Station, No. 003, Date0 3/19. Reference - 00034.00575.13.003.0a Asbestos Picking Station - Containment Bund Construction Details, No. 005, Date 03/19. Reference - 00034.00575.13.005.0 Containment Bund Construction Details Layout1 | ### 14/03/2019 |
| ### Variation application ### EPR/RP3733PC/V012 | ### All ### Supporting statement BF5029/05 (rev 1; Dated February 2021) - Section 3.1: Treatment of leachate from SNRHW asbestos monocell prior to discharge to sewer ### Revised SRA: BF5029/SRA (rev 0; Dated February 2021) - Section 5.3 and 5.4 Survey Based Monitoring Procedure | ### 19/02/2021 |
| ### Response to schedule 5 request for more information | ### Landfill site specific instruction on waste acceptance ### SSWI/TR/0 (v2; Dated September 2021) | ### 30/09/2021 |
| ### Variation application ### EPR/RP3733PC/V013 | ### Site Specific Work Instruction (V3 dated April 2022) | ### 28/04/2022 |
| ### Response to schedule 5 request for more information | ### Dust Management Plan (July 2022) | ### 07/07/2022 |

Table S1.3 Now reads as

| ### 374B374BTable S1.3 Improvement programme requirements |  |  |
| --- | --- | --- |
| ### 3B3BReference | ### 4B4BRequirement | ### 5B5BDate |
| ### 1 | ### The operator is to implement a geotechnical monitoring system as described in the Stability Risk Assessment Review (SNRHW Cell revision 1 dated September 2014) and is to be monitored at the intervals stated. The monitoring data is to be reviewed annually, compared with the finite element models and the results reported to Natural Resources Wales for approval. | ### Complete |
| ### 2 | ### The operator is to submit for approval by Natural Resources Wales a plan showing additional monitoring points for airborne asbestos fibres at the eastern and northern most perimeter of the site. | ### Complete |
| ### 3 | ### The operator is to carry out background monitoring to establish baseline levels of airborne asbestos fibre levels prior to disposal of any asbestos wastes. Once a baseline is established all monitoring points are to be monitored on a 6-monthly basis. | ### Complete |
| ### 4 | ### The Operator is to provide a report quantifying how much inert waste is accepted for disposal, how much is to be utilised for engineering purposes and how much will be required for restoration purposes. Using this information, the Operator is to provide a restoration plan specifying appropriate quantities, waste acceptance criteria and waste acceptance procedures for approval to Natural Resources Wales. Upon approval, this Restoration Plan will be incorporated into the Operators Management Plan. | ### Complete |
| ### IC5a | ### For the first 3 months following the commencement of acceptance of waste under EWC code 10 02 07, the Operator shall undertake monthly monitoring of particulates (PM10) and deposited particles in ambient air in line with the Dust Management Plan (dated July 2022). ### Once completed, the Operator shall submit a written report to Natural Resources Wales for approval, which details the results of the monitoring. | ### Within 4 months after of the commencement of waste acceptance under the European waste code 10 02 07* ### or as otherwise agreed in writing with Natural Resources Wales |
| ### IC5b | ### Following completion of Improvement program requirement 5a, if the monitoring report demonstrates an exceedance in limits detailed in Table S3.12, the Operator shall: - Implement suitable mitigation measures to ensure dust is not exceeding the limits detailed in Table S3.12 - Complete a revised Dust Management Plan incorporating the proposed mitigation measures. ### The Operator shall submit the revised Dust Management Plan to Natural Resources Wales for approval, in writing. ### Note that this Improvement program requirement will be deemed complete if completion of Improvement program 5a demonstrates that limits in Table S3.12 are not exceeded. | ### Within 1 month of completion of IC5a |

Table S2.4 now read as:

| ### Table S2.4 Permitted Waste types for disposal in the Stable non-reactive hazardous waste and Asbestos Cell |  |  |
| --- | --- | --- |
| ### Waste code |  | ### Description |
| ### 06 | ### WASTES FROM INORGANIC CHEMICAL PROCESSES |  |
| ### 06 07 | ### wastes from the MFSU of halogens and halogen chemical processes |  |
| 06 07 01* | wastes containing asbestos from electrolysis |  |
| ### 06 13 | ### wastes from inorganic chemical processes not otherwise specified |  |
| 06 13 04* | wastes from asbestos processing |  |
| 07 | WASTE FROM ORGAINC CHEMICAL PROCESSES |  |
| 07 02 | wastes from the MFSU of plastics, synthetic rubber and man-made fibres |  |
| 07 02 11* | sludges from on-site effluent treatment containing hazardous substances |  |
| 07 02 16* | wastes containing hazardous silicones |  |
| ### 10 | ### WASTES FROM THERMAL PROCESSES |  |
| ### 10 01 | ### Waste from power stations and other combustion plants (except 19) |  |
| ### 10 01 04* | ### Oil fly ash and boiler dust |  |
| ### 10 01 07* | ### Calcium-based reaction waste from flue-gas desulphurisation in sludge form |  |
| ### 10 01 13* | ### Fly ash from emulsified hydrocarbons used as fuel |  |
| ### 10 01 14* | ### bottom ash, slag and boiler dust from co-incineration containing hazardous substances |  |
| ### 10 01 16* | ### fly ash from co-incineration containing hazardous substances |  |
| ### 10 01 18* | ### wastes from gas cleaning containing hazardous substances (solid and sludge only |  |
| ### 10 01 20* | ### sludges from on-site effluent treatment containing hazardous substances |  |
| ### 10 02 | ### Wastes from the iron and steel industry |  |
| ### 10 02 07* | ### solid wastes from gas treatment containing hazardous substances |  |
| ### 10 13 | ### wastes from manufacture of cement, lime and plaster and articles and products made from them |  |
| 10 13 09* | wastes from asbestos-cement manufacture containing asbestos |  |
| ### 12 | ### WASTES FROM SHAPING AND PHYSICAL AND MECHANICAL SURFACE ### TREATMENT OF METALS AND PLASTICS |  |
| ### 12 01 | ### Wastes from shaping and physical and mechanical surface treatment of ### metals and plastics |  |
| ### 12 01 14* | ### machining sludges containing hazardous substances |  |
| ### 12 01 16* | ### waste blasting material containing hazardous substances |  |
| ### 15 | ### WASTE PACKAGING; ABSORBENTS, WIPING CLOTHS, FILTER MATERIALS AND PROTECTIVE CLOTHING NOT OTHERWISE SPECIFIED |  |
| ### 15 01 | ### packaging (including separately collected municipal packaging waste) |  |
| 15 01 11* | metallic packaging containing a dangerous solid porous matrix (for example asbestos), including empty pressure containers |  |
| 15 02 | machining sludges containing hazardous substances |  |
| 15 02 02* | absorbents, filter materials (including oil filters not otherwise specified), wiping cloths, protective clothing contaminated by hazardous substances |  |
| ### 16 WASTES NOT OTHERWISE SPECIFIED IN THE LIST |  |  |
| ### 16 01 | ### end-of-life vehicles from different means of transport (including off-road machinery) and wastes from dismantling of end-of-life vehicles and vehicle maintenance (except 13, 14, 16 06 and 16 08) |  |
| 16 01 11* | brake pads containing asbestos |  |
| ### 16 02 | ### wastes from electrical and electronic equipment |  |
| 16 02 12* | discarded equipment containing free asbestos |  |
| 16 03 | Off-specification batches and unused products |  |
| 16 03 03* | inorganic wastes containing hazardous substances |  |
| 16 03 05* | organic wastes containing hazardous substances |  |
| 16 11 | Waste linings and refractories |  |
| 16 11 03* | other linings and refractories from metallurgical processes containing hazardous substances |  |
| 16 11 05* | other linings and refractories from metallurgical processes containing hazardous substances |  |
| ### 17 | ### CONSTRUCTION AND DEMOLITION WASTES (INCLUDING EXCAVATED SOIL FROM CONTAMINATED SITES) |  |
| ### 17 05 | ### soil (including excavated soil from contaminated sites), stones and dredging spoil |  |
| 17 05 03* | soil and stones containing Hazardous substances |  |
| ### 17 06 | ### insulation materials and asbestos-containing construction materials |  |
| 17 06 01* | insulation materials containing asbestos |  |
| 17 06 03* | other insulation materials consisting of or containing dangerous substances |  |
| 17 06 05* | construction materials containing asbestos1F1F |  |
| ### 19 | ### WASTES FROM WASTE MANAGEMENT FACILITIES, OFF-SITE WASTE WATER TREATMENT PLANTS AND THE PREPARATION OF WATER INTENDED FOR HUMAN CONSUMPTION AND WATER FOR INDUSTRIAL USE |  |
| 19 01 | wastes from incineration or pyrolysis of waste |  |
| 19 01 05* | filter cake from gas treatment |  |
| 19 01 07* | solid wastes from gas treatment |  |
| 19 01 10* | Spend activated carbon from flue-gas treatment |  |
| 19 01 11* | Bottom ash and slag containing hazardous substances |  |
| 19 01 13* | Fly ash containing hazardous substances |  |
| 19 01 15* | Boiler dust containing hazardous substances |  |
| 19 01 17* | Pyrolysis wastes containing hazardous substances |  |
| 19 02 | Waste from physico chemical treatment of waste (including dechromatation, decyanidation, neutralisation) |  |
| 19 02 04* | Premixed wastes composed of at least one hazardous waste |  |
| 19 02 05* | Sludges from physico/chemical treatment containing hazardous substances |  |
| 19 02 09* | Solid combustible wastes containing hazardous substances |  |
| 19 02 11* | Other wastes containing hazardous substances |  |
| 19 03 | Stabilised/solidified wastes |  |
| 19 03 04* | Wastes marked as hazardous partly stabilised other than 19 03 08 |  |
| 19 03 06* | Wastes marked as hazardous, solidified |  |
| 19 03 08* | Partly stabilised mercury |  |
| 19 04 | Vitrified waste and wastes from vitrification |  |
| 19 04 02* | Fly ash and other flue-gas treatment waste |  |
| 19 04 03* | Non-vitrified solid phase |  |
| 19 08 | Wastes from waste water treatment plants not otherwise specified |  |
| 19 08 07* | Sludges from regeneration of ion exchangers |  |
| 19 08 08* | Membrane system waste containing heavy metals |  |
| 19 08 11* | Sludges containing hazardous substances from biological treatment of industrial waste water |  |
| 19 08 13* | Sludges containing hazardous substances from other treatment of industrial waste water |  |
| 19 10 | Waste from shredding of metal containing waste |  |
| 19 10 03* | Fluff-light fraction and dust containing hazardous substances |  |
| 19 10 05* | Other fractions containing hazardous substances |  |
| 19 11 | Wastes from oil regeneration |  |
| 19 11 01* | Spent filter clays |  |
| 19 11 04* | Waste from cleaning of fuel with bases |  |
| 19 11 05* | Sludges from on-site effluent treatment containing hazardous substances |  |
| 19 11 07* | Wastes from flue-gas cleaning |  |
| 19 12 | wastes from the mechanical treatment of waste (for example sorting, crushing, compacting, pelletising) not otherwise specified |  |
| 19 12 06* | Wood containing hazardous substances |  |
| 19 12 11* | other wastes (including mixtures of materials) from mechanical treatment of waste containing hazardous substances |  |
| 19 12 12 | other wastes (including mixtures of materials) from mechanical treatment of wastes other than those mentioned in 19 12 11 |  |
| ### 19 13 | ### Wastes from soil and groundwater remediation |  |
| 19 13 01* | Solid wastes from soil remediation containing hazardous substances |  |
| 19 13 03* | Sludges from soil remediation containing hazardous substances |  |
| 19 13 05* | Sludges from groundwater remediation containing hazardous substances |  |

Table S3.12 now reads as

| ### Table S3.12 Particulate matter in ambient air – limits and monitoring requirements |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ### Emission point ref. & location | ### Parameter | ### Limit (including unit) | ### Reference Period | ### 350B350BMonitoring frequency | ### Monitoring standard or method |
| D1, D2, D3 and D4 ### identified on Site Monitoring Plan BF4857/10/06 (rev 2). | ### PM10 | ### 40µg/m3 - annual mean. ### 50µg/m3 - 24 hour mean, not to be exceeded >35 times per year. | ### 24 hours | ### Six monthly1 | As per M17 issued July 2013 ‘Monitoring of Particulate Matter in ambient air around waste facilities’. |
|  | ### Deposited particulate | ### 200mg/m2day-1 |  |  |  |
|  | ### Asbestos fibres | ### 0.001 asbestos fibres/mL | ### 24 hours | ### Six monthly |  |

### 1Monthly for the first 3 months following the commencement of acceptance of waste under EWC 10 02 07 (as detailed in improvement program IC5a) and every 6 months thereafter as detailed in improvement program requirement 5a

Schedule 3 – conditions to be added

None

As far as the landfilling of waste is concerned, Member States may decide to postpone the entry into force of this entry until the establishment of appropriate measures for the treatment and disposal of waste from construction material containing asbestos. These measures are to be established according to the procedure referred to in Article

17 of Council Directive 1999/31/EC on the landfill of waste (OJ L 182,16.7.1999,p.1) and shall be adopted by 16 July 2002 at the latest.’