## SW
Sample Point | Date | Data Comments | Ammoniacal-N (mg/l) | Bio Oxygen Demand (mg/l) | Chloride (mg/l) | Chem Oxygen Demand (mg/l) | Dissolved Oxygen (mg/l) | Nitrate (mg/l) | Nitrogen, Dissolved Available Inorganic (mg/l) | Nitrite (mg/l) | pH | Total Phosphate (mg/l) | Phosphorus, Dissolved Available Inorganic | Suspended Solids (mg/l) | Temperature (degC) | Tot Organic Carbon (mg/l) | Tot Oxidised Nitrogen (mg/l) | Total Organic Nitrogen (mg/l) | Alkalinity (mg/l) | Cadmium (ug/l) | Chromium (mg/l) | Copper (mg/l) | Iron (mg/l) | Lead (mg/l) | Manganese (ug/l) | Nickel (mg/l) | Potassium (mg/l) | Sodium (mg/l) | Sulphate (mg/l) | Zinc (mg/l)
SW1 | 2022-04-20 |  | 0.09 | 4.6 | 32 | 55 | 5.4 | 0.15 | 0.8 | < 0.005 | 7.9 | < 0.062 | < 0.062 | 5 | 5.3 | 12.9 | 0.15 | 0.7 | Annual Data
SW1 | 2022-05-24 | Dry
SW1 | 2022-06-14 | Dry
SW2 | 2022-04-20 |  | 1.6 | 1.7 | 32 | 23 | 1.4 | 0.68 | 1.6 | 0.15 | 7.3 | < 0.062 | < 0.062 | 2 | 5.3 | 3.81 | 0.73 | < 0.1
SW2 | 2022-05-24 |  | 4 | 4.1 | 31 | 23 | 1.3 | 0.31 | 4.2 | 0.065 | 7.5 | 0.069 | 0.069 | 90 | 5.1 | 6.08 | 0.33 | 0.2
SW2 | 2022-06-14 |  | 3.7 | 6.7 | 31 | 8.1 | < 1 | 0.15 | 3.7 | 0.3 | 7.6 | 0.13 | < 0.062 | 5 | 5.2 | 5.78 | 0.25 | < 0.1
SW3 | 2022-04-20 |  | 0.036 | 2.9 | 25 | 12 | 3.5 | 0.11 | 1.3 | < 0.005 | 7.1 | < 0.062 | < 0.062 | 2 | 5.3 | 5.32 | 0.11 | 1.2
SW3 | 2022-05-24 |  | 3.5 | 8.2 | 56 | 27 | < 1 | 0.05 | 3.6 | 0.007 | 7.7 | 0.16 | 0.16 | 14 | 5.1 | 8.88 | 0.049 | 0.1
SW3 | 2022-06-14 |  | 7.6 | 1.8 | 63 | 27 | < 1 | 0.04 | 7.6 | 0.014 | 7.6 | 0.17 | < 0.062 | 21 | 5.2 | 10.7 | 0.04 | < 0.1
SW4 | 2022-04-20 |  | 12 | 5.7 | 65 | 100 | 1.9 | 0.23 | 12 | 0.37 | 7.5 | < 0.062 | < 0.062 | 4 | 5.3 | 6.99 | 0.35 | < 0.1
SW4 | 2022-05-24 |  | 25 | 1.4 | 86 | 53 | < 1 | 0.05 | 25 | 0.17 | 7.8 | 0.85 | 0.85 | 8 | 5.1 | 14 | 0.099 | 0.8
SW4 | 2022-06-14 |  | 30 | 7.7 | 100 | 37 | 1.1 | 0.22 | 23 | 1 | 7.9 | 0.39 | 0.34 | 7 | 5.2 | 9.99 | 0.53 | < 0.1

## Perimeter_Gas
Sample Point | Date | CH4 (%) | CO2 (%) | O2 (%) | CO (ppm) | H2S (ppm) | Atm Pres (mb) | Rel. Pressure (mb) | Data Comments
TIRGP013 | 2022-04-20 | 0 | 0.6 | 20.2 | 0 | 0 | 1018 | 0.11
TIRGP014 | 2022-04-20 | 0 | 8.3 | 10.2 | 0 | 0 | 1018 | 0.04
TIRGP015 | 2022-04-20 | 0 | 4.5 | 16.1 | 0 | 0 | 1018 | -0.02
TIRGP016 | 2022-04-20 | 0 | 7.8 | 10.4 | 0 | 0 | 1017 | 0.04
TIRGP017 | 2022-04-20 | 0 | 2.8 | 18.2 | 0 | 1 | 1018 | 0.14
TIRGP018 | 2022-04-20 | 0 | 12.9 | 3 | 0 | 1 | 1018 | 0.07
TIRGP019 | 2022-04-20 | 0 | 6.5 | 13.4 | 0 | 0 | 1018 | 0.14
TIRGP020 | 2022-04-20 | 0 | 7.4 | 9.4 | 0 | 0 | 1018 | 0.21
TIRGP021 | 2022-04-20 | 0 | 3.3 | 16.3 | 0 | 2 | 1017 | 0.12
TIRGP022 | 2022-04-20 | 0 | 0.2 | 20.6 | 0 | 2 | 1018 | 0.21
TIRGP023 | 2022-04-20 | 0 | 9.6 | 0.3 | 1 | 5 | 1018 | 0.18
Sample Point | Date | CH4 (%) | CO2 (%) | O2 (%) | CO (ppm) | H2S (ppm) | Atm Pres (mb) | Rel. Pressure (mb) | Data Comments
TIRGP013 | 2022-05-24 | 0 | 2.5 | 17 | 0 | 1 | 1006 | 0.4
TIRGP014 | 2022-05-24 | 0 | 7.1 | 14.1 | 0 | 0 | 1006 | 0.21
TIRGP015 | 2022-05-24 | 0 | 5.3 | 15.6 | 0 | 1 | 1006 | 0.21
TIRGP016 | 2022-05-24 | 0 | 8.7 | 11.3 | 0 | 1 | 1006 | 0.19
TIRGP017 | 2022-05-24 | 0 | 2.9 | 18.3 | 0 | 1 | 1006 | 0
TIRGP018 | 2022-05-24 | 0 | 8.2 | 12.8 | 1 | 1 | 1006 | 0.14
TIRGP019 | 2022-05-24 | 0 | 5.9 | 14.1 | 0 | 1 | 1006 | 0.26
TIRGP020 | 2022-05-24 | 0 | 8 | 12.1 | 1 | 1 | 1006 | 0.26
TIRGP021 | 2022-05-24 | 0 | 1.8 | 20 | 0 | 2 | 1006 | 0.16
TIRGP022 | 2022-05-24 | 0 | 0.3 | 20.9 | 0 | 2 | 1007 | 0.3
TIRGP023 | 2022-05-24 | 0 | 0.2 | 20.9 | 0 | 2 | 1007 | 0.21
Sample Point | Date | CH4 (%) | CO2 (%) | O2 (%) | CO (ppm) | H2S (ppm) | Atm Pres (mb) | Rel. Pressure (mb) | Data Comments
TIRGP013 | 2022-06-22 | 0 | 3 | 17.4 | 0 | 1 | 1013 | 0.3
TIRGP014 | 2022-06-22 | 0 | 5.1 | 16.3 | 0 | 1 | 1014 | 0.21
TIRGP015 | 2022-06-22 | 0 | 4.5 | 16.8 | 0 | 2 | 1014 | 0.19
TIRGP016 | 2022-06-22 | 0 | 8.4 | 12.9 | 0 | 1 | 1014 | 0.16
TIRGP017 | 2022-06-22 | 0 | 2 | 19.1 | 1 | 2 | 1014 | 0.11
TIRGP018 | 2022-06-22 | 0 | 3.4 | 17.7 | 0 | 2 | 1014 | 0.16
TIRGP019 | 2022-06-22 | 0 | 7.8 | 12.6 | 0 | 1 | 1014 | 0.32
TIRGP020 | 2022-06-22 | 0 | 7.6 | 13.8 | 0 | 2 | 1013 | 0.33
TIRGP021 | 2022-06-22 | 0 | 0.9 | 19.9 | 0 | 3 | 1014 | 0.26
TIRGP022 | 2022-06-22 | 0 | 0.3 | 20.3 | 0 | 2 | 1014 | 0.3
TIRGP023 | 2022-06-22 | 0.1 | 11.4 | 0.6 | 3 | 4 | 1014 | 0.37

## Leachate_Quality
Sample Point | Date | Ammoniacal-N (mg/l) | Atrazine (ug/l) | Benzo(a)pyrene (ug/l) | Bio Oxygen Demand (mg/l) | Cadmium (ug/l) | Cis-1,2-Dichloroethene (ug/l) | Chem Oxygen Demand (mg/l) | Chloride (mg/l) | Conductivity (mS/cm) | Dichlorprop (ug/l) | Dissolved Oxygen (mg/l) | Lead (mg/l) | Mecoprop (ug/l) | Orthophosphate (mg/l) | pH | Monohydric Phenols (mg/l) | Sodium (mg/l) | Temperature (degC) | 1,2,4 Trimethylbenzene (ug/l) | TributylPhosphate (ug/l) | Zinc (mg/l) | Data Comments | 1,2-Dichloroethane (ug/l) | 2,3,6-Trichlorophenol (ug/l) | 2,4,5-Trichlorophenol (ug/l) | 2,4,6-Trichlorophenoll (ug/l) | Arsenic (mg/l) | Benzene (ug/l) | benzo(b)fluoranthene (ug/l) | benzo(ghi)perylene (ug/l) | benzo(k)fluoranthenel (ug/l) | Boron (mg/l) | Chlorobenzene (ug/l) | Chloromethane (ug/l) | Chromium (mg/l) | Copper (mg/l) | Dichloromethane (ug/l) | Ethyl benzene (ug/l) | Fluoride (mg/l) | indeno(1,2,3-cd)pyrene (ug/l) | m,p-xylenes (ug/l) | Mercury (ug/l) | Molybdenum (ug/l) | Naphthalene (ug/l) | Nickel (mg/l) | Nitrate (mg/l) | o-xylene (ug/l) | Pentachlorophenol (ug/l) | p-Isopropyltoluene (ug/l) | Potassium (mg/l) | Selenium (mg/l) | Toluene (ug/l) | Tributyltin (ug/l) | Vanadium Dissolved (mg/l)
LEW05A | 2022-05-18 | [21 empty] | Insufficient to sample
LEW06 | 2022-05-18 | [21 empty] | Insufficient to sample
LEW09a | 2022-05-18 | [21 empty] | Insufficient to sample
LEW12a | 2022-05-18 | 1300 | < 0.05 | < 0.01 | 56 | < 0.02 | < 1 | 2200 | 2200 | 12000 | < 0.02 | < 1 | 0.01 | 24 | 10 | 7.9 | 0.016 | 1700 | 5.4 | < 1 | < 0.1 | 0.33 |  | < 1 | < 0.02 | < 0.05 | < 0.05 | 0.039 | < 1 | < 0.01 | < 0.01 | < 0.01 | 3.82 | < 1 | < 1 | 0.098 | 0.096 | < 3 | < 1 | 0.97 | < 0.01 | < 1 | < 0.005 | 4 | 8.01 | 0.2 | 2.46 | < 1 | < 0.05 | < 1 | 550 | < 0.004 | < 1 | <0.01 | 0.0295
LEW16 | 2022-05-18 | 2600 | < 0.05 | < 0.01 | 3200 | < 0.02 | < 1 | 10000 | 3300 | 9900 | 7 | < 1 | 0.016 | 57 | 20 | 8.3 | 33 | 2600 | 5.4 | 10.4 | < 0.1 | 0.26 |  | < 1 | < 0.02 | < 0.05 | < 0.05 | 0.4 | < 1 | < 0.01 | < 0.01 | < 0.01 | 11.4 | < 1 | < 1 | 2.2 | 0.014 | < 3 | 30.5 | 1.1 | < 0.01 | 29.4 | < 0.005 | 20 | < 0.01 | 0.23 | 6.55 | 16.8 | 1.7 | 14.6 | 1200 | < 0.004 | 40.8 | <0.01 | 0.1085
LEW22 | 2022-05-18 | [21 empty] | Insufficient to sample
LEW23 | 2022-05-18 | 130 | < 0.05 | < 0.01 | 18 | < 0.02 | < 1 | 450 | 66 | 3200 | < 0.02 | < 1 | 0.0009 | 0.98 | 0.68 | 7.5 | < 0.001 | 720 | 5.4 | < 1 | < 0.1 | 0.0273 |  | < 1 | < 0.02 | < 0.05 | < 0.05 | 0.024 | < 1 | < 0.01 | < 0.01 | < 0.01 | 2.16 | < 1 | < 1 | 0.015 | 0.0022 | < 3 | < 1 | 0.7 | < 0.01 | < 1 | < 0.005 | 5.8 | < 0.01 | 0.045 | 1.5 | < 1 | 5 | < 1 | 250 | 0.0095 | < 1 | <0.01 | 0.0061
LEW25 | 2022-05-18 | 280 | < 0.05 | < 0.01 | 13 | < 0.02 | < 1 | 320 | 67 | 3400 | < 0.02 | < 1 | < 0.0002 | 29 | < 0.02 | 7.4 | 0.002 | 440 | 5.4 | < 1 | < 0.1 | 0.0172 |  | < 1 | < 0.02 | < 0.05 | < 0.05 | 0.0038 | < 1 | < 0.01 | < 0.01 | < 0.01 | 1.36 | < 1 | < 1 | 0.0068 | 0.0038 | < 3 | < 1 | 0.45 | < 0.01 | < 1 | < 0.005 | 2.3 | < 0.01 | 0.02 | 0.29 | < 1 | < 0.05 | < 1 | 180 | 0.0078 | < 1 | <0.01 | 0.0021
LEW26 | 2022-05-18 | 0.2 | < 0.05 | < 0.01 | < 1 | 0.11 | < 1 | 110 | 160 | 1200 | < 0.02 | < 1 | 0.0003 | < 0.02 | 0.47 | 7.8 | < 0.001 | 180 | 5.4 | < 1 | < 0.1 | 0.0955 |  | < 1 | < 0.02 | < 0.05 | < 0.05 | 0.0033 | < 1 | < 0.01 | < 0.01 | < 0.01 | 0.85 | < 1 | < 1 | 0.0021 | 0.082 | < 3 | < 1 | 0.25 | < 0.01 | < 1 | < 0.005 | 5 | < 0.01 | 0.022 | 3.86 | < 1 | < 0.05 | < 1 | 78 | 0.0018 | < 1 | <0.01 | 0.0015
LEW28 | 2022-05-18 | 720 | < 0.05 | < 0.01 | 47 | < 0.02 | < 1 | 2200 | 1100 | 9900 | < 0.02 | < 1 | 0.025 | 27 | 8.4 | 7.9 | 0.008 | 1100 | 5.4 | < 1 | < 0.1 | 0.19 |  | < 1 | < 0.02 | < 0.05 | < 0.05 | 0.041 | < 1 | < 0.01 | < 0.01 | < 0.01 | 2.39 | < 1 | < 1 | 0.064 | 0.025 | < 3 | < 1 | 0.54 | < 0.01 | < 1 | < 0.005 | 4.9 | < 0.01 | 0.18 | 0.18 | < 1 | < 0.05 | < 1 | 390 | < 0.004 | 50.3 | <0.01 | 0.0158
LEW29 | 2022-05-18 | 350 | < 0.05 | < 0.01 | 19 | < 0.02 | < 1 | 510 | 470 | 5800 | < 0.02 | < 1 | 0.0002 | 4.6 | 0.28 | 7.6 | 0.004 | 620 | 5.4 | < 1 | < 0.1 | 0.0149 |  | < 1 | < 0.02 | < 0.05 | < 0.05 | 0.019 | < 1 | < 0.01 | < 0.01 | < 0.01 | 1.98 | < 1 | < 1 | 0.006 | 0.0025 | < 3 | < 1 | 0.64 | < 0.01 | < 1 | < 0.005 | 2.5 | < 0.01 | 0.027 | 0.41 | < 1 | < 0.05 | < 1 | 260 | 0.0061 | < 1 | <0.01 | 0.008
LEW31 | 2022-05-18 | 1400 | < 0.05 | < 0.01 | 130 | < 0.02 | < 1 | 4900 | 2900 | 20000 | 1.9 | < 1 | 0.021 | 17 | 17 | 7.8 | 0.023 | 2100 | 5.4 | 7.3 | < 0.1 | 0.17 |  | < 1 | < 0.02 | < 0.05 | < 0.05 | 0.085 | < 1 | < 0.01 | < 0.01 | < 0.01 | 2.87 | < 1 | < 1 | 0.41 | 0.0077 | < 3 | < 1 | 0.8 | < 0.01 | 15.3 | < 0.005 | 14 | < 0.01 | 0.25 | 3.98 | 8.5 | < 0.05 | < 1 | 920 | < 0.004 | 13.4 | <0.01 | 0.0313

## Leachate_Dips
Sample Point | Date | Dip to leachate (m) | Leachate head (m) | Leachate level (mAOD) | Data Comments
LEW05A | 2022-04-20 |  |  |  | Dry
LEW05A | 2022-04-27 |  |  |  | Dry
LEW05A | 2022-05-10 |  |  |  | Dry
LEW05A | 2022-05-25 |  |  |  | Dry
LEW05A | 2022-06-14 |  |  |  | Dry
LEW05A | 2022-06-29 |  |  |  | Dry
LEW06 | 2022-04-20 | 19.32 | 0.27 | 13.73
LEW06 | 2022-04-27 | 19.31 | 0.28 | 13.74
LEW06 | 2022-05-10 | 19.31 | 0.28 | 13.74
LEW06 | 2022-05-25 | 19.31 | 0.28 | 13.74
LEW06 | 2022-06-14 | 19.3 | 0.29 | 13.75
LEW06 | 2022-06-29 | 19.32 | 0.27 | 13.73
LEW07 | 2022-04-20 | 19.22 | 2.92 | 15.42
LEW07 | 2022-04-27 | 19.2 | 2.94 | 15.44
LEW07 | 2022-05-10 | 19.19 | 2.95 | 15.45
LEW07 | 2022-05-25 | 19.2 | 2.94 | 15.44
LEW07 | 2022-06-14 | 19.18 | 2.96 | 15.46
LEW07 | 2022-06-29 | 19.17 | 2.97 | 15.47
LEW08 | 2022-04-20 | 23.28 | 0.47 | 13.13
LEW08 | 2022-04-27 | 23.29 | 0.46 | 13.12
LEW08 | 2022-05-10 | 23.32 | 0.43 | 13.09
LEW08 | 2022-05-25 | 23.32 | 0.43 | 13.09
LEW08 | 2022-06-14 | 23.34 | 0.41 | 13.07
LEW08 | 2022-06-29 | 23.31 | 0.44 | 13.1
LEW09a | 2022-04-20 | 22.75 | 5.17 | 16.17
LEW09a | 2022-04-27 | 22.73 | 5.19 | 16.19
LEW09a | 2022-05-10 | 22.73 | 5.19 | 16.19
LEW09a | 2022-05-25 | 21.9 | 6.02 | 17.02
LEW09a | 2022-06-14 | 21.9 | 6.02 | 17.02
LEW09a | 2022-06-29 | 21.93 | 5.99 | 16.99
LEW09b | 2022-04-20 | 9.5 | 12.28 | 23.07
LEW09b | 2022-04-27 | 10.2 | 11.58 | 22.37
LEW09b | 2022-05-10 | 11.09 | 10.69 | 21.48
LEW09b | 2022-05-25 | 10.05 | 11.73 | 22.52
LEW09b | 2022-06-14 | 11.59 | 10.43 | 21.22
LEW09b | 2022-06-29 | 9.77 | 12.25 | 23.04
LEW10a | 2022-04-20 | 20.5 | 0.64 | 14.64
LEW10a | 2022-04-27 | 20.51 | 0.63 | 14.63
LEW10a | 2022-05-10 | 20.51 | 0.63 | 14.63
LEW10a | 2022-05-25 | 20.5 | 0.64 | 14.64
LEW10a | 2022-06-14 | 20.48 | 0.66 | 14.66
LEW10a | 2022-06-29 | 20.48 | 0.66 | 14.66
LEW11A | 2022-04-20 | 12.48 | 0.25 | 12.38
LEW11A | 2022-04-27 | 12.49 | 0.24 | 12.37
LEW11A | 2022-05-10 | 12.3 | 0.43 | 12.56
LEW11A | 2022-05-25 | 12.49 | 0.24 | 12.37
LEW11A | 2022-06-14 | 12.47 | 0.26 | 12.39
LEW11A | 2022-06-29 | 12.48 | 0.25 | 12.38
LEW12a | 2022-04-20 | 22.8 | 1.93 | 12.58
LEW12a | 2022-04-27 | 22.7 | 2.03 | 12.68
LEW12a | 2022-05-10 | 22.68 | 2.05 | 12.7
LEW12a | 2022-05-25 | 22.71 | 2.02 | 12.67
LEW12a | 2022-06-14 | 22.7 | 2.03 | 12.68
LEW12a | 2022-06-29 | 22.71 | 2.02 | 12.67
LEW13a | 2022-04-20 | 13.51 | 0.89 | 12.02
LEW13a | 2022-04-27 | 13.23 | 1.17 | 12.3
LEW13a | 2022-05-10 | 13.2 | 1.2 | 12.33
LEW13a | 2022-05-25 | 13.4 | 1 | 12.13
LEW13a | 2022-06-14 | 13.43 | 0.97 | 12.1
LEW13a | 2022-06-29 | 13.3 | 1.1 | 12.23
LEW14 | 2022-04-20 | 8.3 | 15.62 | 26.12 | Problems pumping due to well conditions
LEW14 | 2022-04-27 | 7.62 | 16.3 | 26.8 | Problems pumping due to well conditions
LEW14 | 2022-05-10 | 8.36 | 15.56 | 26.06 | Problems pumping due to well conditions
LEW14 | 2022-05-25 | 8.35 | 15.57 | 26.07 | Problems pumping due to well conditions
LEW14 | 2022-06-14 | 8.35 | 15.37 | 25.87 | Problems pumping due to well conditions
LEW14 | 2022-06-29 | 8.05 | 15.67 | 26.17 | Attempting to remedy the well conditions
LEW14a | 2022-04-20 | 20.78 | 0.68 | 10.68
LEW14a | 2022-04-27 | 20.71 | 0.75 | 10.75
LEW14a | 2022-05-10 | 20.72 | 0.74 | 10.74
LEW14a | 2022-05-25 | 20.72 | 0.74 | 10.74
LEW14a | 2022-06-14 | 20.74 | 0.72 | 10.72
LEW14a | 2022-06-29 | 20.75 | 0.71 | 10.71
LEW15 | 2022-04-20 |  |  |  | Dip tape getting caught on the way down tried 3 dip points
LEW15 | 2022-04-27 |  |  |  | Dip tape getting caught on the way down tried 3 dip points
LEW15 | 2022-05-10 |  |  |  | Dip tape getting caught on the way down tried 3 dip points
LEW15 | 2022-05-25 |  |  |  | Dip tape getting caught on the way down tried 3 dip points
LEW15 | 2022-06-14 |  |  |  | Dip tape getting caught on the way down tried 3 dip points
LEW15 | 2022-06-29 |  |  |  | Dip tape getting caught on the way down tried 3 dip points
LEW16 | 2022-04-20 | 21.1 | 1.15 | 12.33
LEW16 | 2022-04-27 | 21.74 | 0.51 | 11.69
LEW16 | 2022-05-10 | 21.75 | 0.5 | 11.68
LEW16 | 2022-05-25 | 21.73 | 0.52 | 11.7
LEW16 | 2022-06-14 | 21.57 | 0.57 | 11.75
LEW16 | 2022-06-29 | 21.57 | 0.57 | 11.75
LEW20 | 2022-04-20 | 7.85 | 1.14 | 12.34
LEW20 | 2022-04-27 | 7.81 | 1.18 | 12.38
LEW20 | 2022-05-10 | 7.82 | 1.17 | 12.37
LEW20 | 2022-05-25 | 7.8 | 1.19 | 12.39
LEW20 | 2022-06-14 | 7.55 | 1.44 | 12.64
LEW20 | 2022-06-29 | 7.77 | 1.22 | 12.42
LEW21 | 2022-04-20 | 18.22 | 3.06 | 15.26
LEW21 | 2022-04-27 | 18.23 | 3.05 | 15.25
LEW21 | 2022-05-10 | 18.2 | 3.08 | 15.28
LEW21 | 2022-05-25 | 18.18 | 3.1 | 15.3
LEW21 | 2022-06-14 | 18.15 | 3.13 | 15.33
LEW21 | 2022-06-29 | 18.25 | 3.03 | 15.23
LEW22 | 2022-04-20 | 19.36 | 2.94 | 15.54
LEW22 | 2022-04-27 | 20.66 | 1.64 | 14.24
LEW22 | 2022-05-10 | 20.71 | 1.59 | 14.19
LEW22 | 2022-05-25 | 20.67 | 1.63 | 14.23
LEW22 | 2022-06-14 | 20.7 | 1.6 | 14.2
LEW22 | 2022-06-29 | 20.69 | 1.61 | 14.21
LEW23 | 2022-04-20 | 17.64 | 3.8 | 15
LEW23 | 2022-04-27 | 17.72 | 3.72 | 14.92
LEW23 | 2022-05-10 | 17.72 | 3.72 | 14.92
LEW23 | 2022-05-25 | 17.76 | 3.68 | 14.88
LEW23 | 2022-06-14 | 17.74 | 3.7 | 14.9
LEW23 | 2022-06-29 | 17.94 | 3.5 | 14.7
LEW24 | 2022-04-20 | 23.26 | 4.6 | 16.1
LEW24 | 2022-04-27 | 24.38 | 3.48 | 14.98
LEW24 | 2022-05-10 | 24.27 | 3.59 | 15.09
LEW24 | 2022-05-25 | 24.25 | 3.61 | 15.11
LEW24 | 2022-06-14 | 24.26 | 3.6 | 15.1
LEW24 | 2022-06-29 | 24.25 | 3.61 | 15.11
LEW25 | 2022-04-20 | 22.6 | 1.94 | 11.94
LEW25 | 2022-04-27 | 23.2 | 1.34 | 11.34
LEW25 | 2022-05-10 | 23.34 | 1.2 | 11.2
LEW25 | 2022-05-25 | 23.2 | 1.34 | 11.34
LEW25 | 2022-06-14 | 23.3 | 1.24 | 11.24
LEW25 | 2022-06-29 | 23.2 | 1.34 | 11.34
LEW26 | 2022-04-20 | 13.43 | 2.66 | 11.66
LEW26 | 2022-04-27 | 13.43 | 2.66 | 11.66
LEW26 | 2022-05-10 | 13.54 | 2.55 | 11.55
LEW26 | 2022-05-25 | 13.5 | 2.59 | 11.59
LEW26 | 2022-06-14 | 14.02 | 2.07 | 11.07 | pump lost down well
LEW26 | 2022-06-29 | 11.04 | 5.05 | 14.05 | pump lost down well
LEW27 | 2022-04-20 | 22.69 | 1.92 | 12.02
LEW27 | 2022-04-27 | 22.69 | 1.92 | 12.02
LEW27 | 2022-05-10 | 22.69 | 1.92 | 12.02
LEW27 | 2022-05-25 | 22.66 | 1.95 | 12.05
LEW27 | 2022-06-14 | 22.64 | 1.97 | 12.07
LEW27 | 2022-06-29 | 22.68 | 1.93 | 12.03
LEW28 | 2022-04-20 | 12.65 | 4.95 | 14.85
LEW28 | 2022-04-27 | 15.92 | 1.68 | 11.58
LEW28 | 2022-05-10 | 16.28 | 1.32 | 11.22
LEW28 | 2022-05-25 | 14.17 | 3.43 | 13.33
LEW28 | 2022-06-14 | 14.15 | 3.45 | 13.35
LEW28 | 2022-06-29 | 14.15 | 3.45 | 13.35
LEW29 | 2022-04-20 | 12.57 | 6.45 | 15.85
LEW29 | 2022-04-27 | 15.58 | 3.44 | 12.84
LEW29 | 2022-05-10 | 12.56 | 6.46 | 15.86
LEW29 | 2022-05-25 | 12.58 | 6.44 | 15.84
LEW29 | 2022-06-14 | 12.6 | 6.42 | 15.82
LEW29 | 2022-06-29 | 12.6 | 6.42 | 15.82
LEW30 | 2022-04-20 | 17.21 | 3.86 | 13.76
LEW30 | 2022-04-27 | 17.21 | 3.86 | 13.76
LEW30 | 2022-05-10 | 17.2 | 3.87 | 13.77
LEW30 | 2022-05-25 | 17.19 | 3.88 | 13.78
LEW30 | 2022-06-14 | 17.15 | 4.16 | 14.06
LEW30 | 2022-06-29 | 17.16 | 4.15 | 14.05
LEW31 | 2022-04-20 | 11.25 | 8.03 | 19.33
LEW31 | 2022-04-27 | 11.27 | 8.01 | 19.31
LEW31 | 2022-05-10 | 11.28 | 8 | 19.3
LEW31 | 2022-05-25 | 11.26 | 8.02 | 19.32
LEW31 | 2022-06-14 | 11.25 | 9.46 | 20.76
LEW31 | 2022-06-29 | 12.57 | 8.14 | 19.44
LEW32 | 2022-04-20 | 7.7 | 2.84 | 14.24
LEW32 | 2022-04-27 | 7.7 | 2.84 | 14.24
LEW32 | 2022-05-10 | 7.65 | 2.89 | 14.29
LEW32 | 2022-05-25 | 7.65 | 2.89 | 14.29
LEW32 | 2022-06-14 | 7.66 | 2.88 | 14.28
LEW32 | 2022-06-29 | 7.65 | 2.89 | 14.29
LEW33 | 2022-04-20 | 20.43 | 0.52 | 12.05
LEW33 | 2022-04-27 | 20.38 | 0.57 | 12.1
LEW33 | 2022-05-10 | 20.35 | 0.12 | 11.65
LEW33 | 2022-05-25 |  |  |  | cant get to dip point
LEW33 | 2022-06-14 |  |  |  | cant get to dip point
LEW33 | 2022-06-29 |  |  |  | cant get to dip point
LEW34 | 2022-04-20 | 12.34 | 0.9 | 12.62
LEW34 | 2022-04-27 | 12.47 | 0.77 | 12.49
LEW34 | 2022-05-10 | 12.44 | 0.8 | 12.52
LEW34 | 2022-05-25 | 12.51 | 0.73 | 12.45
LEW34 | 2022-06-14 | 11.43 | 1.81 | 13.53
LEW34 | 2022-06-29 | 12.2 | 1.04 | 12.76

## Groundwater
Sample Point | Date | Dip to Water (m) | Water to mAOD | Ammoniacal-N (mg/l) | Arsenic (ug/l) | Atrazine (ug/l) | Benzo(a)pyrene (ug/l) | Cadmium (ug/l) | Cis-1,2-Dichloroethene (ug/l) | Chloride (mg/l) | Chromium (mg/l) | Copper (mg/l) | Dichlorprop (ug/l) | Dissolved Oxygen (mg/l) | Lead (mg/l) | Malathion (ug/l) | Mecoprop (ug/l) | Nitrate (mg/l) | Nitrite (mg/l) | Orthophosphate (mg/l) | pH | Redox (mV) | Total Organic Carbon (mg/l) | TributylPhosphate (ug/l) | Zinc (mg/l) | Data Comments | 1,2,4 Trimethylbenzene (ug/l) | 1,2-Dichloroethane (ug/l) | 2,3,6-Trichlorophenol (ug/l) | 2,4,5-Trichlorophenol (ug/l) | 2,4,6-Trichlorophenol (ug/l) | Benzene (ug/l) | benzo(b)fluoranthene (ug/l) | benzo(ghi)perylene (ug/l) | benzo(k)fluoranthenel (ug/l) | Boron (mg/l) | Chlorobenzene (ug/l) | Chloromethane (ug/l) | Ethyl benzene (ug/l) | Fluoride (mg/l) | indeno(1,2,3-cd)pyrene (ug/l) | Ionic Balance (%) | m,p-xylenes (ug/l) | Mercury (ug/l) | Molybdenum (ug/l) | Naphthalene (ug/l) | Nickel (mg/l) | o-xylene (ug/l) | Pentachlorophenol (ug/l) | Phenols (ug/l) | p-Isopropyltoluene (ug/l) | Potassium (mg/l) | Selenium (mg/l) | Sodium (mg/l) | Toluene (ug/l) | Tributyltin (ug/l) | Triphenylphosphate (ug/l) | Vanadium (mg/l)
GDW01(D) | 2022-06-07 | 2.39 | 7.95 | 1.4 | 7.19 | < 0.05 | < 0.01 | 0.03 | < 1 | 49 | < 0.0002 | 0.0007 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | 0.35 | 0.007 | < 0.062 | 7.6 | 131.3 | 0.41 | < 0.1 | 0.0079 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 3.68 | < 1 | < 1 | < 1 | 0.25 | < 0.01 | 1.4 | < 1 | < 0.005 | 8.5 | < 0.01 | < 0.0005 | < 1 | < 0.05 | < 1 | < 1 | 27 | 0.0007 | 53 | < 1 | <0.01 | < 0.1 | 0.0015
GDW01(S) | 2022-06-07 | 2.35 | 7.99 | 0.17 | 55.3 | < 0.05 | < 0.01 | < 0.02 | < 1 | 29 | < 0.0002 | < 0.0005 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | 0.47 | < 0.005 | < 0.062 | 8.4 | 105.6 | < 0.1 | < 0.1 | 0.0011 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 3.42 | < 1 | < 1 | < 1 | 0.11 | < 0.01 | -10 | < 1 | < 0.005 | 37 | < 0.01 | < 0.0005 | < 1 | < 0.05 | < 1 | < 1 | 22 | < 0.0006 | 51 | < 1 | <0.01 | < 0.1 | 0.0081
GDW02(D) | 2022-06-07 | 2.18 | 7.99 | 10 | 3.24 | < 0.05 | < 0.01 | < 0.02 | < 1 | 46 | < 0.0002 | 0.0007 | < 0.02 | 1.5 | < 0.0002 | < 0.03 | < 0.02 | 0.11 | 0.011 | 0.13 | 6.6 | 148.5 | 2.02 | < 0.1 | 0.0071 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 0.66 | < 1 | < 1 | < 1 | 0.41 | < 0.01 | 2.4 | < 1 | < 0.005 | 3 | < 0.01 | 0.0007 | < 1 | < 0.05 | < 1 | < 1 | 24 | < 0.0006 | 49 | < 1 | <0.01 | < 0.1 | < 0.0002
GDW02(S) | 2022-06-07 | 2.13 | 8.04 | 19 | 2.07 | < 0.05 | < 0.01 | < 0.02 | < 1 | 170 | < 0.0002 | 0.004 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | 0.06 | 0.011 | < 0.062 | 7.1 | 143.1 | 3.56 | < 0.1 | 0.0024 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 1.12 | < 1 | < 1 | < 1 | 0.91 | < 0.01 | 9.5 | < 1 | < 0.005 | 1.2 | < 0.01 | 0.0009 | < 1 | < 0.05 | < 1 | < 1 | 53 | 0.0022 | 260 | < 1 | <0.01 | < 0.1 | 0.001
GDW03(D) | 2022-06-07 | 2.72 | 7.08 | 11 | 0.41 | < 0.05 | < 0.01 | < 0.02 | < 1 | 27 | < 0.0002 | 0.001 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | 0.14 | 0.01 | < 0.062 | 6.3 | -71.2 | 3.31 | < 0.1 | 0.0057 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 0.05 | < 1 | < 1 | < 1 | 0.34 | < 0.01 | -11 | < 1 | < 0.005 | < 0.05 | < 0.01 | 0.0006 | < 1 | < 0.05 | < 1 | < 1 | 4.3 | < 0.0006 | 22 | < 1 | <0.01 | < 0.1 | < 0.0002
GDW03(S) | 2022-06-07 | 2.87 | 6.93 | 21 | 1.26 | < 0.05 | < 0.01 | < 0.02 | < 1 | 28 | < 0.0002 | 0.0017 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | 0.07 | 0.057 | < 0.062 | 7.2 | 132.9 | 2.84 | < 0.1 | 0.003 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 0.71 | < 1 | < 1 | < 1 | 1.5 | < 0.01 | -6.5 | < 1 | < 0.005 | 0.99 | < 0.01 | 0.0006 | < 1 | < 0.05 | < 1 | < 1 | 21 | < 0.0006 | 25 | < 1 | <0.01 | < 0.1 | 0.0005
GDW04 | 2022-06-14 | 0.32 | 6.09 | 7.1 | 28.7 | < 0.05 | < 0.01 | 0.03 | < 1 | 33 | 0.001 | 0.0019 | < 0.02 | 5.5 | 0.0012 | < 0.03 | < 0.02 | 0.21 | 0.026 | < 0.062 | 6.4 | -54.7 | 26.7 | < 0.1 | 0.0091 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 0.52 | < 1 | < 1 | < 1 | 0.097 | < 0.01 | -8.4 | < 1 | < 0.005 | 4.6 | < 0.01 | 0.0062 | < 1 | < 0.05 | 1.4 | < 1 | 12 | 0.0013 | 37 | < 1 | <0.01 | < 0.1 | 0.0068
GDW05 | 2022-06-14 | 0.52 | 6.69 | 19 | 9.5 | < 0.05 | < 0.01 | 0.03 | < 1 | 27 | 0.0006 | 0.0009 | < 0.02 | 7.4 | 0.0004 | < 0.03 | < 0.02 | 0.13 | 0.019 | 0.062 | 7.1 | -36.65 | 29.3 | < 0.1 | 0.0018 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 1.09 | < 1 | < 1 | < 1 | 0.36 | < 0.01 | -4.2 | < 1 | < 0.005 | 3.5 | < 0.01 | 0.0028 | < 1 | < 0.05 | 1.4 | < 1 | 36 | 0.0013 | 180 | < 1 | <0.01 | < 0.1 | 0.0037
GDW06 | 2022-06-14 | 1 | 5.88 | 12 | 2.23 | < 0.05 | < 0.01 | < 0.02 | < 1 | 28 | < 0.0002 | 0.0025 | < 0.02 | 6.6 | < 0.0002 | < 0.03 | < 0.02 | 0.09 | 0.032 | < 0.062 | 6.5 | 101.6 | 13.7 | < 0.1 | 0.0083 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 0.19 | < 1 | < 1 | < 1 | 0.095 | < 0.01 | -7.9 | < 1 | < 0.005 | 0.87 | < 0.01 | 0.0006 | < 1 | < 0.05 | < 1 | < 1 | 9.3 | 0.0007 | 37 | < 1 | <0.01 | < 0.1 | < 0.0002
GDW07 | 2022-06-14 | 0.31 | 6.23 | [22 empty] | Dry
GDW08 | 2022-06-14 | 0.3 | 6.92 | 15 | 2.49 | < 0.05 | < 0.01 | < 0.02 | < 1 | 24 | < 0.0002 | 0.0026 | < 0.02 | 7.1 | < 0.0002 | < 0.03 | < 0.02 | 0.14 | 0.012 | < 0.062 | 7 | 82.2 | 21.1 | < 0.1 | 0.0133 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 0.37 | < 1 | < 1 | < 1 | 0.23 | < 0.01 | -4.7 | < 1 | < 0.005 | 1.2 | < 0.01 | 0.0008 | < 1 | < 0.05 | 1.7 | < 1 | 16 | < 0.0006 | 59 | < 1 | <0.01 | < 0.1 | 0.0005
GDW09 | 2022-06-14 | 0.31 | 6 | 4.2 | 17 | < 0.05 | < 0.01 | < 0.02 | < 1 | 57 | < 0.0002 | < 0.0005 | < 0.02 | 6.3 | < 0.0002 | < 0.03 | < 0.02 | 0.01 | < 0.005 | 0.077 | 6.9 | -75.3 | 11.8 | < 0.1 | 0.0044 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 1.15 | < 1 | < 1 | < 1 | 0.31 | < 0.01 | 1.3 | < 1 | < 0.005 | 5.1 | < 0.01 | 0.0028 | < 1 | < 0.05 | < 1 | < 1 | 20 | 0.0017 | 64 | < 1 | <0.01 | < 0.1 | 0.0082
GDW10 | 2022-06-14 | 1.26 | 5.94 | 8.5 | 2.74 | < 0.05 | < 0.01 | < 0.02 | < 1 | 36 | < 0.0002 | 0.0016 | < 0.02 | 6.8 | < 0.0002 | < 0.03 | < 0.02 | 0.05 | 0.013 | < 0.062 | 7.3 | -16.2 | 15.5 | < 0.1 | 0.0106 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 0.17 | < 1 | < 1 | < 1 | 0.24 | < 0.01 | -3.6 | < 1 | < 0.005 | 0.79 | < 0.01 | 0.0008 | < 1 | < 0.05 | < 1 | < 1 | 12 | < 0.0006 | 37 | < 1 | <0.01 | < 0.1 | 0.0006
GDW11 | 2022-06-14 | 1.22 | 5.76 | 12 | 3.04 | < 0.05 | < 0.01 | < 0.02 | < 1 | 63 | < 0.0002 | < 0.0005 | < 0.02 | 7.7 | < 0.0002 | < 0.03 | < 0.02 | 0.13 | 0.035 | < 0.062 | 6.8 | -108.1 | 13.1 | < 0.1 | 0.0052 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 0.12 | < 1 | < 1 | < 1 | 0.21 | < 0.01 | -16 | < 1 | < 0.005 | 1 | < 0.01 | 0.0005 | < 1 | < 0.05 | < 1 | < 1 | 10 | 0.0009 | 57 | < 1 | <0.01 | < 0.1 | < 0.0002
GDW12 | 2022-06-14 | 1.65 | 5.6 | 8 | 8.18 | < 0.05 | < 0.01 | < 0.02 | < 1 | 23 | < 0.0002 | 0.0006 | < 0.02 | 7.9 | < 0.0002 | < 0.03 | < 0.02 | 0.17 | < 0.005 | < 0.062 | 7.5 | -6.1 | 12.7 | < 0.1 | 0.0048 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 0.34 | < 1 | < 1 | < 1 | 0.89 | < 0.01 | -3.4 | < 1 | < 0.005 | 2.6 | < 0.01 | 0.001 | < 1 | < 0.05 | < 1 | < 1 | 39 | < 0.0006 | 19 | < 1 | <0.01 | < 0.1 | < 0.0002
GDW13 | 2022-06-14 | 1.36 | 6.03 | 30 | 1.2 | < 0.05 | < 0.01 | < 0.02 | < 1 | 120 | < 0.0002 | 0.0016 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | 0.12 | 0.007 | < 0.062 | 7 | 44.8 | 13.4 | < 0.1 | 0.0087 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 0.51 | < 1 | < 1 | < 1 | 0.27 | < 0.01 | -5.4 | < 1 | < 0.005 | 0.41 | < 0.01 | 0.0012 | < 1 | < 0.05 | < 1 | < 1 | 31 | 0.0013 | 97 | < 1 | <0.01 | < 0.1 | < 0.0002
GDW14[R] | 2022-06-14 | 1 | 4.99 | 17 | 1.35 | < 0.05 | < 0.01 | < 0.02 | < 1 | 65 | < 0.0002 | 0.0029 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | 0.09 | 0.11 | < 0.062 | 7.1 | 38.5 | 17.4 | < 0.1 | 0.0103 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 0.6 | < 1 | < 1 | < 1 | 0.47 | < 0.01 | -5.4 | < 1 | < 0.005 | 0.34 | < 0.01 | 0.0021 | < 1 | < 0.05 | < 1 | < 1 | 28 | < 0.0006 | 55 | < 1 | <0.01 | < 0.1 | < 0.0002
GDW15[R] | 2022-06-14 | 0.32 | 5.85 | 12 | 1.48 | < 0.05 | < 0.01 | < 0.02 | < 1 | 98 | 0.0003 | 0.0028 | < 0.02 | 1 | < 0.0002 | < 0.03 | < 0.02 | 0.26 | < 0.005 | < 0.062 | 6.5 | 118.7 | 28.2 | < 0.1 | 0.0105 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 0.67 | < 1 | < 1 | < 1 | 0.38 | < 0.01 | -6.8 | < 1 | < 0.005 | 0.25 | < 0.01 | 0.0021 | < 1 | < 0.05 | < 1 | < 1 | 38 | 0.0011 | 80 | < 1 | <0.01 | < 0.1 | < 0.0002
GDW16 | 2022-06-14 | 0.3 | 5.89 | 1.3 | 2.67 | < 0.05 | < 0.01 | < 0.02 | < 1 | 45 | 0.0002 | 0.0024 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | 0.25 | < 0.005 | < 0.062 | 6 | 127.2 | 19.3 | < 0.1 | 0.0137 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 0.13 | < 1 | < 1 | < 1 | 0.24 | < 0.01 | -2.1 | < 1 | < 0.005 | 0.55 | < 0.01 | 0.0014 | < 1 | < 0.05 | < 1 | < 1 | 7.5 | 0.0006 | 38 | < 1 | <0.01 | < 0.1 | 0.0005
GDW17 | 2022-06-14 | 0.18 | 5.97 | 2.8 | 2.9 | < 0.05 | < 0.01 | < 0.02 | < 1 | 200 | < 0.0002 | 0.0008 | < 0.02 | < 1 | 0.0002 | < 0.03 | < 0.02 | 0.05 | 0.027 | < 0.062 | 6.3 | 122.6 | 13.6 | < 0.1 | 0.0132 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 0.29 | < 1 | < 1 | < 1 | 0.21 | < 0.01 | -1.2 | < 1 | < 0.005 | 0.54 | < 0.01 | 0.003 | < 1 | < 0.05 | 1.3 | < 1 | 11 | 0.0017 | 95 | < 1 | <0.01 | < 0.1 | 0.0002
GDW18 | 2022-06-14 | 0.16 | 5.99 | 19 | 13.8 | < 0.05 | < 0.01 | < 0.02 | < 1 | 90 | < 0.0002 | 0.0008 | < 0.02 | 7.5 | < 0.0002 | < 0.03 | < 0.02 | 0.06 | 0.011 | < 0.062 | 7.3 | 119.5 | 17.7 | < 0.1 | 0.0043 |  | < 1 | < 1 | < 0.02 | < 0.05 | < 0.05 | < 1 | < 0.01 | < 0.01 | < 0.01 | 0.61 | < 1 | < 1 | < 1 | 0.54 | < 0.01 | -7.4 | < 1 | < 0.005 | 1 | < 0.01 | 0.0027 | < 1 | < 0.05 | < 1 | < 1 | 34 | 0.0009 | 68 | < 1 | <0.01 | < 0.1 | 0.0006
PCS BH16A | 2022-04-20 |  |  | 6.4 | 9.81 | < 0.05 | < 0.01 | < 0.02 | < 1 | 78 | 0.0012 | 0.0015 | < 0.02 | < 1 | 0.0022 | < 0.03 | 0.2 | 0.39 | < 0.005 | 0.76 | 6.6 | 198.1 | 19.5 | < 0.1 | 0.0031
PCS BH16B | 2022-04-20 |  |  | 14 | 5.31 | < 0.05 | < 0.01 | < 0.02 | < 1 | 64 | 0.0004 | < 0.0005 | < 0.02 | 3.9 | 0.0005 | < 0.03 | 0.09 | 0.41 | < 0.005 | < 0.062 | 7 | -146.5 | 4.97 | < 0.1 | 0.0014

## Engines+Compound
Note: Permit Number EPR/BP3738LS for both phases of the site.
| Date | Nox (mg/m3) | CO (mg/m3) | Fail/Pass | Action Taken | Comments
Unit 1 | [5 empty] | Non-operational
Date | Time | CH4 | CO2 | O2 | Balance | Suction | Del. Pressure
|  | % v/v | % v/v | % v/v | % v/v | -mb | mb
2022-04-01 | 8:00 | 45 | 25.32 | 2.15 | 27.53 | -35.1 | 117
2022-04-04 | 8:00 | 46.4 | 27.3 | 1.2 | 25.1 | -36.49 | 117
2022-04-13 | 8:00 | 45.12 | 26.42 | 0.99 | 27.47 | -36 | 114
2022-04-22 | 13:00 | 42.1 | 24.9 | 0.7 | 32.3 | -16.74 | 152
2022-04-25 | 8:00 | 45.84 | 26.38 | 1.03 | 26.75 | -17 | 132
2022-05-06 | 7:30 | 45.4 | 27.3 | 1.2 | 26.1 | -17.85 | 159
2022-05-12 | 7:40 | 39.6 | 25.1 | 0.6 | 34.7 | -16.8 | 157
2022-05-17 | 10:20 | 39.16 | 25.95 | 0.38 | 34.51 | -15 | 133
2022-05-19 | 8:10 | 40.4 | 25.6 | 0.4 | 33.6 | -16.5 | 135
2022-05-24 | 13:00 | 47.3 | 27.1 | 1.1 | 24.5 | -20.4 | 123
2022-05-31 | 9:20 | 50.1 | 27.9 | 1.1 | 20.9 | -19.1 | 122
2022-06-10 | 9:30 | 46.7 | 25.9 | 2.3 | 25.1 | -21.79 | 127
2022-06-13 | 10:00 | 46.4 | 26.4 | 2.1 | 25.1 | -19.78 | 128
2022-06-14 | 8:00 | 46.24 | 25.65 | 2.39 | 25.72 | -19.7 | 129
2022-06-15 | 15:00 | 45.58 | 25.65 | 2.73 | 26.04 | -18.1 | 128
2022-06-16 | 13:30 | 46.08 | 25.91 | 2.49 | 25.52 | -18.08 | 125
2022-06-20 | 8:00 | 46.4 | 25.19 | 2.77 | 25.64 | -17.33 | 128
2022-06-22 | 8:00 | 46.01 | 26.06 | 2.52 | 25.41 | -18 | 128
2022-06-24 | 11:30 | 46.96 | 26.15 | 2.57 | 24.32 | -18 | 129
2022-06-28 | 14:00 | 45 | 25.7 | 2.1 | 27.2 | -25 | 125
2022-06-29 | 8:00 | 47.21 | 26.39 | 1.52 | 24.88 | -26.5 | 117

## Gas_Field_Data
Asset ID | Date | CH4 (%) | CO2 (%) | O2 (%) | CO (ppm) | H2S (ppm) | Balance Gas (%) | Atm Pressure (mbar) | Relative Pressure (mbar) | Data Comment
TIRLEW06 | 2022-04-22 10:11 | 18.7 | 12.4 | 7.5 | 1 | 2 | 61.4 | 1005 | 0.39
TIRLEW06 | 2022-05-24 09:27 | 0.6 | 0.6 | 18.3 | 0 | 5 | 80.5 | 1005 | -0.26
TIRLEW07 | 2022-04-22 10:31 | 4.8 | 8 | 8.6 | 1 | 2 | 78.6 | 1005 | 0.48
TIRLEW07 | 2022-05-24 09:31 | 3 | 1.9 | 5.7 | 2 | 9 | 89.4 | 1005 | -0.15
TIRLEW08 | 2022-04-22 10:41 | 1.9 | 6.5 | 10.4 | 1 | 1 | 81.2 | 1006 | 0.53
TIRLEW10 | 2022-04-22 10:46 | 11 | 15.8 | 3.7 | 1 | 2 | 69.5 | 1005 | -0.56
TIRLEW10 | 2022-05-24 09:49 | 18.6 | 16.1 | 2.2 | 2 | 12 | 63.1 | 1005 | -0.24
TIRLEW12 | 2022-05-24 10:08 | 6.4 | 3.3 | 4.5 | 2 | 12 | 85.8 | 1005 | -0.1
TIRLEW14 | 2022-04-22 11:09 | 3.1 | 7 | 18.3 | 1 | 2 | 71.6 | 1002 | 0.42
TIRLEW14 | 2022-05-24 10:20 | 0.1 | 0.1 | 20.8 | 2 | 4 | 79 | 1006 | -0.15
TIRLEW15 | 2022-04-22 11:33 | 55.5 | 39.3 | 0.2 | 10 | 6 | 5 | 1005 | 0.18
TIRLEW15 | 2022-05-24 10:48 | 58.7 | 38.9 | 0.2 | 16 | 822 | 2.2 | 1005 | -0.31
TIRLEW25 | 2022-04-22 10:43 | 19 | 14.2 | 5.4 | 0 | 2 | 61.4 | 1001 | 0.44
TIRLEW25 | 2022-05-24 09:44 | 4.1 | 2.5 | 5.1 | 1 | 5 | 88.3 | 1006 | -0.22
TIRLEW27 | 2022-04-22 11:10 | 65.4 | 29.2 | 0.8 | 3 | 2 | 4.6 | 1005 | 0.72
TIRLEW27 | 2022-05-24 10:22 | 0.2 | 0.2 | 20.8 | 1 | 3 | 78.8 | 1005 | -0.12
TIRLEW29 | 2022-04-22 11:08 | 11.1 | 11.8 | 9.5 | 1 | 2 | 67.6 | 1006 | 0.26
TIRLEW29 | 2022-05-24 10:20 | 1.2 | 1.2 | 18.2 | 2 | 6 | 79.4 | 1006 | -0.05
TIRLEW30 | 2022-04-22 11:11 | 6.8 | 9.5 | 10.2 | 2 | 2 | 73.5 | 1006 | 0.46
TIRLEW30 | 2022-05-24 10:24 | 0.1 | 0.1 | 20.7 | 2 | 3 | 79.1 | 1006 | 0.05
TIRLEW31 | 2022-04-22 11:29 | 55 | 28.3 | 2.2 | 7 | 3 | 14.5 | 1006 | 0.41
TIRLEW32 | 2022-04-22 11:22 | 62.8 | 29.7 | 1.4 | 4 | 2 | 6.1 | 1007 | -2.95
TIRLEW32 | 2022-05-24 10:37 | 64.9 | 31.3 | 1.2 | 5 | 22 | 2.6 | 1007 | -5.54
TIRLEW33 | 2022-04-22 11:52 | 55 | 37.7 | 0.4 | 29 | 10 | 6.9 | 1008 | 0.53
TIRLEW9B | 2022-04-22 11:38 | 51.6 | 36.5 | 2.6 | 17 | 5 | 9.3 | 1005 | 0.94
TIRLEW9B | 2022-05-24 10:52 | 57.9 | 41.3 | 0.4 | 13 | 134 | 0.4 | 1005 | -2.86
TIRSCAV1 | 2022-04-22 11:17 | 57.6 | 25.3 | 3.5 | 4 | 2 | 13.6 | 1008 | -7.34
TIRSCAV1 | 2022-05-24 10:30 | 43.5 | 19.1 | 7.2 | 5 | 9 | 30.2 | 1007 | -18.96
TIRSCAV1 | 2022-05-24 10:30 | 40.6 | 18.2 | 7.9 | 4 | 8 | 33.3 | 1007 | -0.05
TIRSCAV2 | 2022-04-22 11:16 | 70.5 | 26.9 | 0.5 | 4 | 2 | 2.1 | 1008 | -3.35
TIRSCAV2 | 2022-05-24 10:28 | 71.6 | 27.1 | 1.3 | 5 | 10 | 0 | 1008 | 30.04
TIRSCAV2 | 2022-05-24 10:29 | 72.8 | 27.5 | 0.3 | 4 | 12 | 0 | 1008 | -1.57
TIRSCAV3 | 2022-04-22 11:13 | 59.3 | 30.8 | 1.6 | 2 | 2 | 8.3 | 1007 | -2.79
TIRSCAV3 | 2022-05-24 10:24 | 27.6 | 16.9 | 9.6 | 2 | 3 | 45.9 | 1007 | -0.53
TIRSCAV3 | 2022-05-24 10:25 | 27.5 | 17.2 | 9.2 | 2 | 3 | 46.1 | 1007 | -0.03
TIRW1401 | 2022-04-22 11:34 | 58.4 | 37.4 | 0.2 | 18 | 8 | 4 | 1005 | 1.54
TIRW1402 | 2022-04-22 11:32 | 54.7 | 37.4 | 0.5 | 7 | 5 | 7.4 | 1006 | 0.71
TIRW1403 | 2022-04-22 11:30 | 52.3 | 29.3 | 2 | 7 | 4 | 16.4 | 1006 | 0.16
TIRW1403 | 2022-05-24 10:45 | 11.3 | 5.6 | 16.7 | 4 | 17 | 66.4 | 1005 | -2.06
TIRW1403 | 2022-05-24 10:45 | 13.2 | 6.3 | 16.3 | 4 | 11 | 64.2 | 1005 | 0
TIRW1404 | 2022-04-22 11:27 | 63.1 | 35.5 | 0.2 | 6 | 5 | 1.2 | 1005 | 0.65
TIRW1404 | 2022-05-24 10:43 | 49.7 | 29.1 | 2.7 | 7 | 83 | 18.5 | 1005 | -0.39
TIRW1801 | 2022-04-22 11:37 | 53.5 | 38.5 | 0.5 | 7 | 5 | 7.5 | 1005 | 0.49
TIRW1801 | 2022-05-24 10:51 | 56.5 | 42.3 | 0.2 | 9 | 140 | 1 | 1005 | 31.5
TIRW1802 | 2022-04-22 11:36 | 60.7 | 36.7 | 0.1 | 8 | 5 | 2.5 | 1005 | 1.41
TIRW1802 | 2022-05-24 10:50 | 55.3 | 40.4 | 1 | 14 | 925 | 3.3 | 1005 | -2.69
TIRW1803 | 2022-04-22 11:31 | 47.5 | 30.5 | 3.6 | 7 | 4 | 18.4 | 1005 | 0.19
TIRW1803 | 2022-05-24 10:47 | 60.5 | 37.8 | 0.9 | 10 | 72 | 0.8 | 1005 | -3.36
TIRW1804 | 2022-04-22 11:28 | 56 | 33.2 | 0.7 | 6 | 5 | 10.1 | 1005 | 0.42
TIRW1804 | 2022-05-24 10:44 | 38.5 | 21.3 | 7.2 | 6 | 48 | 33 | 1005 | 0.02
TIRW1805 | 2022-04-22 11:26 | 61.7 | 34 | 0.4 | 7 | 5 | 3.9 | 1005 | 12.25
TIRW1805 | 2022-05-24 10:42 | 51.3 | 28.9 | 2.2 | 8 | 69 | 17.6 | 1005 | 10.04
TIRW1806 | 2022-04-22 11:25 | 60 | 31.3 | 3.2 | 6 | 3 | 5.5 | 1005 | 3.21
TIRW1806 | 2022-05-24 10:40 | 61.7 | 30 | 0.6 | 4 | 9 | 7.7 | 1005 | -0.05
TIRW2509 | 2022-04-22 10:35 | 34.2 | 25.2 | 0.2 | 1 | 2 | 40.4 | 1006 | -0.09
TIRW2509 | 2022-05-24 09:35 | 34.2 | 24.2 | 0.2 | 2 | 15 | 41.4 | 1005 | -1.84
TIRW2510 | 2022-04-22 10:28 | 25.9 | 20.1 | 0.8 | 1 | 1 | 53.2 | 1006 | -1.82
TIRW2510 | 2022-05-24 09:28 | 25.4 | 23.2 | 0.6 | 2 | 12 | 50.8 | 1005 | -1.43
TIRW2511 | 2022-04-22 10:37 | 18.9 | 22.5 | 0.3 | 1 | 3 | 58.3 | 1006 | 0.35
TIRW2511 | 2022-05-24 09:37 | 22.6 | 22 | 0.1 | 1 | 14 | 55.3 | 1005 | -5.83
TIRW2511 | 2022-05-24 09:37 | 21.6 | 21.8 | 0.1 | 2 | 14 | 56.5 | 1005 | -0.12
TIRW2515 | 2022-04-22 11:45 | 42.8 | 26.6 | 0.4 | 6 | 4 | 30.2 | 1005 | -0.76
TIRW2515 | 2022-05-24 10:58 | 44 | 25.4 | 0.3 | 6 | 39 | 30.3 | 1006 | -2.64
TIRW2601 | 2022-04-22 10:55 | 22.7 | 21.7 | 1.1 | 1 | 3 | 54.5 | 1005 | 0.48
TIRW2601 | 2022-05-24 10:01 | 21.7 | 19.4 | 0.1 | 1 | 12 | 58.8 | 1005 | -0.77
TIRW2602 | 2022-04-22 10:57 | 18 | 19 | 1.4 | 1 | 3 | 61.6 | 1006 | 0.64
TIRW2602 | 2022-05-24 10:03 | 1.2 | 1.5 | 11.1 | 2 | 10 | 86.2 | 1005 | -0.46
TIRW2603 | 2022-04-22 11:02 | 42.6 | 21.9 | 0.8 | 1 | 3 | 34.7 | 1006 | -0.81
TIRW2603 | 2022-05-24 10:10 | 46.1 | 20.6 | 0.8 | 2 | 17 | 32.5 | 1006 | -2.23
TIRW2604 | 2022-04-22 11:04 | 7.3 | 7.7 | 14.7 | 1 | 2 | 70.3 | 1006 | 0.35
TIRW2604 | 2022-05-24 10:13 | 45.2 | 14.9 | 5.3 | 2 | 4 | 34.6 | 1006 | -0.24
TIRW2605 | 2022-04-22 11:07 | 47.3 | 22.8 | 0.4 | 1 | 2 | 29.5 | 1006 | -2.22
TIRW2605 | 2022-05-24 10:18 | 63.7 | 29.2 | 0.2 | 3 | 9 | 6.9 | 1006 | -0.14
TIRW2605 | 2022-05-24 10:18 | 49.3 | 27.1 | 0.1 | 2 | 17 | 23.5 | 1006 | -0.78
TIRW2606 | 2022-04-22 11:08 | 56 | 26.5 | 0.5 | 1 | 2 | 17 | 1006 | 0.34
TIRW2606 | 2022-05-24 10:19 | 40.1 | 19.3 | 0.5 | 3 | 17 | 40.1 | 1006 | -0.15
TIRW263A | 2022-04-22 11:04 | 0.9 | 4 | 20.1 | 0 | 2 | 75 | 1007 | 0.37
TIRW263A | 2022-05-24 10:13 | 0.4 | 0.3 | 20.7 | 2 | 3 | 78.6 | 1007 | -0.1
TIRW263A | 2022-05-24 10:14 | 0.6 | 0.5 | 20.7 | 2 | 3 | 78.2 | 1007 | -3.19
TIRW264A | 2022-04-22 11:05 | 0 | 3 | 20.7 | 0 | 2 | 76.3 | 1005 | 0.39
TIRW264A | 2022-05-24 10:15 | 0.1 | 0.2 | 20.9 | 2 | 3 | 78.8 | 1006 | -0.07
TIRW264B | 2022-04-22 11:05 | 0.2 | 3.2 | 20.5 | 0 | 2 | 76.1 | 1006 | 0.48
TIRW264B | 2022-05-24 10:14 | 0.2 | 0.4 | 20.7 | 2 | 3 | 78.7 | 1006 | -0.09
TIRW265A | 2022-04-22 11:07 | 42.8 | 20.3 | 0.6 | 1 | 1 | 36.3 | 1006 | -4.02
TIRW265A | 2022-05-24 10:17 | 45.6 | 22.7 | 0.9 | 2 | 9 | 30.8 | 1006 | -6.26
TIRW2705 | 2022-04-22 10:33 | 44.4 | 23.9 | 0.7 | 2 | 2 | 31 | 1006 | -4.55
TIRW2705 | 2022-05-24 09:32 | 41.7 | 24.4 | 0.8 | 2 | 10 | 33.1 | 1004 | -1.69
TIRW2706 | 2022-04-22 10:30 | 37.4 | 25.6 | 0.6 | 1 | 2 | 36.4 | 1005 | -5.03
TIRW2706 | 2022-05-24 09:30 | 42.9 | 26.7 | 0.3 | 2 | 12 | 30.1 | 1005 | -6.85
TIRW2707 | 2022-04-22 10:08 | 31.8 | 23.4 | 0.6 | 1 | 2 | 44.2 | 1005 | -1.84
TIRW2707 | 2022-05-24 09:24 | 30.3 | 23.7 | 0.8 | 1 | 16 | 45.2 | 1005 | -1.26
TIRW2708 | 2022-04-22 10:07 | 14.9 | 12.5 | 11 | 1 | 2 | 61.6 | 1006 | 0.34
TIRW2708 | 2022-05-24 09:23 | 0.8 | 0.7 | 17.2 | 0 | 3 | 81.3 | 1006 | -0.22
TIRW2709 | 2022-04-22 10:34 | 36.2 | 25.2 | 0.4 | 1 | 2 | 38.2 | 1005 | -0.18
TIRW2709 | 2022-05-24 09:34 | 42.9 | 25 | 0.5 | 2 | 13 | 31.6 | 1005 | -2.45
TIRW2711 | 2022-04-22 11:43 | 41.2 | 29.3 | 0.5 | 8 | 5 | 29 | 1005 | -3.19
TIRW2711 | 2022-05-24 10:57 | 49.2 | 33.2 | 0.9 | 15 | 272 | 16.7 | 1005 | -5.35
TIRW2712 | 2022-04-22 11:46 | 34.5 | 23.1 | 4.6 | 5 | 4 | 37.8 | 1005 | 0.42
TIRW2712 | 2022-05-24 11:00 | 39.7 | 22.1 | 0.5 | 6 | 34 | 37.7 | 1005 | 0.09
TIRW2713 | 2022-04-22 11:47 | 2 | 5.3 | 18.5 | 4 | 3 | 74.2 | 1005 | 0.67
TIRW2713 | 2022-05-24 11:01 | 0.5 | 0.3 | 19.5 | 5 | 16 | 79.7 | 1006 | -0.44
TIRW3A01 | 2022-04-22 10:52 | 46.4 | 26.1 | 0.4 | 1 | 3 | 27.1 | 1005 | -0.79
TIRW3A01 | 2022-05-24 09:55 | 56.1 | 27.1 | 0.3 | 3 | 35 | 16.5 | 1005 | -2.61
TIRW3A02 | 2022-04-22 10:53 | 41.3 | 24.2 | 0.1 | 1 | 3 | 34.4 | 1005 | -2.84
TIRW3A02 | 2022-05-24 09:56 | 53.3 | 25.7 | 1 | 3 | 21 | 20 | 1005 | -0.87
TIRW3A03 | 2022-04-22 10:58 | 51.9 | 20.4 | 0.5 | 1 | 2 | 27.2 | 1005 | 0.6
TIRW3A03 | 2022-05-24 10:05 | 47.8 | 24.5 | 5.3 | 2 | 8 | 22.4 | 1005 | -0.55
TIRW3A04 | 2022-04-22 11:01 | 25.2 | 16.5 | 10.6 | 1 | 2 | 47.7 | 1005 | 0.92
TIRW3A04 | 2022-05-24 10:08 | 0.8 | 0.6 | 20.7 | 2 | 4 | 77.9 | 1006 | -0.39
TIRW3A06 | 2022-04-22 11:00 | 58 | 24.6 | 0.5 | 2 | 2 | 16.9 | 1005 | 0.88
TIRW3A06 | 2022-05-24 10:07 | 63.9 | 31.3 | 0.8 | 2 | 14 | 4 | 1005 | -0.73
TIRW3B01 | 2022-04-22 10:47 | 40.6 | 27.4 | 0.7 | 1 | 2 | 31.3 | 1005 | -0.46
TIRW3B01 | 2022-05-24 09:48 | 26 | 21.6 | 0.5 | 1 | 10 | 51.9 | 1005 | -1.07
TIRW3B01 | 2022-05-24 09:51 | 50.8 | 31.1 | 0.8 | 2 | 22 | 17.3 | 1005 | -2.35
TIRW3B02 | 2022-04-22 10:45 | 16.9 | 17.7 | 2.6 | 1 | 2 | 62.8 | 1005 | 0.3
TIRW3B03 | 2022-05-24 09:59 | 25 | 20.4 | 0.1 | 2 | 13 | 54.5 | 1005 | -0.72
TIRW3B04 | 2022-04-22 10:54 | 38.2 | 23.7 | 0.1 | 1 | 4 | 38 | 1005 | -15.18
TIRW3B04 | 2022-05-24 09:58 | 44.3 | 26.5 | 0.7 | 3 | 22 | 28.5 | 1005 | -22.21
TIRW3B05 | 2022-04-22 10:50 | 46.4 | 28.9 | 0.2 | 2 | 3 | 24.5 | 1005 | -10.82
TIRW3B05 | 2022-05-24 09:54 | 55.7 | 30.4 | 0.1 | 3 | 35 | 13.8 | 1005 | -15.5
TIRW3B07 | 2022-04-22 10:49 | 40.6 | 28.8 | 0.6 | 1 | 2 | 30 | 1005 | -6.94
TIRW3B07 | 2022-05-24 09:52 | 51.1 | 30.6 | 0.2 | 2 | 28 | 18.1 | 1005 | -9.96
TIRW3C01 | 2022-04-22 10:40 | 33.6 | 25.6 | 0.8 | 1 | 2 | 40 | 1005 | -0.51
TIRW3C01 | 2022-05-24 09:42 | 33.7 | 25.1 | 0.3 | 1 | 14 | 40.9 | 1005 | -2.81
TIRW3C04 | 2022-04-22 10:36 | 26.1 | 23.7 | 0.7 | 1 | 2 | 49.5 | 1005 | -2.07
TIRW3C04 | 2022-05-24 09:41 | 24.9 | 21.6 | 0.9 | 1 | 12 | 52.6 | 1005 | -1.7
TIRW3C05 | 2022-04-22 10:37 | 12.8 | 15.6 | 6.4 | 1 | 2 | 65.2 | 1006 | 0.35
TIRW3C05 | 2022-05-24 09:39 | 3.1 | 3.7 | 12.1 | 1 | 8 | 81.1 | 1005 | -1.93
TIRW3C06 | 2022-04-22 10:43 | 10.1 | 8.8 | 13.1 | 1 | 2 | 68 | 1004 | 0.21
TIRW3C06 | 2022-05-24 09:46 | 18.7 | 19.2 | 2.4 | 1 | 3 | 59.7 | 1006 | -1.16
TIRW3C07 | 2022-04-22 10:42 | 30.9 | 21.8 | 0.9 | 1 | 2 | 46.4 | 1006 | -9.32
TIRW3C07 | 2022-05-24 09:43 | 43.9 | 25.5 | 1.5 | 1 | 7 | 29.1 | 1005 | -1.57