
Permit Number: 
EA/EPR/BW9999IG/V003


Operator: 

Kronospan Ltd
Facility:


Chirk Particle Board Factory


Form Number: 

Water1 / 040209
Reporting of emissions to water (other than to sewer) and land for the period from 01/04/2017 to 30/06/2017
	Emission

Point


	Substance /

Parameter


	Emission Limit Value

	Result [1]

	Test

Method 


	Sample

Date 


	Uncertainty



	W1
	BOD
	9.5 mg/l 
	6.2 mg/l
	As Permit
	23/05/2017
	0.011

	W1
	Suspended Solids
	100mg/l 
	87 mg/l
	As Permit
	16/05/2017
	0.208

	W1
	pH
	6 – 9 
	6.10 – 7.81
	As Permit
	19/05/2017 – 06/06/2017
	0.004

	W1
	Ammonia
	5 mg/l
	4.73 mg/l
	As Permit
	25/04/2017
	0.006

	W1

W1
	Oil and Grease
	15mg/l
	13.4 mg/l
	As Permit
	07/04/2017 & 25/04/2017
	0.007

	
	
	
	
	
	
	

	W1
	Formaldehyde
	2 mg/l 
	1.92 mg/l
	As Permit
	03/06/2017
	0.003

	W1
	Discharge Volume
	N/A
	62,702 m3
	As Permit
	N/A
	N/A

	
	
	
	
	
	
	


(1) The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

                   [image: image1.png]



Signed            Chelsey Barker                                                                          

Date         07/07/2017                              



(Authorised to sign as representative of Operator)

Corrections have been made as per condition 3.1.4 

