- Application type

New impoundment licence			☐

Removal of an existing impoundment			☐	Complete sections 2 and 4

To licence an existing impoundment				☐

Technical variation to an impoundment licence		☒

WA/065/0006/020

WA/065/0006/020

Give existing licence or pre- application reference number(s)

2.	Impoundment details 
All information should correspond with any maps and drawings submitted with this application

## 2.1 Provide details of all impoundment points. For structures spanning a watercourse, provide a National Grid Reference for each bank. If necessary, continue on a separate sheet and tick here to show that you have done this. ☐

| Impoundment location name / reference | National Grid Reference for each bank, looking downstream (12 digit) |  |
| --- | --- | --- |
|  | Left bank | Right bank |
| Croesor Hydro Intake | SH 62618 44264 | SH 62618 44264 |

2.2 Please provide a full description of the impoundment, outlining its purpose and how it will operate. If this information is detailed in a supporting document, provide the document title 
or reference in the space below.

If necessary, continue on a separate sheet and tick here to show that you have done this. ☒

- Description of impoundment

Afon Croesor

Afon Croesor

3.1 Name of watercourse

## 3.2 Will your proposed impoundment result in a change to the wetted perimeter (downstream) or new submerged areas behind (upstream of) the impounding works?
No	☐	Yes	☒ 	If yes, ensure this is shown on any map or drawings submitted

## 3.3 Will the ponded area created by the impoundment be lined?	No	☒	Yes	☐
If yes, give details.

Crest of intake 125.386 mAOD.  Toe of intake 123.7 mAOD. 1686 mm

Crest of intake 125.386 mAOD.  Toe of intake 123.7 mAOD. 1686 mm

3.4 Give the height of the impoundment structure, from the downstream toe to crest or top of spillway (in metres above Ordnance Datum). If the proposal involves an existing impoundment, state the change in height (in millimetres).

125.386 mAOD

125.386 mAOD

3.5 What is the overflow or crest level of the impoundment (in metres above Ordnance Datum)?

## 3.6 What is the proposed capacity of the impoundment when full to spillway level (in cubic metres)?

## 3.7 Will the proposal create a raised reservoir?				No	☒	Yes	☐

## 3.8 Does the proposal involve the controlled release of water to safeguard downstream flows? 	No		☒	Yes		☐	If yes, provide details

## 3.9 Is the impounded water to be used for a subsequent purpose? 	No	☐	Yes	☒

## If yes, provide details (for abstractions, state the daily and annual quantities in cubic metres).

## Hydropower generation.

## 3.10 How will the impounded area be filled initially, and subsequently refilled if applicable?

## N/A

- Fish and eel passage
4.1 Confirm the fish species present at your site.

N/A

N/A

## 4.2 Complete the table below with full details of the measures you intend to take to safeguard these fish species.

|  | Intake | Outfall |
| --- | --- | --- |
| Type of fish screen | Coanda | Trash |
| Screen aperture size (mm) | 2mm | 20mm |
| Screen height and width (mm) |  |  |
| Type of upstream fish passage | Natural rock pool |
| Proposed flow for fish pass (m/s) |  |
| Type of downstream fish passage | Pool |

- Construction, maintenance and operation

## 5.1 Provide details of maintenance or activities relating to the operation of the impoundment. If necessary, continue on a separate sheet and tick here to show that you have done this. ☒

## An initial Construction Method Statement has been produced and is attached. ## Maintenance and Operation will be minimal – weekly visual inspections on condition. Remote monitoring of water levels.

5.2 Provide details of diversion works or removal of existing works.

## An initial Construction Method Statement has been produced and is attached. ## A temporary bypass will be created to establish a dry working area. The structure will be built in 2 halves.

- Planning application

Have you sought advice on your planning application?

No	☐		Yes	☒

If yes, submit a copy of the Planning Authority’s response.

- Declaration

### Please see Guidance Note WRX for details of who can sign this section and note the information in that document relating to the Data Protection Act 1998.

### By signing below, you are declaring that as far as you know and believe the information given in this form, on any map and in any supporting or additional information, is true.

### Signed

Matt Lomax

Matt Lomax

### Print name

Agent – Renewables First

Agent – Renewables First

### Position

### Date

Application Checklist

Please tick the following checklist items to indicate that you have included the required information. If any sections of the form are left blank and no supporting information submitted, where we have insufficient information to make a decision

on your application, we will return your application to you.

Essential:

Form WRA completed, if there have been any changes since pre-application an updated Form WRA is required										☒

Map with all impoundment points and new wetted perimeters/submerged areas 		☒

clearly marked

Drawings and Design Statement									☒

State number of continuation sheets (enter 0 if none included)

Where relevant:

Form WRD completed, if your proposal also requires an abstraction licence		☒

Stage 1 photo survey (contact us for more details on this requirement)			☒

Letter of authorisation from the applicant, allowing an agent to act as signatory		☒

Further information requested in our pre-application response letter to you			☐

Planning Authority response, where available							☒

Additional supporting information	- please list below: