Permit Number: 
EPR/DP3137EG




Operator: 
Margam Green Energy Limited
Facility:

Margam Green Energy Plant


Form Number: Residues 1 
Date : 03/09/2019
Reporting of residue quality for the period from:          

01/07/2019 to 31/07/2019
	
	Residue Composition (TOC, Metals, Dioxins, etc.)

	
	TOC
(<3%)
	Sb mg/kg
	Cd mg/kg
	TI
mg/kg
	Hg
mg/kg
	Pb
mg/kg
	Cr
mg/kg
	Cu
mg/kg
	Mn
mg/kg
	Ni
mg/kg
	As
mg/kg
	Co
mg/kg
	V
mg/kg 
	Zn
Mg/kg
	DIOXIN /FURAN         I-TEQ
ng/kg
	DIOXIN / FURAN
	DIOXIN-LIKE PCBS

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	WHO-TEQ ng/kg
	WHO-TEQ ng/kg

	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	Humans / mammals
	Birds
	Fish
	Humans / mammals
	Birds
	Fish

	Bottom Ash (including boiler ash)
	3.8
	33.1
	4.63
	6409
	<0.4
	1,935
	240
	2,219
	1075
	56.8
	118
	15.2
	18.3
	2,671
	
	
	
	
	
	
	

	APC residues
	N/A
	451
	42.2
	
	5.5
	10,900
	128
	1,434
	648
	17.7
	1,152
	5.4
	<10
	35,720
	
	5,296
	9,777
	5,690
	5,296
	9,777
	5,690


Reporting of Ash Solubility for the period from:          

01/07/2019 to 31/07/2019
	Ash solubility (Metals)

	
	Sb mg/kg
	Cd mg/kg
	TI
mg/kg
	Hg
mg/kg
	Pb
mg/kg
	Cr
mg/kg
	Cu
mg/kg
	Mn
mg/kg
	Ni
mg/kg
	As
mg/kg
	Co
mg/kg
	V
mg/kg
	Zn
mg/kg

	Bottom ash (including boiler ash)
	33.1
	4.63
	6409
	<0.4
	1,935
	240
	2,219
	1075
	56.8
	118
	15.2
	18.3
	2,671

	APC residues
	451
	42.2
	
	5.5
	10,900
	128
	1,434
	648
	17.7
	1,152
	5.4
	<10
	35,720


Signed ………John Williams…………………………………………….  

Date…03/09/2019…..   

(Authorised to sign as representative of Margam Green Energy Limited) 
