Notice of variation with introductory note

Environmental Permitting (England & Wales) Regulations 2016

Tata Steel UK Limited

Morfa Tip

Tata Port Talbot Works

Neath Port Talbot

SA13 2NG

Variation application number

EPR/AP3292LT/V010

Permit number

EPR/AP3292LT

Morfa Tip

Permit number EPR/AP3292LT

Introductory note

This introductory note does not form a part of the notice

The following notice gives notice of the variation of an environmental permit.

This is an operator led variation of a closed landfill permit to make changes to the permitted monitoring locations, frequencies of sampling, and analytical suites.

The permit holder name has also been updated following a change of company name in 27/09/2010 from Corus UK Limited to Tata Steel UK Limited.

The schedules specify the changes made to the original permit.

The status log of a permit sets out the permitting history, including any changes to the permit reference number.

| Status log of the permit |  |  |
| --- | --- | --- |
| Description | Date | Comments |
| Control of Pollution Act 1974 Waste Disposal Licence Reference: 1/77 | 19/05/1977 | Issued to British Steel Corporation for landfilling of waste at Port Talbot |
| Waste Disposal Licence modified | 01/10/77 |  |
| Waste Disposal Licence modified | 10/01/78 |  |
| Waste Disposal Licence modified | 20/04/78 |  |
| Waste Disposal Licence modified | 12/06/78 |  |
| Waste Disposal Licence modified | 01/01/84 |  |
| Waste Disposal Licence modified | 27/07/87 |  |
| Waste Disposal Licence 1/77 converts to a Waste Management Licence EAWML 34000 | 01/05/94 |  |
| Notice of modification issued | 31/03/99 |  |
| Notification of change of name | 08/10/99 |  |
| Notification of modification issued | 02/02/00 |  |
| Change of company name | 17/04/00 | From British Steel Limited to Corus UK Limited |
| Application for a PPC permit (BV7311IE) | 09/10/03 |  |
| Waste Management Licence partially superseded by PPC permit BV7311IE | 17/12/04 |  |
| Residual Waste Management Licence converts to an Environmental Permit (EPR/AP3292LT) | 06/04/08 |  |
| Regulator initiated variation request submitted | 16/04/08 |  |
| Regulator initiated variation issued EPR/AP3292LT/V009 | 09/10/09 |  |
| Change of company name | 27/09/10 | From Corus UK Limited to Tata Steel UK Limited |
| Application EPR/AP3292LT/V010 | Duly made 11/03/21 | Application to make changes to the permitted monitoring locations, frequencies of sampling, and analytical suites |
| Variation determined EPR/AP3292LT | 19/05/21 | Varied permit issued. |

End of introductory note

Notice of variation

Environmental Permitting (England and Wales) Regulations 2016

The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2016 varies

Permit number

EPR/AP3292LT

issued to:

Tata Steel UK Limited (“the operator”)

whose registered office is

30 Millbank

London

SW1P 4WY

company registration number 02280000

to operate a regulated facility at

Morfa Tip

Tata Port Talbot Works

Neath Port Talbot

SA13 2NG

to the extent set out in the schedules.

The notice shall take effect from 19/05/2021

| Name | Date |
| --- | --- |
| Huw Davies | 19/05/2021 |

Authorised on behalf of Natural Resources Wales

Schedule 1 – conditions to be deleted

The following conditions are deleted as a result of the application made by the operator

| ### Table S4.4 Landfill gas in external monitoring boreholes – limits and monitoring requirements |  |  |  |  |
| --- | --- | --- | --- | --- |
| ### Monitoring point Ref. /description | ### Parameter | ### Limit (including units) | ### Monitoring frequency | ### Monitoring standard or method |
| ### BH 9,10,14,15,16 and 17 as shown on drawing reference: Figure 3 Landfill Monitoring Network, Revision 0, 498.1/0/1106 ### Any additional monitoring points agreed in writing with Natural Resources Wales | ### Methane | ### 1% v/v above background concentrations unless otherwise agreed in writing with Natural Resources Wales. | ### Quarterly, unless otherwise agreed in writing with Natural Resources Wales | ### Unless otherwise agreed in writing with Natural Resources Wales, monitoring methods used shall be in accordance with Environment Agency document “Guidance on the management of landfill gas. LFTGN03”. |
|  | ### Carbon Dioxide | ### 1.5% v/v above background concentrations unless otherwise agreed in writing with Natural Resources Wales. |  |  |
|  | ### Hydrogen Sulphide | ### None set |  |  |
|  | ### Carbon monoxide |  |  |  |
|  | ### Oxygen |  |  |  |
|  | ### Atmospheric pressure |  |  |  |
|  | ### Differential Pressure |  |  |  |
|  | ### Temperature |  |  |  |
|  | ### Meteorological data |  |  |  |

Schedule 2 – conditions to be amended

The following conditions are amended as a result of the application made by the operator

3.1.1	There shall be no point source emissions to water, air or land except from the sources and emission points listed in schedule 4 tables S4.1, S4.2, S4.3, S4.4, S4.5, and S4.6

3.5.1	The operator shall, unless otherwise agreed in writing by Natural Resources Wales, undertake the monitoring specified in the following tables in schedule 4 to this permit:

(a)	point source emissions specified in tables S4.1 and S4.2;

(b)	groundwater specified in tables S4.3 and S4.6;

(c)	landfill gas specified in tables S4.4;

(d)	surface water specified in table S4.5.

3.7.4	Permanent means of access shall be provided to enable sampling/monitoring to be carried out in relation to the emission points specified in schedule 4 tables S4.1, S4.2, S4.3, S4.4, S4.5, and S4.6 unless otherwise agreed in writing by Natural Resources

| ### Table S1.2 Operating techniques |  |  |
| --- | --- | --- |
| ### Description | ### Parts | ### Date Received |
| ### Hydrogeological Risk Assessment | ### Geotechnology report 403.2/0/1205. Hydrogeological Risk Assessment. Dated: December 2005 | ### n/a |
| ### Closure Report | ### Geotechnology report 498.1/0/1106. Closure Report. 7 December 2006 | ### 08/12/06 |
| ### Closure Report ### (further Information) | ### Geotechnology letter response (ref: 498 letter response/BR/kp). 6 June 2007 | ### 20/06/06 |
| ### Recharge Trench Design | ### Geotechnology report 495.1/0/1206. Recharge Trench Design Report. 18 December 2006 | ### 20/12/06 |
| ### Closure Report ### (further Information) | ### Geotechnology letter response (ref: 498lt1/ET/kp). 16 February 2007 | ### Feb 2007 |
| ### Recharge Trench Design (further Information) | ### Geotechnology letter response (ref: 542/Recharge Trench Report/lt1 (Note: This letter was incorrectly dated 11 July 2006 – should have read 2007). | ### 12/07/07 |
| ### Amendment to Closure Report (Monitoring) | ### Geotechnology report Aftercare Monitoring Plan Report Number 498.1/1/0907 Appendix 2 (Revision 1) | ### 23/11/07 |
| ### Addendum to Closure Report (Additional Monitoring Points) | ### Geotechnology report Identification of new monitoring locations Report Number 651.1/0/0408 April 08 | ### 25/04/08 |
| ### Addendum to Recharge Trench Design | ### Geotechnology Report: Morfa Non Hazardous Landfill Cell 1 Restoration Scheme Report Number 629.1/0/1207 December 07. ### Only section 2.2.2 and section 5 of the report apply to this permit. | ### 13/02/08 |
| ### CQA Specification Phase 1 Capping | ### Geotechnology Report CQA plan Capping Phase 1. Report Number 347.2/0/0904. | ### 01/11/04 |
|  | ### Geotechnology Report CQA Specification Capping Phase 1. Report Number 347.1/0/0904. Dated 25th September 2004 |  |
| ### CQA Plan & Specification Phase 2 Capping | Geotechnology Report CQA Plan Capping Phase 2. Report Number 378.2 Issue 1. Dated: July 2005. | ### 29/07/05 |
|  | Geotechnology Report CQA Specification Capping Phase 2. Report Number 378.1 Issue 1. Dated: July 2005 |  |
| ### CQA Plan & Specification Phase 3 & 4 Capping | Geotechnology Report CQA Plan Capping Phase 3 & 4. Report Number 467.3 Issue 1. Dated: July 2006 | ### 11/08/06 |
|  | Geotechnology Report CQA Specification Capping Phase 3 & 4. Report Number 467.1 Issue 1. Dated: July 2006 |  |
| ### Review of Hydrogeological Risk Assessment | Geotechnology Report 795r2V1d0409, April 2009 | ### Apr 2009 |
| ### CQA Plan & Specification Preparatory Earthworks for Phase 5 Capping | Geotechnology Report CQA Plan & Specification Preparatory Earthworks for Phase 5 Capping, Report number 873R1V1D0709 | ### 28/07/09 |
| Improvement condition 1: Revised GW Trigger Levels | Geotechnology Report Review of Groundwater Emission Limits Report Number 964r1v1d0310 | ### Received: 11/03/10 ### Approved: 07/04/10 |
| Improvement condition 2: Updated Monitoring Plan | Geotechnology Report Revised Closure and aftercare monitoring plan Report Number 843r1v1d0210 | ### 26/02/10 |
| Pre-operational Condition 2 ### Recharge Trench A & B water level | Geotechnology Report - Recharge Trench Design Targets Report Number 1085r1v1d0811 – Dated: August 2011 | ### 22/02/11 |
| Pre-operational Condition 1 ### Recharge Trench A & B water chemistry limits | Geotechnology Report - Recharge Trench Design Targets Report Number 1085r1v1d0811 – Dated: August 2011 | ### 22/02/11 |
|  | Geotechnology Report - MORFA CLOSED LANDFILL, PORT TALBOT PERMIT EPR/AP3292LT2014 Annual Review of Environmental Monitoring Results - Report Number 1394r1v1d0315 – Dated March 2015 | ### 02/03/15 |
|  | Email from TATA dated 28 August 2015 14:51 | ### 28/08/15 |
| CQA Plan and Specification ### Recharge Trench A and B | Geotechnology Report: MORFA LANDFILL SITE RECHARGE TRENCHES A & B M&E INSTALLATION CIVIL WORKS Construction Quality Assurance Plan. Report Number 1088r4v1d0514, Dated: May 2014 | ### 25/06/14 |
|  | Geotechnology Report: MORFA LANDFILL SITE RECHARGE TRENCHES A & B M & E INSTALLATION CIVIL WORKS Specification. Report Number 1088r3v1d0514, Dated: May 2014 | Received: 25/06/14 Accepted: 03/07/14 |
| CQA Validation Report Recharge Trench A and B | Geotechnology Report: MORFA LANDFILL SITE RECHARGE TRENCHES A & B CIVIL WORKS FOR RECHARGE SYSTEM INSTALLATION Construction Validation Report - Report Number 1088r5v1d1114, Dated: Nov 2014 | ### Dec 2014 |
| ### Monitoring Network Plan | ### 2112R1v1d220 MCL Monitoring Network December 2020 | ### December 2020 |
| ### Modifications to Recharge Trench System | ### Geotechnology Report: MORFA LANDFILL RECHARGE TRENCH - Review of Progress - Report Number 2040r1v1d1020 | ### 05/11/20 |
|  | ### Revised Drawing 2040/6 | ### Received: 11/11/20 ### Accepted: 12/03/21 |
| ### Improvement Programme | ### All reports and plans submitted and agreed with the Regulator as part the Improvement Programme detailed in Table S1.3 shall form part of the site’s operating techniques. | ### See Improvement Programme Requirements detailed in Table S1.3 |

| ### Table S1.3 Improvement programme requirements |  |  |
| --- | --- | --- |
| ### Reference | ### Requirement | ### Date |
| ### 1 | ### The operator shall review all available groundwater monitoring data and produce a written report which shall include, but not be limited to, the following issues: - An assessment of the choice of substances used to derive control and trigger levels. - The setting of specific trigger and control levels for all down gradient boreholes. Trigger and control levels shall be derived in accordance with Agency guidance document ‘Hydrogeological Risk Assessment for Landfills’ (LFTGN01). ### The operator shall implement any improvements or measures as agreed in writing with the Regulator. | ### 09/02/10 ### COMPLETED |
| ### 2 | ### The operator shall review and consolidate all the changes to the site’s Environmental Management and Monitoring Programme (EMMP) into a revised Closure and Aftercare Plan. ### The review should include (but not be limited to) the following issues: - the review and consolidation of the monitoring frequencies, monitoring locations, monitoring determinands and contingency plans, relevant to this permit. | ### 09/0/10 ### COMPLETED |
| ### 3 | ### The remaining uncapped areas of the landfill shall be restored to the deadline specified in this table. ### The Construction Quality Assurance for the restoration of these remaining areas shall be undertaken in accordance with the provisions of Condition 2.6 of this permit. | ### 31/01/12 ### COMPLETED |
| ### 4 | ### The operator shall submit a CQA Validation report which encompasses the construction and engineering of the Phase 1, Phase 2 and Phases 3 & 4, capping undertaken on 2004, 2005 and 2006 respectively. | ### To be submitted on the completion of the next phase of capping works. ### COMPLETED |
| ### 5 | ### The Operator shall undertake permanent repairs to the existing surface water balancing ponds. Specifically at various locations within the affected ponds, the Geomembrane and drainage geocomposite has been exposed due to the overlying sand protection layer been eroded (by wind and rain). The operator shall undertake mitigation works which should also attempt to reduce the risk of any further erosion. ### The repairs shall be undertaken and supervised in accordance with the CQA provisions of this permit. Details of the final repairs shall be included in the CQA Validation report for the capping of Phase 5. | ### To be submitted on the completion of the next phase of capping works. ### COMPLETED |
| ### 6 | ### The operator shall construct the first phase of the engineered water recharge trench system, which will be constructed to ensure that along the edge of the landfill, the existing groundwater levels are maintained and groundwater chemistry remains suitable for the fen systems of the Margam Moors SSSI. ### This first phase shall be defined as the construction of recharge trenches A and B (as outlined in Figure 8, Recharge Trench Alignment Revision 0, Dated 12.07) and associated infrastructure. | ### 09/10/11 ### COMPLETED |
| ### IPC7 | ### The operator shall review all relevant monitoring data and produce a written report which shall propose: - Upper and Lower Groundwater Levels for each of the Recharge Trenches A and B (as shown on drawing reference: Figure 8 Recharge Trench Alignment Revision 0, Dated 12.07) ### The operator shall implement any improvements or measures as agreed in writing with Natural Resources Wales. | ### 19/08/22 (Within 15 months of the issue of the report) |

| ### Table S4.1 Point source emissions to air – emission limits and monitoring requirements |  |  |  |  |
| --- | --- | --- | --- | --- |
| ### Emission point ref. & location | ### Parameter | ### Limit (including unit) | ### Monitoring frequency | ### Monitoring standard or method |
| GV1, GV2, GV3, GV4, GV5, GV6, GV7 and GV8 as shown on drawing reference: “2112R1v1d220 MCL Monitoring Network December 2020” Any additional monitoring points agreed in writing with Natural Resources Wales | ### Methane | ### 1% v/v above background concentrations unless otherwise agreed in writing with Natural Resources Wales. | ### Quarterly | ### Unless otherwise agreed in writing with Natural Resources Wales, monitoring methods used shall be in accordance with Environment Agency document “Guidance on the management of landfill gas. LFTGN03”. |

| ### Table S4.2 Point source emissions to water (other than sewer) and land– emission limits and monitoring requirements |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ### Emission point ref. & location | ### Parameter | ### Source | ### Limit (incl. Unit) | ### Reference period | ### Monitoring frequency | ### Monitoring standard or method |
| ### Recharge Chamber A as shown on drawing reference: Figure 8 Recharge Trench Alignment Revision 0, Dated 12.07 | ### Water Level | ### Surface Water Ponds | ### To be determined in accordance with IPC7 | ### None set | ### Weekly for the duration of IPC7, monthly thereafter. | ### None set |
| ### Recharge Chamber B as shown on drawing reference: Figure 8 Recharge Trench Alignment Revision 0, Dated 12.07 | ### Water Level | ### Surface Water Ponds | ### To be determined in accordance with IPC7 | ### None set | ### Weekly for the duration of IPC7, monthly thereafter. | ### None set |
| Recharge Chamber A and B as shown on drawing reference: Figure 8 Recharge Trench Alignment Revision 0, Dated 12.07 | ### Phosphate | ### Surface Water Ponds | ### 1 mg/l | ### None set | ### Quarterly | ### None set |
|  | ### Alkalinity |  | ### 350 g/l |  |  |  |
|  | ### Chloride |  | ### 100 mg/l |  |  |  |
|  | ### Calcium |  | ### None set |  |  |  |
|  | ### Total Ammonia |  | ### 150 mg/l |  |  |  |
|  | ### Sulphate |  | ### 150 mg/l |  |  |  |
|  | ### Electrical Conductivity |  | ### 1000 uS/cm |  |  |  |

| ### Table S4.3 Trigger levels for emissions into groundwater and monitoring requirements |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ### Monitoring point reference | ### Parameter | ### Limit (incl. Unit) | ### Monitoring frequency | ### Reference period | ### Monitoring standard or method |
| ### BH9D, BH15D and BH16D as shown on drawing reference: “2112R1v1d220 MCL Monitoring Network December 2020” | ### Ammonia | ### 203 mg/l | ### Quarterly | ### Spot Sample | ### Unless otherwise agreed in writing with Natural Resources Wales, monitoring methods used shall be in accordance with Environment Agency document “Guidance on the management of landfill gas. LFTGN03”. |
|  | ### Chloride | ### 4208 mg/l |  |  |  |
|  | ### Calcium | ### 2538 mg/l |  |  |  |
|  | ### Copper | ### 0.009 mg/l |  |  |  |
|  | ### Cadmium | ### <0.0001 mg/l |  |  |  |
|  | ### Mercury | ### <0.0001 mg/l |  |  |  |
| ### BH9S, BH15S and BH16S as shown on drawing reference: “2112R1v1d220 MCL Monitoring Network December 2020” | ### Ammonia | ### 2.1 mg/l |  |  |  |
|  | ### Chloride | ### 1689 mg/l |  |  |  |
|  | ### Calcium | ### 663 mg/l |  |  |  |
|  | ### Copper | ### 0.012 mg/l |  |  |  |
|  | ### Cadmium | ### <0.0001 mg/l |  |  |  |
|  | ### Mercury | ### <0.0001 mg/l |  |  |  |

| ### Table S4.4 Landfill Gas – other monitoring requirements |  |  |  |
| --- | --- | --- | --- |
| ### Emission or monitoring point/reference | ### Parameter | ### Monitoring frequency | ### Monitoring standard or method |
| ### GV1, GV2, GV3 GV4, GV5, GV6, GV7 and GV8 as shown on drawing reference: “2112R1v1d220 MCL Monitoring Network December 2020” | ### Oxygen | ### Quarterly | ### Unless otherwise agreed in writing with Natural Resources Wales, monitoring methods used shall be in accordance with Environment Agency document “Guidance on the management of landfill gas. LFTGN03”. |
|  | ### Atmospheric pressure |  |  |
|  | ### Differential pressure |  |  |
|  | ### Temperature |  |  |
|  | ### Hydrogen Sulphide |  |  |
|  | ### Carbon Monoxide |  |  |
|  | ### Meteorological Data |  |  |

| ### Table S4.5 Surface water- other monitoring requirements |  |  |  |
| --- | --- | --- | --- |
| ### Emission point reference or source or description of point of measurement | ### Parameter | ### Monitoring frequency | ### Monitoring standard or method |
| ### Pond 1, Pond 2, Pond 3, Pond 4, Pond 5, Pond 6 and Pond 7 as identified on plan reference “Morfa Landfill Recharge Trench” 2040/6 (Oct 2020) ### River Kenfig: SW 11 and SW 12 as shown on as shown on drawing reference: “2112R1v1d220 MCL Monitoring Network December 2020” ### Recharge Chamber A and B as shown on drawing reference: Figure 8 Recharge Trench Alignment Revision 0, Dated 12.07 | ### pH | ### Quarterly | ### Unless otherwise agreed in writing with Natural Resources Wales, monitoring methods used shall be in accordance with Environment Agency document “Guidance on monitoring of landfill leachate, groundwater and surface water” (LFTG N02) ### Monthly visual crosscheck |
|  | ### Ammoniacal Nitrogen |  |  |
|  | ### Arsenic |  |  |
|  | ### Boron |  |  |
|  | ### Cadmium |  |  |
|  | ### Calcium |  |  |
|  | ### Chloride |  |  |
|  | ### Electrical Conductivity |  |  |
|  | ### Fluoride |  |  |
|  | ### Molybdenum |  |  |
|  | ### Nitrates |  |  |
|  | ### Nitrites |  |  |
|  | ### Phosphates |  |  |
|  | ### Potassium |  |  |
|  | ### Selenium |  |  |
|  | ### Sodium |  |  |
|  | ### Total Alkalinity |  |  |
|  | ### Vanadium |  |  |
| ### SW Gauge 1, SW Gauge 2, SW Gauge 6, SW Gauge 7 as shown on as shown on drawing reference: “2112R1v1d220 MCL Monitoring Network December 2020” | ### Water level | ### Monthly (unless otherwise agreed with Natural Resources Wales) |  |

| ### Table S4.6 Groundwater- other monitoring requirements |  |  |  |
| --- | --- | --- | --- |
| ### Emission point reference or source or description of point of measurement | ### Parameter | ### Monitoring frequency | ### Monitoring standard or method |
| ### Piezometers P7 to P22 as shown on as shown on drawing reference: “2112R1v1d220 MCL Monitoring Network December 2020” | ### Groundwater Level | ### Monthly | ### Unless otherwise agreed in writing with Natural Resources Wales, monitoring methods used shall be in accordance with Environment Agency document “Guidance on monitoring of landfill leachate, groundwater and surface water” (LFTG N02) |
| ### BH9S, BH9D, BH15S, BH15D, BH16S and BH16D as shown on drawing reference: “2112R1v1d220 MCL Monitoring Network December 2020” | ### Groundwater Level | ### Quarterly |  |
|  | ### pH |  |  |
|  | ### Electrical Conductivity |  |  |
|  | ### Ammoniacal Nitrogen |  |  |
|  | ### Cadmium |  |  |
|  | ### Calcium |  |  |
|  | ### Total Alkalinity |  |  |
|  | ### Chloride |  |  |
|  | ### Arsenic |  |  |
|  | ### Sodium |  |  |
|  | ### Fluoride |  |  |
|  | ### Nitrate |  |  |
|  | ### Nitrite |  |  |
|  | ### Phosphate |  |  |
|  | ### Boron |  |  |
|  | ### Potassium |  |  |
|  | ### Molybdenum |  |  |
|  | ### Selenium |  |  |
|  | ### Vanadium |  |  |
|  | ### Mercury |  |  |
|  | ### Chromium | ### Annually |  |
|  | ### Copper |  |  |
|  | ### Iron |  |  |
|  | ### Lead |  |  |
|  | ### Zinc |  |  |
|  | ### Magnesium |  |  |
|  | ### Sulphate |  |  |
|  | ### Organohalogens (volatile organic compounds) |  |  |
|  | ### Semi-volatile organic compounds |  |  |

| ### Table S5.1 Reporting of monitoring data |  |  |  |
| --- | --- | --- | --- |
| ### Parameter | ### Emission or monitoring point/reference | ### Reporting period | ### Period begins |
| ### Landfill Gas Surface Emissions ### Parameters as required by condition 3.5.1. | ### Points specified in table S4.1 | ### Every 3 months | ### 09/10/09 |
| ### Emissions to water (other than sewer) and land ### Parameters as required by condition 3.5.1 | ### Points specified in table S4.2 and S4.3 | ### Every 6 months | ### 09/10/09 |
| ### Landfill gas monitoring ### Parameters as required by condition 3.5.1 | ### Points specified in table S4.4 | ### Every 3 months | ### 09/10/09 |
| ### Surface water monitoring ### Parameters as required by condition 3.5.1 | ### Points specified in table S4.5 | ### Every 3 months | ### 09/10/09 |
| ### Groundwater monitoring ### Parameters as required by condition 3.5.1 | ### Points specified in table S4.6 | ### Every 3 months | ### 09/10/09 |

Schedule 3 – conditions to be added

None