
[image: image1.wmf]Waste management licence 

Environmental Protection Act 1990

D.I.EVANS & SONS

Cilmaenlwyd Civic Amenity Site,

Ceredigion

Authorisation number

EAWML34204

Effective date

1st November 2002

Contents 

iiiIntroduction

Status log
iv
Authorisation
1
Conditions
2
1
General considerations
2
2
Site engineering for pollution prevention and control
11
3
Site infrastructure
15
4
Site operations
17
5
Pollution control, monitoring and reporting
23
6
Amenity management and reporting
24
7
Site records
26
8
Interpretation
28
Appendices to conditions
33
Rights of appeal
36

Introduction

This note does not form part of the authorisation.

This licence is granted under Section 35 of the Environmental Protection Act 1990. It consists of the authorisation certificate, the site plan and subsequent conditions. 

The licence is written to prevent the authorised activities causing pollution of the environment or harm to human health.

You are reminded that it is an offence under Section 33 of the Environmental Protection Act 1990 not to comply with the terms of this licence.

This licence does not free you from the need to comply with any other regulatory regimes controlled by other bodies (such as planning or environmental health etc).

The Agency is required to maintain an up to date copy of this licence on the public register which is freely available to anyone wishing to view it.

If you wish to transfer or surrender the licence, or modify any of its conditions, you cannot do so without the consent of the Agency. Further advice can be obtained on these issues or any other aspect of the licence from your local Environment Agency office.

Status log

	Detail
	Date
	Comment

	Licence  Issued EA WML 34204
	1/11/02
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	




	Authorisation


Environmental Protection Act 1990

Waste management licence

Authorisation Number 

EAWML34204
Facility type

Transfer Station

The Environment Agency, in pursuance of Part II of the Environmental Protection Act 1990, hereby grants a waste management licence authorising the

Keeping and treating of waste

of controlled waste on the land specified below, to 

Elfed Evans, Janet Mary Evans, Nerys Mair Evans, Lowri Mair Evans
 those persons being in occupation of the said land, and subject to the conditions specified in this licence.

The licence relates to the land at Civic Amenity Site, Cilmaenllwyd, Ceredigion (hereinafter called ‘the site’) shown edged red on the drawing, reference number DIE/CCC/1, and attached to this licence.

This Authorisation shall have effect from:

1st November 2002

Signed

	


Gareth Jones
Team leader -  Environment Management – South West Wales
Date of signing

	


Conditions

The headings and paragraphs on the following pages have been inserted as examples to show you the intended format of the licence. Please paste in the headings and conditions you require from the waste management library of conditions and delete any headings you do not need.

1 General considerations

1.1 Specified waste management operations 

1.1.1 No waste management operations shall be authorised by this licence unless:

a specified in and undertaken in accordance with the  limitations in section WP/1.1 of the working plan and in the following table; or 

b otherwise required by the conditions of this licence as being an integral part of those operations:

	Table 1.1   Specified waste management operations

	Specified Waste Management Operation
	Permitted Waste Types which may be subject to the Specified Operation
	Limits on  Specified Waste Management  Operations

	1. Storage (D15 and R13) pending disposal or recovery
	1. All categories specified under condition 1.2.1 of this waste management licence.

2. Cement bonded (26.01.00) asbestos

3. Waste refrigeration equipment


	I. The maximum total quantity of inert waste stored on the site at any one time shall not exceed those quantities specified in appendix D of the working plan.

II. The maximum total quantity of mixed waste stored on the site at any one time shall not exceed those quantities specified in appendix D of the working plan. 

III. The maximum storage time for degradable and inert waste shall not exceed the storage times specified in Section WP/1.1 of the working plan.

IV. Waste shall only be stored within designated skips, drums and tanks upon an impermeable pavement in accordance with drawing DIE/CIL/5.

V. All skips, drums and tanks being used to store wastes shall remain covered or undercover when the site is closed or unmanned to prevent the escape of their contents and the ingress of water.

VI. All areas, skips, drums or tanks being used to store wastes shall be clearly labelled to identify the wastes stored within them.

I. The maximum total quantity of Bonded asbestos stored on the site at any one time shall not exceed 10 tonnes.

II. Asbestos waste shall only be stored in a sealed and lockable container of durable manufacture

i) Stored  prior to treatment for a period of up to 3 months on areas of impermeable pavement  provided in accordance with condition 2.1

ii) Stored after treatment on hardstanding or impemeable pavement provided in accordance with condition 2.1

iii) The maximum total quantity of waste refrigeration equipment stored on site at any one time shall not exceed those quantities specified in appendix D of the working plan.




Specified Waste Management Operations and Exempt Waste Management Operations

1.1.2 Where wastes are being brought onto the site for waste management operations which are exempt from licensing under the 1994 Regulations, then the wastes which are subject to the specified waste management operations shall be kept clearly segregated and identified from those wastes which are being kept on the site for the exempt waste management operations.

1.2 Permitted wastes
Permitted categories and types of wastes
1.2.1 No wastes other than those which are both categorised below in Table 1.2 and specified in detail in section WP/ 1.2 of the working shall be accepted at the site.

Permitted quantities of wastes

1.2.2 The quantities of wastes accepted shall not exceed those listed in Table 1.2A and specified in detail in section WP/1.1 of the working plan.  Whilst complying with the maximum quantities specified for each type of waste, the total quantity of waste accepted at the site per year shall not exceed 4,999 tonnes.

	Table 1.2.A  Permitted quantities of  waste

	Permitted Waste Categories

(Waste Categories Wales)
	Maximum Permitted Quantities

(tonnes/year)



	1. Inert wastes (21A and 21B)


	I. Subject to maximum storage capacities specified in Table 1.1

	2. Special Wastes (in categories 22-32)


	Not permitted except for:

I. Bonded Asbestos subject to maximum storage capacities specified in Table 1.



	3. Degradable Household Wastes (22A and 22C) 


	I. Subject to maximum storage capacities specified in Table 1.

	4. Other wastes:

                (Categories 25 to 32)


	Not Permitted, except for

I. Hazardous household waste subject to maximum storage capacities specified in Table 1.1 and detailed in section WP/4 [301]

II. Halogenated hydrocarbons contained within waste household electrical appliances subject to maximum storage capacities specified in Table 1.1




Exclusion of Special Waste Types With Specified Hazard Characteristics

[NOTE:
This sub-condition is not necessary when the relevant waste types are not permitted under 1.2.1.]

1.2.3 Notwithstanding the specification of permitted waste types under condition 1.2.1, special wastes shall not be accepted which have any of the following specified characteristics:

 [Use table to specify necessary exclusions, where these are relevant to the specified waste management operations and not adequately specified in the working plan, taking into account the risk assessment.  Delete unnecessary rows.]

	Table 1.2.B  Excluded wastes of specified form and type

	Waste Characteristic
	Type

	1. Form and Type:
	Consisting solely or mainly of 

I. Powders

II. Sludges

III. Loose fibres



	2. Form of containers and degree of mixing within containers:
	IV. Unmarked sealed drums




1.3 Staffing and understanding of requirements of licence conditions and working plan
Minimum staffing and supervision

1.3.1 Whenever the site is open to receive or despatch waste, or is carrying out any of the specified waste management treatment or disposal operations, it shall be supervised [Note on this insert:  only use where information on management structure and staffing is given in working plan, but this is an optional section and so should only require prior notification of amendments, not Agency consent] by at least one member of staff who is suitably trained and fully conversant with the requirements of the licence and the working plan regarding:

a waste acceptance and control procedures;

b operational controls and environmental monitoring;

c maintenance;

d record-keeping;

e emergency action plans;

f notifications to the Agency.

Availability of licence and working plan

1.3.2 A copy of this licence and the working plan shall  be kept available on site for reference when required by all site staff carrying out work under the requirements of the licence.

Understanding of licence and working plan

1.3.3 All site staff shall be, or shall work under the direct supervision of a member of staff who is, fully conversant with those aspects of the licence conditions and working plan which are relevant to their specific duties.

1.4 Changes in technically competent persons
1.4.1 Any changes in the technically competent management of the site and the name of any incoming person [Insert only for WAMITAB-covered sites] [together with evidence that such person has the required technical competence] shall be submitted to the Agency in writing within 5 working days of the change in management.  Technically competent management and technical competence shall be as defined under section 74 of the Environmental Protection Act 1990 and Regulations 4 and 5 of the 1994 Regulations.

1.5 Relevant convictions

Notification of relevant convictions

1.5.1 In the event of the Licence Holder and/or any relevant person being convicted of any relevant offence and which is in addition to any already notified to the Agency, then full details shall be provided to the Agency within 14 days  following sentencing, whether or not the conviction or sentence is subsequently appealed.  Such details shall include, in respect of each relevant person (as defined in section 74(7) of the Environmental Protection Act 1990 or any subsequent amendments to that section), the nature of the offence, the place and date of conviction, and any fine or other penalty imposed.

Notifications of appeals against convictions

1.5.2 In the event that the Licence Holder and/or any relevant person lodges an appeal against any such conviction or sentence, the Licence Holder shall notify the Agency of this within 14 days of the lodging.  The Licence Holder shall notify the Agency of the results of that appeal, within 14 days of the appeal being decided.

1.6 Maintenance of financial provision
[Condition for maintenance where the provision was in place at the time the licence was granted]

1.6.1 The financial provision for meeting the obligations under this Licence set out in the agreement made between the Licence Holder and the Agency dated 1st November 2002 and detailed in Appendix D of the working plan, shall be maintained by the Licence Holder throughout the subsistence of this Licence. The Licence Holder shall produce evidence of such provision whenever required by the Agency.

 [Condition for use where the proposals for financial provision are known but the applicant has not yet established the fund (e.g. cases where the applicant wishes to avoid having to pay prematurely for the costs on a bond).]

1.7 Amendments to working plan and supporting information

Amendments to working plan requiring prior consent from the Agency 

1.7.1 The Licence Holder shall give the Agency prior notice in writing of any proposed change to those sections of the working plan which are specified in Table 1.7 below, and to any appendices, drawings and figures which are referenced in those sections.

 [Note for Agency users (to be deleted from finalised condition):

The table must be Quality Assured prior to issue so as to ensure that all relevant and necessary sections are specified.

The table must include all sections of the working plan which are referenced within the other conditions, except where it is considered that the potential effects on environmental risk of changing the risk management systems specified in the working plan are such that they can be adequately regulated through the more relaxed control of prior notification.  The table may include relevant supporting information such as operating procedures, Construction Quality Assurance Plans, etc, as necessary and appropriate to ensuring that the objectives of the relevant licence conditions will be met.  This is a key set of requirements and should be considered carefully by the officer drafting the conditions.

Referencing of a working plan section, and its listing in the table, implies approval by the Agency of those sections of the working plan as necessary and enforceable standards under the Licence conditions.  This means that those sections must meet the same criteria as conditions under WMP4; i.e. they must provide the necessary information, they must be comprehensive, they must be clear and unambiguous to the users (including the Agency), and they must be sufficient to enable site staff to understand the relevant requirements and to comply with the relevant conditions.  If any section does not meet these criteria, then it should not be referenced, and the default requirements should be specified.] 

	Table 1.7  Sections of working plan requiring prior consent for amendments

	Number and Heading of Working Plan Sections and Appendices


	Sections, Subsections and Appendices requiring Prior Consent for Amendments

	Section 1 General Considerations
	WP/1.1, WP/1.2

	Section 4 Site Operations
	WP/4[140], WP/4.[151], WP/4 [210], WP/4[230], WP/4[301]

	Section 6 Amenity Management
	WP/6[.010], WP/6[020], WP/6[040], WP/6[050]

	Section 7 Site Records
	WP/7.1

	Appendices
	D

	Drawing Numbers
	DIE/CIL/3, DIE/CIL/5, DIE/CIL/6


1.7.2 The notice shall be accompanied by a copy of the proposed changes, and by a written assessment of the effect that implementing the proposed change to the working plan would have on the risk posed by the site to human health and the environment. 

1.7.3 The Licence Holder shall provide up to 6 additional copies of the proposed change and supporting risk assessment to the Agency, when required by the Agency in writing.

1.7.4 The proposed change to the working plan shall not be implemented unless the Agency has given its written consent to it.  Following consent, the Licence Holder shall give the Agency prior written notification of the implementation date of the change, and from that date the changed section shall be deemed to be incorporated in the working plan in replacement of the previous version of that section.

Amendments to the working plan requiring prior notification to the Agency

1.7.5 Except where it is specified under condition 1.7.1 above that the amendment of specified sections of the working plan requires the prior consent of the Agency, the Licence Holder shall give the Agency not less than 7 days prior written notice of any change to the working plan and to any appendices, drawings and figures which are referenced from those sections.

1.7.6 The notice shall be accompanied by a copy of the specified changes.  

1.7.7 The Licence Holder shall provide up to 6 additional copies of the proposed change to the Agency, when required by the Agency in writing.

1.7.8 Such changes to the working plan shall be deemed to be incorporated in the working plan and implemented on the date specified to the Agency in the amendment notification.

1.8 Notification of change of operator’s or holder’s details
1.8.1 The following information shall be notified in writing within 5 working days to the Agency:

a where the Licence Holder is an individual or named individuals:

i where the Licence Holder consists of more than one named individual, the death of any of those individuals;

ii any change in the Licence Holder’s name(s) or address(es);

iii any steps taken with a view to the Licence Holder, or any one of them, going into bankruptcy, entering into a composition or arrangement with creditors, or, in the case them being in a partnership, dissolving the partnership;

iv the operator at the time of issue of the licence and of any change in the operator or in the operator’s trading name, address, registered name or registered office address (if different from the Licence Holder);

b where the Licence Holder is a registered company:

i any change in the Licence Holder’s trading name, registered name or registered office address;

ii any steps taken with a view to the Licence Holder going into administration, entering into a company voluntary arrangement or being wound up;

iii the operator at the time of issue of the licence and of any change in the operator or in the operator’s trading name, address, registered name or registered office address (if different from the Licence Holder);

c where the Licence Holder is a corporate body other than a registered company:

i any change in the Licence Holder’s name or address;

ii any steps taken with a view to the dissolution of the Licence Holder;

iii the operator at the time of issue of the licence and of any change in the operator or in the operator’s trading name, address, registered name or registered office address (if different from the Licence Holder)

1.9 Notification of preparatory works
1.9.1 No preparatory works shall be undertaken until at least 7 days prior notice in writing has been given to the Agency of the intention to do so.  The notification shall include details of what work is being done and when.

1.10 Notification of commencement, cessation and recommencement of waste handling operations

Specified waste management operations

[Note:  Do not use this sub-condition for existing sites which become licensed.]

1.10.1 No specified waste management operation shall be carried out until at least 7 days prior notice in writing has been given to the Agency of the intention to commence carrying out the specified waste management operation.

Cessation and recommencement of receiving wastes

1.10.2 In the event that the site ceases receiving wastes for longer than 28 days then within 7 days following the elapse of that time, the Licence Holder shall inform the Agency in writing of the date of cessation and of the planned date of recommencement.  In the event that the site recommences receiving wastes sooner than the notified date then the Licence Holder shall give the Agency not less than 7 days, depending upon nature of site and operations prior notice in writing.

1.11 Notifications and submissions to Agency
1.11.1 Except where otherwise specified, all notifications and submissions to the Agency under the requirements of these licence conditions:

a shall be made in writing to the address specified by the Agency in writing at the time of issue of this licence, or as subsequently specified by written notification to the Licence Holder;

b shall quote the licence reference number and the name of the Licence Holder.

2 Site engineering for pollution prevention and control

2.1 Engineered site containment and drainage systems

Provision and maintenance of site containment and drainage systems

2.1.1 Wastes shall be deposited, stored, treated or otherwise handled in any area of the site, where the engineered site containment and drainage system for that area is provided in accordance with condition 2.1.2.

2.1.2 The engineered site containment and drainage system shall be designed, constructed, inspected, validated and maintained, and shall be fully documented and recorded, to be fit for purpose and to meet the standards specified in Table 2.1 below:

	Table 2.1  Site containment and drainage standards

	Type of Site Containment and Drainage
	Minimum Specified Standards of Design, Construction and Maintenance



	1. Impermeable pavement, bunding and sills
	I. Areas of impermeable pavement and sills shall be maintained so as to prevent the transmission of fluids through the pavement or joints.

II. All areas of impermeable pavement shall fall towards the drainage system to prevent ponding in accordance with the Working Plan drawing number DIE/CIL/3.

III. External slab areas shall be engineered in accordance with the Working Plan drawing number DIE/CIL/6



	2. Drainage systems
	I. All drains shall be inspected daily and maintained so that they remain free from blockages at all times.

II. Sealed sumps shall be inspected no less frequently than daily and after rain, emptied when the collected liquids reach 80% of the capacity of the sump as measured using a dipstick or equivalent gauge, and constructed and maintained so as to collect and contain all liquids which run off the pavement;

III. Inspections and emptying of sealed sumps shall be recorded in the site diary.

IV. Uncontaminated drainage from clean yard areas shall be kept separate and discharged to soakaway.

V. A three chamber oil interceptor, which shall have a minimum of six minutes retention time per chamber at its maximum flow rate, shall discharge to foul sewer and shall be inspected no less frequently than daily and after rain, and shall be maintained so as to intercept all liquids which run off the pavement.



	3. Fixed tanks
	I. All fixed tanks used for the storage and treatment of wastes or other potentially polluting materials which are to be used in combination with those wastes in the specified waste management operations must, as the primary or first line of containment, be constructed and maintained to a standard which is fit for purpose, and which meets the following requirements:

II. Storage tanks should be tested to a recognised standard and produced to a quality assurance system complying with ISO 9001 or 9002. Polythene tanks should comply with OFS T100.

III. The tank should be marked with the product type and tank capacity

IV. All fixed tanks (and their associated inlet and outlet pipes and valves) used for the storage of potentially polluting or hazardous wastes in liquid form, or other potentially polluting materials which are to be used in combination with those wastes in the specified waste management operations shall be located within suitable secondary containment (external & internal), and on an impermeable pavement. It shall meet the following specification:

a) No damp course should be provided in any bund or secondary containment wall structure and there should be no drainage outlet. 

b) The bunded area should be capable of containing at least 110% of the volume of the tank or the largest drum.

c) Fill pipes, draw pipes and sight gauges should be enclosed within its curtilage.

	4. Storage areas for skips, drums and other mobile tanks and containers
	I. All skips, drums and other mobile tanks and containers which are used for the storage and treatment of wastes shall be constructed and maintained so that they do not leak any liquids contained in them.

II. In the event of damage or deterioration being detected to any skip, drum or other mobile tank and container that is causing or is likely to cause, a leak, that skip, drum or other mobile tank or container shall be repaired or replaced immediately.

	5. Covered buildings and roofed area
	I. All buildings shall be designed, constructed and maintained to prevent ingress of rain and surface water.

II. Roof water shall be kept separate from contaminated water and other liquids and shall be discharged via surface water drains to soakaway

	6. Inspection and maintenance of engineered containment
	I. All areas of, impermeable pavement,  drainage systems, containers:

i) shall be inspected no less frequently than monthly, to ensure the continuing integrity and fitness for purpose of their construction, and the inspection and any necessary maintenance shall be recorded in the site diary; and

ii) in the event of any damage occurring which breaches the integrity of the engineered containment so that it no longer meets the specified standards, the Licence Holder shall cease importing waste into or treating waste in the affected area, shall notify the Agency immediately, and shall not recommence importing waste into or treating waste in the affected area until it has been repaired to a standard at least as good as the original specification.

iii)         All repair work (unless otherwise agreed with the agency) shall be subject to construction quality assurance and a validation report shall be submitted to the Agency for approval prior to the reintroduction of waste into the affected area(s)




Construction quality assurance of new site containment and drainage systems

2.1.3 No wastes shall be deposited, stored, treated or otherwise handled in any area or in any fixed tank for which an engineered site containment and drainage system has been newly constructed to meet the requirements of  this condition until:

a details of the identities, relevant experience and relevant qualifications of the personnel who will be providing Quality Assurance of the engineered site containment and drainage systems have been submitted in writing to the Agency and acknowledged in writing by the Agency;

b the engineered site containment and drainage system has been constructed in accordance with section 2 of the working plan and condition 2.1;

c the Validation Report on the construction of the engineered site containment and drainage system has been submitted in writing to the Agency and has been acknowledged in writing by the Agency.

3 Site infrastructure
3.1 Provision of site identification board

3.1.1 No wastes shall be received at the site until an identification board has been provided at or near the site entrance.

3.1.2 The identification board shall be inspected at least once per week.  In the event of damage or defect, the board shall be repaired or replaced within 5 working days.
3.1.3 The board shall be easily readable from outside the site entrance in daylight hours, and shall display the following information:

a Site name and address;

b Licence Holder name (company name, not individual name unless justified as necessary);

c Operator  name (company name, not individual name unless justified as necessary);

d Licence number;

e Emergency contact name and telephone number (for security reasons, personal names and home phone numbers should not be used except where no alternative is practicable.

f Statement that the site is licensed by the Environment Agency;

g Agency national numbers, for General Enquiries (0645 933 111) and Emergencies (0800 807060), or as subsequently notified in writing by the Agency;

h Days and hours site is open to receive waste.

The location of the site identification board should be such that it is clear that it does not designate areas outside the licensed site and does not encourage illegal tipping.

3.2 Site security

3.2.1 Site security systems shall be provided at all times during the subsistence of this licence, the objective of which shall be to prevent access by humans, and livestock, which is not authorised either by the Licence Holder or under legal powers of entry. These shall be installed, operated and maintained, and shall be fully documented and recorded, in accordance with the requirements specified in Table 3.2:

	Table 3.2  Site security system standards

	Site security system


	Specified standards

	1. Timetable of provision


	I. Site security shall be provided prior to commencement of the specified operations.



	2. Design standards


	I. Unless otherwise agreed in writing by the Agency, this shall consist of a chainlink security fence at least 1.8 metres high around the perimeter of the site, which shall meet the standards specified in British Standard BS1722 or an agreed alternative, and shall have a lockable gate to at least the same height and standard at the site access. 



	3. Operational standards


	I. The site shall be kept closed and secure at all times when unattended.



	4. Maintenance standards


	I. The site security shall be fully inspected at the commencement of each working day.  Any defects or damage shall be made secure by temporary repair by the end of the working day, and shall be repaired within 7 working days of the damage being detected.  All inspections, defects, damage and repairs shall be recorded in the site diary.




4 Site operations

4.1 Control of mud and debris
Prevention of mud and debris on road

4.1.1 Whenever the site is receiving or despatching wastes, measures shall be provided, operated and maintained in accordance with section WP/ 4. [140] of the working plan, with the objective of preventing the deposit or tracking of mud or debris arising from the site onto public areas outside the site, which shall include public highways and areas of public access outside the site.

Remediation of mud and debris on road

4.1.2 In the event that mud or debris arising from the site is deposited onto public areas outside the site, the following remedial measures shall be implemented immediately, in accordance with section WP/ 4.[140] of the working plan :

4.2 Potentially polluting leaks and spillages of waste

Potentially polluting leaks and spillages from vehicles, plant and equipment

4.2.1 All vehicles used on the site by the operator, and all plant and all equipment used on the site in connection with specified waste management operations, shall be operated and maintained with the objective of  preventing potentially polluting leaks and spillages of wastes or other potentially polluting materials which are to be used in combination with those wastes in the specified waste management operations.

Control and remediation of leaks and spillages

4.2.2 In the event of any potentially polluting leak or spillage occurring on site, documented control and remediation procedures shall be implemented immediately and recorded, in accordance with section WP/ 4.151 and the standards specified in Table 4.2 below.

	Table 4.2  Standards for prevention and control of leaks and spillages

	Action
	Specified standards

	a) Loading and unloading skips, drums and other mobile containers


	i) Loading and unloading of containers shall be supervised at          all times by a member of staff.

ii) Sheet asbestos shall not be broken up or damaged at the site prior to being placed in the waste container.

iii) Lids/ caps/ bungs or other closures shall be in place during loading/ unloading.

iv) Suitable fibre suppressant and spillage clean up equipment shall be available at the site during the unloading and loading of the waste. 

v) Loading and unloading of waste refrigeration equipment shall be undertaken in a manner to prevent damage.



	b) Inspection and maintenance of containers


	i) Containers for storage of refrigerants and compressors shall be inspected daily for leaks.

ii) Containers found to be leaking either shall be immediately transferred to a larger over-container or shall have their contents immediately transferred to an alternative container.

	c) Filling and emptying skips, drums and other mobile containers


	i) Filling and emptying of containers shall be supervised at all times by a member of staff.

ii) Lids/ caps/ bungs or other closures shall be in place at the end of filling

iii) Containers shall not be filled beyond their operational capacity. 



	d) Control and remediation of leaks and spillages
	i) Minor spillages shall be cleaned up immediately, using sand or proprietary absorbent to clean up liquids.

ii) Major spillages, which are causing or are likely to cause polluting emissions to the environment: 

a) immediate action shall taken to contain the spillage and prevent liquid from entering surface water drains, water courses and unsurfaced ground;

b) the spillage shall be cleared immediately and placed in alternative sealed containers;

c) the Agency shall be informed immediately.




4.3 Fires on the site

Prohibition of fires on site

4.3.1 No wastes shall be burned on the site.

Actions to be taken in the event of a fire

4.3.2 In the event of a fire on the site, notwithstanding the implementation of actions to suppress and extinguish the fire, the following actions shall be implemented immediately and recorded in the site diary:

a the Agency shall be informed immediately of the fire; and

b so far as practicable, contaminated site drainage shall be prevented from entering any surface water drain or water course or unsurfaced ground.

4.4 Waste acceptance and control procedures
Waste acceptance procedures

4.4.1 All wastes shall be received, inspected, accepted or rejected, and recorded in accordance with section WP/4 [210] of the working plan and with the standards specified in Table 4.4 overleaf.
Waste control procedures

4.4.2 All wastes accepted at the site shall be handled, kept and recorded in accordance with section WP/4 [210] of the working plan and with the standards specified in Table 4.4 below.

Waste despatch procedures

4.4.3 All outgoing wastes shall be inspected, despatched and recorded in accordance with section WP/4 [210] of the working plan and with the standards specified in Table 4.4 below.

	Table 4.4 Standards for waste acceptance and control procedures

	Stage of Waste Handling
	Specified standards

	a) Waste inspection


	All wastes received at the site (except for household waste):

i) shall be kept separate from and shall not be covered by or mixed with other wastes until they have been confirmed and recorded for acceptance at the site.



	b) Quarantine storage and rejection of  wastes


	i) Any items of non-permitted waste which are detected after acceptance at the site of the wastes in which they were included, shall be placed immediately in a designated quarantine storage area, bay or container, and, where these are or appear to be special wastes, the Agency shall be informed immediately;

ii) In the quarantine area, wastes shall be kept segregated from other wastes which are or are likely to be incompatible;

iii) A record shall be kept in the site diary of all rejected wastes.



	c) Refrigeration unit pre-treatment
	Unless previously undertaken, all waste refrigeration equipment received at the site,:

i) shall be pre-treated within 48 hours of acceptance.

ii) unless stored in an enclosed building, shall have the door  removed; or

iii) the door seal and latch  removed or rendered inoperative and the door adequately secured to prevent unauthorised opening. 

	d) Inspection of  wastes for despatch
	i) All wastes despatched from the site shall be inspected prior to despatch to confirm their description and composition.



	e) Provision of lighting
	i) There shall be an appropriate provision of lighting on site to ensure adequate supervision of the waste handling activities.

	f) Incompatible wastes


	ii) Incompatible wastes which are likely, in combination with each other or with other material at the facility, to give rise to pollution of the environment or harm to human health outside the site, shall be clearly identified and kept physically separate in designated areas.




4.5 Waste quantity measurement systems
Means of measurement
4.5.1 All wastes accepted at and despatched from the site shall be measured in accordance with section WP/4 [230] of the working plan and with the following requirements:
a The weight of all wastes accepted at and despatched from the site shall be determined by means of  either:
i a public weighbridge designated in the working plan, or a weighbridge or scales located within the site and designated in the working plan site layout plan; and
ii the weighbridge or scales used shall record quantities of wastes in tonnes to an accuracy of  0.01 tonnes; or

iii the conversion of volume to weight in tonnes, using volume/weight conversion factors specified in writing by the Agency. 

4.6 Storage of hazardous household wastes

Hazardous Household waste shall only be stored on the site in accordance with the standards specified in Table 4.6 below:

	Table 4.6 Standards for Storage of hazardous household wastes

	Storage requirements and specified standards



	I. Hazardous household wastes (excluding lead acid batteries) shall be transferred immediately on receipt in to a prescribed container in accordance with sections WP/4[210]b and WP/4[301] of the working plan

II. Lead acid batteries shall be transferred immediately on receipt in to a prescribed container in accordance with section WP/4[301] of the working plan.




4.7 Storage of liquified petroleum gas cyclinders

Nominally empty liquefied petroleum gas (LPG) cylinders shall only be stored on the site in accordance with the standards specified in Table 4.7 below:

	Table 4.7 Standards for Storage of nominally empty liquefied petroleum gas cylinders

	Storage requirement


	specified standards

	1. Nominally empty LPG cylinders shall be stored within a secure and lockable caged area.


	I. All nominally empty LPG cylinders shall be transferred immediately on receipt to a lockable caged area

II. This area shall remain locked when the site is closed or unmanned

III. All nominally empty LPG cylinders should be stored upright with their valves uppermost.


4.8 Storage of Waste Refrigeration Equipment

Waste Refrigeration Equipment shall only be stored on the site in accordance with the standards specified in Table 4.8 below:

	Table 4.8 Standards for Storage of nominally empty liquefied petroleum gas cylinders

	Storage requirement and specified standards



	I. Free storage shall not exceed a maximum  storage height of 3.5 metres or 2 fridge upright units high




4.9 Removal of residual wastes from site
4.9.1 In the event that the specified waste management operations on the site cease and the Agency has reasonable grounds to believe that they will not be resumed within 28 days, then, notwithstanding the operational limits on storage times of wastes specified in the other conditions of this licence, the licence holder shall ensure that all wastes remaining on the site shall be removed by the date specified by the Agency in writing.  This shall include, where required by the Agency, cleaning of plant, equipment and engineered containment used in the specified waste management operations, but shall not only apply to any wastes which have been disposed of on the site in accordance with the other conditions of this licence or prior to the issue of this licence.

5 Pollution control, monitoring and reporting

No conditions necessary under this section

6 Amenity management and reporting

6.1 Control, monitoring and reporting of dusts, fibres and particulates

6.1.1 Measures shall be implemented and maintained throughout the operational life of the site to control and monitor emissions of dusts, fibres and particulates from the site, in accordance with section WP/6[.010] of the working plan.

6.1.2 All emissions to air from the specified waste management operations on the site shall be free from visible concentrations of dusts, fibres or particulates as are likely to cause pollution of the environment  or harm to human health or serious detriment to the amenity of the locality outside the site boundary, as perceived by an authorised officer of the Agency.

6.1.3 In the event that any dusts, fibres or particulates arising from the site are released or are likely to be released onto public areas outside the site boundary in such quantities or concentrations that they are likely to cause pollution of the environment  or harm to human health or serious detriment to the amenity of the locality, the actions specified in section WP/6[.010] of the working plan shall be implemented immediately.

6.2 Control of Odours

6.2.1 Measures shall be implemented and maintained throughout the operational life of the site to control and minimise emissions of odours from the site, in accordance with section WP/6[.020] of the working plan.

6.2.2 All emissions to air from the specified waste management operations on the site shall be free from odours as are likely to cause pollution of the environment  or harm to human health or serious detriment to the amenity of the locality outside the site boundary, as perceived by an authorised officer of the Agency.

6.2.3 In the event that any odours arising from the site are released or are likely to be released onto public areas outside the site boundary in such quantities or concentrations that they are likely to cause pollution of the environment  or harm to human health or serious detriment to the amenity of the locality, the actions specified in section WP/6[.020] of the working plan shall be implemented immediately.

6.3 Control of Scavenging birds and other Scavengers

6.3.1 Measures shall be implemented and maintained throughout the operational life of the site to control and monitor the presence of scavenging birds and other scavengers on the site, in accordance with the standards specified in Table 5.4. The objective of these measures shall be to prevent scavenging birds and other scavengers from gathering on operational areas or scavenging wastes in such numbers that are likely to cause harm to human health or serious detriment to the amenity of the locality.

	Table 5.4 Standards for monitoring and control of scavenging birds and other scavengers

	a) Monitoring of scavengers


	Stored wastes which are likely to attract scavengers shall be routinely monitored for the presence of scavenging animals or flocks of scavenging birds, throughout the working day by the site supervisor.



	b) Scavengers action plan


	i) On detection or notification of scavenging animals or flocks of scavenging birds, immediate action shall be taken to:

· remove or deter them from the site, and

· isolate and secure the wastes attracting the scavengers against further scavenging.

ii) The incident and the remedial action shall be recorded in the site diary.




6.4 Control of pest infestations

6.4.1 Measures shall be implemented and maintained throughout the operational life of the site to control and monitor the presence of pests on the site, in accordance with section WP/6.[040]

6.5 Control of litter

6.5.1 Measures shall be implemented and maintained throughout the operational life of the site, in accordance with section WP/6 [050] of the working plan, to prevent the escape of litter from the confines of the site.

6.5.2 In the event that litter does escape from the site, it shall be retrieved as soon as practicable and no later than the end of the working day.

7 Site records

7.1 Security and availability of records
Security of records

7.1.1 All records which are required to be made under the conditions of this licence and the working plan shall be maintained and kept secure from loss, damage or deterioration, and shall be kept in accordance with section WP/7.1 of the working plan and in accordance with the requirements specified in Table 7.1 below. 

Availability of records

7.1.2 All records which are required to be made under the other conditions of this licence and the working plan shall be made available for inspection at the place where they are kept immediately when required by an authorised officer of the Agency.

	Table 7.1   Standards for keeping of site records

	Site records


	Specified standards



	1. Wastes accepted at the site; Wastes rejected. And/ or                                                                                                                                                                                             despatched from the site; 

               Site diaries.
	I. All records shall be stored either:

           a)  on paper in a secure cabinet or cupboard;                                                                                   or

           b)  on computer disc with a back up copy.

II. Records shall be kept for a minimum of two years.




7.2 Records of waste movements
Recording of wastes accepted and removed

7.2.1 A record shall be kept of all wastes received (other than those wastes delivered by private householders) and of all materials (wastes and recovered materials) removed from the site. The records shall include the following for each vehicle load of waste/material:

for waste received:
a
origin of waste

b
date received

c
quantities in tonnes received and waste type 

d
nature of the waste (solid, liquid or sludge)

for waste/material removed:
e
date removed

f
quantities in tonnes removed and waste and/or material type 

g
destination of waste and/or materials removed

h
nature of the waste and/or materials (solid, liquid or sludge)

Summary of wastes accepted and removed

7.2.2 A summary of the information, including nil returns, shall be submitted to the Agency, in the format specified by the Agency in Appendix A which forms part of this condition.  Summaries shall be for each quarter of the financial year and shall be submitted to the Agency within one month of the end of each quarter.

7.3 Site diary
7.3.1 A site diary shall be kept secure and shall be available for inspection at the site when required by an authorised officer of the Agency.  This shall include a record of the following events:

a construction work

b maintenance

c breakdowns

d emergencies

e problems with waste received and action taken including rejected loads and unauthorised waste consignments.

f site inspections carried out by the operator

g technically competent management attendance on site: the date and the time onto site and the time left site

h despatch of records to the Agency

i severe weather conditions

j complaints about site operations and actions taken

k environmental problems and remedial actions

7.3.2 Each record shall be completed within 24 hours of the relevant event.

8 Interpretation

You can delete terms that are not used in this licence.

In these conditions and their interpretation, unless the context otherwise requires, the following terms have the specified meanings:

“accepted”

for waste being delivered to the site, shall mean accepted as waste input to the site for storage and/or processing and/or disposal under the specified waste management operations;

“authorised officer of the Agency”

means any person(s) authorised in writing by the Agency pursuant to section 108(1) of the 1995 Act to exercise any of the powers specified in subsection (4) of that section;

 “clinical waste”

has the meaning as defined in regulation 1(2) of the Controlled Waste Regulations 1992 or any statutory provisions amending or replacing them;

 “consequences”

for risk assessments carried out within these conditions, means the adverse effects of harm as a result of realising a hazard which cause the quality of human health (other than health and safety of site staff or visitors to the site covered under the Health and Safety at Work Act 1974) or the environment to be impaired in the short or longer term;

 “engineer”

for engineering works specified in these conditions, means a person who works in the relevant branch of engineering, as a qualified professional;

“engineered”

for works specified in these conditions, means carried out and completed using the relevant engineering process specified in these conditions;

 “engineered landfill containment system”

means all elements (other than leachate and landfill gas management systems, and intermediate and final caps), relating to engineered liners for final disposal to land, and incorporating liners for individual cells and the site as a whole, and including methods of liner protection and leakage detection;

 “engineered site containment and drainage system”

means all elements relating to engineered containment of activities on the site, other than final disposal to land, and incorporating site surfacing, bunding and drainage systems, buildings and fixed tanks;

“engineering”

for engineering works specified in these conditions, means the relevant process of design, construction or installation, quality assurance or validation or commissioning specified in these conditions;

 “engineering survey”

means a survey carried out in accordance with recognised or approved standards by a suitably qualified competent person;

 “environmental targets or receptors”

for risk assessments carried out within these conditions, shall mean identified human and environmental populations or components, as specified in these conditions or otherwise agreed by the Agency within these conditions;

 “groundwater”

means any water contained in underground strata;

 “hazard”

means a property or situation that in particular circumstances could lead to harm;

 “immediately”

for carrying out of actions under the conditions, shall mean without delay and within a reasonable time, taking into account any more immediate direct action necessary to prevent or minimise risk to human health and the environment.  For carrying out notifications to the Agency, shall also mean by the fastest effective means available (for example, telephone) and confirmed in writing within 1 working day (or such other time as may be agreed by the Agency within the conditions);

 “inert waste “

means  waste which when disposed of in or on land does not undergo any significant physical, chemical or biological transformation;

 “landfill gas management system”

means all elements relating to landfill gas extraction from individual landfill cells and the landfill mass as a whole, and incorporating methods of landfill gas drainage, containment and the subsequent disposal system, whether it be a methane oxidation system, landfill gas flare, landfill gas engine(s) or otherwise, either on or off the site;

 “leachate management system”

means all elements relating to leachate extraction from individual landfill cells and the landfill mass as a whole, and incorporating methods of leachate drainage, containment and the subsequent treatment and/or disposal system, either on or off the site;

 “maintenance”

for engineering maintenance specified in  these conditions, means the process of inspection, testing, repair of the relevant engineering works specified in these conditions;

 “preparatory works”

means engineering works required prior to the carrying out of the activities authorised by this licence;

 “probability”

means the quantified expression of chance, denoted either as:

· the ratio or percentage of the occurrence of a  particular event as one among a number of possible events; 

· or as the frequency of occurrence of a particular event in a given period of time;

“received”

for waste being delivered to the site, shall mean delivered to the site and undergoing the waste acceptance procedures specified in the working plan, including storage of those wastes during those procedures prior to acceptance of the waste;

 “release pathways”

for risk assessments carried out within these conditions, shall mean the routes by which defined hazards may potentially realise their consequences, defined in terms of releases or emissions from the site that go beyond the site containment or boundary via one or more of the following routes, either directly or indirectly: Land; Groundwater; Surface water; Atmosphere;

“relevant offences”

are offences within the meaning of regulation 3 of the Waste Management Licensing Regulations 1994 or any statutory provisions or regulations amending or replacing them;

“risk”

means a combination of the probability and consequences of occurrence of a defined hazard;

“risk assessment”

means the systematic identification, analysis, estimation and evaluation within a defined scope of the defined risks of a particular activity, operation, process or design, carried out and reported by suitably qualified or competent persons, using recognised quantified or semi-quantified methods and techniques.

Unless otherwise agreed by the Agency within these conditions, a risk assessment shall include and record the following:

· definition of  the hazards associated with an activity, operation, process or design;

· assessment of the probability of those hazards occurring;

· determination of the potential consequences of those hazards for defined environmental targets or receptors, taking into account defined release pathways and defined protective measures;
· evaluation of the potential magnitude of those consequences and the probability of their occurrence;

 “scope of risk assessment”

means the boundaries of the risk assessment and the risks to be assessed within those boundaries, as defined in the conditions or otherwise agreed by the Agency within the conditions;

“special waste”

has the meaning as defined by regulation 2 of the Special Waste Regulations 1996 or any statutory provisions or regulations amending or replacing them;

“specified waste management operations”

means the waste management operations authorised by condition 1.1 of this licence;
 “surface water management system”

means all elements relating to collection of rain water or surface water from individual landfill phases and the landfill site as a whole, and incorporating methods of water collection, containment and the subsequent treatment and/or disposal system, either on or off the site;

“surface water”

means any lake, pond, river or watercourse whether natural or artificial;

“the 1994 Regulations”

 means the Waste Management Licensing Regulations 1994 and any statutory provisions or regulations amending or replacing them.

 “the Agency”

means the Environment Agency;

 “the Licence Holder”

means the Licence Holder specified in this licence or other person to whom the licence has been transferred in accordance with section 40 of the Environmental Protection Act 1990;

“the operator”

means a person who is in occupation of the site and has responsibility for carrying out day to day activities at the site;

“the site”

means the land, structures, plant and equipment to which this licence relates;
 “time periods, e.g. annually, quarterly, monthly, per year, etc. “

Where periods are referred to in conditions, they shall be calculated in the following way:

· annually or per year: 1 April to 31 March;

· quarterly: 1 April to 30 June, 1 July to 30 September, 1 October to 31 December, 1 January to 31 March;

· monthly: calendar month;

· weekly:  Monday to Sunday.

Where the issue of the licence does not coincide with the start of any of these periods, then any relevant limits for the first period shall apply pro rata;

“UK Waste Classification Scheme” or “UKCWS” 

the UK Waste Classification Scheme (Draft 16) or its subsequent replacement;

 “waste”

means controlled waste as defined in section 75(4) of the 1990 Act and the Controlled Waste Regulations 1992 or any statutory provisions or regulations amending or replacing them;

 “working plan”

means the working plan identified in writing by the Agency at the time of issue of this licence and any subsequent amendments to it made in accordance with the conditions of this licence.

Appendices to conditions

Appendix A: Format for summary records of wastes accepted and removed 

Introduction

Your waste management licence condition no. 7.2.2 requires you to provide to the Agency a summary of the records which you must keep of all wastes received and of all waste materials removed from the site.  This set of instructions specifies the format of the summary which is required by the Agency.  A standard form is provided (Ref. WMS1 & WMS3) which you must use when completing summary returns to comply with the licence condition.  Please retain it as a master and photocopy it each time you make a return. An electronic version is available on request.

Waste type and quantity

You are required to identify waste types according to the categories specified in the accompanying list (Ref.00/IB).  This shows how particular waste streams fit in to the classification system.  Most licensed sites will find that they are only dealing with a small number of categories of material and it is worth looking through the list carefully to identify the waste groups that you handle at your site.

Waste quantity needs to be provided in metric tonnes.  A density conversion list is provided to allow bulk loads to be converted to tonnes on sites without weighing equipment.

District of Origin/Destination

You are required to identify the source and destination of the waste by local authority District.  This information can be found from transfer notes, from the driver of the vehicle or maybe within your own record systems if you are operating vehicles yourself.  A list of three letter codes for all the Unitary Authorities in Wales and adjacent English authorities is attached.  The local authority Districts in your immediate area are entered on your site return form, as it is likely that these are the main sources of material entering the site.  Use the code list to add in any extra areas required, or write in the District name in full.

Your Legal Responsibility

Your licence condition requires you to keep a record of each load of waste/material entering your site and each load of waste or reclaimed material leaving the site.  A summary of this information has to be provided to the Agency on a quarterly basis.

Daily site records

For waste/material entering the site you need to record

a the date and time of the movement;

b the district of origin;

c the type and quantity; and

d whether it is solid/liquid or sludge i.e. the physical state of the waste.

For all wastes/materials leaving the site (for either recovery or disposal) you must record

e the date and time of the movement;

f the destination district;

g the type and quantity; and

h whether it is solid/liquid or sludge.

You may be using a record sheet at present, or a ticketing system, and provided this allows you to record all of the information required by the licence condition, this will be an appropriate form.  For those who do not have a suitable system, we have enclosed an example daily record sheet for you to use.
Quarterly Returns

The standard quarterly return form allows small and large sites to describe the wastes and other materials entering and leaving their site. 

Most sites handle a limited range of wastes and only need to complete a relatively small part of the return form.  Inert landfill sites have been supplied with a reduced form that reflects the very limited types of waste they handle.

Although the Agency has asked for quarterly returns, it is advisable for this analysis to be done more frequently: perhaps weekly or monthly.
General Information

The first part of the form is asking for general information to identify the site.  It is also necessary to indicate whether materials are weighed in and out of the site, or whether weights are estimated. 

It is advisable to complete most of this section, other than the quarter and year, prior to photocopying and use this as your master form.

Section 3: Waste received on site

Summarise the information on your daily record system to provide the total amount of waste in each category received from every different District of origin.  Please note that the waste categories are exclusive (i.e. construction wastes should not be included in the category for general mixed industrial wastes). 

Section 4 – Waste removed from site 

You may have a major transfer station producing a large range of sorted waste materials for disposal elsewhere; or an inert landfill site with an occasional load of contrary material that needs to leave the site for disposal elsewhere; or another type of facility where wastes leave your site for final disposal elsewhere. 

Your licence requires you to keep a record of all loads of leaving the site for disposal elsewhere, stating waste type, quantity, state and District of destination.  Use the code sheets to decide which category of waste each load falls into and the District of destination code.

Section 5 – You MUST complete the declaration, and then send the return to your area office within one month following the end of the quarter.

Accompanying documents

The following accompanying documents should be used in association with this set of instructions:

i Waste return form WMS1 and continuation sheet WMS3 (if required).

ii Waste Categories for Wales - Ref. 00/IB (you must use these categories when completing the summary return form)

iii Factors to Convert Waste Volume to Weight (you can use these conversion factors when converting volume to weight)

iv District Codes (you must use these codes when completing the Waste return form WMS1 and continuation sheet WMS3 (if required)).

v
Guidance notes for WMS1 waste return form.
Rights of appeal

Section 43(1) of the Environmental Protection Act 1990 provides that, where except in pursuance of a direction given by The National Assembly For Wales,

· a licence is granted subject to conditions

the applicant may appeal from the decision to The National Assembly For Wales.

Therefore if you feel aggrieved by the decision or any of the conditions to the licence as granted you may obtain the appropriate form on which to give written notice of an appeal from:

The Planning Inspectorate

Crown Buildings

Cathays Park

Cardiff

CF10 3NQ

Tel: 02920 823859

Fax 02920 825150

This notice of appeal should be accompanied by the following information:

· a statement of the grounds of appeal

· a copy of the licence

· a copy of any correspondence relevant to the appeal

· a copy of any other document relevant to the appeal including, in particular, any relevant consent, determination, notice, planning permission, established use certificate or certificate of lawful use or development

· a statement indicating whether you wish the appeal to be in the form of a hearing or on the basis of written representations.

You are also required to serve a copy of your notice of appeal together with copies of any of the above documents that have accompanied your notice of appeal, to the Environment Agency. You should appeal within 6 months of the date that this notice takes effect but The National Assembly For Wales may allow notice of appeal to be given after the expiry of this time period.

Asiantaeth yr Amgylchedd Cymru

Glan Tawe, 154 Ffordd Sant Helen, Abertawe SA1 4DF

Ffon: 01792 645300 Ffacs: 01792 47068

Environment Agency Wales

Glan Tawe, 154 St. Helens Road, Swansea SA1 4DF 

Tel: 01792 645300  Fax: 01792 470068

28
Environment Agency Wales • Authorisation EAWML34204

page iii of iv 

