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	EPR Compliance Assessment Report
	Report ID: 30347/0254219

 


	This form will report compliance with your permit as determined by an NRW officer

	Site
	Atlantic Recycling Limited
	Permit Ref
	30347
EPR-PP3993VS

	Operator/ Permit holder
	Atlantic Recycling Limited
	

	Date
	07/12/2015 
	Time in
	11:30
	Out
	16:00

	What parts of the permit were assessed
	Site drainage procedures

	Assessment
	Procedure review
	EPR Activity:
	Installation
	
	Waste Op
	X
	Water Discharge
	

	Recipient’s name/position
	David Neal-company director

	Officer’s name
	Gareth Danter-Hill, Lara Moggridge & Emma Jones
	Date issued
	18/12/2015


	Section 1 - Compliance Assessment Summary

	This is based on the requirements of the permit under the Environmental Permitting Regulations.  A detailed explanation and any action you may need to take are given in the “Detailed Assessment of Compliance” (section 3).  This summary details where we believe any non-compliance with the permit has occurred, the relevant condition and how the non-compliance has been categorised using our Compliance Classification Scheme (CCS).  CCS scores can be consolidated or suspended, where appropriate, to reflect the impact of some non-compliances more accurately.  For more details of our CCS scheme, contact your local office.

	Permit Conditions and Compliance Summary                    
	Condition(s) breached

	a) Permitted activities 
	1. Specified by permit
	N
	
	

	b) Infrastructure
	1.
Engineering for prevention & control of pollution
	N
	
	

	
	2. Closure & decommissioning
	N
	
	

	
	3.
Site drainage engineering (clean & foul)
	C2
	
	2.1.1;

	
	4. Containment of stored materials
	N
	
	

	
	5. Plant and equipment
	N
	
	

	c) General management
	1. Staff competency/ training
	N
	
	

	
	2. Management system & operating procedures
	C2
	
	1.1.1;

	
	3. Materials acceptance
	N
	
	

	
	4. Storage handling, labelling, segregation
	N
	
	

	d) Incident  management
	1. Site security
	N
	
	

	
	2. Accident, emergency & incident planning
	N
	
	

	e) Emissions

	1. Air
	N
	
	

	
	2. Land & Groundwater
	C2
	
	3.1.1

	
	3. Surface water
	N
	
	

	
	4. Sewer
	N
	
	

	
	5. Waste
	N
	
	

	f) Amenity
	1. Odour
	N
	
	

	
	2. Noise
	N
	
	

	
	3. Dust/fibres/particulates
	N
	
	

	
	4. Pests, birds & scavengers
	N
	
	

	
	5. Deposits on road
	N
	
	

	g) Monitoring and records, maintenance and reporting
	1. Monitoring of emissions & environment
	N
	
	

	
	2. Records of activity, site diary, journal & events
	N
	
	

	
	3. Maintenance records
	N
	
	

	
	4. Reporting & notification
	N
	
	

	h) Resource efficiency
	1. Efficient use of raw materials
	N
	
	

	
	2. Energy
	N
	
	

	KEY:  C1, C2, C3, C4 = CCS breach category ( * suspended scores are marked with an asterisk),
A = Assessed (no evidence of non-compliance), N = Not assessed, NA = Not Applicable, O = Ongoing non-compliance – not scored

	
	
	
	
	

	Number of breaches recorded 
	3
	Total compliance score

(see section 5 for scoring scheme)
	93


	If the Total No Breaches is greater than zero, then please see Section 3 for details of our proposed enforcement response 


	Section 2 – Compliance Assessment Report Detail

	This section contains a report of our findings and will usually include information on:

	· the part(s) of the permit that were assessed (e.g. maintenance, training, combustion plant, etc)

· where the type of assessment was ‘Data Review’ details of the report/results triggering the assessment

· any non-compliances identified 

· any non-compliances with directly applicable legislation 
· details of any multiple non-compliances 
	· information on the compliance score accrued inc. details of suspended or consolidated scores.

· details of advice given
· any other areas of concern 

· all actions requested
· any examples of good practice.

· a reference to photos taken

	This report should be clear, comprehensive, unambiguous and normally completed within 14 days of an assessment.




	The site was visited by Gareth Danter-Hill, Lara Moggridge and Emma Jones. Lloyd Howells accompanied us from Atlantic Recycling Limited. The reason for the attendance on site was that a discharge was seen leaving ground and entering the drainage ditch. The water seen leaving the ground had a black discolouration to it and the bank had been stained black also. In addition to this, leachate contaminated water was seen entering the drainage ditch from an unpermitted source. The channel that leads from the new infrastructure on field 1 is yet to be added to the permit. This has been advised in the past. The discharge from the trial biological treatment was also entering the ditch from an unpermitted point. 

Formal samples were taken by Emma Jones and witnessed by Lloyd Howells. A sample receipt was provided to the site and its record number is LPR016 02677. A Notice of Powers and Rights was also issued and its record number is LPR08 01592.
 

Pollution to ground is a serious offence and NRW will now consider what enforcement action to take with regards this offence.

 

B3 Infrastructure - Site Drainage Engineering (clean & foul) Category 2 breach of permit condition 2.1.1

 

This breach has been scored for the lack of a sealed drainage system on site. The infrastructure on site has been sub-standard and not fit for purpose for some time now and you have been breached for this in the past (CAR ID 30347/0252600, CAR ID 30347/0250120, CAR ID 30347/0243886, CAR ID 30347/0239749). NRW has highlighted areas across the site where leachate is pooling and collecting outside of the drainage channel on inadequate infrastructure increasing the risk of ground pollution.  Officers witnessed black liquid exiting and staining the banking of the drainage ditch on the outskirts of the site and collecting in the receiving water. This is unacceptable and is the result of a poor site management.

 

ACTION: Please ensure that all infrastructure on site is fit for purpose and repaired/replaced ensuring that the drainage system is sealed and so avoiding the risk of pollution to ground and surface waters. This is the reason for the requirement of the permit condition.
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C2- Management - Management Systems & Operating Procedures Category 2 breach of permit condition 1.1.1

 

Operations at Atlantic Recycling Limited are completely failing to be implemented in line with the procedures identified within the written management system. This has been identified as the root cause for the breaches within this CAR form and for the failings within them. Within IMS16-02-Site Management Manual it states the storage requirements for each waste type accepted onto the permit, many of which include the requirement for an impermeable surface with sealed drainage. IMS09-Maintenance & Calibration includes a section that details the maintenance requirements for Infrastructure such as concrete and tarmac pavements, culverts and ditches, reception areas and processing areas shall take place. This is detailed as weekly and daily defect check lists. These checks are clearly not being carried out or if they are carried out, not acted upon to an extent that is required to ensure that the infrastructure is compliant and ultimately the environment is protected.

 

ACTION: Site implementation of the management system needs to be improved dramatically to ensure that the activities on site to not give rise to further pollution of the environment or impact upon human health.

 

E2- Emissions - Land and Groundwater Category 2 breach of permit condition 3.1.1

 

This breach has been scored for the actual pollution of the land/ground at Atlantic Recycling Limited. Your permit states that there shall be no point source emissions to water, air or land except from where the sources and emission points listed in schedule 3 tables S3.1, S3.2 and S3.3. Within these tables, no point source emission to ground is permitted and so no ground pollution would be expected across the site or leaving the site if the waste was being managed in the correct way. Ground pollution is very serious and permit conditions are put in place to prevent this environmental harm. 

 

ACTION: Please implement better and more efficient systems on site to ensure that ground pollutions do not continue or occur again. The effects of these pollutions can be long lasting and severe.
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Other points to note:

 

When on site NRW noticed that the amount of sea gulls and other birds on site had increased again. The reason for this in the past was the acceptance of food waste onto site. Please ensure that waste acceptance procedures are effective and that waste loads are checked before accepted on to site.

 

Also, the pumping of water from where stockpile 1 was being stored was also causing the drainage culvert to become overwhelmed. Please be mindful to monitor the capacity of the channel and adjust the flows accordingly.

 

We did notice that the waste that was stored off infrastructure known as stockpile 1 has now been moved onto the infrastructure on field 1. A future inspection of the site will be carried out soon to formally check compliance of the Regulation 36 Notice.
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	EPR Compliance Assessment Report
	Report ID: 30347/0254219


	This form will report compliance with your permit as determined by an NRW officer

	Site 
	Atlantic Recycling Limited
	Permit
	30347

	Operator/ Permit
	Atlantic Recycling Limited
	Date
	07/12/2015


	Section 3- Enforcement Response
	Only one of the boxes below should be ticked

	You must take immediate action to rectify any non-compliance and prevent repetition. 
Non-compliance with your permit conditions constitutes an offence and can result in criminal prosecutions and/or suspension or revocation of a permit.  Please read the detailed assessment in Section 2 and the steps you need to take in Section 4 below.

	Other than the provision of advice and guidance, at present we do not intend to take further enforcement action in respect of the non-compliance identified above.  This does not preclude us from taking enforcement action if further relevant information comes to light or advice isn’t followed.
	

	In respect of the above non-compliance you have been issued with a warning. At present we do not intend to take further enforcement action. This does not preclude us from taking additional enforcement action if further relevant information comes to light or offences continue.
	

	We will now consider what enforcement action is appropriate and notify you, referencing this form.
	X


	Section 4- Action(s) 

	Where non-compliance has been detected and an enforcement response has been selected above, this section summarises the steps you need to take to return to compliance and also provides timescales for this to be done.

	Criteria Ref.
	CCS Category
	Action Required/Advised 
	Due Date 

	See Section 1 above 
	
	

	B3
	C2
	Improve on site drainage systems
	01/01/2016

	C2
	C2
	Ensure actions and inspections of drainage ditch are carried out in line with the IMS.
	21/12/2015

	E2
	C2
	Prevent all ground emissions and pollution by implementing an effective management system.
	18/12/2015


	Section 5 - Compliance notes for the Operator
	
	Section 6 – General Information

	To ensure you correct actual or potential non-compliance we may
( advise on corrective actions verbally or in writing 

( require you to take specific actions in writing 

( issue a notice
( require you to review your procedures or management system
( change some of the conditions of your permit

( decide to undertake a full review of your permit
	
	Data protection notice
The information on this form will be processed by the Natural Resources Wales (NRW) to fulfill its regulatory and monitoring functions and to maintain the relevant public register(s). The NRW may also use and/or disclose it in connection with:

(  offering/providing you with its literature/services relating to environmental matters

(  consulting with the public, public bodies and other organisations (e.g. Health and Safety Executive, local authorities) on environmental issues

(  carrying out statistical analysis, research and development on environmental issues

(  providing public register information to enquirers

(  investigating possible breaches of environmental law and taking any resulting action

(  preventing breaches of environmental law

(  assessing customer service satisfaction and improving its service

(  Freedom of Information Act/Environmental Information Regulations request.

The NRW may pass it on to its agents/representatives to do these things on its behalf. You should ensure that any persons named on this form are informed of the contents of this data protection notice.

	Any breach of a permit condition is an offence and we may take legal action against you.
( We will normally provide advice and guidance to assist you to come back into compliance either after an offence is committed or where we consider that an offence is likely to be committed. This is without prejudice to any other enforcement response that we consider may be required.

( Enforcement action can include the issue of a formal caution, prosecution, the service of a notice and or suspension or revocation of the permit. 

See our Enforcement and Civil Sanctions guidance for further information
	
	

	This report does not relieve the site operator of the responsibility to 

( ensure you comply with the conditions of the permit at all times and prevent pollution of the environment
( ensure you comply with other legislative provisions which may apply.
	
	

	Non-compliance scores and categories
	
	Disclosure of information

The NRW will provide a copy of this report to the public register(s).  However, if you consider that any information contained in this report should not be released to the public register(s) on the grounds of commercial confidentiality, you must write to your local area office within twenty working days of receipt of this form indicating which information it concerns and why it should not be released, giving your reasons in full.

	CCS category
	Description
	Score
	
	

	C1
	A non-compliance which could have a  major environmental effect
	    60
	
	

	C2
	A non-compliance which could have a significant environmental effect
	31
	
	

	C3
	A non-compliance which could have a  minor environmental effect
	     4
	
	Customer charter
What can I do if I disagree with this compliance assessment report?
If you are unable to resolve the issue with your site officer, you should firstly discuss the matter with the officer’s line managers.  If you wish to raise your dispute further through our official Complaints and Commendations procedure, phone our general enquiry number  0300 065 3000 (Mon to Fri 08.00–18.00) and ask for the Customer Contact team or send an email to enquiries@naturalresourceswales.gov.uk.  If you are still dissatisfied you can make a complaint to the Public Services Ombudsman for Wales.   For advice on how to complain to the Ombudsman phone their helpline on 0845 607 0987.

	C4
	A non-compliance which has no potential environmental effect
	    0.1
	
	

	Operational Risk Appraisal (Opra) - Compliance assessment findings may affect your Opra score and/or your charges. This score influences the resource we use to assess permit compliance.
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