ST MERRYN FOODS, MERTHYR, PERMIT NUMBER BK1759

ANNUAL SUMMARY REPORT ON EMS PROGRESS FOR 2014
“Where the Operator has a formal environmental management system applying to the permitted installation which encompasses annual improvement targets the Operator shall, not later than 31st January in each year, provide a summary report of the previous year’s progress against such targets”.

Section 4.1.3 of StMM Merthyr’s IPPC permit requires this summary report of the previous year’s (2013) performance against the targets set in section SEPM02.19 of the site EMS.

The summary is based on the areas identified in section SEPM02.19; 

Utility usage

StMM aims to run as energy efficiently as possible. In 2014 improvements were initiated in order to make this possible;

· All new or replacement equipment purchased is of the most efficient type available, taking budgets into account.

· Bulk chemical storage containers have been installed, enabling safer storage of ETP chemicals.

· Lower energy lighting (LED, ~60% energy reduction) was installed in many areas of the factory. These units also feature flexible diffusers, less prone to breakage.

· A new blood storage system has been installed, order to maximise efficiency and limit odours.
· Planning for a site wide SCADA system has begun, aiming to monitor, by sub metering, utility usage across the site.

Odour complaints

Given the close proximity to a number of receptors, StMM aims to minimise odour emissions, in order to minimise complaints. There were 2 complaints recorded, 1 which was unsubstantiated. StMM will continue to take odours seriously, and will continue to employ the current odour control measures.

An extensive odour survey of the site has been undertaken, by an external consultancy, with results expected early 2015.
Effluent sampling results

· Results from effluent sampling at the discharge point have been logged all year, and have given good results on a consistent basis. The DAF unit continued to perform well, and a new source of Ferric Chloride was being used, and had improved performance further.
General site maintenance and improvementS

As part of the IPPC permit, StMM was required to carry out a number of improvements. StMM have also initiated other improvements which were not required under IPPC.

· New group wide dedicated environmental team has been established to effectively manage the site’s environmental matters.

· New spill kits had been purchased and located around the site, as the existing ones had become damaged and used up.

