[image: image1.jpg]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales





	Notice of request for more information

	Environmental Permitting (England and Wales) Regulations 2016






Notice requiring further information 
To: Mr Mathew Griffiths
Gowerton STW
Victoria Road

Gowerton

Swansea

SA4 3AB

Application number: PAN-004465
Natural Resources Wales, in exercise of its powers under paragraph 4 of Part 1 of Schedule 5 of the above Regulations, requires you to provide the information detailed in the attached schedule. The information is required in order to determine your application for a permit, dated 21/01/2019.  The information requested should be sent to the following address by 17/06/2019.
Information should be sent to: 

Wales Permitting Centre
Natural Resources Wales
Cambria House
29 Newport Road
Cardiff
CF24 0TP
	Name
	Date

	Elliot Burge


	17/05/2019


Authorised on behalf of Natural Resources Wales
Schedule

1. Please specify under what specific circumstances the emergency short sea outfall will be utilised.
2. Explain what mitigating measures are in place to minimise the impacts from any emergency discharges.
3. Provide details regarding the telemetry alarm system and what happens when the alarm is raised.
4. Outline the contingency measures that are in place to avoid/minimise effluent being discharged from the short-sea outfall.
5. Explain how NRW will be informed if an emergency situation is triggered.
Ffôn/Tel

03000654884
Ebost/Email
Elliot.Burge@cyfoethnaturiolcymru.gov.uk 



Elliot.Burge@naturalresourceswales.gov.uk

Canolfan Trwyddedu Cymru (Caerdydd), Cyfoeth Naturiol Cymru, Tŷ Cambria, 29 Heol Casnewydd, Caerdydd. CF24 0TP

Wales Permitting Centre (Cardiff), Natural Resources Wales, Cambria House, 29 Newport Road, Cardiff. CF24 0TP

Gwefan/Website
www.cyfoethnaturiolcymru.gov.uk 

Croesewir gohebiaeth yn y Gymraeg a'r Saesneg

www.naturalresourceswales.gov.uk 

Correspondence welcomed in Welsh and English

Page 2 of 3

Page 3 of 3

[image: image1.jpg]