Permit Number: 	PAN-012070		           Operator: 		Aneurin Bevan University Health Board

Facility:	The Grange University Hospital, Caerleon Road, Llanfrecfa, Cwmbran, NP44 8YN 	Form Number: 	 Air1 / xx/xx/xxxx

# Reporting of emissions to air for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission # Limit Value [5] | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Emission Point A1 – Common Windshield NGR: ST 31228 94935 Monitoring point A1a – CHP Engine Duct | Oxides of nitrogen (NO and NO2 expressed as NO2) | 95 mg/m3 | In line with EA TGN M5 |  | EA TGN M5 |  |  |
|  | Carbon Monoxide | No limit set |  |  |  |  |  |
| Emission Point A1 – Common Windshield NGR: ST 31228 94935 Monitoring point A1b – Hoval Boiler 1 Duct | Oxides of nitrogen (NO and NO2 expressed as NO2) | 100 mg/Nm3 | In line with EA TGN M5 |  | EA TGN M5 |  |  |
|  | Carbon Monoxide | No limit set |  |  |  |  |  |
| Emission Point A1 – Common Windshield NGR: ST 31228 94935 Monitoring point A1c – Hoval Boiler 2 Duct | Oxides of nitrogen (NO and NO2 expressed as NO2) | 100 mg/m3 | In line with EA TGN M5 |  | EA TGN M5 |  |  |
|  | Carbon Monoxide | No limit set |  |  |  |  |  |
| Emission Point A1 – Common Windshield NGR: ST 31228 94935 Monitoring point A1d – Hoval Boiler 3 Duct | Oxides of nitrogen (NO and NO2 expressed as NO2) | 100 mg/m3 | In line with EA TGN M5 |  | EA TGN M5 |  |  |
|  | Carbon Monoxide | No limit set |  |  |  |  |  |
| Emission Point A1 – Common Windshield NGR: ST 31228 94935 Monitoring point A1e – Hoval Boiler 4 Duct | Oxides of nitrogen (NO and NO2 expressed as NO2) | 100 mg/m3 | In line with EA TGN M5 |  | EA TGN M5 |  |  |
|  | Carbon Monoxide | No limit set |  |  |  |  |  |
|  | Carbon Monoxide | No limit set |  |  |  |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

- Monitoring requirements are defined at a temperature of 273.15 K, a pressure of 101.3 kPa and after correction for the water vapour content of the waste gases at a standardised O2 content of 6% for solid fuels, 15 % for engines and gas turbines and 3 % for all other MCPs.

Signed …………………………………………………………….  		Date………………………..