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Natural Resources Wales permitting decisions


Synthite Limited
Alyn Works, Denbigh Road, Mold, Flintshire, CH7 1BT




Natural Resources Wales permitting decisions

Standard rule permit 

We have decided to grant the variation too add a new stationary Medium Combustion Plant (to SR2018No7) at Alyn Works site operated by Synthite Limited. 
The permit number is BU2349IL.
We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.


Purpose of this document

This decision document:
· explains how the application has been determined
· provides a record of the decision-making process
· shows how all relevant factors have been taken into account.


Structure of this document

· Key issues 
· Annex 1 the decision checklist

Key issues of the decision 
Application Information 
[bookmark: _GoBack]Synthite Limited have added a standard rules MCP within their current installation boundary as a result of this variation, under SR2018 No 7 ‘New, Low Risk, Stationary Medium Combustion Plant 1 and < 20MWth (in operation after 20/12/2018)’. The MCP consists of one 1.5 MWth (rated thermal input) natural gas fuelled Boiler, used for the purposes of heating oil. The MCP is excluded from Specified Generator controls (EPR Schedule 25B) as it does not generate electricity. All the standard rule criteria for SR2018 No 7 have been met in the application. There was no requirement to carry out a consultation on this application as it is not located within an AQMA.

Annex 1: decision checklist 
This checklist should be read in conjunction with the Duly Making checklist the application and supporting information and permit/notice.


	Aspect
	Justification / Detail
	Criteria met

	
	
	Yes

	Receipt of submission

	Standard rules criteria met
	The application meets the criteria for the standard rules identified in Part B of the application form.

	

	Advertising

	Responses to web publicising
	The responses to web publicising (Annex 2) were taken into account in the decision.  The decision was taken in accordance with our guidance.
	 N/A

	Sustainable Management of Natural Resources (SMNR)

	Considerations of SMNR - Compliance with our General Purpose
	We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources.
	

	The site

	Extent of the site of the facility 

	The operator has provided an address and grid reference which we consider is satisfactory. The operator is required to carry out the permitted activities at this address / grid reference only.
	

	Environmental Management Plan

	The operator has provided a plan which we consider is satisfactory.
	

	Operator competence

	Technical competence
	Technical competency is required for activities permitted in the standard rule set.

	

	Relevant Convictions

	Our Enforcement Database has been checked to ensure that all relevant convictions have been declared.  
	

	Financial competence
	There is no known reason to consider that the operator will not be financially able to comply with the standard rules.  

The decision was taken in accordance with RGN 5 on Operator Competence.
	





 Annex 2: Not applicable
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