Permit with introductory note

The Environmental Permitting (England & Wales) Regulations 2016
FCC Construccion S A, UK Branch Office
Site Drainage Treatment System Serving A465 Section 5 and 6 Dowlais Top to Hirwaun 
Afon Cynon 

Croesbychan 

Nant Melyn East

Culvert 5969 

Nant Hir Bridge 

Baverstock South 

Swansea Road 

Dowlais East Discharge 

Dowlais West Discharge 

Hirwaun

Aberdare

CF44 9HR
Permit number

EPR/CB3697FR

Site Drainage Treatment System Serving A465 Section 5 and 6 Dowlais Top to Hirwaun

Afon Cynon, Croesbychan, Nant Melyn East, Culvert 5969, Nant Hir Bridge, Baverstock South, Swansea Road, Dowlais East Discharge, Dowlais West Discharge


Permit Number EPR/CB3697FR
Introductory note

This introductory note does not form a part of the permit

The permit regulates the discharge of rainfall dependent site drainage and dewatering of excavations during road construction along the A465 at 9 locations. Treated runoff and excavation waters will be discharged at a maximum rate of 13.8 l/s to the Afon Cynon, Afon Taf and the Afon Rhymni. Treatment at all sites consists of settlement lagoons followed by chemical settlement using flocculants and coagulants. Chemical settlement will take place using an onsite Siltbuster treatment system. 
Numeric limits have been put in place for aluminium (1 mg/l), suspended solids (25 mg/l) and a neutral range of 6-9 has been imposed for pH at each discharge site. 
The status log of the permit sets out the permitting history, including any changes to the permit reference number.
	Status log of the permit

	Description
	Date
	Comments

	Application 
PAN-017140
	Duly made 24/05/2022
	Application for discharge of trade effluent consisting of site drainage and excavation waters.

	Additional information received
	28/09/2022
	Updates made to application regarding number of sites, monitoring points and treatment method.

	Permit determined

EPR/CB3697FR
	03/10/2022
	Permit issued to FCC Construccion S A, UK Branch Office


End of introductory note

	Permit


The Environmental Permitting (England and Wales) Regulations 2016
Permit number 

EPR/CB3697FR 

The Natural Resources Body for Wales (“Natural Resources Wales”) authorises, under regulation 13 of the Environmental Permitting (England and Wales) Regulations 2016 
FCC Construccion S A, UK Branch Office (“the operator”),

whose registered office is
239 High Street Kensington

London 

W8 6SN
company registration number FC031636

to operate a water discharge activity at

A465 Section 5 and 6 Dowlais Top to Hirwaun 
· Afon Cynon 
· Croesbychan 

· Nant Melyn East

· Culvert 5969 

· Nant Hir Bridge 

· Baverstock South 

· Swansea Road 

· Dowlais East Discharge 

· Dowlais West Discharge 

Hirwaun

Aberdare

CF44 9HR

to the extent authorised by and subject to the conditions of this permit.

	 Name
	Date

	Melissa Broad
	03/10/2022


Authorised on behalf of Natural Resources Wales
Conditions 

1 Management
1.1 General management

1.1.1 The operator shall manage and operate the activities:

(a) in accordance with a written management system that identifies and minimises risks of pollution, including those arising from operations, maintenance, accidents, incidents, non-conformances and those drawn to the attention of the operator as a result of complaints; and

(b) using sufficient competent persons and resources.
1.1.2 Records demonstrating compliance with condition 1.1.1 shall be maintained. 

1.1.3 Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of it kept at or near the place where those duties are carried out.

2
Operations
2.1
Permitted activities

2.1.1
The operator is only authorised to carry out the activities specified in schedule 1 table S1.1 (the “activities”). 

2.2
The site 

2.2.1
The activities shall not extend beyond the sites, being the land shown edged in green and the discharges shall be made at the point marked on the site plans at schedule 7 to this permit and as listed in table S3.2 (discharge points). 

2.3
Operating techniques

2.3.1
(a)
The activities shall, subject to the conditions of this permit, be operated using the techniques and in the manner described in the documentation specified in schedule 1, table S1.2, unless otherwise agreed in writing by Natural Resources Wales.


(b)
If notified by Natural Resources Wales that the activities are giving rise to pollution, the operator shall submit to Natural Resources Wales for approval within the period specified, a revision of any plan or other documentation (“plan”) specified in schedule 1, table S1.2 or otherwise required under this permit which identifies and minimises the risks of pollution relevant to that plan, and shall implement the approved revised plan in place of the original from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

3
Emissions and monitoring
3.1
Emissions to water

3.1.1
There shall be no point source emissions to water except from the sources and emission points listed in schedule 3.

3.1.2
The limits given in schedule 3 shall not be exceeded.

3.2 Emissions of substances not controlled by emission limits

3.2.1 Emissions of substances not controlled by emission limits (excluding odour) shall not cause pollution. The operator shall not be taken to have breached this condition if appropriate measures, including, but not limited to, those specified in any approved emissions management plan, have been taken to prevent or where that is not practicable, to minimise, those emissions.

3.2.2
The operator shall:

(a)
if notified by Natural Resources Wales that the activities are giving rise to pollution, submit to Natural Resources Wales for approval within the period specified, an emissions management plan which identifies and minimises the risks of pollution from emissions of substances not controlled by emission limits;

(b)
implement the approved emissions management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

3.2.3
All liquids in containers, whose emission to water or land could cause pollution, shall be provided with secondary containment, unless the operator has used other appropriate measures to prevent or where that is not practicable, to minimise, leakage and spillage from the primary container.

3.3
Monitoring 

3.3.1
Permanent means of access shall be provided to enable sampling/monitoring to be carried out in relation to the emission points specified in schedule 3 tables S3.1, S3.2 and S3.3 unless otherwise agreed in writing by Natural Resources Wales.

4
Information

4.1
Records
4.1.1 All records required to be made by this permit shall:

(a) be legible;

(b) be made as soon as reasonably practicable;

(c) if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and

(d) be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 6 years from the date when the records were made.
4.1.2
The operator shall keep on site all records, plans and the management system required to be maintained by this permit, unless otherwise agreed in writing by Natural Resources Wales. 

4.2
Reporting
4.2.1
The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.

4.3
Notifications
4.3.1
Natural Resources Wales shall be notified without delay following the detection of:

(a) any malfunction, breakdown or failure of equipment or techniques, accident, or  emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution;

(b) the breach of a limit specified in the permit; or 

(c) any significant adverse environmental effects.  

4.3.2
Any information provided under condition 4.3.1 shall be confirmed by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.
4.3.3
Where Natural Resources Wales has requested in writing that it shall be notified when the operator is to undertake monitoring and/or spot sampling, the operator shall inform Natural Resources Wales when the relevant monitoring and/or spot sampling is to take place. The operator shall provide this information to Natural Resources Wales at least 14 days before the date the monitoring is to be undertaken.

4.3.4
Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules: 

Where the operator is a registered company:
(a) any change in the operator’s trading name, registered name or registered office address; and

(b)
any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:
(a) any change in the operator’s name or address; and

(b) any steps taken with a view to the dissolution of the operator.

4.3.5
Where the operator proposes to make a change in the nature or functioning, or an extension of the activities, which may have consequences for the environment and the change is not otherwise the subject of an application for approval under the Regulations or this permit:

(a)
Natural Resources Wales shall be notified at least 14 days before making the change; and


(b)
the notification shall contain a description of the proposed change in operation. 

4.4
Interpretation
4.4.1
In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.

4.4.2
In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “without delay”, in which case it may be provided by telephone. 

Schedule 1 - Operations 

	Table S1.1 Activities

	Activity reference
	Description of activity
	Limits of specified activity

	A1
	Discharge of trade effluent consisting of excavated waters and site drainage via Afon Cynon Discharge Point
	N/A

	A2


	Discharge of trade effluent consisting of excavated waters and site drainage via Croesbychan Discharge Point
	

	A3
	Discharge of trade effluent consisting of excavated waters and site drainage via Nant Melyn East Discharge Point
	

	A4
	Discharge of trade effluent consisting of excavated waters and site drainage via Culvert 5969 Discharge Point
	

	A5
	Discharge of trade effluent consisting of excavated waters and site drainage via Nant Hir Bridge  Discharge Point
	

	A6
	Discharge of trade effluent consisting of excavated waters and site drainage via Baverstock South Discharge Point
	

	A7
	Discharge of trade effluent consisting of excavated waters and site drainage via Swansea Road Discharge Point
	

	A8
	Discharge of trade effluent consisting of excavated waters and site drainage via Dowlais East Discharge Point
	

	A9
	Discharge of trade effluent consisting of excavated waters and site drainage via Dowlais West Discharge Point
	


	Table S1.2 Operating techniques

	Activity reference
	Description of documentation
	Parts
	Date Received

	A1
	PAN-017140 NRW Management Plan 28/09/2022
	All
	28/09/2022

	A2
	
	
	

	A3
	
	
	

	A4
	
	
	

	A5
	
	
	

	A6
	
	
	

	A7
	
	
	

	A8
	
	
	

	A9
	
	
	


Schedule 2 - Waste types, raw materials and fuels

Wastes are not accepted as part of the permitted activities and there are no restrictions on raw materials or fuels under this schedule.

Schedule 3 – Emissions and monitoring

	Table S3.1 Point Source emissions to water (other than sewer) – emission limits and monitoring requirements

	Discharge source and discharge point ref. & location
	Parameter  
	Limit (including unit)
	Reference Period
	Limit of effective range
	Monitoring frequency
	Compliance Statistic

	A1 -Discharge of trade effluent consisting of excavated waters and site drainage via Afon Cynon Discharge Point
	Maximum rate of discharge
	13.8 litres per second
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	
	Suspended solids (measured after drying at 105o C)
	25 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum 

	
	pH
	6 to 9
	Instantaneous (spot sample)
	N/A
	N/A
	Minimum and maximum

	
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	N/A
	No significant trace

	
	Total Aluminium as Al
	1000 ug/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	A2 -Discharge of trade effluent consisting of excavated waters and site drainage via Croesbychan Discharge Point
	Maximum rate of discharge
	13.8 litres per second
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	
	Suspended solids (measured after drying at 105o C)
	25 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum 

	
	pH
	6 to 9
	Instantaneous (spot sample)
	N/A
	N/A
	Minimum and maximum

	
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	N/A
	No significant trace

	
	Total Aluminium as Al
	1000 ug/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	A3 -Discharge of trade effluent consisting of excavated waters and site drainage via Nant Melyn East Discharge Point
	Maximum rate of discharge
	13.8 litres per second
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	
	Suspended solids (measured after drying at 105o C)
	25 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum 

	
	pH
	6 to 9
	Instantaneous (spot sample)
	N/A
	N/A
	Minimum and maximum

	
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	N/A
	No significant trace

	
	Total Aluminium as Al
	1000 ug/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	A4 -Discharge of trade effluent consisting of excavated waters and site drainage via Culvert 5969 Discharge Point
	Maximum rate of discharge
	13.8 litres per second
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	
	Suspended solids (measured after drying at 105o C)
	25 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum 

	
	pH
	6 to 9
	Instantaneous (spot sample)
	N/A
	N/A
	Minimum and maximum

	
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	N/A
	No significant trace

	
	Total Aluminium as Al
	1000 ug/l 
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	A5 -Discharge of trade effluent consisting of excavated waters and site drainage via Nant Hir Bridge  Discharge Point
	Maximum rate of discharge
	13.8 litres per second
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	
	Suspended solids (measured after drying at 105o C)
	25 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum 

	
	pH
	6 to 9
	Instantaneous (spot sample)
	N/A
	N/A
	Minimum and maximum

	
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	N/A
	No significant trace

	
	Total Aluminium as Al
	1000 ug/l 
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	A6 -Discharge of trade effluent consisting of excavated waters and site drainage via Baverstock South Discharge Point
	Maximum rate of discharge
	13.8 litres per second
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	
	Suspended solids (measured after drying at 105o C)
	25 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum 

	
	pH
	6 to 9
	Instantaneous (spot sample)
	N/A
	N/A
	Minimum and maximum

	
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	N/A
	No significant trace

	
	Total Aluminium as Al
	1000 ug/l 
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	A7 -Discharge of trade effluent consisting of excavated waters and site drainage via Swansea Road  Discharge Point
	Maximum rate of discharge
	13.8 litres per second
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	
	Suspended solids (measured after drying at 105o C)
	25 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum 

	
	pH
	6 to 9
	Instantaneous (spot sample)
	N/A
	N/A
	Minimum and maximum

	
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	N/A
	No significant trace

	
	Total Aluminium as Al
	1000 ug/l 
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	A8 -Discharge of trade effluent consisting of excavated waters and site drainage via Dowlais East Discharge Point
	Maximum rate of discharge
	13.8 litres per second
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	
	Suspended solids (measured after drying at 105o C)
	25 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum 

	
	pH
	6 to 9
	Instantaneous (spot sample)
	N/A
	N/A
	Minimum and maximum

	
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	N/A
	No significant trace

	
	Total Aluminium as Al
	1000 ug/l 
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	A9 -Discharge of trade effluent consisting of excavated waters and site drainage via Dowlais West Discharge Point
	Maximum rate of discharge
	13.8 litres per second
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	
	Suspended solids (measured after drying at 105o C)
	25 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum 

	
	pH
	6 to 9
	Instantaneous (spot sample)
	N/A
	N/A
	Minimum and maximum

	
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	N/A
	No significant trace

	
	Total Aluminium as Al
	1000 ug/l 
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum


	Table S3.2 Discharge points

	Effluent Names
	Discharge Point
	Discharge point NGR
	Receiving water/Environment



	Discharge of trade effluent consisting of excavated waters and site drainage 
	Afon Cynon Discharge Point
	SN 96788 05314
	Afon Cynon

	Discharge of trade effluent consisting of excavated waters and site drainage
	Croesbychan Discharge Point
	SN 97743 05563
	Afon Cynon

	Discharge of trade effluent consisting of excavated waters and site drainage
	Nant Melyn East Discharge Point
	SN 97937 06242
	Afon Cynon

	Discharge of trade effluent consisting of excavated waters and site drainage
	Culvert 5969 Discharge Point
	SN 98432 06633
	Afon Cynon

	Discharge of trade effluent consisting of excavated waters and site drainage
	Nant Hir Bridge Discharge Point
	SN 98946 06988
	Afon Cynon

	Discharge of trade effluent consisting of excavated waters and site drainage
	Baverstock South Discharge Point
	SO 00036 06815
	Afon Cynon

	Discharge of trade effluent consisting of excavated waters and site drainage
	Swansea Road Discharge Point
	SO 01451 07307
	Afon Taf

	Discharge of trade effluent consisting of excavated waters and site drainage
	Dowlais East Discharge Point
	SO 08537 08631
	Afon Rhymni

	Discharge of trade effluent consisting of excavated waters and site drainage
	Dowlais West Discharge Point
	SO 07668 08201
	Afon Rhymni


	Table S3.3 Monitoring points

	Effluents and discharge points
	Monitoring type
	Monitoring point NGR
	Monitoring point reference

	A1 -Discharge of trade effluent consisting of excavated waters and site drainage via Afon Cynon Discharge Point
	Effluent sampling
	SN 96760 05284
	Afon Cynon Sampling Point

	A2 -Discharge of trade effluent consisting of excavated waters and site drainage via Croesbychan Discharge Point
	Effluent sampling
	SN 97735 05549
	Croesbychan Sampling Point

	A3 -Discharge of trade effluent consisting of excavated waters and site drainage via Nant Melyn East Discharge Point
	Effluent sampling
	SN 97966 06243
	Nant Melyn East Sampling Point

	A4 -Discharge of trade effluent consisting of excavated waters and site drainage via Culvert 5969 Discharge Point
	Effluent sampling
	SN 98418 06555
	Culvert 5969 Sampling Point

	A5 -Discharge of trade effluent consisting of excavated waters and site drainage via Nant Hir Bridge  Discharge Point
	Effluent sampling
	SN 98985 06969
	Nant Hir Bridge Sampling Point

	A6 -Discharge of trade effluent consisting of excavated waters and site drainage via Baverstock South Discharge Point
	Effluent sampling
	SO 00021 06989
	Baverstock South Sampling Point

	A7 -Discharge of trade effluent consisting of excavated waters and site drainage via Swansea Road  Discharge Point
	Effluent sampling
	SO 01453 07312
	Swansea Road Sampling Point

	A8 -Discharge of trade effluent consisting of excavated waters and site drainage via Dowlais East Discharge Point
	Effluent sampling
	SO 08537 08631
	Dowlais East Sampling Point

	A9 -Discharge of trade effluent consisting of excavated waters and site drainage via Dowlais West Discharge Point
	Effluent sampling
	SO 07668 08201
	Dowlais West Sampling Point


Schedule 4 – Reporting

There is no reporting under this schedule.

Schedule 5 - Notification 

These pages outline the information that the operator must provide. 

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A 
	Permit Number
	EPR/CB3697FR

	Name of operator
	

	Location of Facility
	A465 Section 5 and 6 Dowlais Top to Hirwaun 
Afon Cynon

Croesbychan

Nant Melyn East

Culvert 5969

Nant Hir Bridge

Baverstock South

Swansea Road

Dowlais East Discharge

Dowlais West Discharge 
Hirwaun, Aberdare, CF44 9HR

	Time and date of the detection 
	


	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution

	To be notified within 24 hours of detection

	Date and time of the event
	

	Reference or description of the location of the event 
	

	Description of where any release into the environment took place
	

	Substances(s) potentially released
	

	Best estimate of the quantity or rate of  release of substances
	

	Measures taken, or intended to be taken, to stop any emission
	

	Description of the failure or accident.
	


	(b) Notification requirements for the breach of a limit

	To be notified within 24 hours of detection unless otherwise specified below

	Emission point reference/ source
	

	Parameter(s)
	

	Limit
	

	Measured value and uncertainty
	

	Date and time of monitoring
	

	Measures taken, or intended to be taken, to stop the emission
	


	Time periods for notification following detection of a breach of a limit

	Parameter
	Notification period

	
	

	
	

	
	


	(c) Notification requirements for the detection of any significant adverse environmental effect

	To be notified within 24 hours of detection

	Description of where the effect on the environment was detected
	

	Substances(s) detected
	

	Concentrations of substances detected
	

	Date of monitoring/sampling
	


Part B - to be submitted as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	

	The dates of any unauthorised emissions from the facility in the preceding 24 months.
	


	Name*
	

	Post
	

	Signature
	

	Date
	


* authorised to sign on behalf of the operator
Schedule 6 - Interpretation 

“accident” means an accident that may result in pollution.

“annually” means once every year.
“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

“emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the activities, which are not controlled by an emission or background concentration limit.
“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2016 No.1154 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.

“groundwater” means all water, which is below the surface of the ground in the saturation zone and in direct contact with the ground or subsoil.
“Natural Resources Wales” means the Natural Resources Body for Wales established by article 3 of the Natural Resources Body for Wales (Establishment) Order 2012. The Natural Resources Body for Wales (Functions) Order 2013 transferred the relevant functions of the Countryside Council for Wales, and functions of the Environment Agency and the Forestry Commission in Wales to the Natural Resources Body for Wales.  
“quarter” means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.

“year” means calendar year ending 31 December.

Schedule 7 - Site plans
[image: image1.png]EYEEE_perywain

wyryais
Cony-Gygon

—_—

0 o5 fkm

Mynyidy.

Onliyn

-
D %
)
£
~ /3‘27(:
\ Liyydcoed
e,
msnan\\
S Seriinn Aot
sade
A

ar)i

S I

- )
i
o Gellided)
Chdiogwr

Wineh Fawr Heolgermig

gy Galn-ichar Dovias TN
D
MR

Mynyad,
Aberdar

Cum O e aubor Newydd

I

U |
Abrcanaid

Ngbercanait

et Pennar

6

¥

Mertiyr
Comman 2
Mhymyd :
Giech sl /

/
/

Contains OS data ® Crown Copyri




© Crown Copyright and database right 2022. Ordnance Survey licence number 100019741.
Afon Cynon
[image: image2.png]Afon Cynon
Drainage features in place at lowest points of excavations, sumps
connected via pump system to over pump to permanent pond.
Siltbuster treatment to be present for treatment where required
direct discharge back into Afon Cynon

Surface Runoff

Drainage / pump water

Temporary Bund

Pond / Sump

Siltbuster

Siltbuster flow

Erosion protected batter





Croesbychan

[image: image3.png]Run Off

Permanent
Drainage

Existing Stream

Siltbuster inlet /
outlet

Siltbuster

Filter system
teram and chip

Section 2 (Croesbychan)
All permanent drainage has been insf ong with highway
pond.
Runoff controls are send to permanent design for highway whilst
u nstruction
Existing water cours rs same drainage and pond system
Pond atten ith outfall to Nant Hir
Small pumping operation if require, instruction to pump to
manhole as system will carry to highway pond





Nant Melyn East

[image: image4.png]Nant Melyn East
1 Permanent drainage in place, this takes both highway drainage
and existing water course to river along with treated waters from
excavation

2. Bottom line drainage in place to take all runoff to lower sump
which is pumped back to pond system for Siltbuster treatment

should it be required
. Surface Runoff

Siltbuster / River

- Drain

Siltbuster flow

Highway drainage





Culvert 5969

[image: image5.png]Permanent Filter
Drain

Permanent Drainage
Flow

Surface Water Flow

Temporary control
Drian

New Road

Outlet of pond

Silt Trap

Culvert 5969
1. Permanent drainage in place, hydro seeded and erosion control,
outfall to pond system as part of permanent design
. Lower drainage feature install for control of fill operation and fall to

pond system
. Outfall t passive to silt trap, ai floc to be added should it
been n for of block inlet to soak away matting





Nant Hir Bridge
[image: image6.png]Drainage pipe
to pond

Pumped water
direction

Drainage Sumps

Runoff Flow

Siltbuster flow

Siltbuster

Nant Hir Bridge
All permanent foundations have been installed, drainage sumps
located at 2 levels
Drainage sumps are daisy chained due to vertical climb, waters are
pumped direct to under crossing within road drainage pipe.
Drainage pipe free flow to pond system with 3 weir attenuation
and Siltbuster treatment
Discharge to permanent outfall grass land with flow to Nant Hir
Faces have been soil nailed for prevention of falling debris and
erosion along with shot Crete finish on vertical face





Baverstock South

[image: image7.png]Erosion protected batter
an run off

Permanent drainage
utilised for dewatering

Clean run off

Siltbuster

Siltbuster flow

Existing waty

Baverstock South
Permanent drainage in place, teams if required shall pump
ions to drainage

Clean water from dirty kept separate to allow existing water to
flow on its course
Batters of road have been sealed for erosion protection, clean run

expected (x amount shall join clean x amount join “dirty” drain
due to fall)
All permanent drainage designed to flow direct to pond from
north uth and treated where required





Swansea Road

[image: image8.png]Existing Water
Ditch

Siltbuster flow

Drain direction

Sump / Po

Surface run off

Siltbuster
Temporary Block

Road Track

Swansea Road
Drainage features in place for natural flow with cross pipe section to
main pond for treatment where required
Discharge to existing road crossing, which flows direct on course via
existing drainage vegetation to Nant Ffrwd
Existing drain is left to run, should this get cross contaminated it
shall be blocked and over pumped to main settlement

Note — box culvert in drawing is not active




Dowlais East 
[image: image9.png]Dowlais East

A465 S5&6 - Master Water Management Plan
Dowlais West To Dowlais East Tie In- Ch16+100 To 17+200

R

Existing pipe

Stone bund around
mine treatment area
(low end). Gulies to
besesled and
drainage pipes and
services clearly
marked
Unsutable material
oo
7

Outputinto

diverted into
permanent works o
pumped directly from
siteto avoid

Japanese Knotweed
Storage

contamination.

Reference.—Dowlais West To Dowlais East Tie In Revision No.- IFC Date.- 28/4/22





Dowlais West Discharge 

[image: image10.png]Dowlais West

A465 S5&6 Master Water Management Plan

Future Valley ructios
Dowlais Reservoir To Dowlais West -Ch15+400 To 16+100 :‘ ‘;.m ithCymoeddy LI,_,‘_U:.

Note. Wherepossible
Al clean vater entering.
site clean to be
divented into
permanent works or
pumped directy from

siteto avoid
contamination.

Highuay
Drain
Outfall

ing instaled
Fungi
reocation area

Reference.— Dowlais Reservoir To Dowlais West Date.- 28/4/22





Culvert 5969





Nant Melyn East





Dowlais West





Dowlais East





Swansea Road





Baverstock South





Nant Hir Bridge





Croesbychan





Afon Cynon





Afon Cynon Sampling Point





Afon Cynon Discharge Point





Croesbychan Discharge Point





Croesbychan Sampling Point





Nant Melyn East Discharge Point





Nant Melyn East Sampling Point





Culvert 5969 Sampling Point





Culvert 5969 Discharge Point





Nant Hir Bridge Sampling Point





Nant Hir Bridge Discharge Point





Baverstock South Discharge Point





Baverstock South Discharge Point





Swansea Road Sampling Point





Swansea Road Discharge Point





Dowlais East Samplng Point





Dowlais East Discharge Point





Dowlais West Samplng Point





Dowlais West Discharge Point








	Permit Number EPR/CB3697FR
	  Page 15 of 1
-  -
- 15 -
- 15 -15 
	



