Permit Number: 
JP3239ST



Operator: 

The County council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number:
Reporting Of Ground Water monitoring for the period for June 2018
	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C1


	Am Nitrogen


	N/A


	June- 2018
	30.0
	INORG-L12
	22-06-2018

	-

	C1


	Cadmium


	1 ug/l 
	June- 2018
	-
	1450
	22-06-2018
	-

	C1


	Nickel
	0.22 ug/l


	June- 2018
	-
	METALS-L
	22-06-2018
	-

	C1


	Chloride
	TBA


	June- 2018
	26.9
	INORG-L13
	22-06-2018
	-

	C1


	MP Xylene


	1 ug/l 
	June- 2018
	-
	1760
	22-06-2018
	-

	C1


	Mecoprop


	0.1 ug/l 
	June- 2018
	-
	ORL-L17
	22-06-2018
	-


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C2
	Am Nitrogen


	2.09 mg/l


	June- 2018
	0.09
	INORG-L12
	22-06-2018

	-

	C2
	Cadmium


	1 ug/l 
	June- 2018
	-
	1450
	22-06-2018
	-

	C2
	Nickel


	0.22 ug/l


	June- 2018
	-
	METALS-L
	22-06-2018
	-

	C2
	Chloride


	TBA


	June- 2018
	28.9
	INORG-L13
	22-06-2018
	-

	C2
	MP Xylene


	1 ug/l 
	June- 2018
	-
	1760
	22-06-2018
	-

	C2
	Mecoprop


	0.1 ug/l 
	June- 2018
	-
	ORL-L17
	22-06-2018
	-


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C3
	Am Nitrogen


	8.94 mg/l


	June- 2018
	0.68
	INORG-L12
	22-06-2018

	-

	C3
	Cadmium


	1 ug/l 
	June- 2018
	-
	1450
	22-06-2018
	-

	C3
	Nickel


	0.22 ug/l


	June- 2018
	-
	METALS-L
	22-06-2018
	-

	C3
	Chloride


	TBA


	June- 2018
	21.8
	INORG-L13
	22-06-2018
	-

	C3
	MP Xylene


	1 ug/l 
	June- 2018
	-
	1760
	22-06-2018
	-

	C3
	Mecoprop


	0.1 ug/l 
	June- 2018
	-
	ORL-L17
	22-06-2018
	-


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C4
	Am Nitrogen


	11.4 mg/l
	-
	-
	-
	-
	-

	C4
	Cadmium


	1 ug/l 
	-
	-
	-
	-
	-

	C4
	Nickel


	0.22 ug/l


	-
	-
	-
	-
	-

	C4
	Chloride


	TBA


	-
	-
	-
	-
	-

	C4
	MP Xylene


	1 ug/l 
	-
	-
	-
	-
	-

	C4
	Mecoprop


	0.1 ug/l 
	-
	-
	-
	-
	-


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C5
	Am Nitrogen


	20.87 mg/l
	June- 2018
	7.8
	INORG-L12
	22-06-2018

	-

	C5
	Cadmium


	1 ug/l 
	June- 2018
	-
	1450
	22-06-2018
	-

	C5
	Nickel


	0.22 ug/l


	June- 2018
	-
	METALS-L
	22-06-2018
	-

	C5
	Chloride


	TBA


	June- 2018
	8.2
	INORG-L13
	22-06-2018
	-

	C5
	MP Xylene


	1 ug/l 
	June- 2018
	-
	1760
	22-06-2018
	-

	C5
	Mecoprop


	0.1 ug/l 
	June- 2018
	-
	ORL-L17
	22-06-2018
	-


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C6
	Am Nitrogen


	5.02 mg/l
	June- 2018
	0.70
	INORG-L12
	22-06-2018

	-

	C6
	Cadmium


	1 ug/l 
	June- 2018
	-
	1450
	22-06-2018
	-

	C6
	Nickel


	0.22 ug/l


	June- 2018
	-
	METALS-L
	22-06-2018
	-

	C6
	Chloride


	TBA


	June- 2018
	4.5
	INORG-L13
	22-06-2018
	-

	C6
	MP Xylene


	1 ug/l 
	June- 2018
	-
	1760
	22-06-2018
	-

	C6
	Mecoprop


	0.1 ug/l 
	June- 2018
	-
	ORL-L17
	22-06-2018
	-


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C8
	Am Nitrogen


	12.07 mg/l
	June- 2018
	1.60
	INORG-L12
	22-06-2018

	-

	C8
	Cadmium


	1 ug/l 
	June- 2018
	-
	1450
	22-06-2018
	-

	C8
	Nickel


	0.22 ug/l


	June- 2018
	-
	METALS-L
	22-06-2018
	-

	C8
	Chloride


	TBA


	June- 2018
	3.3
	INORG-L13
	22-06-2018
	-

	C8
	MP Xylene


	1 ug/l 
	June- 2018
	-
	1760
	22-06-2018
	-

	C8
	Mecoprop


	0.1 ug/l 
	June- 2018
	-
	ORL-L17
	22-06-2018
	-


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C10
	Am Nitrogen


	22.62 mg/l


	-
	-
	-
	-
	-

	C10
	Cadmium


	1 ug/l 
	-
	-
	-
	-
	-

	C10
	Nickel


	0.22 ug/l


	-
	-
	-
	-
	-

	C10
	Chloride


	TBA


	-
	-
	-
	-
	-

	C10
	MP Xylene


	1 ug/l 
	-
	-
	-
	-
	-

	C10
	Mecoprop


	0.1 ug/l 
	-
	-
	-
	-
	-


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C12
	Am Nitrogen


	19.49 mg/l 
	June- 2018
	1.2
	INORG-L12
	22-06-2018

	-

	C12
	Cadmium


	1 ug/l 
	June- 2018
	-
	1450
	22-06-2018
	-

	C12
	Nickel


	0.22 ug/l


	June- 2018
	-
	METALS-L
	22-06-2018
	-

	C12
	Chloride


	TBA


	June- 2018
	3.6
	INORG-L13
	22-06-2018
	-

	C12
	MP Xylene


	1 ug/l 
	June- 2018
	-
	1760
	22-06-2018
	-

	C12
	Mecoprop


	0.1 ug/l 
	June- 2018
	-
	ORL-L17
	22-06-2018
	-


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C13
	Am Nitrogen


	25.88 mg/l


	June- 2018
	10.8
	INORG-L12
	22-06-2018

	-

	C13
	Cadmium


	1 ug/l 
	June- 2018
	-
	1450
	22-06-2018
	-

	C13
	Nickel


	0.22 ug/l


	June- 2018
	-
	METALS-L
	22-06-2018
	-

	C13
	Chloride


	TBA


	June- 2018
	10.6
	INORG-L13
	22-06-2018
	-

	C13
	MP Xylene


	1 ug/l 
	June- 2018
	-
	1760
	22-06-2018
	-

	C13
	Mecoprop


	0.1 ug/l 
	June- 2018
	-
	ORL-L17
	22-06-2018
	-


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C14
	Am Nitrogen


	25.88 mg/l


	June- 2018
	27.3
	INORG-L12
	22-06-2018

	-

	C14
	Cadmium


	1 ug/l 
	June- 2018
	-
	1450
	22-06-2018
	-

	C14
	Nickel


	0.22 ug/l


	June- 2018
	-
	METALS-L
	22-06-2018
	-

	C14
	Chloride


	TBA


	June- 2018
	8.1
	INORG-L13
	22-06-2018
	-

	C14
	MP Xylene


	1 ug/l 
	June- 2018
	-
	1760
	22-06-2018
	-

	C14
	Mecoprop


	0.1 ug/l 
	June- 2018
	-
	ORL-L17
	22-06-2018
	-


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C16
	Am Nitrogen


	12.62 mg/l
	June- 2018
	9.8
	INORG-L12
	22-06-2018

	-

	C16
	Cadmium


	1 ug/l 
	June- 2018
	-
	1450
	22-06-2018
	-

	C16
	Nickel


	0.22 ug/l


	June- 2018
	-
	METALS-L
	22-06-2018
	-

	C16
	Chloride


	TBA


	June- 2018
	3.1
	INORG-L13
	22-06-2018
	-

	C16
	MP Xylene


	1 ug/l 
	June- 2018
	-
	1760
	22-06-2018
	-

	C16
	Mecoprop


	0.1 ug/l 
	June- 2018
	-
	ORL-L17
	22-06-2018
	-


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C18
	Am Nitrogen


	18.39 mg/l 
	June- 2018
	0.09
	INORG-L12
	22-06-2018

	-

	C18
	Cadmium


	1 ug/l 
	June- 2018
	-
	1450
	22-06-2018
	-

	C18
	Nickel


	0.22 ug/l


	June- 2018
	-
	METALS-L
	22-06-2018
	-

	C18
	Chloride


	TBA


	June- 2018
	29.7
	INORG-L13
	22-06-2018
	-

	C18
	MP Xylene


	1 ug/l 
	June- 2018
	-
	1760
	22-06-2018
	-

	C18
	Mecoprop


	0.1 ug/l 
	June- 2018
	-
	ORL-L17
	22-06-2018
	-


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C19
	Am Nitrogen


	19.03 mg/l 
	June- 2018
	0.21
	INORG-L12
	22-06-2018

	-

	C19
	Cadmium


	1 ug/l 
	June- 2018
	-
	1450
	22-06-2018
	-

	C19
	Nickel


	0.22 ug/l


	June- 2018
	-
	METALS-L
	22-06-2018
	-

	C19
	Chloride


	TBA


	June- 2018
	13.8
	INORG-L13
	22-06-2018
	-

	C19
	MP Xylene


	1 ug/l 
	June- 2018
	-
	1760
	22-06-2018
	-

	C19
	Mecoprop


	0.1 ug/l 
	June- 2018
	-
	ORL-L17
	22-06-2018
	-


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C20
	Am Nitrogen


	15.4 mg/l


	June- 2018
	2.5
	INORG-L12
	22-06-2018

	-

	C20
	Cadmium


	1 ug/l 
	June- 2018
	-
	1450
	22-06-2018
	-

	C20
	Nickel


	0.22 ug/l


	June- 2018
	-
	METALS-L
	22-06-2018
	-

	C20
	Chloride


	TBA


	June- 2018
	3.0
	INORG-L13
	22-06-2018
	-

	C20
	MP Xylene


	1 ug/l 
	June- 2018
	-
	1760
	22-06-2018
	-

	C20
	Mecoprop


	0.1 ug/l 
	June- 2018
	-
	ORL-L17
	22-06-2018
	-


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C21
	Am Nitrogen


	9.65 mg/l 
	June- 2018
	0.65
	INORG-L12
	22-06-2018

	-

	C21
	Cadmium


	1 ug/l 
	June- 2018
	-
	1450
	22-06-2018
	-

	C21
	Nickel


	0.22 ug/l


	June- 2018
	-
	METALS-L
	22-06-2018
	-

	C21
	Chloride


	TBA


	June- 2018
	5.2
	INORG-L13
	22-06-2018
	-

	C21
	MP Xylene


	1 ug/l 
	June- 2018
	-
	1760
	22-06-2018
	-

	C21
	Mecoprop


	0.1 ug/l 
	June- 2018
	-
	ORL-L17
	22-06-2018
	-


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	C22
	Am Nitrogen


	12.10 mg/l 
	June- 2018
	6.4
	INORG-L12
	22-06-2018

	-

	C22
	Cadmium


	1 ug/l 
	June- 2018
	-
	1450
	22-06-2018
	-

	C22
	Nickel


	0.22 ug/l


	June- 2018
	-
	METALS-L
	22-06-2018
	-

	C22
	Chloride


	TBA


	June- 2018
	3.5
	INORG-L13
	22-06-2018
	-

	C22
	MP Xylene


	1 ug/l 
	June- 2018
	-
	1760
	22-06-2018
	-

	C22
	Mecoprop


	0.1 ug/l 
	June- 2018
	-
	ORL-L17
	22-06-2018
	-


1. The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
2. Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

3. For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

4. The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………Gareth Ffoulkes………………………………….  

Date……………………..       



(Authorised to sign as representative of Operator)

