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Notice of variation and consolidation with introductory note
The Environmental Permitting (England & Wales) Regulations 2016	

Dŵr Cymru Cyfyngedig

Glascoed WTW ‘The Park Discharge’  
Glascoed Water Treatment Works 
Off Glascoed Road 
Abergele 
LL22 9DG


Variation application number
PAN-019467
Permit number
CM0062901


Glascoed WTW ‘The Park Discharge’  
Permit number CM0062901
Introductory note
This introductory note does not form a part of the notice.

The following notice gives notice of the variation and consolidation of an environmental permit.

The variation has changed the OSM sampling location to SH 99556 73653, which brings the chamber on-site.

The schedules specify the changes made to the permit.

The status log of a permit sets out the permitting history, including any changes to the permit reference number.  It is not backdated before 6 April 2010.

	Status log of the permit

	Description
	Date
	Comments

	Application received
PAN-019467
	Duly made
28/09/2022
	Variation requested by DCWW to alter the OSM NGR.

	Variation determined CM0062901
	Issued
09/11/2022
	Varied and consolidated permit issued in modern condition format.




End of introductory note
	Notice of variation and consolidation 


The Environmental Permitting (England and Wales) Regulations 2016

[bookmark: _Hlt13295849][bookmark: OperatorName2]The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2016 varies and consolidates

Permit number
CM0062901

Issued to
Dŵr Cymru Cyfyngedig (“the operator”)

whose registered office is
Linea
Fortran Road
St Mellons
Cardiff
CF3 0LT

company registration number 02366777

to operate a water discharge activity at

Glascoed WTW ‘The Park Discharge’  
Glascoed Water Treatment Works 
Off Glascoed Road 
Abergele 
LL22 9DG

to the extent set out in the schedules.

The notice shall take effect from 09/11/2022.

	Name
	Date

	Emma Jones
	09/11/2022



Authorised on behalf of Natural Resources Wales






Schedule 1 
All conditions have been varied by the consolidated permit as a result of a Natural Resources Wales initiated variation.

Schedule 2 – consolidated permit
Consolidated permit issued as a separate document. 

Variation application:
PAN-019467	Page i
	[bookmark: _Toc77056945]

Permit


The Environmental Permitting (England and Wales) Regulations 2016

Permit number
CM0062901

This is the consolidated permit referred to in the variation and consolidation notice for application PAN-019467 authorising

Dŵr Cymru Cyfyngedig (“the operator”)

whose registered office is
Linea
Fortran Road
St Mellons
Cardiff
CF3 0LT

company registration number 02366777

to operate a water discharge activity at
Glascoed WTW ‘The Park Discharge’  
Glascoed Water Treatment Works 
Off Glascoed Road 
Abergele 
LL22 9DG
to the extent authorised by and subject to the conditions of this permit.

	Name
	Date

	Emma Jones
	09/11/2022



Authorised on behalf of Natural Resources Wales


Conditions
Management
[bookmark: _Ref373938749]General management
[bookmark: _Ref373938830]The operator shall manage and operate the activity:
in accordance with a written management system that identifies and minimises risks of pollution so far as is reasonably practicable, including those risks arising from operations, maintenance, accidents, incidents, non-conformances and those drawn to the attention of the operator as a result of complaints; and
using sufficient competent persons and resources.
Records demonstrating compliance with condition 1.1.1 shall be maintained. 
Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of the permit.
Operations
Permitted activities
The only activity authorised by the permit is the activity specified in schedule 1 table S1.1.
The site 
The discharge activity shall take place at the discharge point marked on the site plan at schedule 7 to this permit, and as listed in table S3.2.
Emissions and monitoring
Emissions to water
The limits given in schedule 3 table S3.1 shall not be exceeded.
Emissions of substances not controlled by emission limits
The operator shall take appropriate measures to minimise so far as reasonably practicable the polluting effects of the emissions of substances in the discharge not controlled by emission limits (excluding odour).
Monitoring 
The operator shall, unless otherwise agreed in writing by Natural Resources Wales, undertake the monitoring specified in the following tables in schedule 3 to this permit:
point source emissions specified in tables S3.1 and S3.3.
The operator shall maintain records of all monitoring required by this permit.
Monitoring equipment, techniques, personnel and organisations employed for the emissions monitoring programme and the environmental or other monitoring specified in condition 3.3.1 shall have either MCERTS certification or MCERTS accreditation (as appropriate), where available, unless otherwise agreed in writing by Natural Resources Wales.
An accessible monitoring point shall be provided and maintained to enable the emissions monitoring programme to be carried out at the monitoring points specified in table S3.3 of schedule 3 and shown marked on the site plans in schedule 7. 
The monitoring programme for the parameters subject to schedule 3B shall be:
pre-scheduled to cover a calendar year and the programme recorded before the start of a calendar year sample period; and
spot samples collected at approximately equal intervals during the year, including samples from different days of the week and different times.  Approximately 10% of samples should be outside the normal sampling window which is 9am-3pm, Monday to Friday.
After becoming aware, or following a notification that a sample has not been taken on the schedule 3B Monitoring Programme pre-scheduled date, or is lost, or a result for that sample cannot be reported, the operator shall record the details and reschedule the sample.
Information
Records
All records required to be made by schedule 3, 4 and 5 to this permit shall:
be legible;
be made as soon as reasonably practicable;
if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and
be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 6 years from the date when the records were made. 
The operator shall maintain convenient access, in either electronic or hard copy, to the records, plan and management system required to be maintained by this permit. 
Reporting
The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.
Within the time period after the end of the reporting period specified in schedule 4 table S4.1 the operator shall, unless otherwise agreed in writing by Natural Resources Wales, submit reports of the monitoring and assessment carried out in accordance with the conditions of this permit, as follows:
in respect of the parameters and monitoring points specified in schedule 4 table S4.1;
for the reporting periods specified in schedule 4 table S4.1 and using the forms specified in schedule 4 table S4.2; and
giving the information from such results and assessments as may be required by the forms specified in those tables.
Notifications
Natural Resources Wales shall be notified as soon as reasonably practicable following detection, within the site of the regulated facility of:
any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution; and
any breach of a limit specified in schedule 3 table S3.1.
any other significant adverse environmental effects, which may have been caused by the activity, shall also be notified to Natural Resources Wales as soon as reasonably practicable following detection.
The information provided under condition 4.3.1 shall be supported by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.
Where Natural Resources Wales has requested in writing that it shall be notified when the operator is to undertake monitoring and/or spot sampling specified in schedule 3B, the operator shall inform Natural Resources Wales when the relevant monitoring and/or spot sampling is to take place. The operator shall provide this information to Natural Resources Wales at least 14 days before the date the monitoring is to be undertaken.
Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules:
Where the operator is a registered company:
any change in the operator’s trading name, registered name or registered office address; and
any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.
Where the operator is a corporate body other than a registered company:
(a) any change in the operator’s name or address; and
any steps taken with a view to the dissolution of the operator.
Where the operator proposes to make a change in the nature of the activity by increasing the concentration of, or the addition of, or allowing the introduction of, a substance to the activity to an extent that the operator considers could have a significant adverse environmental effect on the receiving waters, and the change is not permitted by emission limits specified within schedule 3 table S3.1 or the subject of an application for approval under the EP Regulations or under the terms of this permit:
Natural Resources Wales shall be notified in writing at least 14 days before the increase or addition or allowing the introduction; and
the notification shall contain a description of the proposed change.
Interpretation
In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.
In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “as soon as reasonably practicable”, in which case it may be provided by telephone.


Schedule 1 – Operations 

	Table S1.1 Activities

	Description of activity
	Limits of specified activity

	Discharge of trade effluent via Discharge Point
	N/A

































Schedule 2 – Waste types, raw materials and fuels
Schedule 2 not in use.



Schedule 3 – Emissions and monitoring
	Table S3.1 Point Source emissions to water (other than sewer) – emission limits and monitoring requirements

	Effluents and discharge points
	Parameter  
	Limit (including unit)
	Reference Period
	Limit of effective range
	Monitoring frequency
	Compliance Statistic

	Trade effluent via Discharge Point
	Maximum daily discharge volume
	455 m3/day


	Total daily volume
	N/A                                                                
	Continuous
	 Maximum 

	
	15-minute instantaneous or averaged flow
	No limit set. Record as l/s
	15 minutes
	N/A
	Continuous

	N/A


	
	Suspended solids (measured after drying at 105oC)
	100 mg/l
	Instantaneous (spot sample)
	N/A
	As specified in schedule 3B
	Maximum
 

	
	Total available chlorine
	0.2 mg/l
	Instantaneous (spot sample)
	N/A
	As specified in schedule 3B
	Maximum
 

	
	Aluminium
	0.4 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum
 

	
	pH
	6 to 10
	Instantaneous (spot sample)
	N/A
	As specified in schedule 3B
	Minimum and maximum



	Table S3.2 Discharge points

	Effluent Name
	Discharge Point
	 Discharge point NGR
	Receiving water/Environment

	Trade effluent
	Discharge Point
	SH 99370 74060
	Unnamed tributary of the Sarn Cut



	Table S3.3 Monitoring points

	Effluent and discharge point
	Monitoring type
	Monitoring point NGR
	Monitoring point reference

	Trade effluent via Discharge Point
	Effluent sampling
	SH 99556 73653
	OSM Monitoring Point

	Trade effluent via Discharge Point
	MCERTS flow monitoring
	SH 99528 73657
	MCERTS Flow Monitoring Point




Schedule 3B - OSM tier 2 sampling frequency
	Tier 2 Category
	Parameter
	`Normal frequency` of samples per year 

	Reduced Sampling frequency after 12 consecutive months of numeric permit compliance, samples per year or pro rata over the remainder of a year
	On numeric limit failure return to normal frequency as soon as reasonably practicable, samples per 12 months
	Out of hours samples

	> 5m3/d (but not in tier 3) with numeric limits for ammoniacal nitrogen (expressed as N), nutrients, hazardous pollutants, UWWTR self monitoring
	Sanitary 






Non sanitary
	12






6
	6






6
	12






6
	For 12 samples 1 out of hours sample per annum, for 6, 1 every 2 years on average



	>20 m3/d (but not in tier3) with numeric limits for one or more of biochemical oxygen demand or suspended solids or pH or temperature only.
	Sanitary
	12
	4
	12
	For 12 samples 1 out of hours sample per annum, for 4, 1 every 3 years on average







Schedule 4 – Reporting
Parameters, for which reports shall be made, in accordance with conditions of this permit, are listed below.
	Table S4.1 Reporting of monitoring data

	Parameter
	Monitoring point reference
	Reporting period
	Period begins

	Total daily volume

	Monitoring Points
	Annually
Report to be submitted within 2 months of the end of the calendar year
	1st January

	15-minute flow

	
	Reports to be provided to Natural Resources Wales upon request 
Report to be submitted within 28 days unless otherwise specified in writing by Natural Resources Wales
	Upon request by Natural Resources Wales

	Operator Self-Monitoring - suspended solids (measured after drying at 105oC), total chlorine as Cl, total aluminium as AL and pH
	
	Quarterly
Report to be submitted within 28 days
	1st of month

	Operator Self-Monitoring summary report 
	
	Annually
Report to be submitted within 2 months of the end of the calendar year
	1st January



	Table S4.2 Reporting forms

	Parameter
	Reporting format

	Total daily volume

	WISKI electronic format specified by Natural Resources Wales

	15-minute flow

	WISKI electronic format specified by Natural Resources Wales

	Operator Self Monitoring - suspended solids (measured after drying at 105oC), total chlorine as Cl, total aluminium as Al and pH 
	Quarterly - Electronic format specified by Natural Resources Wales

	Operator Self Monitoring summary report
	Annually - Summary report of compliance with the monitoring programme specified in Table 3.1 and Schedule 3B in a format specified by Natural Resources Wales





Schedule 5 – Notification 
These pages outline the information that the operator must provide. 
Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.
If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.
Part A
	Permit Number
	CM0062901

	Name of operator
	Dŵr Cymru Cyfyngedig

	Location of Facility
	Glascoed WTW ‘The Park Discharge’, Glascoed Water Treatment Works, Off Glascoed Road, Abergele, LL22 9DG

	Time and date of the detection 
	



	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution

	To be notified within 7 days of detection unless otherwise agreed in writing by Natural Resources Wales

	Date and time of the event
	

	Reference or description of the location of the event 
	

	Description of where any release into the environment took place
	

	Substances(s) potentially released/type or nature of sewage released
	

	Best estimate of the quantity or rate of release of substances and/or duration of discharge
	

	Best estimate of the environmental impact of the discharge
	

	Measures taken, or intended to be taken, to stop any emission
	

	Description of the failure or accident.
	




	(b) Notification requirements for the breach of a limit specified in schedule 3 table S3.1 

	The information specified below is to be notified to Natural Resources Wales as soon as reasonably practicable following detection.

	Monitoring point reference/ source
	

	Self monitoring regime (where relevant)
	e.g. OSM


	Type of failure 
	

	Date of sample/event
	

	Parameter
	

	Result and units
	

	Limit and units
	


Part B – to be submitted as soon as reasonably practicable unless otherwise agreed in writing by Natural Resources Wales
	Any more accurate information on the matters for notification under Part A.
	

	Measures taken, or intended to be taken, to prevent a recurrence of the incident/breach/exceedance
	

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	



	Name*
	

	Post
	

	Signature
	

	Date
	


* authorised to sign on behalf of the operator


Schedule 6 – Interpretation 
 “accident” means an accident that may result in pollution.
"annually" means once every year.
“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.
“appropriate measures” for the purposes of the emission of substances not controlled by emission limits condition (condition 3.2.1) do not require the operator to undertake treatment to a level beyond that specified in schedule 1 table S1.1, or to carry out routine monitoring for substances not controlled by emission limits.
 “emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the permitted activities, which are not controlled by an emission limit.
“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2016 No.1154 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.
“MCERTS” means Natural Resources Wales’ Monitoring Certification Scheme.
“Natural Resources Wales” means the Natural Resources Body for Wales established by article 3 of the Natural Resources Body for Wales (Establishment) Order 2012. The Natural Resources Body for Wales (Functions) Order 2013 transferred the relevant functions of the Countryside Council for Wales, and functions of the Environment Agency and the Forestry Commission in Wales to the Natural Resources Body for Wales.
"quarter" means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.
“significant pollution” means a high-level impact incident as indicated by NRW incident classification system.
“year” means calendar year ending 31 December.


[image: ]Schedule 7 – Site plan

© Crown Copyright and database right 2022. Ordnance Survey licence number 100019741.
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