[image: image1.jpg]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




· 1 -


	Andrew Blowers

	Our ref: WPCC12625
Date: 17th November 2022



Dear Andrew
Permit reference: AN0358001
Facility: Great Campston, Campston Hill, Pandy, Abergavenny, NP7 8EE
We received notification of transfer of the Environmental Permit AN0358001 for Great Campston received on the 17th November 2022.
On 6th April 2010 the Environmental Permitting Regulations 2016 (EPR) made the activity that was covered by environmental permit (formally a consent to discharge) AN0358001, exempt from permitting. The permit therefore has been converted into an exemption. EPR requires that exemptions are registered to us and I can confirm that this has already been done for you.
There are a number of conditions that must be completed with in order for the exemption to remain valid, failure to adhere to these conditions means the exemption no longer applies and you would need to apply for a permit for your discharge. You can see a full list of the conditions at 

http://naturalresources.wales/media/679226/guidance-for-the-registration-of-small-sewage-effluent-discharges.pdf 

Here’s a summary of some of them:

· You may only discharge domestic sewage effluent
· It must be properly treated
· You must operate and maintain your sewage treatment system as recommended by the manufacturer or by the guidance in the appropriate operating Code of Practice. This includes regular removal of excess sludge from the system.
· You must maintain the plant properly, using competent people
· You must dispose of any waste sludge removed from the sewage treatment system in an appropriate controlled way using competent disposal contractors
· You need to keep records of maintenance and sludge disposal for 5 years
· You must make sure the discharge does not cause water pollution
Once registered the facility remains exempt so long as the conditions are met and there is no need to re-register or transfer the registration to future occupants. 

You are however required to inform, in writing, any new occupier of:

· The fact the an exempt activity is being carried out

· The details of the sewage treatment system

· The conditions to be completed with in relation to the exemption

· 5 years records of repair, maintenance and sludge removal.

Please look after your system and help us to protect the environment. 
Yours Sincerely
Tim O’Hara

Permit Receipt Advisor
Ffôn/Tel

03000 654386
Ebost/Email
tim.ohara@cyfoethnaturiolcymru.gov.uk 



tim.ohara@naturalresourceswales.gov.uk 

Canolfan Trwyddedu Cymru (Caerdydd), Cyfoeth Naturiol Cymru, Tŷ Cambria, 29 Heol Casnewydd, Caerdydd. CF24 0TP

Wales Permitting Centre (Cardiff), Natural Resources Wales, Cambria House, 29 Newport Road, Cardiff. CF24 0TP
Gwefan/Website
www.cyfoethnaturiolcymru.gov.uk 

Croesewir gohebiaeth yn y Gymraeg a'r Saesneg

www.naturalresourceswales.gov.uk 

Correspondence welcomed in Welsh and English

151_10_SD02, Version 2
PAGE  
2 IF  "" = "" "" "

Cont/d.."

Cont/d..

https://cyfoethnaturiolcymru.sharepoint.com/teams/manbus/cccs/permit receipt/tim - acknowledgement letters/water quality/water quality exemption letter.doc

[image: image1.jpg]