Permit Number: 	EPR/XP3538LD	                                    Operator: South Hook LNG Terminal Company LTD.

Facility:		South Hook LNG Terminal			Form Number: 	 Air1 / 18/11/2022
Reporting of emissions to air for the period from DD/MM/YYYY to DD/MM/YYYY 
	Emission
Point
	Substance /
Parameter
	Emission
Limit Value
	Reference Period
	Result [1]
	Test
Method [2]
	Sample
Date and Times [3]
	Uncertainty
[4]

	A1 – A8 and A11 – A17
	Oxides of nitrogen (NO and NO2 expressed as NO2)
	107 mg/m3
	One hour sample
	
	BS EN 14792
	
	

	
	Carbon monoxide
	No limit set
	Periodic
	
	BS EN 15058
	
	

	A18
	Oxides of nitrogen (NO and NO2 expressed as NO2)
	100 mg/Nm3
	Periodic
	
	BS EN 14792
	
	

	
	Carbon monoxide
	No limit set
	 Periodic
	
	BS EN 15058
	
	



[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.


Signed …………………………………………………………….  		Date………………………..   
	(Authorised to sign as representative of Operator)
