| AN0098701 ImpClause 23112022 |  |
| --- | --- |
| Improvement Condition Fulfilment |  |
| 1 About the permit you are providing information for |  |
| 1a Permit number | AN0098701 |
| 1b Site details |  |
| Site name | HIRWAUN - REAR OF GARDEN OF NO.70 TRENANT |
| Address | Rear Garden 70 Trenant |
|  | Hirwaun |
|  | Aberdare |
| Postcode | CF44 9LA |
| National Grid Reference | SN 96671 05136 |
| 2 Fulfilment of permit conditions set out in Schedule 1, Table S1.3 “Improvement programme requirements.” |  |
| 2a Provision of weir setting |  |
| Weir setting (l/s) | 4.15 |
| Basis of calculation for weir setting | Industry Soc A |
| 2b Storage provision |  |
| Minimum storage capacity (m3) | N/A |
| Online/offline | N/A |
| 2c details of any screening |  |
| Screen present (Y/N) | N/A |
| Maximum size of solid matter (mm, and dimension) |  |
| Screen aperture size (mm) |  |
| 3 Additional comments (site specific) |  |
| 4 Declaration |  |
| Title | Mr |
| First name | Redmond |
| Last name | Jenkins |
| Today’s date | 23/11/2022 |