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	Consent no
	NRWWIA342

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dŵr Cymru Cyfyngedig 


Linea 


Fortran Road 


St Mellons 


Cardiff 


CF3 0LT  
	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
De-chlorinated water 


	FROM: TALYBONT RESERVOIR, BRECON BEACONS NATIONAL PARK, LD3 7YS

	

	AT: NATIONAL GRID REFERENCE  SO 10617 21065

	

	TO: CAERFANELL RIVER

	

	SUBJECT TO: the conditions set out in the following schedule:

De-chlorinated water  Schedule No. NRWWIA342

	

	This consent is issued on the 29th day of November 2022
This consent takes effect on the 5th day of December 2022
This consent shall cease to have effect on the 19th day of December 2022
Signed: Melissa Broad


	


CONDITIONS OF CONSENT TO DISCHARGE

DE-CHLORINATED WATER (“the Discharge”)
NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of de-chlorinated water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Talybont Reservoir.
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR SO 10617 21065, marked ‘Discharge’ on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total volume of the Discharge shall not exceed 6,477 cubic metres.

6. The total daily volume of the Discharge shall not exceed 1,850 cubic metres.

7. The rate of the Discharge shall not exceed 21 litres per second.
COMPOSITION

8.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
9.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water. 
FLOODING

10.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

11.
The Discharge shall only be made between 5th day of December 2022 and the 19th day of December 2022.
 ANNEX 1- PLAN No. NRWWIA342
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