| CM0200001 ImpClause 01122022 |  |
| --- | --- |
| Improvement Condition Fulfilment |  |
| 1 About the permit you are providing information for |  |
| 1a Permit number | CM0200001 |
| 1b Site details |  |
| Site name | BRONDYFFRYN CSO |
| Address | NR 10 BRONDYFFRYN |
|  | ST ASAPH |
|  | DENBIGHSHIRE |
| Postcode | LL17 0YA |
| National Grid Reference | SJ 04928 71217 |
| 2 Fulfilment of permit conditions set out in Schedule 1, Table S1.3 “Improvement programme requirements.” |  |
| 2a Provision of weir setting |  |
| Weir setting (l/s) | 1.48 |
| Basis of calculation for weir setting | INDUSTRY SOC A |
| 2b Storage provision |  |
| Minimum storage capacity (m3) | N/A |
| Online/offline | N/A |
| 2c details of any screening |  |
| Screen present (Y/N) | N/A |
| Maximum size of solid matter (mm, and dimension) |  |
| Screen aperture size (mm) |  |
| 3 Additional comments (site specific) |  |
| 4 Declaration |  |
| Title | Mr |
| First name | Redmond |
| Last name | Jenkins |
| Today’s date | 01/12/2022 |