# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for Trawsfynydd WwTW, Track off A470, Trawsfynydd, Gwynedd, LL41 4TB.

The application number is PAN-010215

The permit number is EPR/CB3099ZG

Identified as a previously un-permitted discharge from the CSO. Investigations have shown that the overflow is operating satisfactorily and can be permitted “as is” under current guidelines. The Combined Sewer Overflow discharges into a the Afon Prysor. Event Duration Monitoring is installed and operational at this site.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Consultation |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. |  |
| ### Responses to web publicising | There were no responses to the web publication on our external website. |  |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. |  |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. - Please see information regarding the Habitats Directive below |  |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. |  |
| Biodiversity, Heritage, Landscape and Nature Conservation and a designated site under the CRoW Act. | The application is within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat . A full assessment of the application and its potential to affect the sites has been carried out as part of the permitting process. We consider that the application will not affect the features of the site. An Appendix 4 assessment has been completed and filed for audit on the DMS folder. |  |
| Habitat Regulation Assessment for a designated site under the EU Habitats Directive | Form 1 Plan HRA – saved on DMS as “to be assessed” for public register purposes. In light of the conclusions of an appropriate assessment, and taking account of the advice received from protected sites advisors, it has been established that we cannot currently determine whether or not the asset is having a detrimental effect on sites designated under the Habitats Directive. Therefore, we will review each asset individually (at a project level) using 3 years of spill data to conclude whether there is a significant effect in-combination and whether the permit needs to be reviewed (As documented in section 4 of OGN 200 form 1, and section 5 if applicable) This decision is documented on the ‘Plan HRA’ found on the DMS folder. More information can be found in the ‘Improvement Conditions’ section below |  |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have carried out a risk assessment on behalf of the operator. The operator considers this risk assessment is satisfactory. The assessment shows that, applying the conservative criteria in our guidance on Environmental Risk Assessment, all emissions may be categorised as environmentally insignificant. |  |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility. |  |
| The permit conditions |  |  |  |
| Improvement conditions | Based on the information on the application, we consider that we need to impose improvement conditions. We have imposed improvement conditions to ensure that the operator provides the following within 2 years of the issued date: - Weir setting and basis of calculation. - Minimum storage capacity (in cubic metres) at the asset and whether on or offline - Details of any screening We have imposed improvement conditions to ensure that the operator provides the following within 3 years of the issued date: - DCWW to submit EDM spill data to the NRW on an annual basis - After 3 years DCWW to present a summary of spill performance and whether or not the asset has triggered investigation under the SOAF process. - After 3 years DCWW to provide details or findings of any ongoing SOAF investigations |  |
| Operator Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” |  |