# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for Aberrhondda Road CSO operated by Dŵr Cymru Cyfyngedig.

The application number is PAN-010250

The permit number is EPR/CB3199CH

Identified as a previously un-permitted discharge from the CSO. Investigations have shown that the overflow is operating satisfactorily and can be permitted “as is” under current guidelines. The Combined Sewer Overflow discharges into a Nant Bran via culverted watercourse. Event Duration Monitoring is installed and operational at this site.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

- Annex 2

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Consultation |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. |  |
| ### Responses to web publicising | The web publicising responses (Annex 2) were taken into account in the decision. The decision was taken in accordance with our guidance. |  |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. |  |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. |  |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. |  |
| Biodiversity, Heritage, Landscape and Nature Conservation and a designated site under the CRoW Act. | The application is within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat. A file note has been saved in the DMS folder outlining why a full Appendix 4 assessment has not been undertaken. Formal external consultation has been carried out with a local ecologist for Rhondda Cynon Taff Council (Mr. Richard Wistow - Richard.J.Wistow@rctcbc.gov.uk) because the asset is hydrologically connected to a SINC. The consultation responses (Annex 2) were taken into account in the permitting decision. |  |
| Habitat Regulation Assessment for a designated site under the EU Habitats Directive | No FORM 1 completed: An HRA is not required because there is no conceivable impact pathway to any Natura 2000/Ramsar site Note: From OGN 200 - no conceivable impact on any Natura 2000 site, by virtue of the scale or location or nature of the project. While the risk screening report with a screening distance of 10000 meters did pick up 0 special areas of conservation these sites were not hydrologically connected downstream of the discharge. It has been concluded that there is no pathway that would cause impact on this site. |  |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have carried out a risk assessment on behalf of the operator. The operator considers this risk assessment is satisfactory. The assessment shows that, applying the conservative criteria in our guidance on Environmental Risk Assessment, all emissions may be categorised as environmentally insignificant. |  |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility |  |
| The permit conditions |  |  |  |
| Improvement conditions | Based on the information on the application, we consider that we need to impose improvement conditions. We have imposed improvement conditions to ensure that the operator provides the following within 2 years of the issued date: - Weir setting and basis of calculation. |  |
| Operator Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” |  |

# Annex 2: Consultation responses

Summary of responses to consultation and the way in which we have taken these into account in the determination process.

Response received from

Local ecologist for Rhondda Cynon Taff Council (Mr. Richard Wistow - Richard.J.Wistow@rctcbc.gov.uk)

Brief summary of issues raised

NRW consulted Mr. Wistow about DCWW’s application and the ecologist was concerned that an intermittent discharge of sewage would be ‘ecologically highly undesirable’ for the Rhondda Fach as it ‘is a key wildlife habitat and corridor and part of the wider catchment’. However, Mr. Wistow acknowledged that ‘sewer infrastructure in some areas may not currently have the capacity to deal with extreme storm events.’ I explained that the asset is believed to be operating at a satisfactory standard and that permitting this asset will bring benefits such as monitoring and compliance. Mr. Wistow was satisfied with NRW’s approach to permitting this asset and stated that there was no further comment from him.

Summary of actions taken or show how this has been covered

Although Mr. Wistow was concerned about a discharge of sewage to a key wildlife habitat he understood that the discharge was pre-existing and that by permitting this asset we can better regulate it and ensure that it complies with the permit conditions. Therefore there were no actions necessary. For further information please see the email correspondence is saved to the DMS.