# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for Vale of Glamorgan Resource Recovery Facility operated by Vale of Glamorgan Council.

The permit number is [insert number].

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

- Annex 2 the consultation and web publicising responses

# Annex 1: decision checklist

This document should be read in conjunction with the Duly Making checklist, the application and supporting information and permit/ notice.

| ### Aspect considered |  | ### Justification / Detail | Criteria met |  |
| --- | --- | --- | --- | --- |
|  |  |  | Yes |  |
| Consultation |  |  |  |  |
| Scope of consultation |  | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. |  |  |
| ### Responses to consultation and web publicising |  | The web publicising and consultation responses (Annex 2) were taken into account in the decision. The decision was taken in accordance with our guidance. |  |  |
| Operator |  |  |  |  |
| Control of the facility |  | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. |  |  |
| European Directives |  |  |  |  |
| Applicable directives |  | All applicable European directives have been considered in the determination of the application. Hazardous waste storage is activity under the Industrial Emissions Directive. Therefore, storage capacity limits have been set in Table S1.1 of the permit. |  |  |
| Sustainable Management of Natural Resources (SMNR) |  |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources. |  |  |
| Environment Wales Act 2016 – Biodiversity and resilience of ecosystems duty |  |  |  |
| Consideration of Section 6 | Section 6 of the Environment Wales Act 2016 requires that we seek to maintain and enhance biodiversity in the exercise of our functions, and in so doing promote the resilience of ecosystems, in a manner that is consistent with the proper exercise of our functions. NRW is satisfied that in this case, we have taken into account and had due regard to this duty in so far as it is consistent with the function of determining an application for an EPR permit. |  |  |
| The site |  |  |  |  |
| Extent of the site of the facility |  | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. |  |  |
| Site condition report |  | The operator has provided a description of the condition of the site. We consider this description is not satisfactory. The decision was taken in accordance with our guidance on site condition reports – guidance and templates (H5). We do not consider the baseline data provided to be appropriately representative of the groundwater due to the number of boreholes and trial pits used. We have advised the operator of how to improve their site condition report. |  |  |
| Biodiversity, Heritage, Landscape and Nature Conservation |  | The application is within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat . A full assessment of the application and its potential to affect the sites has been carried out as part of the permitting process. We consider that the application will not affect the features of the site. |  |  |
| Environmental Risk Assessment and operating techniques |  |  |  |  |
| Environmental risk |  | We have reviewed the operator's assessment of the environmental risk from the facility. The operator’s risk assessment is satisfactory. |  |  |
| Operating techniques |  | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The operator has identified suitable measures in accordance with the relevant technical guidance note for waste activities; ‘How to comply with your environmental permit’. The operator has provided an Odour Management Plan that details the measures used to prevent or minimise odour emissions from the facility. These measures have been assessed and considered suitable to control odour emissions from the facility in line with ‘How to comply with your environmental permit’ and our ‘H4 Odour Management’ guidance. The operator has provided a Fire Prevention and Mitigation Plan that details the measures used to prevent or minimise the risk of fire at the facility. These measures have been assessed and considered in line with ‘GN16 Fire Prevention and Mitigation Plan Guidance – Waste Management. The operator has provided a Noise Impact Assessment that details the measures used to reduce noise pollution from the facility. These measures have been assessed and considered in line with ‘British Standard BS4142’. The operator has provided a Pest Management plan to detail the measures used to reduce the risk that could be caused by pests at the facility. |  |  |
| The permit conditions |  |  |  |  |
| Waste types |  | We have specified the permitted waste types, descriptions and quantities, which can be accepted at the regulated facility. We are satisfied that the operator can accept these wastes for the following reasons. - The Operator has provided suitable pre-accceptance and waste acceptance procedures in their “Operating Techniques Document_v2”. - The waste types and quantities proposed are consistent with the type of facility and the processes being undertaken at the site. We made these decisions with respect to waste types in accordance with “How to comply with your environmental permit” and “Technical Guidance Note WM3: Waste Classification”. |  |  |
| Pre-operational conditions |  | Based on the information in the application, we consider that we need to impose pre-operational conditions. We require that the four proposed acoustic barriers be installed on site in line with the Noise Impact Assessment before any permitted operations begin. |  |  |
| Incorporating the application |  | We have specified that the applicant must operate the permit in accordance with descriptions in the application, including all additional information received as part of the determination process. These descriptions are specified in the Operating Techniques table in the permit. We have incorporated relevant management plans provided by the operator in the permit, to ensure that all activities are carried out in line with appropridate measures to prevent pollution. |  |  |
| Operator Competence |  |  |  |  |
| Environment management system |  | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |  |
| Technical competence |  | Technical competency is required for activities permitted. The operator is a member of an agreed scheme. The operator will be benefitting from the 12 month grace period in order to gain the correct technical competence for the site. The operator satisfies the criteria in RGN 5 on Operator Competence. |  |  |
| Relevant convictions |  | Our Enforcement Database has been checked to ensure that all relevant convictions have been declared. No relevant convictions were found. The operator satisfies the criteria in RGN 5 on Operator Competence. |  |  |
| ### Financial competence |  | There is no known reason to consider that the operator will not be financially able to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |  |

# Annex 2: Consultation, web publicising and newspaper advertising responses

Summary of responses to consultation and the way in which we have taken these into account in the determination process.  (Newspaper advertising is only carried out for certain application types, in line with our guidance.)

Response received from

South Wales Fire and Rescue Service dated 23/05/2022

Brief summary of issues raised

South Wales Fire and Rescue Service provided a response to our consultation on the Fire Prevention and Mitigation Plan (Version 2) on 23/05/2022. The following issues were raised or requested: - Concerns regarding size of water storage tank – application states capacity is 196m3 but should hold 243m3 based on dimensions of the tank. - Confirmation wanted on location and number of fire hydrants on site. - Confirmation needed on largest stack volumes (as per water tank). - Freeboard height compliance needs to be checked. - Not enough information on what measures will take place in the event of a fire outside operational hours. - What measures will be put in place if an FRS member arrives at site before a representative of the site. - Confirmation needed on availability of site excavation equipment for firefighting. - Confirmation needed that the capacity of the quarantine area is sufficient and matches up on all plans. - Recommendation that a suppression system be provided for internal areas.

Summary of actions taken or show how this has been covered

We have assessed the FPMP against Guidance Note 16: Fire Prevention & Mitigation Plan – Waste Management. In all points raised by the Fire and Rescue Service, we have determined that the operators FPMP meets our guidance. All points above by the FRS have therefore been addressed and it was deemed not necessary to re-consult with the FRS. The FPMP has been revised and corrected where necessary following two schedule 5 notices being served.

Response received from

Environmental Public Health Service dated 10/05/2022

Brief summary of issues raised

Overall, there were no grounds for objection based upon the public health considerations. However, it was requested that NRW: - Ensure we are satisfied that the controls are suitable for the proposed operations and complaints can be addressed - Agree with the applicant a timetable for external accreditation for their EMS - Minimise fire risks in line with current guidance and follow Waste Industry Safety and Health (WISH) guidance.

Summary of actions taken or show how this has been covered

We have assessed the application in accordance with the guidance and are satisfied with the measures proposed to protect the environmental public health concerns.