| Details |  |
| --- | --- |
| Deployment Reference Number: | PAN-019730 |
| Permit Reference Number: | EPR-KP3594VE |
| Permit Holder: | Trade Effluent Services |
| Site Address: | Brookhouse Farm, Brookhouse Lane, Awowry, Hanmer, Wrexham, SY13 3EQ |
| Grid Reference: | Farm location: SJ 46804 39888 Fields: Croxton 1 SJ 46495 41161 Croxton 2 SJ 46220 41256 Croxton 3 SJ 46032 41299 Fennswood 1 SJ 50862 38848 Fennswood 2 SJ 50894 38638 Fennswood 9 SJ 51059 38161 43 SJ 46954 39664 Storage: SJ 46317 41140 SJ 50821 38566 SJ 50995 38021 SJ 46828 39971 SJ 46804 39888 |

| Administrative Checks- by permit support officer |  |
| --- | --- |
|  | Comments |
| Consultation | Waste reg team: WasteReg.NE@cyfoethnaturiolcymru.gov.uk Environment team: WrexhamFlintshireEnvironmentTeam@cyfoethnaturiolcymru.gov.uk NLO: Amy.Henderson@cyfoethnaturiolcymru.gov.uk |
| Date due: | 14/11/2022 |
| Are fields on Anglesey? If yes, then send application. | No: N/A |
| Permit compliance rating and multiplier | Rating B- 100% |

| Administrative Checks- by determining permitting officer |  |  |
| --- | --- | --- |
| Item | Action completed, or document provided? (Yes, No or n/a) | Comments |
| Is the base permit still live? Has there been any variations we need to be aware of? | Y | Welsh- PaLS |
| Correct application form | Y |  |
| Correct fee | Y | See permit compliance multiplier above and Charging Scheme page 52 |
| Fee on MyNRW | Y | Amount: £1018 Date cleared on MyNRW: 07/11/22 Transaction number: 2108081 |
| Location map | Y |  |
| Benefit statement | Y |  |
| Waste Analysis | Y |  |
| Soil Analysis | Y |  |
| EIA Agri Regulations evidence | Y |  |
| Site Specific Risk Assessment | Y | High risk location only |

| ## Application Form Word versions of online forms - NRW View (sharepoint.com) | Y N n/a | Comments |
| --- | --- | --- |
| - About the Permit |  |  |
| ## Has there been any pre-application discussions? | Y |  |
| ## Has the permit number been provided? | Y |  |
| ## Has the permit holder name been provided? | Y |  |
| ## What permit is being deployed under? | SR2010 No4 |  |
| - Contact details |  |  |
| ## Has contact information been provided? | Y |  |
| ## Has the technically competent manager details been provided? | Y |  |
| ## Has the nominated competent person details been provided? | Y |  |
| - About the land you want to treat |  |  |
| ## Has the address and grid reference of the main farm address been given? | Y |  |
| ## Does the farm address match the grid reference? | Y |  |
| ## What type of land do they want to treat? | Agricultural land |  |
| If it is agricultural land; has the holding number been given? | Y | Applicant provided 56/241/0025 Brookhouse farm -Mr Brian Jones Confirmed on Geospatial map viewer. Fields 43, croxton 1, 2, and 3 56/239/0084 Fennswood Farm -Mr Richard Wynn Confirmed on geospatial map viewer. Fennswood 1, 2 and 9 |
| ## Has all of parcels of land table been completed? | Y |  |
| ## Is the total area of land to be treated less than 50 ha, or 100 hectares for a single continuously managed area of land? | Y |  |
| Is the land to be treated within a 10 miles radius of the main address? | Y |  |
| ## Is this deployment one of a batch (multiple deployments) for the same area of land? | N |  |
| ## Is the permit holder the owner or occupier of the land you want to spread on/treat? | Y |  |
| ## Have details of the land owner or occupier been provided? | Y | As with CPH info above. |
| ## Has written consent of all owners(s) or occupiers(s) been given? | Y |  |
| - Previous land treatment |  |  |
| Has all of the previous land treatment table been completed? | Y | PAN-016687 expires 14/02/22 |
| - Which risk band does the activity fall within? - SR2010No4 List A wastes (Lower risk) - Location risk - Low risk deployment - Medium risk (1) deployment - Medium risk (2) deployment - High risk deployment |  |  |
| ## Which risk band does the activity fall within? | High |  |
| Is the risk banding correct? | Y |  |
| ## If Medium risk (2) or High risk deployment has a SSRA been provided? | Y |  |
| - Additional information on sensitive receptors |  |  |
| ## What type of risk assessment has been submitted? | site‐specific risk assessment benefit statement |  |
| Does the land onto which the specified waste is to be spread as part of this deployment fall within scope of the Environmental Impact Assessment (Agriculture) (Wales) Regulations 2017 as semi-natural (habitat)? | Y N |  |
| If yes has the screening opinion provided by Welsh Government been provided? | Y N |  |
| If no have details of the assessment evidence to support this conclusion been provided? | Y N | Field 47 is missing from EIA evidence. Otherwise Google satellite images and street view has been provided to show fields of established agricultural use. The street view images are not labelled but show field entrances, of which fields is unclear as the images are not labelled. The satellite images show fields 1,2 and 9 at Fennswood and 1,2 and 3 at Croxton. |
| - About the waste |  |  |
| Has all parts of the waste types table been completed? - List of waste code (6 digit) - Description of waste (this must be an accurate description specific to this waste that refers to the List of Waste written description) - Physical form of waste/Is it stackable of non-stackable - Is the waste high in readily available nitrogen? - Producer of waste & permit number (if applicable) - Total amount being spread/used (tonnes) | Y |  |
| Are the wastes listed in the deployment specifically listed in the permit? | Y |  |
| Can you verify the waste producer (source of waste) is correct in terms of production, coding and description? | Y | Google and DMS of previous and current applications. |
| - About the storage |  |  |
| Has all of waste storage table been completed? | Y |  |
| Is the storage given no more than 1250 tonnes shall be non-stackable waste, and no more than 3000 tonnes of all other wastes? | Y |  |
| 18. Supporting documents |  |  |
| Has checklist been completed? | Y |  |
| 20. Confidentiality and national security |  |  |
| Has confidentially been claimed? | N |  |
| Has national security been claimed? | N |  |
| 21. Declaration |  |  |
| If signing on behalf of a relevant person, has written confirmation from a relevant person been given? | Y |  |
| Has the operator confirmed they will comply with the conditions of the rule set? | Y |  |
| Has the operator confirmed they will comply with the NRW pre-notification requirements. | Y N | Language around spread times is ambiguous and requires correction via return document |
| Has a relevant person or approved person signed the declaration? | Y |  |

| Location | Y N n/a | Comments |
| --- | --- | --- |
| Has determining officer completed MyMap screening report? | Y |  |
| Do the grid references match the site plan? | Y |  |
| If there is storage; do the grid references match the site plan? | Y |  |
| If land was previously deployed on, and waste is stored in temporary field heaps; are the storage locations in the same or different locations? | n/a |  |
| The map must include the following details in relation to both storage and spreading (TGN 8.01, box 3.1) |  |  |
| surface water courses (permit condition: no storage or spreading within 10 meters) (buffer zones needed) | Y | Comments noted that water bodies draining from fields are already failing due to phosphate |
| groundwater source protection zones (permit condition: no storage or spreading in SPZ1) (high risk deployment if in SPZ2) | n/a |  |
| any well, spring (or issue) or borehole used for the supply of water for human consumption including from a private water supply or supplies. (permit condition: no storage or spreading within 50 meters) | n/a |  |
| location of all storage sites for the waste to be spread | Y |  |
| any spring (or issue), well or borehole not used to supply water for domestic or food production purposes within 50m (shown on map) | Y | Issue at base of field 43 appears to show field drains into Rasmar/SSSI midland meres and mosses phase 2, which is noted for its low nutrient environment. 3 NALD abstractions-no issue all over 300m away. |
| any spring (or issue), well or borehole used to supply water for domestic or food production purposes within 250m (shown on map) | n/a |  |
| any European designated sites- Natura 2000 (SPA, pSPA, SAC or cSAC) or Ramsar- or SSSI within 500m (shown on map) | Y | Ramsar midlands meres and mosses phase 2 SSSI- Fenns, whixhall, bettisfield, wem and cadrey mosses SAC- Fenns, whixhall, bettisfield, wem and cadrey mosses SSSI- Llyn Bedydd |
| location of any public rights of way (shown on map) layer on MyMap (normal)> recreation | Y | Correctly marked and buffered |
| any buildings or houses within 250m (shown on map) | Y | Farm buildings |
| the location of any other designated environmentally sensitive sites within 500m. Including but not limited to: - Protected Species - Protected Habitats - Scheduled Ancient Monument - Local Nature Reserve - National Nature Reserve - Ancient Woodlands - Local Wildlife Sites (SINC) - National Park - Nitrate Vulnerable Zone (NVZ) - Groundwater Safeguard Zone - Hedges - Ditches | Y | 6 SINCs Coxton marsh, Canberry Moss, Hanmer Hall Woods, Willis gorse and marsh, Redbrooke Marsh, Fenns rough. 2 protected species- spieces sensitive to airborn nitrogen and phosphate and is a low nutrient type. 5 areas of habitat. one SAM-mount cop castle mound 12 areas of protected habitat 2 areas of ancient woodland |
| What is the slope of the fields? | 0-7 degrees (transparent)- fields: All fields 7-12 degrees (yellow)- fields: small portions of field c1, c2, 43 and f9 12 degrees plus (red)- fields: Small portion of field c1 |  |

| Waste Analysis | Y N n/a | Comments |
| --- | --- | --- |
| Is the waste analysis report less than 12 months old at time of application? | Y |  |
| Does the analysis include the following? |  |  |
| - pH | Y |  |
| - Nitrogen (N) | Y |  |
| - Phosphorus (P) | Y |  |
| - Potassium (K) | Y |  |
| - % dry matter | Y |  |
| Does the analysis include the following? If it is a required parameter for the waste (see section below) and has not been tested for; has adequate justification been provided? |  |  |
| - Zinc | Y |  |
| - Copper | Y |  |
| - Nickel | Y |  |
| - Lead | Y |  |
| - Cadmium | Y |  |
| - Mercury | Y |  |
| - Magnesium | Y |  |
| - Sodium | Y |  |
| - Sulphur | Y |  |
| Check Appendix A of TGN 8.01 for the wastes types applied for. |  |  |
| - Are there any special testing requirements? | Y | 020204- Conductivity, Fats/oils/grease Odour 02 03 05- odour 02 07 05- pH and soil type (calcareous soils) 02 05 01- odour, sodium 02 07 05- pH |
| - If yes; have they been tested for? | Y |  |
| If spreading waste soil, has the analysis been carried out at an MCERTS Lab? | n/a |  |
| If the spreading is in a groundwater safeguard zone (permit condition 2.1.8); are any wastes “high readily available nitrogen wastes”? i.e. organic wastes in which more than 30% of the total nitrogen content is available to the crop at the time of spreading. | n/a |  |
| - If yes, have they stated condition 2.1.8 of the permit will be complied with? | n/a |  |

| Soil Analysis | Y N n/a | Comments |
| --- | --- | --- |
| Is the soil analysis report less than 4 years old at time of application? | Y |  |
| Does the analysis include the following? |  |  |
| - pH | Y |  |
| - Potassium (K) | Y |  |
| - Phosphorus (P) | Y |  |
| - Magnesium (Mg) | Y |  |
| If the waste analysis shows high PTE’s; have these been tested for in the soil? | n/a |  |
| Have the soil indices for P, K and Mg on each field been given? | Y |  |
| Does analysis show that the soils are deficient in the nutrients or properties required by the proposed cropping? | Y N n/a | Fields Croxton 1 and 3 and Fenn 1 and 2 are at indices 4 and despite being spread at offtake are in close proximity to Ramsar Meres and mosses phase 2, this area is a low nutrient environment and introducing more nutrients into these fields may result in an increase risk of nutrient leeching causing damage to these features. |

| Benefit Statement | Y N n/a | Comments |
| --- | --- | --- |
| Does the writer of the benefit statement have appropriate technical expertise? (TGN 8.01 6.1) | Y |  |
| Does the activity meet the definition of recovery? (TGN 8.01 6.2) |  |  |
| - Is there a clear benefit from the activity? | Y N | See above |
| - Is the material suitable for its intended use? | Y N | Encirc and d.wise appear to be different to the physical descriptions given in LPD1 |
| - Is the minimum amount of waste being used to achieve the intended benefit? | Y N |  |
| - Is the waste being used as a substitute for a non-waste material? | Y |  |
| - Will the proposal be completed to an appropriate standard? NOTE: For this activity, the standard is the deployment application that has been assessed and approved. Any deviation from this which has not been agreed is likely to be viewed as disposal. | Y |  |
| Benefit should be assessed against the following criteria. If the chosen benefit, has information been given on? (TGN 8.01 6.3) |  |  |
| - Plant nutrient requirements | Y |  |
| - Timing of application | Y N n/a | ambigious |
| - Amount of waste to be applied and application rate | Y N n/a | Rowan food is providing far to much nitrogen. |
| - Soil chemical properties (e.g. liming and pH) | Y N n/a | D.wise is overliming all fields |
| - Soil physical properties (e.g. organic matter and soil structure) | Y |  |
| - Soil water content | n/a |  |
| - Levelling the land | n/a |  |
| If an operator wants to apply more nutrients than is recommended in RB209 have they? (TGN 8.01 6.3) |  |  |
| - Justified the nutrient level with appropriate technical expertise | Y N n/a | As above |
| - Included the nutrient level in their environmental risk assessment | Y N n/a | Applicant has only identified nutrient runoff and leeching as a risk while airborne nutrients also pose a risk |
| - Stated the source of information that they used to set the nutrient level. | Y |  |
| Have any potential negative impacts of the activity been addressed? (TGN 8.01 6.5) | N | Due to fluvial connection of field 43 and c1 and 2 and f1 and 2 high phosphate I do not feel this has been met. |
| Is the application rate appropriate (i.e. not be applied in excess of crop or soil need as this may not meet the principles of waste recovery) in terms of? (TGN 8.01 6.7) |  |  |
| - Waste type | Y |  |
| - Waste analysis | Y |  |
| - Crop nutrient requirements | Y |  |
| If multiple wastes are being mixed: (TGN 8.01 6.8) |  |  |
| - Does each waste confer benefit in its own right? | Y N n/a |  |
| - Is it only for operational purposes? | Y |  |
| - Have individual application rates for each waste been given? | Y |  |
| - If mixing ratios have not been given, is there a statement saying that the highest limiting parameter will be used as the maximum application rate allowed to be spread, i.e. the waste will be spread at the lowest application rate. | Y |  |
| Application of waste (TGN 8.01 6.10) |  |  |
| - Is method of application appropriate for the waste type and cropping? | Y |  |
| - Is the timing of application appropriate? | Y N | Ambiguous |
| - Have they stated when the waste will be spread? | Y N | Ambiguous |
| - Have they stated how often the waste will be spread? | Y N | Time given covers all year |
| Have the total nutrients supplied by the waste been given? | Y |  |
| Does the total nutrients supplied match NRW calculations? | Y |  |
| Has total nutrients supplied been given in oxide format? | Y |  |
| Has the SNS for each field been provided? Or enough information provided to calculate the SNS? | Y |  |
| If the operator has stated (or intelligence from local teams have told us) that other sources of nutrients have been applied in the last 12 months; have they stated: |  |  |
| - What material was spread? | Y | Excluding field 43 |
| - How much material was spread? | Y |  |
| - At what application rate material was spread? | Y |  |
| - The nutrients supplied by the material? | Y |  |

| Site specific risk assessment (TGN 8.01 2.2) | Y N n/a | Comments |
| --- | --- | --- |
| If the deployment is in a high-risk location as per LPD1 has a site-specific risk assessment been submitted? | Y |  |
| If there are other designated environmentally sensitive sites within 500 meters has a site-specific risk assessment been submitted? | Y N n/a | Applicant has not mentioned SSSI Llyn Bedydd |
| Does the site-specific risk assessment identify all potential? |  |  |
| - Sources of pollution or hazards. Potential hazards include but are not limited to dust, odours, run-off, leachate etc. | Y N n/a | Only addresses leeching and runoff, no other features. |
| - Pathways | Y N n/a |  |
| - Receptors that can be affected by that source of pollution. Receptors include but are not limited to environmentally sensitive sites, watercourse, local residents, public rights of way, housing, schools, workplaces and recreational facilities etc. | Y N n/a |  |
| - Measures that will minimise or mitigate the impact will be put in place | Y N n/a |  |

| Appendix 4 assessment | Y N n/a | Comments |
| --- | --- | --- |
| Is the site within 500 meters of a SSSI? - If yes, the complete an Appendix 4 CroW assessment. | Y | Not completed app to be returned. |
| Has a likely significant effect been identified? - If yes, consult with the relevant NRM team. - If no, save the Appendix 4 to the DMS as information only | Y |  |

| Habitat Regulation Assessment | Comments |
| --- | --- |
| Is the site within 500 meters of a Natura 2000 (SPA, pSPA, SAC or cSAC) or a Ramsar site? | Not completed app to be returned. |
| If 1st question is “No” then delete this and all other sections. If 1st question is “Yes” then only keep this section if relevant No FORM 1 completed: HRA is not required because there is no conceivable impact pathway to any Natura 2000/Ramsar site. Note: From OGN 200 - no conceivable impact on any Natura 2000 site, by virtue of the scale or location or nature of the project. In comments field include reference to: - what screening distance you have applied to conclude that no project specific Likely Significant Effect test has been conducted. - “De-minimus thresholds applied” you have concluded that no project specific Likely Significant Effect test has been conducted. - any other supporting reason eg application is not in Hydrological connectivity |  |
| If 1st question is “No” then delete this and all other sections. If 1st question is “Yes” then only keep this section if relevant No FORM 1 completed: This project is a renewal of a current permission which complies with NRW agreed criteria for ruling out significant effects of a renewal without conducting a project-specific LSE test. Therefore it is considered not likely to have a significant effect on any Natura 2000/Ramsar sites, either alone or in-combination with other plans and projects. Note: screening of permit renewals on the same or more restrictive terms should be dealt with by answering ‘YES’ OGN 200 Form 1 Section 2.3, and completing section 3.1 |  |
| If 1st question is “No” then delete this and all other sections. If 1st question is “Yes” then only keep this section if relevant Assessment of Likely Significant Effect: The project has been screened for likelihood of significant effects and, taking account of the advice received from protected sites advisors, is considered not likely to have a significant effect on any Natura 2000/Ramsar site (As documented in section 3.2 of OGN 200 form 1, or section 5 if applicable) Form 1 (and Form 2) – saved on DMS as public register - use "to be assessed" if it contains sensitive information. |  |
| If 1st question is “No” then delete this and all other sections. If 1st question is “Yes” then only keep this section if relevant Appropriate assessment: In light of the conclusions of an appropriate assessment, and taking account of the advice received from protected sites advisors, it has been established that the project will not adversely affect the integrity of any Natura 2000/Ramsar site, taking into account any conditions or restrictions as applicable, either alone or in-combination with other plans and projects. (As documented in section 4 of OGN 200 form 1, and section 5 if applicable) Form 1 (and Form 2) – saved on DMS as public register - use "to be assessed" if it contains sensitive information. |  |
| If 1st question is “No” then delete this and all other sections. If 1st question is “Yes” then only keep this section if relevant Appropriate assessment: Approval for the project cannot be given unless either: - the project specification, and/or the terms under which it might be approved, are modified so as to remove the risk of adverse effects, and a revised HRA report is prepared; or - the project satisfies the requirements of Article 6(4) of the Habitats Directive, an Article 6(4) Statement of Case is prepared (OGN 200 Form 3) and submitted for consideration by the appropriate authority, normally Welsh Ministers Form 1 (and Form 2) – saved on DMS as public register - use "to be assessed" if it contains sensitive information. |  |
| If 1st question is “No” then delete this and all other sections. If 1st question is “Yes” then only keep this section if relevant HRA Overall conclusion: In light of the conclusions of the appropriate assessment, it has not been ascertained that the project will not adversely affect the integrity of any Natura 2000/Ramsar site, as documented in section 4 of OGN 200 form 1, and section 5 is applicable. Form 1 (and Form 2) – saved on DMS as public register - use "to be assessed" if it contains sensitive information. |  |

Comments

Consultation responses: Consultants provided information on Water quality of local areas. Also requested an increased buffer to watercourse of 20m, Also request a consulted HRA assessment, the moving of a tanker in a buffer zone, removal of fields with high phosphate levels, absence of previous spreading details from application, inappropriate and unspecific spreading periods. All to be actioned as part of an Return document.

MyMap, location and slope assessment: MyMap assessment: In draft in wip Location assessment: see mymap report Slope assessment: All fields slope below 7 degrees apart from small specific portions. Field number: Portions of field Croxton 1 and 2, field 43 and fennswood 9 Slope of the land: 7-12 degrees Soil type: medium Wastes types applied (solid, liquid, sludge etc.): sludge cake, solid, liquid and sludge Cropping type: grass and maize Method of application: injection/unclear Weather conditions before during and after spreading: CoGAP will be followed. Other risk factors not mentioned above: Fields have a high nutrient index for phosphate. Conclusions (is run off risk high?): The run off risk is low given small area of slope and spreading method. (if method is injection) Field number: Portions of field Croxton 1 Slope of the land: 12+ degrees Soil type: medium Wastes types applied (solid, liquid, sludge etc.): sludge cake, solid, liquid and sludge Cropping type: grass and maize Method of application: injection/unclear Weather conditions before during and after spreading: CoGAP will be followed. Other risk factors not mentioned above: Fields have a high nutrient index for phosphate. Conclusions (is run off risk high?): Area should be covered by a no spread buffer zone. 7-12 degrees (yellow)- fields: small portions of field c1, c2, 43 and f9 12 degrees plus (red)- fields: Small portion of field c1

CPH details: Applicant provided 56/241/0025 Brookhouse farm -Mr Brian Jones Confirmed on Geospatial map viewer. Fields 43, croxton 1, 2, and 3 56/239/0084 Fennswood Farm -Mr Richard Wynn Confirmed on geospatial map viewer. Fennswood 1, 2 and 9

Protection of habitats and ecosystems Satellite images attached show fields are of established agricultural use and do no contain habitat or semi natural habitat. However field 43 is missing from these images.

Agricultural benefit calculations: Calculations in our nutrient calculations do not agree with those of the applicant for waste streams Secanim and Rowan food. Other waste streams interpretation match those in our nutrient calculations. However there are pH issues that have not been justified for several waste streams (see Return document) Secanim and penderyn are high RAN. Secanim was not noted to be high RAN in app. See return document D.wise and encirc do not match the physical description/waste code to the one provided in the LPD1 form. D.wise is a liming agent and will over lime the fields if spread at current rate. Rowan food is delivering to much phosphate to several fields. See return document.

Request for information: Sent as an advisory return document to applicant with return notice. 1. Spreading methods 2. Spread timings 3. Previous spreading 4. Storage lagoon 5. Storage location in no spread zone 6. Spreading times (winter) 7. Storage location ambiguous 8. Odour management 9. Spread timing ambiguous 10. Sensitive receptors. 11. Missing EIA 12. Sloping of field 1 13. Waste pH justification 14. Waste pH 15. FOGs 16. RAN waste 17. Nitrogen additions 18. Phosphate additions 19. D.wise waste description/code 20. D.wise liming 21. Enirc physical form 22. Risk assessment date 23. Risk assessment spreading methods 24. Risk assessment pathways 25. Risk assessment high nutrient index fields 26. Risk assessment does not address Llyn Bedydd 27. Land owner consent does not list fields or waste to be spread 28. Previous deployment still live until 14/02/23.

| Decision |  |
| --- | --- |
| ## Can the deployment application be approved? | No |
| ## Issue date |  |
| ## Effective date |  |
| ## Permitting Officer Date | Ethan Banfield 15/12/22 |
| ## Team leader or Transfer of Powers (ToP) approval Date | Huw Davies 15/12/2022 |

| Time recording |  |
| --- | --- |
| Admin/consultations | 60 |
| Determination | 1847 |
| Sign off |  |
| Issuing |  |
| Total |  |