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	Consent no
	NRWWIA340

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dŵr Cymru Cyfyngedig


Linea House

Fortran Road


St Mellons


CARDIFF

CF3 0LT
	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
Raw Water 


	FROM: PONTSTICILL RSERVOIR, PONTSTICILL, MERTHYR TYDFIL, CF48 2UN

	

	AT: NATIONAL GRID REFERENCE SO 06049 11752

	

	TO: Taf Fechan

	

	SUBJECT TO: the conditions set out in the following schedule:

Raw Water                     Schedule No. NRWWIA340

	

	This consent is issued on the 19th day of December 2022
This consent takes effect on the 6th day of February 2023
This consent shall cease to have effect on the 25th day of May 2023
Signed: Melissa Broad


	


CONDITIONS OF CONSENT TO DISCHARGE

RAW WATER (“the Discharge”)
NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of raw water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Pontsticill Reservoir
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR SO 06049 11752, marked ‘Point A’ on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total volume of the Discharge shall not exceed 2,499 Mega Litres
6. The total daily volume of the Discharge shall not exceed 21,000 cubic meters
7. The rate of the Discharge shall not exceed 21,000,000 litres per second.
COMPOSITION

8.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
9.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water. 
FLOODING

10.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

11.
The Discharge shall only be made between 6th day of February 2023 and the 25th day of May 2023.
ANNEX 1- PLAN No. NRWWIA340
Figure 1 - Site location (Point A references discharge point)
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Figure 2 – Map of site with Discharge location to stilling basin (Point A), Cascading weir (Point B), and Taf Fechan River (Point C).
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