Permit Number: 	LP3030XA			Operator: 		Viridor Trident Park Limited

Facility:		Cardiff Energy Recovery Facility		Form Number: 	 Air17 / 03/12/2023

# Reporting of emissions to air for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Result Date and Time [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 and A2 | Hydrogen fluoride | 1 mg/Nm3 | Average of three consecutive measurements of at least 30 minutes each |  | CEN TS 17340 |  |  |
|  | Cadmium & thallium and their compounds (total) | 0.02 mg/Nm3 | Average of three consecutive measurements of at least 30 minutes each |  | EN 14385 |  |  |
|  | Mercury and its compounds | 0.02 mg/Nm3 | Average of three consecutive measurements of at least 30 minutes each |  | EN 13211 |  |  |
|  | Sb, As, Pb, Cr, Co, Cu, Mn, Ni and V and their compounds (total) | 0.3 mg/Nm3 | Average of three consecutive measurements of at least 30 minutes each |  | EN 14385 |  |  |
|  | Dioxins / Furans (I-TEQ) | 0.06 ng/Nm3 | over minimum 6 hour period, maximum 8 hour period |  | Relevant parts of EN 1948 |  |  |
|  | Dioxins / Furans (I-TEQ) [5] | 0.08 ng/Nm3 [5] | Value over sampling period of 2 to 4 weeks for long term sampling [5] |  | CEN TS 1948-5 [5] |  |  |
|  | Dioxin-like PCBs (WHO-TEQ Humans / Mammals) | No limit set | over minimum 6 hour period, maximum 8 hour period |  | Relevant parts of EN 1948 |  |  |
|  | Dioxin-like PCBs (WHO-TEQ Fish) | No limit set | over minimum 6 hour period, maximum 8 hour period |  | Relevant parts of EN 1948 |  |  |
|  | Dioxin-like PCBs (WHO-TEQ Birds) | No limit set | over minimum 6 hour period, maximum 8 hour period |  | Relevant parts of EN 1948 |  |  |
|  | Dioxins / furans (WHO-TEQ Humans / Mammals) | No limit set | over minimum 6 hour period, maximum 8 hour period |  | Relevant parts of EN 1948 |  |  |
|  | Dioxins / furans (WHO-TEQ Fish) | No limit set | over minimum 6 hour period, maximum 8 hour period |  | Relevant parts of EN 1948 |  |  |
|  | Dioxins / furans (WHO-TEQ Birds) | No limit set | over minimum 6 hour period, maximum 8 hour period |  | Relevant parts of EN 1948 |  |  |
|  | Polybrominated dibenzo-dioxins and furans | No limit set | over minimum 6 hour period, maximum 8 hour period |  | Method based on procedural requirements of EN 1948 |  |  |
|  | Poly-cyclic aromatic hydrocarbons (PAHs) | No limit set | over minimum 6 hour period, maximum 8 hour period |  | BS ISO 11338 Parts 1 and 2 |  |  |
|  | Total |  |  |  |  |  |  |
|  | Anthanthrene |  |  |  |  |  |  |
|  | Benzo{a}anthracene |  |  |  |  |  |  |
|  | Benzo[b]fluoranthene |  |  |  |  |  |  |
|  | Benzo[k]fluoranthene |  |  |  |  |  |  |
|  | Benzo[b]naph(2,1-d}thiophene |  |  |  |  |  |  |
|  | Benzo[c]phenanthrene |  |  |  |  |  |  |
|  | Benzo[ghi]perylene |  |  |  |  |  |  |
|  | Benzo[a]pyrene |  |  |  |  |  |  |
|  | Cholanthrene |  |  |  |  |  |  |
|  | Chrysene |  |  |  |  |  |  |
|  | Cyclopenta(c,d)pyrene |  |  |  |  |  |  |
|  | Dibenzo[ah]anthracene |  |  |  |  |  |  |
|  | Dibenzo[a,i]pyrene |  |  |  |  |  |  |
|  | Fluoranthene |  |  |  |  |  |  |
|  | Indo[1,2,3-cd]pyrene |  |  |  |  |  |  |
|  | Naphthalen |  |  |  |  |  |  |
| A2 [6] | Carbon monoxide [6] | No limit set | In line with web guide: Monitoring stack emissions: low risk MCPs and specified generators [6] |  | In line with web guide: Monitoring stack emissions: low risk MCPs and specified generators [6] |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values. For dioxins and dioxin-like PCBs, the result are to be reported as a range based on: All congeners less than the detection limit assumed to be zero as a minimum, and all congeners less than the detection limit assumed to be at the detection limit as a maximum

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

- Unless otherise agreed with in writing with Natural Resources Wales

- Monitoring required after 3 times the maximum average annual operating hours have elapsed and no less frequent than every 5 years from date of acceptance of first monitoring measurements under condition 3.6.5

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	EPR/LP3030XA			               Operator: 		Viridor Trident Park Limited

Facility: Cardiff Energy Recovery Facility 	                            Form Number: 	WaterUsage1 / 03/12/2023

# Reporting of Water Usage for the year YYYY

| Water Source | Usage (m3/year | Specific Usage (m3/unit output) |  |
| --- | --- | --- | --- |
| Mains water | m3 | m3/ tonne of waste incinerated |  |
| TOTAL WATER USAGE |  |  |  |

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(authorised to sign as representative of Operator)

Permit Number: 	EPR/LP3030XA			               Operator: 		Viridor Trident Park Limited

Facility: Cardiff Energy Recovery Facility 	                            Form Number: 	Energy1 / 03/12/2023

# Reporting of Energy Usage for the year YYYY

| Energy Source | Energy Usage |  | Specific Usage (MWh/tonne waste incinerated) |  |
| --- | --- | --- | --- | --- |
|  | Quantity | Primary Energy (MWh) |  |  |
| Electrical energy produced | MWh |  |  |  |
| Electrical energy exported | MWh |  |  |  |
| Electrical energy imported | MWh |  |  |  |
| Electrical energy used on installation | MWh |  |  |  |
| Steam/hot water exported | MWh |  |  |  |
| Waste heat utilised by the installation | MWh |  |  |  |
| TOTAL | - |  |  |  |

* Conversion factor for delivered electricity to primary energy = 2.4

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	EPR/LP3030XA			               Operator: 		Viridor Trident Park Limited

Facility: Cardiff Energy Recovery Facility 	                            Form Number: 	Performance1 / 03/12/2023

# Reporting of other performance indicators for the period DD/MM/YYYY to DD/MM/YYYY

| Parameter |  | Units |  |
| --- | --- | --- | --- |
| Total mass of municipal waste received on site |  | tonnes |  |
| Total mass of commercial and industrial waste received on site |  | tonnes |  |
| Total municipal waste incinerated |  | tonnes |  |
| Total commercial and industrial waste incinerated |  | tonnes |  |
| Rejected material sent off-site for disposal |  | tonnes |  |
| Gas oil consumption |  | kg/tonne of waste incinerated |  |
| Urea consumption |  | kg/tonne of waste incinerated |  |
| Calcium hydroxide consumption |  | kg/tonne of waste incinerated |  |
| Activated carbon consumption |  | kg/tonne of waste incinerated |  |
| Bottom Ash residue |  | Total tonnes generated, tonnnes (disposal), tonnes (recovery) and tonnes/tonne of waste incinerated |  |
| APC residue |  | Total tonnes generated, tonnnes (disposal), tonnes (recovery) and tonnes/tonne of waste incinerated |  |
| Periods of abnormal operation |  | No. of occasions and cumulative hours for calendar year for each line |  |

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	LP3030XA			Operator: 		Viridor Trident Park Limited

Facility:		Cardiff Energy Recovery Facility		Form Number: 	Residues1 / 03/12/2023

# Reporting of residue quality for the period from …………………………….to……………………………

| Ash Composition TOC |  |  |  |
| --- | --- | --- | --- |
|  | % Carbon (TOC) w/w |  |  |
| Bottom Ash [each process line] |  |  |  |

| Ash Compositon - Metals |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Sb mg/kg | Cd mg/kg | TI mg/kg | Hg mg/kg | Pb mg/kg | Cr mg/kg | Cu mg/kg | Mn mg/kg | Ni mg/kg | As mg/kg | Co mg/kg | V mg/kg | Zn mg/kg |
| Bottom ash [combined sample from both process lines] |  |  |  |  |  |  |  |  |  |  |  |  |  |
| APC residues [each process line] |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Ash compostion dioxins and dioxin-like PCBs |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | DIOXIN I-TEQ ng/kg | DIOXIN WHO-TEQ ng/kg |  |  | DIOXIN-LIKE PCBs ng/kg |
|  |  | Humans / mammals | Birds | Fish |  |
| Bottom ash [combined sample from both process lines] |  |  |  |  |  |
| APC residues [each process line] |  |  |  |  |  |

Signed …………………………………………………………….  		Date………………………..

(authorised to sign as representative of Operator)
Permit Number: 	LP3030XA			Operator: 		Viridor Trident Park Limited

Facility:		Cardiff Energy Recovery Facility	Form Number: 	Residues2 / 03/12/2023

# Reporting of Ash Solubility for the period from …………………………….to……………………………

| Ash solubility – total soluble fractions |  |
| --- | --- |
|  | Total soluble fraction % |
| Bottom ash [combined sample from both process lines] |  |
| APC residues [each process line] |  |

| Ash Solubility - Metals |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Sb mg/kg | Cd mg/kg | TI mg/kg | Hg mg/kg | Pb mg/kg | Cr mg/kg | Cu mg/kg | Mn mg/kg | Ni mg/kg | As mg/kg | Co mg/kg | V mg/kg | Zn mg/kg |
| Bottom ash [combined sample from both process lines] |  |  |  |  |  |  |  |  |  |  |  |  |  |
| APC residues [each process line] |  |  |  |  |  |  |  |  |  |  |  |  |  |

Signed …………………………………………………………….  		Date………………………..

(authorised to sign as representative of Operator)