## Welcome - Intro
Reporting forms for air emissions
| Permit Number: | EPR/WP3836ZF | Operator: | Tradebe Healthcare National Limited
| Facility: | Wrexham Clinical Waste Treatment | Form Dates: | 2023-12-03
Facility (Incinerator)
| Notes: | Use the following form format to report your air emissions to Natural Resources Wales
|  | Cells requiring input are marked with green background: |  |  | The content of other cells must not be modified without agreement from NRW
|  | Yellow cells should auto-populate from form Air 1a: |  |  | If incorrect, it is possible to over-write with new data

## Air 1 - Particulates
Reporting of Continuously Monitored Emissions to Air for Particulates
| Permit Number: | EPR/WP3836ZF |  |  | Operator: | [5 empty] | Tradebe Healthcare National Limited | [11 empty] | Form Number: | [5 empty] | Air 1
| Facility: | Wrexham Clinical Waste Treatment |  |  | Plant: | [17 empty] | OTNOC operation? | [5 empty] | Y/N
|  | Facility (Incinerator) | [20 empty] | If OTNOC has occurred in month, Form Air 16 must also be completed
| Reporting Month: |  |  |  | Compliance point:
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Half-hourly averages |  |  | Half-Hour average ELV | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
| Monthly maximum | 0 | Maximum half hourly average
| Monthly mean | #DIV/0! | Mean half hourly average
| Monthly minimum | 0 | Minimum half hourly average
| Total invalid results | 0 | No. of invalid results
| Sum of exceedances | 0 | No. of exceedances of ELV
Daily average |  |  | Daily average ELV | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| Monthly maximum | 0 | Daily Average
| No. of invalid days | 0 | Value valid? (Y/N)
| Sum of exceedances | 0 | Value exceeds ELV (Y/N)
| Signed: |  |  | Compliance point: 11: Date:
(Authorised to sign as a representative of Operator)

## Air 2 - TOC
Reporting of Continuously Monitored Emissions to Air for Total Organic Carbon
| Permit Number: | EPR/WP3836ZF |  |  | Operator: | [5 empty] | Tradebe Healthcare National Limited | [11 empty] | Form Number: | [5 empty] | Air 2
| Facility: | Wrexham Clinical Waste Treatment |  |  | Plant:
Facility (Incinerator)
| Reporting Month: |  |  |  | Emission point:
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Half-hourly averages |  |  | Half-Hour average ELV | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
| Monthly maximum | 0 | Maximum half hourly average
| Monthly mean | #DIV/0! | Mean half hourly average
| Monthly minimum | 0 | Minimum half hourly average
| Total invalid results | 0 | No. of invalid results
| Sum of exceedances | 0 | No. of exceedances of ELV
Daily average |  |  | Daily average ELV | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
| Monthly maximum | 0 | Daily Average
| No. of invalid days | 0 | Value valid?
| Sum of exceedances | 0 | Value exceeds ELV (Y/N)
| Signed: |  |  | Emission point: 11: Date:
(Authorised to sign as a representative of Operator)

## Air 3 - HCl
Reporting of Continuously Monitored Emissions to Air for Hydrogen Chloride
| Permit Number: | EPR/WP3836ZF |  |  | Operator: | [5 empty] | Tradebe Healthcare National Limited | [11 empty] | Form Number: | [5 empty] | Air 3
| Facility: | Wrexham Clinical Waste Treatment |  |  | Plant:
Facility (Incinerator)
| Reporting Month: |  |  |  | Compliance point:
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Half-hourly averages |  |  | Half-Hour average ELV | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
| Monthly maximum | 0 | Maximum half hourly average
| Monthly mean | #DIV/0! | Mean half hourly average
| Monthly minimum | 0 | Minimum half hourly average
| Total invalid results | 0 | No. of invalid results
| Sum of exceedances | 0 | No. of exceedances of ELV
Daily average |  |  | Daily average ELV | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
| Monthly maximum | 0 | Daily Average
| No. of invalid days | 0 | Value valid?
| Sum of exceedances | 0 | Value exceeds ELV (Y/N)
| Signed: |  |  | Compliance point: 11: Date:
(Authorised to sign as a representative of Operator)

## Air 4 - CO 10 min
Reporting of Continuously Monitored Emissions to Air for Carbon Monoxide
| Permit Number: | EPR/WP3836ZF |  |  | Operator: | [5 empty] | Tradebe Healthcare National Limited | [11 empty] | Form Number: | [5 empty] | Air 4
| Facility: | Wrexham Clinical Waste Treatment |  |  | Plant:
Facility (Incinerator)
| Reporting Month: |  |  |  | Compliance point:
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Half-hourly averages |  |  | 10-minute average ELV (95th percentile) | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150
| Monthly maximum 10-min avg | 0 | Maximum 10-minute average
| Monthly mean 10-min avg | #DIV/0! | 95th percentile
| Monthly minimum 10-min avg | 0 | Minimum 10-minute average
| Total invalid results | 0 | No. of invalid results
No. of results above ELV
| Sum of exceedances of 95th percentile ELV | 0 | 95th percentile ELV exceeded?
Daily average |  |  | Daily average ELV | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
| Monthly maximum | 0 | Daily Average
| No. of invalid days | 0 | Value valid?
| Sum of exceedances | 0 | Value exceeds ELV (Y/N)
| Signed: |  |  | Compliance point: 11: Date:
(Authorised to sign as a representative of Operator)
Explanatory note: The 10-minute average ELV is based on the “95th percentile”. In this case this means that 95% of the 10 minute averages in any 24-hour period (= 137) must be below 150 mg/m3, and 5% (= 7) are allowed to be any value above 150 mg/m3. Whilst we expect operators to minimise CO emissions at all times, it is perfectly acceptable for the value of the maximum 10-minute average to be above 150 mg/m3, provided the 95th percentile ELV has been met for that period.

## Air 5 - SO2
Reporting of Continuously Monitored Emissions to Air for Sulphur Dioxide
| Permit Number: | EPR/WP3836ZF |  |  | Operator: | [5 empty] | Tradebe Healthcare National Limited | [11 empty] | Form Number: | [5 empty] | Air 5
| Facility: | Wrexham Clinical Waste Treatment |  |  | Plant:
Facility (Incinerator)
| Reporting Month: |  |  |  | Compliance point:
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Half-hourly averages * |  |  | Half-Hour average ELV | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
| Monthly maximum | 0 | Maximum half hourly average
| Monthly mean | #DIV/0! | Mean half hourly average
| Monthly minimum | 0 | Minimum half hourly average
| Total invalid results | 0 | No. of invalid results
| Sum of exceedances | 0 | No. of exceedances of ELV
Daily average |  |  | Daily average ELV | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40
| Monthly maximum | 0 | Daily Average
| No. of invalid days | 0 | Value valid?
| Sum of exceedances | 0 | Value exceeds ELV (Y/N)
| Signed: |  |  | Compliance point: 11: Date:
(Authorised to sign as a representative of Operator)

## Air 6 - NOx
Reporting of Continuously Monitored Emissions to Air for Oxides of Nitrogen
| Permit Number: | EPR/WP3836ZF |  |  | Operator: | [5 empty] | Tradebe Healthcare National Limited | [11 empty] | Form Number: | [5 empty] | Air 6
| Facility: | Wrexham Clinical Waste Treatment |  |  | Plant:
Facility (Incinerator)
| Reporting Month: |  |  |  | Compliance point:
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Half-hourly averages |  |  | Half-Hour average ELV | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400
| Monthly maximum | 0 | Maximum half hourly average
| Monthly mean | #DIV/0! | Mean half hourly average
| Monthly minimum | 0 | Minimum half hourly average
| Total invalid results | 0 | No. of invalid results
| Sum of exceedances | 0 | No. of exceedances of ELV
Daily average |  |  | Daily average ELV | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180
| Monthly maximum | 0 | Daily Average
| No. of invalid days | 0 | Value valid?
| Sum of exceedances | 0 | Value exceeds ELV (Y/N)
| Signed: |  |  | Compliance point: 11: Date:
(Authorised to sign as a representative of Operator)

## Air 8 - N2O
Reporting of Continuously Monitored Emissions to Air for Nitrous Oxide
| Permit Number: | EPR/WP3836ZF |  |  | Operator: | [5 empty] | Tradebe Healthcare National Limited | [11 empty] | Form Number: | [5 empty] | Air 8
| Facility: | Wrexham Clinical Waste Treatment |  |  | Plant:
Facility (Incinerator)
| Reporting Month: |  |  |  | Compliance point:
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Half-hourly averages | Monthly maximum | 0 | Maximum half hourly average
| Monthly mean | #DIV/0! | Mean half hourly average
| Monthly minimum | 0 | Minimum half hourly average
| Total invalid results | 0 | No. of invalid results
Daily average | Monthly maximum | 0 | Daily Average
| No. of invalid days | 0 | Value valid?
| Signed: |  |  | Compliance point: 11: Date:
(Authorised to sign as a representative of Operator)

## Air 10 - Hg
Reporting of Continuously Monitored Emissions to Air for Ammonia
| Permit Number: | EPR/WP3836ZF |  |  | Operator: | [5 empty] | Tradebe Healthcare National Limited | [11 empty] | Form Number: | [5 empty] | Air 7
| Facility: | Wrexham Clinical Waste Treatment |  |  | Plant:
Facility (Incinerator)
| Reporting Month: |  |  |  | Compliance point:
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Half-hourly averages | Monthly maximum | 0 | Maximum half hourly average
| Monthly mean | #DIV/0! | Mean half hourly average
| Monthly minimum | 0 | Minimum half hourly average
| Total invalid results | 0 | No. of invalid results
Daily average |  |  | Daily average ELV | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
| Monthly maximum | 0 | Daily Average
| No. of invalid days | 0 | Value valid?
| Sum of exceedances | 0 | Value exceeds ELV (Y/N)
| Signed: |  |  | Compliance point: 11: Date:
(Authorised to sign as a representative of Operator)

## Air 11 - (Aux) Temperature
Reporting of Continuously Monitored Emissions to Air for Auxiliary Measurements for Data Correction
Exhaust Gas Temperature (celcius)
| Permit Number: | EPR/WP3836ZF |  |  | Operator: | [5 empty] | Tradebe Healthcare National Limited | [11 empty] | Form Number: | [5 empty] | Air 11
| Facility: | Wrexham Clinical Waste Treatment |  |  | Plant:
Facility (Incinerator)
| Reporting Month: |  |  |  | Compliance point:
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Half-hourly averages | Monthly maximum | 0 | Maximum half hourly average
| Monthly mean | #DIV/0! | Mean half hourly average
| Monthly minimum | 0 | Minimum half hourly average
| Total invalid results | 0 | No. of invalid results
Daily average | Monthly maximum | 0 | Daily Average
| No. of invalid days | 0 | Value valid?
| Signed: |  |  | Compliance point: 11: Date:
(Authorised to sign as a representative of Operator)

## Air 12 - (Aux) Pressure
Reporting of Continuously Monitored Emissions to Air for Auxiliary Measurements for Data Correction
Exhaust Gas Pressure
| Permit Number: | EPR/WP3836ZF |  |  | Operator: | [5 empty] | Tradebe Healthcare National Limited | [11 empty] | Form Number: | [5 empty] | Air 12
| Facility: | Wrexham Clinical Waste Treatment |  |  | Plant:
Facility (Incinerator)
| Reporting Month: |  |  |  | Compliance point: | [17 empty] | Units:
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Half-hourly averages | Monthly maximum | 0 | Maximum half hourly average
| Monthly mean | #DIV/0! | Mean half hourly average
| Monthly minimum | 0 | Minimum half hourly average
| Total invalid results | 0 | No. of invalid results
Daily average | Monthly maximum | 0 | Daily Average
| No. of invalid days | 0 | Value valid?
| Signed: |  |  | Compliance point: 11: Date:
(Authorised to sign as a representative of Operator)

## Air 13 - (Aux) Flow
Reporting of Continuously Monitored Emissions to Air for Auxiliary Measurements for Data Correction
Exhaust Gas Flow rate
| Permit Number: | EPR/WP3836ZF |  |  | Operator: | [5 empty] | Tradebe Healthcare National Limited | [11 empty] | Form Number: | [5 empty] | Air 13
| Facility: | Wrexham Clinical Waste Treatment |  |  | Plant:
Facility (Incinerator)
| Reporting Month: |  |  |  | Compliance point: | [17 empty] | Units:
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Half-hourly averages | Monthly maximum | 0 | Maximum half hourly average
| Monthly mean | #DIV/0! | Mean half hourly average
| Monthly minimum | 0 | Minimum half hourly average
| Total invalid results | 0 | No. of invalid results
Daily average | Monthly maximum | 0 | Daily Average
| No. of invalid days | 0 | Value valid?
| Signed: |  |  | Compliance point: 11: Date:
(Authorised to sign as a representative of Operator)

## Air 14 - (Aux) Oxygen
Reporting of Continuously Monitored Emissions to Air for Auxiliary Measurements for Data Correction
Exhaust Gas Oxygen (percent)
| Permit Number: | EPR/WP3836ZF |  |  | Operator: | [5 empty] | Tradebe Healthcare National Limited | [11 empty] | Form Number: | [5 empty] | Air 14
| Facility: | Wrexham Clinical Waste Treatment |  |  | Plant:
Facility (Incinerator)
| Reporting Month: |  |  |  | Compliance point:
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Half-hourly averages | Monthly maximum | 0 | Maximum half hourly average
| Monthly mean | #DIV/0! | Mean half hourly average
| Monthly minimum | 0 | Minimum half hourly average
| Total invalid results | 0 | No. of invalid results
Daily average | Monthly maximum | 0 | Daily Average
| No. of invalid days | 0 | Value valid?
| Signed: |  |  | Compliance point: 11: Date:
(Authorised to sign as a representative of Operator)

## Air 15 - (Aux) Water Vapour
Reporting of Continuously Monitored Emissions to Air for Auxiliary Measurements for Data Correction
Exhaust Gas water vapour (percent)
| Permit Number: | EPR/WP3836ZF |  |  | Operator: | [5 empty] | Tradebe Healthcare National Limited | [11 empty] | Form Number: | [5 empty] | Air 15
| Facility: | Wrexham Clinical Waste Treatment |  |  | Plant:
Facility (Incinerator)
| Reporting Month: |  |  |  | Compliance point:
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Half-hourly averages | Monthly maximum | 0 | Maximum half hourly average
| Monthly mean | #DIV/0! | Mean half hourly average
| Monthly minimum | 0 | Minimum half hourly average
| Total invalid results | 0 | No. of invalid results
Daily average | Monthly maximum | 0 | Daily Average
| No. of invalid days | 0 | Value valid?
| Signed: |  |  | Compliance point: 11: Date:
(Authorised to sign as a representative of Operator)

## Air 16 - OTNOC operation
Reporting of Continuously Monitored Emissions to Air during Other Than Normal Operating Conditions (OTNOC)
*according to permit definitions of valid half-hourly averages and of OTNOC
| Permit Number: | EPR/WP3836ZF |  | Operator: |  |  | Tradebe Healthcare National Limited | [5 empty] | Form Number: |  | Air 16
| Facility: | Wrexham Clinical Waste Treatment |  | Plant: | [8 empty] | OTNOC* operation? |  | Y/N
|  | Facility (Incinerator) | [10 empty] | If OTNOC has occurred in month, this form must be completed for each period of OTNOC. IF there is no OTNOC, only the header need be completed, once.
| Reporting Month: |  |  | Compliance point:
| Type of OTNOC |  |  | startup, shut-down, or Abnormal Operation defined under IED
Time at which OTNOC commenced
Time at which OTNOC ceased
Duration of this incidence of OTNOC
Cumulative duration of Abnormal operation in year (at end of this event)
Cumulative duration of Start-up/Shut-down in year (at end of this event)
Reasons for OTNOC
How did period of OTNOC end? (e.g. plant repaired, reaching Abnormal operation maximum permitted duration, initiation of shutdown, completion of start-up or shut-down or cancellation of start-up or shut-down)
Where a period of abnormal operation was caused by the failure of the failure of the particulate, CO or TOC CEM, attach a copy of the alternate monitoring data which was used to demonstrate compliance with the abnormal operation Emission Limit Values
Where normal abatement performance has failed, give the half-hourly average emissions for pollutants of relevance during the OTNOC period in the rows below (including those affected by OTNOC, and those demonstrating compliance wiht abnormal operation limits (where relevant). Continue below for start-up / shut down if >4h period:
| Pollutant |  | 1st half-hour |  | 2nd half-hour | 3rd half-hour |  | 4th half-hour |  | 5th half-hour | 6th half-hour | 7th half-hour |  | 8th half-hour
e.g. particulate
e.g. TOC
e.g. CO
e.g. SO2 (in event of acid gas abatement failure)
| Was emission of this pollutant affected by the OTNOC? |  | Y/N |  | Y/N | Y/N |  | Y/N |  | Y/N | Y/N | Y/N |  | Y/N
| For abnormal operation only: are these averages removed from the calculated daily averages |  | Y/N |  | Y/N | Y/N |  | Y/N |  | Y/N | Y/N | Y/N |  | Y/N
| Signed: | [7 empty] | Date:
(Authorised to sign as a representative of Operator)