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	Consent no
	NRWWIA346

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dwr Cymru  


Linea House

Fortran Road

St Mellons


Cardiff


CF3 0LT

	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
De-chlorinated water 


	FROM: Ladyhill SRV, Aberthaw Avenue, Ringland, NP19 9SG

	

	AT: NATIONAL GRID REFERENCE ST 34410 88385

	

	TO: Unknown Watercourse

	

	SUBJECT TO: the conditions set out in the following schedule:

De-chlorinated water                                          Schedule No. NRWWIA346

	

	This consent is issued on the 18th day of January 2023
This consent takes effect on the 1st day of February 2023
This consent shall cease to have effect on the 15th day of March 2023
Signed: Terry Gulliford


	


CONDITIONS OF CONSENT TO DISCHARGE

DE-CHLORINATED WATER (“the Discharge”)

NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of de-chlorinated water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Ladyhill Service Reservoir
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR ST 34410 88385, marked ‘Washout to watercourse’ on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total volume of the Discharge shall not exceed 2470 cubic metres.

6. The total daily volume of the Discharge shall not exceed 441 cubic metres.

7. The rate of the Discharge shall not exceed 5.10 litres per second.
COMPOSITION

8.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
9.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water. 
FLOODING

10.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

11.
The Discharge shall only be made between 1st day of February 2023 and the 15th day of March 2023.
ANNEX 1- PLAN No. NRWWIA346
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