Sol Environment Ltd     |    Malvern    |    Bristol    |    Edinburgh

enquiries@sol-environment.co.uk |   t. +44(0)1684 572727 (Switchboard)  | +44(0)117 9372811 (Bristol)

AIR QUALITY ASSESSMENT

EPR/EP3935UC

Prepared for:

Aleris Recycling (Swansea) Ltd

Date:

August 2013

Project  Issue Number:

SOL0113AL01  AQMS

| VERSION CONTROL RECORD |  |  |  |
| --- | --- | --- | --- |
| Contract/Proposal Number: |  | SOL0113AL01 AQMS |  |
| Authors Name: |  |  |  |
| Reviewers Signature: |  |  |  |
| Issue | Description of Status | Date | Reviewer Initials |

#### Contents

Page

1.	INTRODUCTION	4

2.	LEGISLATION AND POLICY	6

2.1	The European Directive on Ambient Air and Cleaner Air for Europe	6

2.2	Air Quality Strategy for England, Scotland, Wales and Northern Ireland	6

2.3	Air Quality (England) Regulations	7

2.4	Local Air Quality Management (LAQM)	7

2.5	Swansea Council Review and Assessment of Air Quality	8

2.6	Environmental Permitting Regulations	8

3.	METHODOLOGY	9

3.1	Scope of the Assessment	9

3.2	Dispersion Model Parameters	9

3.2.1	Meteorological Data	10

3.2.2	Building Downwash / Entrainment	10

3.2.3	Nitric Oxide to NO2 Conversion	11

3.3	Significance Criteria	11

3.4	Sensitive Receptors (Human)	11

3.5	Habitat Assessment	13

4.	BASELINE CONDITIONS	16

4.1	Human Health Receptors	16

4.1.1	Nitrogen Dioxide, Particulate Matter, Sulphur Dioxide and Total Organic Carbon (as Benzene)	16

4.1.2	Hydrogen Chloride	16

4.1.3	Hydrogen Fluoride	16

4.1.4	Dioxins and Furans	17

4.1.5	Summary of Maximum Human Receptor Background Concentrations	17

5.	ASSESSMENT OF IMPACT, MITIGATION & RESIDUAL EFFECTS	1

5.1	Human Health Impact	1

5.1.1	Introduction	1

5.1.2	Nitrogen Dioxide	1

5.1.3	Sulphur Dioxide (SO2)	2

5.1.4	Particulate Matter (as PM10)	3

5.1.5	Particulate Matter (as PM2.5)	4

5.1.6	Volatile Organic Compounds (as Benzene)	5

5.1.7	Hydrogen Chloride	6

5.1.8	Hydrogen Fluoride	7

5.1.9	Dioxins and Furans	8

5.2	Habitat Impact	9

5.2.1	Airborne Concentrations of NOx and SO2	9

5.2.2	Eutrophication	11

5.2.3	Acidification	12

6.	CONCLUSIONS	14

Appendix A – Air Quality Terminology	15

Appendix B – Air Quality Standards and Objectives	16

Appendix C –Dispersion Model Input Parameters	17

Appendix D – Windroses by year, Swansea	18

Appendix E – Environmental Assessment Levels for the Protection of Vegetation and Ecosystems	21

#### EXECUTIVE SUMMARY

Sol Environment Ltd has been commissioned to undertake an air quality assessment in support of an EPR variation application for Aleris Recycling (Swansea) Ltd (EPR/EP3935UC).

Detailed dispersion modelling has been undertaken to determine impacts arising from the introduction of oxygen enrichment (Oxy-Fuel) technologies which have increased emissions of SO2 and VOCs from the site.   As a consequence Aleris are seeking to increase their permitted emission limit values for these pollutants.  The primary emissions to air are via a single 23m baghouse stack (A4).

Maximum predicted concentrations are compared with the relevant Air Quality Objectives (AQO) and Environmental Assessment Levels (EALs) for the protection of health.  The significance of the impacts has been assessed using criteria given in the Environment Agency H1 Guidance.

Predicted maximum process concentrations at residential receptor locations are within the short and long term air quality objectives and insignificant according to the Environment Agency criteria.

For the sensitive habitat sites, the predicted process contributions are less than 1% of the relevant critical levels and critical loads at all of the identified locations except Cwmllywd Wood LNR. The dispersion of the plume is strongly affected by the elevated terrain at the LNR, resulting in considerably higher airborne concentrations and deposition rates than at the other habitat sites.

(This page is intentionally left blank)

INTRODUCTION

Sol Environment Ltd have been commissioned to undertake an air quality assessment in support of an EPR variation application for Aleris Recycling (Swansea) Ltd (EPR/EP3935UC).

The installation site is located to the north of the village of Wanurlwydd, approximately 2 km west of the outskirts of Swansea. Emissions to air are via a single 23m stack; the stack location is presented in Figure 1.

The key pollutants considered in this assessment are:

- oxides of nitrogen (NOx as NO2);

- volatile organic compounds (VOCs) as Benzene (C8);

- oxides of sulphur (SOx as SO2);

- particulates (PM10 and PM2.5);

- hydrogen chloride (HCl);

- hydrogen fluoride (HF); and

- dioxins and furans (PCDD/Fs).

This report presents the findings of a dispersion modelling assessment to determine the impact of the facility on air quality at sensitive human and habitat receptors in the surrounding area.

A glossary of common air quality terminology is provided in Appendix A.

Figure 1: Stack Location (Contains Ordnance Survey data © Crown copyright and database right 2013)

LEGISLATION AND POLICY

The European Directive on Ambient Air and Cleaner Air for Europe

European Directive 2008/50/EC of the European Parliament and of the Council of 21st May 2008, sets legally-binding Europe-wide limit values for the protection of public health and sensitive habitats.  The Directive streamlines the European Union’s air quality legislation by replacing four of the five existing Air Quality Directives within a single, integrated instrument.  The pollutants included are sulphur dioxide (SO2), nitrogen dioxide (NO2), particulate matter of less  than 10 micrometres (µm) in aerodynamic diameter (PM10), particulate matter of less  than 2.5 m in aerodynamic diameter lead (PM2.5), lead (Pb), carbon monoxide (CO), benzene (C6H6), ozone (O3), polycyclic aromatic hydrocarbons (PAHs), cadmium (Cd), arsenic (As), nickel (Ni) and mercury (Hg).

Air Quality Strategy for England, Scotland, Wales and Northern Ireland

The Government's policy on air quality within the UK is set out in the Air Quality Strategy (AQS) for England, Scotland, Wales and Northern Ireland (AQS) published in July 2007, pursuant to the requirements of Part IV of the Environment Act 1995. The AQS sets out a framework for reducing hazards to health from air pollution and ensuring that international commitments are met in the UK.  The AQS is designed to be an evolving process that is monitored and regularly reviewed.

The AQS sets standards and objectives for ten main air pollutants to protect health, vegetation and ecosystems. These are benzene (C6H6), 1,3-butadiene (C4H6), carbon monoxide (CO), lead (Pb), nitrogen dioxide (NO2), particulate matter (PM10, PM2.5), sulphur dioxide (SO2), ozone (O3) and polycyclic aromatic hydrocarbons (PAHs).

The air quality standards are long-term benchmarks for ambient pollutant concentrations which represent negligible or zero risk to health, based on medical and scientific evidence reviewed by the Expert Panel on Air Quality Standards (EPAQS) and the World Health Organisation (WHO).  These are general concentration limits, above which sensitive members of the public (e.g. children, the elderly and the unwell) might experience adverse health effects.

The air quality objectives are medium-term policy based targets set by the Government which take into account economic efficiency, practicability, technical feasibility and timescale.  Some objectives are equal to the EPAQS recommended standards or WHO guideline limits, whereas others involve a margin of tolerance, i.e. a limited number of permitted exceedences of the standard over a given period.

For some pollutants there is both a long-term (annual mean) standard and a short-term standard.  In the case of nitrogen dioxide (NO2), the short-term standard is for a 1-hour averaging period, whereas for fine particulates (PM10) it is for a 24-hour averaging period.  These periods reflect the varying impacts on health of differing exposures to pollutants (e.g. temporary exposure on the pavement adjacent to a busy road, compared with the exposure of residential properties adjacent to a road).

Air Quality (England) Regulations

Many of the objectives in the AQS were made statutory in England with the Air Quality (England) Regulations 2000 and the Air Quality (England) (Amendment) Regulations 2002 (the Regulations) for the purpose of Local Air Quality Management (LAQM).

The Air Quality Standards Regulations 2010 have adopted into UK law the limit values required by EU Directive 2008/50/EC and came into force on the 10th June 2010.  These regulations prescribe the ‘relevant period’ (referred to in Part I2V of the Environment Act 1995) that local authorities must consider in their review of the future quality of air within their area.  The regulations also set out the air quality objectives to be achieved by the end of the ‘relevant period’.

Ozone is not included in the Regulations as, due to its transboundary nature, mitigation measures must be implemented at a national level rather than at a local authority level.

The EALs, air quality standards and objectives for the pollutants considered in the assessment are presented in Appendix B.

Local Air Quality Management (LAQM)

Part IV of the Environment Act 1995 also requires local authorities to periodically review and assess the quality of air within their administrative area. The Reviews have to consider the present and future air quality and whether any air quality objectives prescribed in Regulations are being achieved or are likely to be achieved in the future.

Where any of the prescribed air quality objectives are not likely to be achieved the authority concerned must designate that part an Air Quality Management Area (AQMA).

For each AQMA, the local authority has a duty to draw up an Air Quality Action Plan (AQAP) setting out the measures the authority intends to introduce to deliver improvements in local air quality in pursuit of the air quality objectives.  Local authorities are not statutorily obliged to meet the objectives, but they must show that they are working towards them.

The Department of Environment, Food and Rural Affairs (DEFRA) has published technical guidance for use by local authorities in their Review and Assessment work. This guidance, referred to in this chapter as LAQM.TG(09), has been used where appropriate in the assessment.

Swansea Council Review and Assessment of Air Quality

Swansea Council carries out frequent review and assessments of air quality within the area and produce Updating and Screening Assessments and Progress Reports in accordance with the requirements of Defra.

Routine monitoring of NO2 concentrations within Sandwell have identified several areas where the annual mean air quality objective for NO2 is exceeded.   As a consequence, the Council have declared an AQMA incorporating three separate areas; Sketty, Fforestfach and Hafod.   The Fforestfach area is the nearest to the installation and is approximately 2.8 km east of the site.

Environmental Permitting Regulations

The Environmental Permitting Regulations (EPR) came into force on 6 April 2008. The Environmental Permitting (EP) Regulations introduce a single environmental permitting and compliance regime to apply in England and Wales. This regime streamlines and combines Waste Management Licensing (WML) and Pollution Prevention and Control (PPC) to create a single environmental permit with a common approach to permit applications, maintenance, surrender and enforcement.

METHODOLOGY

Scope of the Assessment

The scope of the assessment has been determined in the following way:

- consultation with the Environmental Health Department of Swansea Council (SC).

- review of air quality data for the area surrounding the site, including data from the Defra Air Quality Information Resource (UK-AIR);

- desk study to confirm the location of nearby areas that may be sensitive to changes in local air quality; and

- review and modelling of emissions data which has been used as an input to the Breeze AERMOD dispersion modelling assessment.

The assessment for the proposed development comprises a review of emission parameters for the facility and dispersion modelling to predict ground-level concentrations of pollutants at sensitive human and habitat receptor locations

Predicted ground level concentrations are compared with relevant air quality standards for the protection of health and critical levels/ loads for the protection of sensitive ecosystems and vegetation.

Dispersion Model Parameters

The predicted impact of the facility on local air quality has been undertaken using the Breeze AERMOD 7 dispersion model (version 12060).

For the purposes of the assessment, emissions from the stack are assumed to be at the maximum proposed emission limit values (ELVs).  The existing and proposed ELVs for the site are presented in Table 1.

Average volume flows and exhaust temperatures have been determined from extractive emissions monitoring carried out at the facility.

| Table 1: Emission Limits (mg/Nm3) |  |  |
| --- | --- | --- |
| Pollutant | Existing | Proposed |
| Particulate (PM) | 5 | 5 |
| VOCs as Total organic carbon (TOC) | 10 | 50 |
| Hydrogen chloride (HCl) | 10 | 10 |
| Hydrogen fluoride (HF) | 2 | 2 |
| Sulphur dioxide (SO2) | 35 | 50 |
| Oxides of nitrogen NOx) | 60 | 60 |
| Dioxins and furans (a) | 0.1 | 0.1 |
| - I-TEQ ng/m3 |  |  |

A summary of the input parameters used in the assessment are identified in Appendix C.

Meteorological Data

Dispersion modelling has been undertaken using five years (2008-2012) of hourly sequential meteorological data in order to take account of inter-annual variability and reduce the effect of any atypical conditions.  Data from a meteorological station in Swansea has been used for the assessment, which is the most representative data currently available for the area.

Windroses for each year of meteorological data are presented in Appendix D.

Building Downwash / Entrainment

The presence of buildings close to emission sources can significantly affect the dispersion of pollutants by leading to a phenomenon called downwash.  This occurs when a building distorts the wind flow, creating zones of increased turbulence.  Increased turbulence causes the plume to come to ground earlier than otherwise would be the case and result in higher ground level concentrations closer to the stack.

Downwash effects are only significant where building heights are greater than 30 to 40% of the emission release height.  The downwash structures also need to be sufficiently close for their influence to be significant.

There are a number of buildings on site, the tallest of which are the two baghouses which at around 15m high have the potential to influence dispersion from the stack.  In addition, there are several other large buildings on site, which are estimated to be around 10m high.  All of the relevant structures have been included in the model as potential downwash structures.

Nitric Oxide to NO2 Conversion

Oxides of nitrogen (NOx) emitted to atmosphere as a result of combustion will consist largely of nitric oxide (NO), a relatively innocuous substance.  Once released into the atmosphere, NO is oxidised to NO2.  The proportion of NO converted to NO2 depends on a number of factors including wind speed, distance from the source, solar irradiation and the availability of oxidants, such as ozone (O3).

A conversion ratio of 70% NOx:NO2 has been assumed for comparison of predicted concentrations with the long-term objectives for NO2.  A conversion ratio of 35% has been utilised for the assessment of short-term impacts, as recommended by Environment Agency guidance.

Significance Criteria

The Environment Agency has developed criteria for assessing the significance of an impact compared with relevant air quality standards and background air quality.  A process contribution (PC) is considered significant if:

- The long-term PC > 1% of the long-term air quality standard

- The short-term PC > 10% of the short-term air quality standard

At 1% of the long-term air quality standard, the impact of a development is unlikely to be significant compared with background air quality.  Both the short-and long term criteria are also designed to ensure that there is a substantial safety margin to protect public health and the environment.

If the screening criteria are not met the process contribution should be considered in combination with relevant ambient background pollutant concentrations.  The air quality standards are likely to be met if:

- The long-term PC + background concentration < 70% of the air quality standard

- The short-term PC < 20% (air quality standard – short-term background concentration), where the short-term background concentration is assumed to be twice the long-term background concentration

Sensitive Receptors (Human)

Specific receptors have been identified where people are likely to be regularly exposed for prolonged periods of time (e.g. residential areas).  The location of the discrete sensitive receptors is presented in Table 2 and Figure 2.

| Table 2: Human Health Receptors |  |  |  |  |
| --- | --- | --- | --- | --- |
| ID | Receptor | Type | Easting | Northing |
| 1 | Pen-y-Fodau-Fawr | Residential | 260033 | 197071 |
| 2 | Tir Gwyn | Residential | 260581 | 197064 |
| 3 | Glasfryn Terrace | Residential | 260809 | 197039 |
| 4 | Cae-newydd | Residential | 260928 | 196998 |
| 5 | The Garn | Residential | 261460 | 196751 |
| 6 | Keepers Lodge Farm | Residential | 261195 | 196248 |
| 7 | Dobes Acres | Residential | 260878 | 196057 |
| 8 | Grove Cottage | Residential | 260833 | 195843 |
| 9 | 65 Roseland Road | Residential | 260769 | 195678 |
| 10 | 2 Bridge Road | Residential | 260450 | 195695 |
| 11 | The Mews | Residential | 260056 | 195790 |
| 12 | 44 Oak Drive | Residential | 259893 | 195884 |
| 13 | 85 Gorwydd Road | Residential | 259458 | 196011 |
| 14 | 21 Tir-y-Farchnad | Residential | 259466 | 196208 |
| 15 | 3 Alder Way | Residential | 259252 | 196736 |

Figure 2: Sensitive Human health Receptor Locations (Contains Ordnance Survey data © Crown copyright and database right 2013)

Pollutant concentrations have been predicted at both discrete receptor locations and over a 4 km by 3 km Cartesian grid of 50 m resolution.

Habitat Assessment

The Environment Agency’s H1 guidance states that the impact of emissions to air on vegetation and ecosystems should be assessed for the following habitat sites within 10 km of the source:

- Special Areas of Conservation (SACs) and candidate SACs (cSACs) designated under the EC Habitats Directive ;

- Special Protection Areas (SPAs) and potential SPAs designated under the EC Birds Directive ; and

- Ramsar Sites designated under the Convention on Wetlands of International Importance .

Within 2 km of the source:

- Sites of Special Scientific Interest (SSSI) established by the 1981 Wildlife and Countryside Act;

- National Nature Reserves (NNR);

- Local Nature Reserved (LNR);

- local wildlife sites; and

- ancient woodland.

Habitat receptor designations and locations relevant to the assessment are presented in Table 3.

| Table 3: Sensitive Habitat Receptors |  |  |
| --- | --- | --- |
| Receptor | Primary Habitat | Approx. Location (Relative to Site) |
| Gower Commons SAC | Acid Grassland | 3.6 km southwest |
| Gower Ash Woods SAC | Broadleaved, mixed and yew woodland | 7.3 km south-southwest |
| Limestone Coast of South West Wales SAC | Acid Grassland | 9.6 km south-southwest |
| Crymlyn Bog SAC | Bogs | 8.6 km east-southeast |
| Carmarthen Bay and Estuaries SAC | Coastal saltmarsh | 3.9 km northwest |
| Burry Inlet SPA | Coastal saltmarsh | 2.2 km west |
| Burry Inlet Ramsar | Coastal saltmarsh | 2.2 km west |
| Crymlyn Bog Ramsar | Bogs | 8.6 km east-southeast |
| Cwmllywd Wood Local Nature Reserve | Broadleaved, mixed and yew woodland | 1.6 km southeast |

Each habitat site (with the exception of Cwmllywd Wood LNR) has been represented in the model by a single discrete receptor at the closest boundary of the designated area.

Cwmllywd Wood, the closest habitat site to the facility, occupies an elevated position on the side Cockett Valley and is more likely to be adversely affected by emissions from the facility.  The boundary of the LNR has been represented in the model by boundary receptors and 50 m resolution Cartesian grid receptors over the designated area to enable the maximum impact to be determined for the site.

The modelled ground level pollutant concentrations are used to predict deposition rates, using typical deposition velocities.  A summary of typical NO2, SO2 and HCl dry deposition velocities is presented in Table 4.

| Table 4: Dry Deposition Velocities (m/s) |  |  |
| --- | --- | --- |
| Pollutant | Grassland | Woodland |
| Nitrogen Dioxide (NO2) | 0.0015 | 0.0030 |
| Sulphur Dioxide (SO2) | 0.012 | 0.024 |
| Hydrogen Chloride (HCl) | 0.025 | 0.06 |

The predicted nitrogen deposition rates assume a 100% NOx: NO2 conversion. This represents a worst-case for the assessment since nitric oxide (NO) has a lower deposition velocity than NO2 and consequently results in lower deposition rates.

Wet deposition of NOx, and SO2 have not been included in the assessment of the impact on habitats, as within 15 km from the point source it will not be significant by comparison with dry deposition. Wet deposition for HCl has been included by multiplying the dry deposition rate by a factor of 3 to determine the total deposition, in accordance with the EA H1 guidance.

Predicted ground level concentrations and acidification/ deposition rates are compared with relevant air quality standards, critical levels and critical loads for the protection of sensitive ecosystems and vegetation (see Appendix E).

(This page is intentionally left blank)

BASELINE CONDITIONS

Human Health Receptors

Nitrogen Dioxide, Particulate Matter, Sulphur Dioxide and Total Organic Carbon (as Benzene)

There are no automatic or non-automatic monitoring sites in the vicinity of the Aleris facility, therefore 2013 annual mean background NO2, SO2, PM10, PM2.5 and C8 concentrations have been obtained from the Defra UK Background Air Pollution Maps.  These 1 km grid resolution maps are derived from a complex modelling exercise which takes into account emissions inventories and measurements of ambient air pollution from both automated and non-automated sites.

The latest background maps (for NO2, PM10 and PM2.5) were issued in August 2012 and are based on 2010 monitoring data.  The CO, SO2 and benzene mapped concentrations are based on 2001 monitoring data. The 2013 SO2 concentrations are assumed to be 75% of the 2001 estimates, in accordance with the 2003 Local Air Quality Management Technical Guidance. The 2001 mapping includes projected benzene concentrations for 2010 and these are assumed to be representative of the 2013 concentrations for the purposes of the assessment.

Hydrogen Chloride

Ambient monitoring of Hydrogen Chloride is carried out as part of the Defra Acid Gases and Aerosols Network (AGANET) at a number of locations around the UK.  The closest monitoring site is at Narbeth, in south-west Wales. Over the period 2008 to 2010, the annual mean HCl concentration at this site varied between 0.28 and 0.37 g/m3.  The UK average over this period was 0.27 µg/m3.

The maximum measured concentration at Narbeth is assumed to provide a worst-case estimate of the background concentration of HCl at the Site.

Hydrogen Fluoride

Monitoring of ambient levels of hydrogen fluoride is not currently carried out in the UK, however the Expert Panel on Air Quality Standards (EPAQS) report on halogen and hydrogen halides in ambient air cites a modelling study which suggests that the typical natural background HF concentration is 0.5 µg/m3, with an elevated background of 3 µg/m3 where there are local anthropogenic emission sources.

The UK Pollutant Release and Transfer Register (PRTR) indicates that there are potentially other significant sources of HF in the area.  Therefore, as a worst-case the elevated background concentration has been assumed to be applicable at sensitive human health receptors in the vicinity of the Site.

Dioxins and Furans

Monitoring of PCDD/Fs is currently carried out by Defra at six locations in the UK (Hazelrigg, High Muffles, London, Manchester, Auchencorth Moss and Weybourne) as part of the Toxic Organic Micropollutants (TOMPs) Network.

To provide an indication of the range of PCDD/F concentrations that occur in the UK, a summary of the annual mean concentrations measured between 2007 and 200 is presented in Table 5.

| Table 5: UK PCDD/Fs Concentrations (fg TEQ/m3) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Site | Type | 2007 | 2008 | 2009 |
| London | Urban background | 10.9 | 41.4 | 38.6 |
| Manchester | Urban background | 19.0 | 14.2 | 48.7 |
| Auchencorth Moss | Rural background | 6.4 | 0.56 | 5.0 |
| High Muffles | Rural background | 1.7 | 9.38 | 2.8 |
| Hazelrigg | Rural background | 3.7 | 13.5 | 8.0 |
| Weybourne | Rural background | - | 22.82 | 2.5 |

None of the TOMPS monitoring sites are in the vicinity of the facility, therefore the 2007 to 2009 UK average concentration of 14.7 fg TEQ m-3 has been assumed to be representative of the background PCDD/Fs level at the Site.

Summary of Maximum Human Receptor Background Concentrations

A summary of the annual mean and short-term background concentrations assumed for the human health impact assessment is presented in Table 6.

| Table 6: Summary of Background Concentrations (a) |  |  |
| --- | --- | --- |
| Pollutant | Annual Mean | Short-Term |
| Particles (PM10) | 12.5 µg/m3 | 14.8 µg/m3 (a)(b) |
| Particles (PM2.5) | 8.8 µg/m3 | n/a |
| Nitrogen Dioxide (NO2) | 11.0 µg/m3 | 22 µg/m3 (a) |
| Sulphur Dioxide (SO2) | 2.0 µg/m3 | 2.4 µg/m3 (a)(b) 4.0 µg/m3 (a) 5.4 µg/m3 (a)(c) |
| Hydrogen Fluoride (HF) | 3 µg/m3 | 6 µg/m3 (a) |
| Hydrogen Chloride (HCl) | 0.37 µg/m3 | 0.92 µg/m3 (a) |
| Benzene (C8) | 0.27 µg/m3 | n/a |
| Dioxins and Furans (PCDD/Fs) | 14.7 fg/m3 | n/a |
| - 1 hour mean background concentration estimated by multiplying the annual mean by a factor of 2 in accordance with the H1 Guidance. - 24 hour mean background concentration estimated by multiplying the 1-hour mean by a factor of 0.59 in accordance with the H1 Guidance. - 15 minute mean background concentration estimated by multiplying the 1-hour mean by a factor of 1.34 in accordance with the H1 Guidance. |  |  |

ASSESSMENT OF IMPACT, MITIGATION & RESIDUAL EFFECTS

Human Health Impact

Introduction

Predicted pollutant concentrations (PC) for the five years of meteorological data are presented as the maximum and average concentration for each of the discrete receptors identified in Section 3.4.

The maximum PC is added to the estimated background concentration for the area (see Section 4) to give the total predicted environmental concentration (PEC) for comparison with the relevant air quality objectives.

The maximum PC is also compared with the air quality objective to determine the significance of the impact in accordance with the Environment Agency’s H1 Guidance.

Nitrogen Dioxide

The predicted annual mean and 99.8th percentile of 1-hour mean ground level NO2 concentrations (PC) are presented in Table 7.

| Table 7: Predicted NO2 Concentrations (µg/m3) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Receptor | Annual Mean |  | 99.8th Percentile of 1-Hour Means |  |
|  | Maximum | Average | Maximum | Average |
| Pen-y-Fodau-Fawr | 0.20 | 0.17 | 1.2 | 1.0 |
| Tir Gwyn | 0.27 | 0.23 | 1.3 | 1.23 |
| Glasfryn Terrace | 0.26 | 0.21 | 1.3 | 0.96 |
| Cae-newydd | 0.25 | 0.20 | 1.1 | 0.90 |
| The Garn | 0.22 | 0.19 | 0.78 | 0.70 |
| Keepers Lodge Farm | 0.27 | 0.23 | 1.1 | 0.93 |
| Dobes Acres | 0.29 | 0.24 | 1.5 | 1.19 |
| Grove Cottage | 0.18 | 0.15 | 0.84 | 0.69 |
| 65 Roseland Road | 0.12 | 0.10 | 0.74 | 0.64 |
| 2 Bridge Road | 0.13 | 0.092 | 0.78 | 0.64 |
| The Mews | 0.12 | 0.094 | 1.6 | 0.92 |
| 44 Oak Drive | 0.26 | 0.18 | 2.5 | 1.8 |
| 85 Gorwydd Road | 0.21 | 0.17 | 2.5 | 1.8 |
| 21 Tir-y-Farchnad | 0.25 | 0.22 | 2.5 | 1.9 |
| 3 Alder Way | 0.20 | 0.16 | 1.1 | 0.95 |
| AQO | 40 |  | 200 |  |
| Max. PC (as a %age of AQO) | 0.73% |  | 1.3% |  |
| Background | 11.0 |  | 22.0 |  |
| Max. PEC (as a %age of AQO) | 28.2% |  | 12.3% |  |

Predicted maximum annual and 99.8th percentile of hourly mean NO2 concentrations are less than 1% and 10% of the AQO’s respectively and are therefore insignificant.

Sulphur Dioxide (SO2)

The predicted SO2 concentrations (PC) at identified sensitive receptor locations are presented in Table 8.

| Table 8: Predicted SO2 Concentrations (µg/m3) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Receptor | 99.2nd Percentile of 24-Hour Means |  | 99.7th Percentile of 1-Hour Means |  | 99.9th Percentile of 15-Minute Means |  |
|  | Maximum | Average | Maximum | Average | Maximum | Average |
| Pen-y-Fodau-Fawr | 2.0 | 1.6 | 5.9 | 5.3 | 9.2 | 8.5 |
| Tir Gwyn | 2.8 | 2.2 | 5.8 | 5.5 | 8.1 | 7.8 |
| Glasfryn Terrace | 2.4 | 1.9 | 5.3 | 4.8 | 7.4 | 7.1 |
| Cae-newydd | 2.3 | 1.9 | 5.0 | 4.5 | 7.0 | 6.7 |
| The Garn | 1.6 | 1.5 | 3.9 | 3.7 | 5.5 | 5.3 |
| Keepers Lodge Farm | 2.2 | 1.8 | 5.0 | 4.7 | 7.2 | 6.9 |
| Dobes Acres | 2.4 | 2.0 | 6.6 | 6.2 | 9.6 | 9.2 |
| Grove Cottage | 1.7 | 1.4 | 4.8 | 4.4 | 8.6 | 8.0 |
| 65 Roseland Road | 1.5 | 1.2 | 3.5 | 3.4 | 5.1 | 5.0 |
| 2 Bridge Road | 1.5 | 1.3 | 4.4 | 3.9 | 6.5 | 6.2 |
| The Mews | 2.2 | 1.4 | 5.5 | 4.3 | 12.3 | 8.4 |
| 44 Oak Drive | 4.4 | 3.2 | 9.9 | 7.3 | 15.3 | 12.4 |
| 85 Gorwydd Road | 3.0 | 2.5 | 7.6 | 6.4 | 11.0 | 10.3 |
| 21 Tir-y-Farchnad | 3.6 | 3.0 | 8.7 | 7.9 | 12.5 | 12.0 |
| 3 Alder Way | 2.2 | 1.8 | 5.4 | 4.9 | 7.6 | 7.3 |
| AQO | 125 |  | 350 |  | 266 |  |
| Max PC (as a %age of AQO) | 3.5% |  | 2.8% |  | 5.8% |  |
| Background | 2.4 |  | 4.0 |  | 5.4 |  |
| Max. PEC (as a %age of AQO) | 5.4% |  | 1.7% |  | 7.8% |  |

Predicted maximum ground level SO2 concentrations are substantially below the relevant short-term air quality objectives.

The contribution from the facility (PC) is less than 10% of the air quality objectives at all receptor locations, therefore the impact is insignificant according to the Environment Agency’s criteria.

Particulate Matter (as PM10)

Predicted annual mean and 90.4th percentile of 24-hour mean PM10 concentrations at the selected receptor locations are presented in Table 9.  The predictions assume that 100% of the particulate matter emitted from the stack is PM10.

| Table 9: Predicted PM10 Concentrations (µg/m3) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Receptor | Annual Mean |  | 90.4th Percentile of 24-Hour Means |  |
|  | Maximum | Average | Maximum | Average |
| Pen-y-Fodau-Fawr | 0.024 | 0.020 | 0.28 | 0.14 |
| Tir Gwyn | 0.032 | 0.027 | 0.31 | 0.17 |
| Glasfryn Terrace | 0.031 | 0.025 | 0.31 | 0.15 |
| Cae-newydd | 0.030 | 0.024 | 0.27 | 0.14 |
| The Garn | 0.026 | 0.022 | 0.18 | 0.11 |
| Keepers Lodge Farm | 0.032 | 0.028 | 0.27 | 0.14 |
| Dobes Acres | 0.035 | 0.029 | 0.28 | 0.16 |
| Grove Cottage | 0.021 | 0.018 | 0.15 | 0.10 |
| 65 Roseland Road | 0.015 | 0.012 | 0.16 | 0.09 |
| 2 Bridge Road | 0.015 | 0.011 | 0.15 | 0.09 |
| The Mews | 0.014 | 0.011 | 0.15 | 0.08 |
| 44 Oak Drive | 0.031 | 0.022 | 0.39 | 0.19 |
| 85 Gorwydd Road | 0.025 | 0.020 | 0.44 | 0.22 |
| 21 Tir-y-Farchnad | 0.030 | 0.026 | 0.51 | 0.25 |
| 3 Alder Way | 0.024 | 0.020 | 0.26 | 0.15 |
| AQO | 40 |  | 50 |  |
| Max. PC (as a %age of AQO) | 0.088% |  | 1.0% |  |
| Background | 12.5 |  | 14.8 |  |
| Max. PEC (as a %age of AQO) | 31.3% |  | 30.6% |  |

The maximum predicted long and short term concentrations are less than 1% and 10% of the annual mean and 24-hour mean air quality objectives respectively, therefore PM10 emissions from the facility are considered insignificant.

Particulate Matter (as PM2.5)

Predicted annual mean PM2.5 concentrations at the selected receptor locations are presented in Table 10.  The predictions assume that 100% of the particulate matter emitted from the stack is PM2.5.

| Table 10: Predicted PM2.5 Concentrations (µg/m3) |  |  |
| --- | --- | --- |
| Receptor | Annual Mean |  |
|  | Maximum | Average |
| Pen-y-Fodau-Fawr | 0.024 | 0.020 |
| Tir Gwyn | 0.032 | 0.027 |
| Glasfryn Terrace | 0.031 | 0.025 |
| Cae-newydd | 0.030 | 0.024 |
| The Garn | 0.026 | 0.022 |
| Keepers Lodge Farm | 0.032 | 0.028 |
| Dobes Acres | 0.035 | 0.029 |
| Grove Cottage | 0.021 | 0.018 |
| 65 Roseland Road | 0.015 | 0.012 |
| 2 Bridge Road | 0.015 | 0.011 |
| The Mews | 0.014 | 0.011 |
| 44 Oak Drive | 0.031 | 0.022 |
| 85 Gorwydd Road | 0.025 | 0.020 |
| 21 Tir-y-Farchnad | 0.030 | 0.026 |
| 3 Alder Way | 0.024 | 0.020 |
| Limit Value (LV) | 25 |  |
| Max PC (as a %age of LV) | 0.14% |  |
| Background | 8.8 |  |
| Max. PEC (as a %age of LV) | 35.5% |  |

The maximum annual mean PM2.5 concentration is less than 1% of the EU limit value, therefore the impact of the proposed development is considered insignificant.

Volatile Organic Compounds (as Benzene)

Predicted annual mean ground-level benzene concentrations (PC) are presented in Table 11.

| Table 11: Predicted Benzene Concentrations (µg/m3) |  |  |
| --- | --- | --- |
| Receptor | Annual Mean |  |
|  | Maximum | Average |
| Pen-y-Fodau-Fawr | 0.24 | 0.20 |
| Tir Gwyn | 0.32 | 0.27 |
| Glasfryn Terrace | 0.31 | 0.25 |
| Cae-newydd | 0.30 | 0.24 |
| The Garn | 0.26 | 0.22 |
| Keepers Lodge Farm | 0.32 | 0.28 |
| Dobes Acres | 0.35 | 0.29 |
| Grove Cottage | 0.21 | 0.18 |
| 65 Roseland Road | 0.15 | 0.12 |
| 2 Bridge Road | 0.15 | 0.11 |
| The Mews | 0.14 | 0.11 |
| 44 Oak Drive | 0.31 | 0.22 |
| 85 Gorwydd Road | 0.25 | 0.20 |
| 21 Tir-y-Farchnad | 0.30 | 0.26 |
| 3 Alder Way | 0.24 | 0.20 |
| Limit Value (LV) | 5 |  |
| Max. PC (as a %age of LV) | 7.0% |  |
| Background | 0.27 |  |
| Max. PEC (as a %age of LV) | 12.4% |  |

The maximum PC for benzene is potentially significant at 7% of the EU limit value, however the PEC is just 12.4% of the limit value and therefore insignificant.

    - Hydrogen Chloride

The predicted maximum 1-hour mean ground-level hydrogen chloride concentrations (PC) at identified sensitive receptor locations are presented in Table 12.

| Table 12: Predicted HCl Concentrations (µg/m3) |  |  |
| --- | --- | --- |
| Receptor | Maximum 1-Hour Mean |  |
|  | Maximum | Average |
| Pen-y-Fodau-Fawr | 1.5 | 1.4 |
| Tir Gwyn | 1.3 | 1.3 |
| Glasfryn Terrace | 1.2 | 1.1 |
| Cae-newydd | 1.1 | 1.1 |
| The Garn | 0.87 | 0.83 |
| Keepers Lodge Farm | 1.1 | 1.1 |
| Dobes Acres | 1.5 | 1.5 |
| Grove Cottage | 1.4 | 1.4 |
| 65 Roseland Road | 1.2 | 0.99 |
| 2 Bridge Road | 1.2 | 1.1 |
| The Mews | 2.2 | 2.0 |
| 44 Oak Drive | 2.8 | 2.6 |
| 85 Gorwydd Road | 1.8 | 1.7 |
| 21 Tir-y-Farchnad | 2.0 | 1.9 |
| 3 Alder Way | 1.2 | 1.2 |
| EPAQS Guideline Value (GV) | 750 |  |
| Max. PC (as a %age of GV) | 0.37% |  |
| Background | 0.37 |  |
| Max. PEC (as a %age of GV) | 0.42% |  |

Predicted ground level hydrogen chloride concentrations are well within the EPAQS guideline value for protection from irritant and respiratory effects.

The maximum predicted hourly mean receptor concentration is less than 10% of the EPAQS guideline value, therefore HCl emissions from the proposed development are considered insignificant.

    - Hydrogen Fluoride

The predicted annual and maximum 1-hour mean ground-level hydrogen fluoride concentrations (PC) at identified sensitive receptor locations are presented in Table 13.

| Table 13: Predicted HF Concentrations (µg/m3) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Receptor | Annual Mean |  | Maximum 1-Hour Mean |  |
|  | Maximum | Average | Maximum | Average |
| Pen-y-Fodau-Fawr | 0.0096 | 0.0081 | 0.29 | 0.28 |
| Tir Gwyn | 0.013 | 0.011 | 0.27 | 0.25 |
| Glasfryn Terrace | 0.012 | 0.010 | 0.24 | 0.23 |
| Cae-newydd | 0.012 | 0.0094 | 0.23 | 0.22 |
| The Garn | 0.010 | 0.0088 | 0.17 | 0.17 |
| Keepers Lodge Farm | 0.013 | 0.011 | 0.23 | 0.22 |
| Dobes Acres | 0.014 | 0.011 | 0.30 | 0.29 |
| Grove Cottage | 0.0084 | 0.0071 | 0.29 | 0.28 |
| 65 Roseland Road | 0.0059 | 0.0050 | 0.24 | 0.20 |
| 2 Bridge Road | 0.0061 | 0.0044 | 0.24 | 0.21 |
| The Mews | 0.0057 | 0.0045 | 0.44 | 0.39 |
| 44 Oak Drive | 0.012 | 0.0087 | 0.55 | 0.51 |
| 85 Gorwydd Road | 0.0099 | 0.0081 | 0.37 | 0.35 |
| 21 Tir-y-Farchnad | 0.012 | 0.010 | 0.40 | 0.39 |
| 3 Alder Way | 0.0097 | 0.0078 | 0.25 | 0.24 |
| EPAQS Guideline Value (GV) | 16 |  | 160 |  |
| Max. PC (as a %age of GV) | 0.088% |  | 0.34% |  |
| Background | 3.0 |  | 6.0 |  |
| Max. PEC (as a %age of GV) | 18.8% |  | 4.1% |  |

Predicted ground level hydrogen fluoride concentrations are well within the EPAQS guideline values for protection from irritant, respiratory effects and dental fluorosis.

The maximum predicted receptor concentrations are less than 1% and 10% of the EPAQS long and short-term guideline values, therefore HF emissions from the facility are considered insignificant.

    - Dioxins and Furans

The predicted annual mean ground level dioxin and furan concentrations (PC) at identified sensitive receptor locations are presented in Table 14.

| Table 14: Predicted PCDD/Fs Concentrations (fg/m3) |  |  |
| --- | --- | --- |
| Receptor | Annual Mean |  |
|  | Maximum | Average |
| Pen-y-Fodau-Fawr | 0.48 | 0.41 |
| Tir Gwyn | 0.65 | 0.54 |
| Glasfryn Terrace | 0.62 | 0.49 |
| Cae-newydd | 0.60 | 0.47 |
| The Garn | 0.51 | 0.44 |
| Keepers Lodge Farm | 0.65 | 0.55 |
| Dobes Acres | 0.70 | 0.57 |
| Grove Cottage | 0.42 | 0.36 |
| 65 Roseland Road | 0.30 | 0.25 |
| 2 Bridge Road | 0.31 | 0.22 |
| The Mews | 0.28 | 0.22 |
| 44 Oak Drive | 0.62 | 0.43 |
| 85 Gorwydd Road | 0.49 | 0.40 |
| 21 Tir-y-Farchnad | 0.59 | 0.52 |
| 3 Alder Way | 0.49 | 0.39 |
| Max. PC | 0.70 |  |
| Background | 14.7 |  |

There are no assessment criteria for dioxins and furans.  The maximum PC is 4.7% of the UK average background concentration.

Habitat Impact

Airborne Concentrations of NOx and SO2

Predicted maximum ground level concentrations of NOx and SO2 at Priory Woods LNR are compared with the relevant critical level (CL) and background concentrations obtained from the Defra UK background pollutant maps in Table 15.

| Table 15: Predicted Maximum NOx , SO2 and HF Concentrations (µg/m3) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Habitat Site | PC | PC as a %age of CL | PEC | PEC as a %age of CL |
| Annual NOx |  |  |  |  |
| Gower Commons SAC | 0.076 | 0.25% | 8.1 | 27.1% |
| Gower Ash Woods SAC | 0.031 | 0.10% | 6.9 | 23.1% |
| Limestone Coast of South West Wales SAC | 0.029 | 0.10% | 6.9 | 23.1% |
| Crymlyn Bog SAC | 0.029 | 0.10% | 13.3 | 44.5% |
| Carmarthen Bay and Estuaries SAC | 0.036 | 0.12% | 9.8 | 32.6% |
| Burry Inlet SPA | 0.086 | 0.29% | 9.8 | 32.8% |
| Burry Inlet Ramsar | 0.086 | 0.29% | 9.8 | 32.8% |
| Crymlyn Bog Ramsar | 0.029 | 0.10% | 13.3 | 44.5% |
| Cwmllywd Wood LNR | 1.5 | 5.1% | 13.1 | 43.8% |
| 24-Hour NOx (a) |  |  |  |  |
| Gower Commons SAC | 0.77 | 1.0% | 10.3 | 13.7% |
| Gower Ash Woods SAC | 0.43 | 0.57% | 8.6 | 11.4% |
| Limestone Coast of South West Wales SAC | 0.35 | 0.46% | 8.5 | 11.3% |
| Crymlyn Bog SAC | 0.31 | 0.4% | 16.0 | 21.4% |
| Carmarthen Bay and Estuaries SAC | 0.44 | 0.58% | 11.9 | 15.9% |
| Burry Inlet SPA | 1.4 | 1.8% | 12.9 | 17.2% |
| Burry Inlet Ramsar | 1.4 | 1.8% | 12.9 | 17.2% |
| Crymlyn Bog Ramsar | 0.31 | 0.42% | 16.0 | 21.4% |
| Cwmllywd Wood LNR | 18.4 | 24.5% | 32.1 | 42.8% |
| Annual SO2 |  |  |  |  |
| Gower Commons SAC | 0.062 | 0.31% | 0.49 | 2.5% |
| Gower Ash Woods SAC | 0.026 | 0.13% | 0.53 | 2.6% |
| Limestone Coast of South West Wales SAC | 0.024 | 0.12% | 0.52 | 2.6% |
| Crymlyn Bog SAC | 0.024 | 0.12% | 0.52 | 2.6% |
| Carmarthen Bay and Estuaries SAC | 0.029 | 0.15% | 0.53 | 2.6% |
| Burry Inlet SPA | 0.070 | 0.35% | 0.57 | 2.9% |
| Burry Inlet Ramsar | 0.070 | 0.35% | 0.57 | 2.9% |
| Crymlyn Bog Ramsar | 0.024 | 0.12% | 0.52 | 2.6% |
| Cwmllywd Wood LNR | 1.24 | 6.2% | 1.7 | 8.7% |
| Daily HF (b) |  |  |  |  |
| Gower Commons SAC | 0.026 | 0.51% | 1.0 | 20.5% |
| Gower Ash Woods SAC | 0.014 | 0.28% | 1.0 | 20.3% |
| Limestone Coast of South West Wales SAC | 0.011 | 0.23% | 1.0 | 20.2% |
| Crymlyn Bog SAC | 0.010 | 0.21% | 1.0 | 20.2% |
| Carmarthen Bay and Estuaries SAC | 0.014 | 0.29% | 1.0 | 20.3% |
| Burry Inlet SPA | 0.046 | 0.91% | 1.0 | 20.9% |
| Burry Inlet Ramsar | 0.046 | 0.91% | 1.0 | 20.9% |
| Crymlyn Bog Ramsar | 0.010 | 0.21% | 1.0 | 20.2% |
| Cwmllywd Wood LNR | 0.61 | 12.1% | 1.6 | 32.1% |
| Weekly HF (c)(d) |  |  |  |  |
| Gower Commons SAC | 0.0025 | 0.50% | 0.50 | 100% |
| Gower Ash Woods SAC | 0.0010 | 0.21% | 0.50 | 100% |
| Limestone Coast of South West Wales SAC | 0.0010 | 0.19% | 0.50 | 100% |
| Crymlyn Bog SAC | 0.00095 | 0.19% | 0.50 | 100% |
| Carmarthen Bay and Estuaries SAC | 0.0012 | 0.24% | 0.50 | 100% |
| Burry Inlet SPA | 0.0028 | 0.57% | 0.50 | 101% |
| Burry Inlet Ramsar | 0.0028 | 0.57% | 0.50 | 101% |
| Crymlyn Bog Ramsar | 0.00095 | 0.19% | 0.50 | 100% |
| Cwmllywd Wood LNR | 0.050 | 10.0% | 0.50 | 110% |
| - 24-hour mean background concentration derived by multiplying the annual mean concentration by 1.18, in accordance with the H1 guidance. - Annual mean HF background concentration assumed to be 0.5 µg/m3. - Weekly background HF concentration not available, therefore annual mean background used. - Weekly HF PC assumed to be equal to the annual HF PC. |  |  |  |  |

The predicted concentrations due to emissions from the facility (PC) are less than 1% of the relevant critical levels at all of the habitat sites except Cwmllywd Wood LNR.   The dispersion of the plume is strongly influenced by the complex terrain in the area, which results in elevated concentrations at the LNR.

Eutrophication

Predicted maximum nutrient nitrogen deposition rates due to emissions from the facility (PC) are compared with the upper critical load for eutrophication in Table 16.

| Table 16: Predicted Eutrophication Rate (kg N/ha/yr) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Habitat Site | PC | PC (% of Lower CL) | PC (% of Upper CL) | PEC | PEC (as %age of Lower CL) |
| Gower Commons SAC | 0.011 | 0.11% | 0.073% | 13.5 | 135% |
| Gower Ash Woods SAC | 0.0091 | 0.060% | 0.045% | 24.2 | 162% |
| Limestone Coast of South West Wales SAC | 0.0042 | 0.053% | 0.042% | 14.1 | 177% |
| Crymlyn Bog SAC | 0.0041 | 0.041% | 0.028% | 15.8 | 158% |
| Carmarthen Bay and Estuaries SAC | 0.0052 | 0.026% | 0.017% | 21.6 | 108% |
| Burry Inlet SPA | 0.012 | 0.062% | 0.041% | 14.9 | 74.3% |
| Burry Inlet Ramsar | 0.012 | 0.062% | 0.041% | 14.9 | 74.3% |
| Crymlyn Bog Ramsar | 0.0041 | 0.041% | 0.028% | 15.8 | 158% |
| Cwmllywd Wood LNR | 0.44 | 4.4% | 2.2% | 24.9 | 249% |

The maximum nutrient nitrogen deposition rates due to emissions from the facility (PC) are less than 1% of the relevant critical loads at all of the habitat sites except Cwmllywd Wood LNR.

Acidification

Predicted acidification rates are expressed as a percentage of the critical load function (CLF) in Table 17.

| Table 17: Predicted Acidification Rates (keq/ha/yr) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Habitat Site | PC (N) | PC (S + HCl) | PC (Total) | PC (as a %age of the CLF) | PEC (as a percentage of the CLF |
| Gower Commons SAC | 0.00078 | 0.015 | 0.016 | 0.38% | 23.3% |
| Gower Ash Woods SAC | 0.00065 | 0.014 | 0.015 | 0.13% | 15.0% |
| Limestone Coast of South West Wales SAC | 0.00030 | 0.0060 | 0.0063 | 0.15% | 20.2% |
| Crymlyn Bog SAC | 0.00030 | 0.0059 | 0.0062 | 0.86% | 152% |
| Carmarthen Bay and Estuaries SAC | 0.00037 | 0.0073 | 0.0077 | n/a | #DIV/0! |
| Burry Inlet SPA | 0.00088 | 0.017 | 0.018 | n/a | #DIV/0! |
| Burry Inlet Ramsar | 0.00088 | 0.017 | 0.018 | n/a | #DIV/0! |
| Crymlyn Bog Ramsar | 0.00030 | 0.0059 | 0.0062 | 0.86% | 152% |
| Cwmllywd Wood LNR | 0.031 | 0.68 | 0.71 | 72.9% | 270% |

The maximum acid deposition rates due to emissions from the facility (PC) are less than 1% of the relevant critical load functions at all of the habitat sites except Cwmllywd Wood LNR.

(This page is intentionally left blank)

CONCLUSIONS

A detailed air quality modelling assessment using the AERMOD 7 dispersion model has been carried out to determine the local air quality impacts associated with emissions from the Aleris recycling facility.

Predicted maximum process concentrations at residential receptor locations are within the short and long term air quality objectives and insignificant according to the Environment Agency criteria.

For the sensitive habitat sites, the predicted process contributions are less than 1% of the relevant critical levels and critical loads at all of the identified locations except Cwmllywd Wood LNR. The dispersion of the plume is strongly affected by the elevated terrain at the LNR, resulting in considerably higher airborne concentrations and deposition rates than at the other habitat sites.

- Appendix A – Air Quality Terminology

| Term | Definition |
| --- | --- |
| Accuracy | A measure of how well a set of data fits the true value. |
| Air quality objective | Policy target generally expressed as a maximum ambient concentration to be achieved, either without exception or with a permitted number of exceedences within a specific timescale (see also air quality standard). |
| Air quality standard | The concentrations of pollutants in the atmosphere which can broadly be taken to achieve a certain level of environmental quality. The standards are based on the assessment of the effects of each pollutant on human health including the effects on sensitive sub groups (see also air quality objective). |
| Ambient air | Outdoor air in the troposphere, excluding workplace air. |
| Annual mean | The average (mean) of the concentrations measured for each pollutant for one year. Usually this is for a calendar year, but some species are reported for the period April to March, known as a pollution year. This period avoids splitting winter season between 2 years, which is useful for pollutants that have higher concentrations during the winter months. |
| AQMA | Air Quality Management Area. |
| DEFRA | Department for Environment, Food and Rural Affairs. |
| Exceedence | A period of time where the concentrations of a pollutant is greater than, or equal to, the appropriate air quality standard. |
| Fugitive emissions | Emissions arising from the passage of vehicles that do not arise from the exhaust system. |
| LAQM | Local Air Quality Management. |
| NO | Nitrogen monoxide, a.k.a. nitric oxide. |
| NO2 | Nitrogen dioxide. |
| NOx | Nitrogen oxides. |
| O3 | Ozone. |
| Percentile | The percentage of results below a given value. |
| PM10 | Particulate matter with an aerodynamic diameter of less than 10 micrometres. |
| ppb parts per billion | The concentration of a pollutant in the air in terms of volume ratio. A concentration of 1 ppb means that for every billion (109) units of air, there is one unit of pollutant present. |
| ppm parts per million | The concentration of a pollutant in the air in terms of volume ratio. A concentration of 1 ppm means that for every billion (106) units of air, there is one unit of pollutant present. |
| Ratification (Monitoring) | Involves a critical review of all information relating to a data set, in order to amend or reject the data. When the data have been ratified they represent the final data to be used (see also validation). |
| µg/m3 micrograms per cubic metre | A measure of concentration in terms of mass per unit volume. A concentration of 1ug/m3 means that one cubic metre of air contains one microgram (millionth of a gram) of pollutant. |
| UKAS | United Kingdom Accreditation Service. |
| Uncertainty | A measure, associated with the result of a measurement, which characterizes the range of values within which the true value is expected to lie. Uncertainty is usually expressed as the range within which the true value is expected to lie with a 95% probability, where standard statistical and other procedures have been used to evaluate this figure. Uncertainty is more clearly defined than the closely related parameter 'accuracy', and has replaced it on recent European legislation. |
| USA | Updating and Screening Assessment. |
| Validation (modelling) | Refers to the general comparison of modelled results against monitoring data carried out by model developers. |
| Validation (monitoring) | Screening monitoring data by visual examination to check for spurious and unusual measurements (see also ratification). |
| Verification (modelling) | Comparison of modelled results versus any local monitoring data at relevant locations. |

- Appendix B – Air Quality Standards and Objectives

| Pollutant | Averaging Period | EAL / AQS (g/m3) | Comments |
| --- | --- | --- | --- |
| Nitrogen dioxide (NO2) | annual | 40 | UK AQO |
|  | 1-hour | 200 | UK AQO, not to be exceeded more than 18 times per annum, equivalent to the 99.8th percentile of 1-hour means |
| Sulphur dioxide (SO2) | 24-hour | 125 | UK AQO, not to be exceeded more than 3 times per annum, equivalent to the 99.2nd percentile of 24-hour means |
|  | 1-hour | 350 | UK AQO, not to be exceeded more than 24 times per annum, equivalent to the 99.7th percentile of 1-hour means |
|  | 15-minute | 266 | UK AQO, not to be exceeded more than 35 times per annum, equivalent to the 99.9th percentile of 15-minute means |
| Carbon monoxide (CO) | 8-hour | 10,000 | UK AQO |
| Particulate matter (as PM10) | annual | 40 | UK AQO |
|  | 24-hour | 50 | UK AQO, not to be exceeded more than 35 times per annum, equivalent to the 90.4th percentile of 24-hour means |
| Particulate matter (as PM2.5) | annual | 25 | EU Limit Value |
| Benzene (C8) | annual | 5 | EU Limit Value |
| Hydrogen Chloride (HCl) | 1-hour | 750 | EPAQS Guideline Value |
| Hydrogen Fluoride (HF) | 1-hour | 160 | EPAQS Guideline Value |

- Appendix C –Dispersion Model Input Parameters

| Table C1: Stack Emission Parameters |  |
| --- | --- |
| Parameter | Value |
| Stack Height (m) | 23.0 |
| Stack diameter (m) | 1.5 |
| Temperature of release (ºC) | 362 |
| Actual flow rate (Am3/s) | 48.1 |
| Normalised flow rate (Nm3/s) | 36.3 |
| Emission velocity at stack exit (m/s) | 27.2 |
| Emission Concentration (mg/Nm3) |  |
| VOC (as Benzene) | 50 |
| SO2 | 50 |
| Particulates | 5 |
| NOx | 60 |
| HCL | 10 |
| HF | 2 |
| PCDD/Fs | 1 x 10-7 |
| Emission Rate (g/s) |  |
| VOC (as Benzene) | 1.8 |
| SO2 | 1.8 |
| Particulates | 0.18 |
| NOx | 2.2 |
| HCL | 0.36 |
| HF | 0.073 |
| PCDD/Fs | 3.6 x 10-9 |

- Appendix D – Windroses by year, Swansea

2008

2009

2010

2011

2012

- Appendix E – Environmental Assessment Levels for the Protection of Vegetation and Ecosystems

Critical Levels

Critical levels are thresholds of airborne pollutant concentrations above which damage may be sustained to sensitive plants and animals.

The critical levels for the protection of vegetation and ecosystems as defined by the EU Directive 2008/50/EC and the 2010 UK Air Quality Standards Regulations are summarised in Table E1.

| Table E1: Critical Levels for the Protection of Vegetation and Ecosystems |  |  |
| --- | --- | --- |
| Pollutant | Averaging Period | Concentration (g/m3) |
| Oxides of Nitrogen (NOx) | Annual Mean | 30 |
|  | 24-Hour Mean | 75 |
| Sulphur Dioxide (SO2) | Annual Mean / Winter Mean (31 Oct to 1 Mar) | 20 |
| Hydrogen Fluoride (HF) | Daily Mean | <5 |
|  | Weekly Mean | <0.5 |

The critical levels are based on monitoring criteria and only apply in the following areas:

- more than 20 km from agglomerations; and

- more than 5 km away from other built up areas, industrial installations motorways and major roads with a traffic count of more than 50,000 vehicles per day.

Nationally, around 37% of designated sites currently do not fall within the above criteria and are therefore excluded from the objectives.  None of the habitat sites within 10 km of the proposed development are sufficiently rural for the objectives to apply; however, the Environment Agency’s H1 guidance states that:

“the critical levels should be applied at all locations as a matter of policy, as they represent a standard against which to judge ecological harm”.

A summary of the annual mean background concentrations assumed for the habitat impact assessment is presented in Table E2.  The NOx and SO2 concentrations have been obtained from the Air Pollution Information System (APIS).  The HF concentration is assumed to be 0.5 µg/m3, which is the typical natural HF background according to the Expert Panel on Air Quality Standards (EPAQS) report on halogen and hydrogen halides in ambient air.

| Table E2: Summary of Annual Mean Background Concentrations (a) |  |  |  |
| --- | --- | --- | --- |
| Habitat Site | NOx | SO2 | HF |
| Gower Commons SAC | 8.0 | 0.43 | 0.5 |
| Gower Ash Woods SAC | 6.9 | 0.43 | 0.5 |
| Limestone Coast of South West Wales SAC | 6.9 | 0.43 | 0.5 |
| Crymlyn Bog SAC | 13.3 | 0.42 | 0.5 |
| Carmarthen Bay and Estuaries SAC | 9.8 | 0.43 | 0.5 |
| Burry Inlet SPA | 9.8 | 0.43 | 0.5 |
| Burry Inlet Ramsar | 9.8 | 0.43 | 0.5 |
| Crymlyn Bog Ramsar | 13.3 | 0.42 | 0.5 |
| Cwmllywd Wood LNR | 11.6 | 0.42 | 0.5 |

Critical Loads

Critical loads refer to the threshold beyond which deposition of pollutants to water or land results in measurable damage to vegetation and habitats.  This takes the form of either gravitational settling of particulate matter (dry deposition) or wet deposition, where atmospheric pollutants dissolve in water vapour and then precipitate to the ground (e.g. as rain, snow, fog etc.).

Critical loads for eutrophication (nutrient nitrogen deposition) and background nutrient nitrogen deposition rates have been obtained from APIS and are summarised in Table E3 for the identified habitat sites.

| Table E3: Critical Loads (Eutrophication) and Background Nutrient Nitrogen Deposition |  |  |  |
| --- | --- | --- | --- |
| Habitat Site | Primary Sensitive Habitat | Critical Load (kg N/ha/a) | Background N Deposition (kg N/ha/a) |
| Gower Commons SAC | Non-mediterranean dry acid and neutral closed grassland | 10 – 15 | 13.4 |
| Gower Ash Woods SAC | Meso- and eutrophic Quercus woodland | 15 – 20 | 24.2 |
| Limestone Coast of South West Wales SAC | Coastal stable dune grasslands - acid type | 8 – 10 | 14.1 |
| Crymlyn Bog SAC | Valley mires, poor fens and transition mire | 10 – 15 | 15.8 |
| Carmarthen Bay and Estuaries SAC | Pioneer, low-mid, mid-upper saltmarshes | 20 – 30 | 21.6 |
| Burry Inlet SPA | Pioneer, low-mid, mid-upper saltmarshes | 20 – 30 | 14.8 |
| Burry Inlet Ramsar | Pioneer, low-mid, mid-upper saltmarshes | 20 – 30 | 14.8 |
| Crymlyn Bog Ramsar | Valley mires, poor fens and transition mire | 10 – 15 | 15.8 |
| Cwmllywd Wood LNR | Broadleaved deciduous woodland | 10 - 20 | 24.5 |

The background nutrient nitrogen deposition rates exceed the upper critical load at the following habitat sites:

- Gower Ash Woods SAC;

- Limestone Coast of South West Wales SAC;

- Crymlyn Bog SAC;

- Crymlyn Bog Ramsar; and

- Cwmllywd Wood LNR.

For acidic deposition, the critical load of a habitat site is largely determined by the underlying geology and soils.  The critical load of acidification is defined by a critical load function (CLF) which describes the relationship between the relative contributions of sulphur (S) and nitrogen (N) to the total acidification.

The critical load function is defined by the following parameters:

- CLmaxS, the maximum critical load of acidity for S, assuming there is no N deposition;

- CLminN, is the critical load of acidity due to nitrogen removal processes in the soil only (i.e. independent of deposition); and

- CLmaxN, is the maximum critical load of acidity for N, assuming there is no S deposition.

The critical loads for acidification for the identified habitat sites are presented in Table E4.

| Table E4: Critical Loads (Acidification) and Background Nitrogen and Sulphur Acidification Rates |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Habitat Site | Primary Sensitive Habitat | Critical Load (keq/ha/a) |  |  | Background Acidification (keq/ha/a) |  |
|  |  | CLmaxS | CLminN | CLmaxN | N | S |
| Gower Commons SAC | Acid grassland | 4.1 | 0.58 | 4.3 | 0.79 | 0.19 |
| Gower Ash Woods SAC | Unmanaged broadleaved/ coniferous woodland | 10.9 | 0.50 | 11.1 | 1.4 | 0.25 |
| Limestone Coast of South West Wales SAC | Acid grassland | 4.1 | 0.22 | 4.3 | 0.67 | 0.19 |
| Crymlyn Bog SAC | Bogs | 0.39 | 0.32 | 0.714 | 0.89 | 0.19 |
| Carmarthen Bay and Estuaries SAC | Habitat not sensitive to acidity, No CLs available |  |  |  |  |  |
| Burry Inlet SPA | Habitat not sensitive to acidity, No CLs available |  |  |  |  |  |
| Burry Inlet Ramsar | Habitat not sensitive to acidity, No CLs available |  |  |  |  |  |
| Crymlyn Bog Ramsar | Bogs | 0.39 | 0.32 | 0.71 | 0.89 | 0.19 |
| Cwmllywd Wood LNR | Broadleaved deciduous woodland | 0.70 | 0.28 | 0.98 | 1.8 | 0.18 |

There are no critical loads for direct acidification due to wet deposition of HCl, therefore the Environment Agency’s Air Quality Assessment Unit (AQMAU, personal communication Adam Dawson 07/08/2013) advises combining the S and HCl acid deposition rates for comparison with CLMaxS, where appropriate.

In accordance with APIS, PC and PEC may be expressed as percentage of the CLF as follows:

For PECN < CLminN,  		PC as % CLF = PCS+HCL / CLmaxS; and

PEC as % CLF = PECS+HCL / CLmaxS.

For PECN > CLminN,  		PC as % CLF = PCN+S+HCL / CLmaxN; and

PEC as % CLF = PECN+S+HCL / CLmaxN.

The Air Quality Strategy for England, Scotland, Wales and Northern Ireland – July 2007

The Air Quality (England) Regulations 2000 - Statutory Instrument 2000 No.928

The Air Quality (England) (Amendment) Regulations 2002 - Statutory Instrument 2002 No.3043

The Air Quality Standards Regulations 2010 – Statutory Instrument 2010 No. 1001

Directive 2008/50/EC of the European Parliament and of the Council of 21st May 2008, on ambient air quality and cleaner air for Europe

Department for Environment, Food and Rural Affairs (DEFRA), (2009): Part IV The Environment Act 1995 Local Air Quality Management Review and Assessment Technical Guidance LAQM.TG(09).

Environment Agency Horizontal Guidance Note H1, Annex (f)  Air emissions, Version 2.1, April 2010.

Environment Agency (August 2010), Horizontal Guidance Note H1, Annex (f) Air Emissions, Version 2.2.

Council Directive 92/43/EEC on the conservation of natural habitats and of wild fauna and flora.

Council Directive 79/409/EEC on the conservation of wild birds

Ramsar (1971), The Convention of Wetlands of International Importance especially as Waterfowl Habitat.

Environment Agency, Technical Guidance on Detailed Modelling Approach for an Appropriate Assessment for Emissions to Air. Final Draft for Approval, AQTAG06 Working Draft Version 10 (10/04/010).

http://laqm.defra.gov.uk/review-and-assessment/tools/background-maps.html

Department for Environment, Food and Rural Affairs (2003): Part IV The Environment Act 1995 Local Air Quality Management Review and Assessment Technical Guidance, LAQM.TG(03).

EPAQS (February 2006), Guidelines for Halogen and Hydrogen Halides in Ambient Air for Protecting Human Health Against Acute Irritancy Effects.

EPAQS (February 2006), Guidelines for Halogen and Hydrogen Halides in Ambient Air for Protecting Human Health Against Acute Irritancy Effects.