
Permit Number: 	PP3238LX			Operator: 		Bakelite Synthetics UK Limited

Facility:		Barry Thermosets Plant		Form Number: 	Water1 / 13/02/2023
Reporting of emissions to water (other than to sewer) and land for the period from DD/MM/YYYY to DD/MM/YYYY
	Emission
Point
	Substance /
Parameter
	Emission
Limit Value
	Reference Period
	Result [1]
	Average result [6]
	Test
Method [2]
	Sample
Date and Times [3]
	Uncertainty
[4]

	W1
	Maximum volume of effluent discharged under dry conditions determined by no significant rainfall over the previous 48 hours on the Barry site.
	6800 m3/day
	Instantaneous
	
	
	
	
	

	
	Maximum volume of effluent discharged
	15,900 m3/day
	Instantaneous
	
	
	
	
	

	
	Flow
	0.19 m3/s
	Instantaneous
	
	
	
	
	

	
	Monohydric phenol
	10 mg/l
	24-hour flow proportional sample
	
	
	
	
	

	
	Total suspended solids
	150 mg/l
	24-hour flow proportional sample
	
	
	
	
	

	
	Chemical oxygen demand
	1000 mg/l
	24-hour flow proportional sample
	
	
	
	
	

	
	Methanol
	50 mg/l
	24-hour flow proportional sample
	
	
	
	
	

	
	Free formaldehyde
	10 mg/l
	24-hour flow proportional sample
	
	
	
	
	

	
	Styrene [5]
	No limit set
	24-hour flow proportional sample
	
	
	
	
	

	
	pH
	Minimum 6, maximum 9
	Instantaneous
	
	
	
	
	

	
	Monohydric phenol
	10950 kg/year
	Annual mass release
	
	
	
	
	

	
	Methanol
	43800 kg/year
	Annual mass release
	
	
	
	
	

	
	Free formaldehyde
	10950 kg/year
	Annual mass release
	
	
	
	
	

	E1
	Total suspended solids
	No limit set
	24-hour flow proportional sample
	
	
	
	
	

	
	Free formaldehyde
	No limit set
	24-hour flow proportional sample
	
	
	
	
	

	
	Monohydric phenol
	No limit set
	24-hour flow proportional sample
	
	
	
	
	

	
	Methanol
	No limit set
	24-hour flow proportional sample
	
	
	
	
	

	
	Chemical oxygen demand
	No limit set
	24-hour flow proportional sample
	
	
	
	
	



[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
[5] Monitoring of styrene required when styrene is in use at the installation
[6] An average of the samples taken over the reporting period (every 3 months)



Signed …………………………………………………………….  		Date………………………..
	(Authorised to sign as representative of Operator)


Permit Number: 	PP3238LX			Operator: 		Bakelite Synthetics UK Limited

Facility:		Barry Thermosets Plant		Form Number: 	WaterUsage1 / 13/02/2023

Reporting of Water Usage for the year YYYY

	Water Source
	Usage
(m3/year)
	Specific Usage 
(m3/unit output)
	

	
	
	
	

	
	
	
	

	Towns water
	
	
	

	Biglis
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	TOTAL WATER USAGE
	
	
	



	Operator’s comments :







Signed …………………………………………………………….  		Date………………………..   	
	(authorised to sign as representative of Operator)

Permit Number: 	PP3238LX			Operator: 		Bakelite Synthetics UK Limited

Facility:		Barry Thermosets Plant		Form Number: 	Energy1 / 13/02/2023

Reporting of Energy Usage for the year YYYY

	
Energy Source
	Energy Usage
	
Specific Usage
(MWh/unit output)
	

	
	
Quantity
	Primary Energy
(MWh)
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	Electricity *
	MWh
	
	
	

	Natural Gas
	MWh
	
	
	

	Gas Oil
	tonnes
	
	
	

	
	
	
	
	

	TOTAL
	-
	
	
	

	
	
	
	
	


* Conversion factor for delivered electricity to primary energy = 2.4

	Operator’s comments :









Signed …………………………………………………………….  		Date………………………..   	
	(Authorised to sign as representative of Operator)










Permit Number: 	PP3238LX			Operator: 		Bakelite Synthetics UK Limited

Facility:		Barry Thermosets Plant		Form Number: 	Performance1 / 13/02/2023

Reporting of other performance indicators for the period DD/MM/YYYY to DD/MM/YYYY

	Parameter
	
	Units 
	

	
	
	
	

	Water usage / tonne product
	m3/tonne
	

	Energy usage / tonne product
	MWh/tonne
	



	Operator’s comments :








Signed …………………………………………………………….  		Date………………………..   	
	(Authorised to sign as representative of Operator)
